Project Description and Scope

for

Analysis of the Use of Loads Acting as Resources  to Provide Responsive Reserve Services

Submitted by

Dynamics Working Group

To ERCOT Reliability and Operations Subcommittee

October 11, 2007

1.0 Objective

The current ERCOT rule allows for 50% of the ERCOT 2300 MW Responsive Reserve Service (RRS) Obligation, or 1150 MW, of Loads Acting as a Resource (LaaRs) tripped at 59.7 HZ to be substituted for responsive spinning reserve.  The general objective of this study is to perform an analysis of the responsive reserve requirements on the ERCOT system, to determine if it is beneficial to make changes to the responsive reserve levels, or the percentage of LaaR tripping.

ROS assigned this study to the Dynamics Working Group (DWG) to answer questions originally raised by the Long Term Solutions Task Force (LTSTF). The LTSTF asked whether reliability concerns would be raised by increasing LaaRs, based upon a new RRS obligation of 2500MW or 2700MW.  Further, the LTSTF asked how much higher a LaaR maximum limit is possible if frequency tiered deployment were considered.  The minimum frequency set point for high set loads will remain at 59.7 Hz as per the ERCOT Operating guides.

The specific objective of this study is to perform analysis of 2500MW and 2700 MW responsive reserve requirements (vs. the current 2300MW) with the maximum LaaRs kept at 50% and all LaaRs on under frequency relays (UFR) set to trip at 59.7Hz, to determine if reliability concerns are raised.  A second phase of the study will investigate whether LaaRs can be increased to 75%, if load tripping is done at several different frequencies.

Although the DWG cannot make the determination whether the Responsive Reserve levels should be 2300 MW, 2500 MW, or 2700 MW, without definitive criteria set by the ROS, it can perform analysis that will support a decision by the ROS.  Likewise it can analyze the relative impacts of various amounts of LaaRs.

2.0 Background - Generation Spinning Reserves and Concerns

The total generating capacity in a power system must be sufficient to supply the expected peak load demand plus a margin for reserves.  This planning reserve is necessary to allow for forced outages.  On a daily basis a system must carry operating reserves to regulate and to allow for unanticipated events, including forced outages and load forecast errors.  Operating reserves are comprised of spinning reserves, which is comprised of on-line and non-spinning reserves. Off-line must be available within 10 minutes. On-line spinning reserve is unloaded generation, which is synchronized and ready to serve additional demand immediately.

Whenever generation is not in balance with the total demand, the electrical frequency of the entire interconnect will deviate from frequency at which the system was designed to operate – 60 Hz.  Of course, small load variations take place all the time, so frequency continuously deviates from 60 Hz.  However, these normal frequency deviations are quite small compared to those that occur following large disturbances and are not a source of concern.  These smaller variations in frequency are covered by regulating reserve which is made up of the portion of spinning reserve responsive to automatic generation control.

Moreover, during a system disturbance an interconnected system will have natural system oscillations.   The inertia of a system is directly related to the sum of the size (mass) of all on-line synchronous generation units.    This oscillatory condition is magnified in a system that is lightly loaded system with lower inertia.

The ERCOT Operating Guides, Section 2.9 provides that at least 25% of the ERCOT System Load that is not equipped with high-set under-frequency relays shall be equipped at all times with provisions for automatic under-frequency load shedding.  The under-frequency relays shall be set to provide load relief as follows:

| Frequency Threshold | Load Relief |
| --- | --- |
| 59.3 Hz | 5% of the ERCOT System Load (Total 5%) |
| 58.9 Hz | An additional 10% of the ERCOT System Load (Total 15%) |
| 58.5 Hz | An additional 10% of the ERCOT System Load (Total 25%) |

The ERCOT Operating Guides, Section 2.9, also provides that if under-frequency relays are installed on generating units, these relays shall be set such that the automatic removal of individual generating units from the ERCOT System meet the following requirements:

| Frequency Range | Delay to Trip |
| --- | --- |
| Above 59.4 Hz | No automatic tripping (Continuous operation) |
| Above 58.4 Hz up to And including 59.4 Hz | Not less than 9 minutes |
| Above 58.0 Hz up to And including 58.4 Hz | Not less than 30 seconds |
| Above 57.5 Hz up to And including 58.0 Hz | Not less than 2 seconds |
| 57.5 Hz or below | No time delay required |

3.0 Study Approach

This study will compare the effects of replacing portions of 2300MW, 2500MW, and 2700MW of RRS obligation with LaaRs set to trip by automatic UFR with a total time delay of not more than 30 cycles.  System frequency performance will be evaluated without LaaRs and with 50% LaaRs.  A second phase of the study will explore higher LaaR percentages at multiple frequencies.  Performance will be evaluated in the presence of two or more fault scenarios including the loss of generation, as selected by the study group.  Study will monitor frequency, bus voltage, rotor angles, speed, generator megawatts, generator mega-vars, generator terminal voltage, exciter field voltage, and area total load and generation, as appropriate. Study will also scan for any out of step conditions. A solved load-flow case will be saved and examined for abnormal network conditions at the end of the dynamic simulation period.

- Tools To Be Used

The primary software tool to be used will be: PSS/E version 30 (Power Systems Simulator for Engineering) -- software package used for case development of load flow and dynamics data set.   PTI is the ERCOT standard format for data exchange.

In addition, the study team may use other software, including Powertech’s Dynamics Security Analysis, if the study team determines that it is beneficial to do so.

- 5.0 Base Case Data and Models

Study will use primarily PTI software and models. The period of the simulation will be limited to approximately 15 seconds. This time frame corresponds closely to the “A,B,C” time points in the Performance Disturbance Compliance Working Group (PDCWG) disturbance reports.  This may be extended somewhat to capture the behavior of units with slow response, or outer-loop MW control.

The load model in this study will include both voltage and frequency sensitive components. The study team will develop an appropriate voltage sensitive component. An appropriate PTI frequency dependent load model will also be developed for use in these studies, based upon load response data.

Study will use the most recently updated SSWG load flow cases for Spring and Summer 2008 and the most recently updated DWG dynamics data, with the recently developed combined cycle models. The study team may seek additional data from DWG members if needed for the flat start activities.  The loads in the SSWG cases will be used as is without scaling them to match the actual ERCOT loads on any given day.

- 2008 Data Set A Summer on-peak load flow.

- Modify spinning reserve to get 50% of 2300 MW

- Flat start the case.

- Modify spinning reserve to get 50% of 2500MW and 2700MW

- 2008 dynamics data, with the new combined cycle models.

- Supplement data from DWG members if needed

- LaaRs data

- Base data for existing LaaR will be provided by ERCOT, adjusted for 50% of total spinning reserve under study (2300 MW, 2500 MW and 2700 MW)

- Future studies may use geographically dispersed LaaRs.

- 2008 Data Set A Spring off -peak load flow.

- Similar to the Summer-on-peak case (steps A, B, C above), modify spinning reserve and LaaRs as needed for scenario under study.

- 6.0 Criteria for Acceptance

If any scenario studied fails to meet all of the following criteria, it will be considered unacceptable.

- No abnormal system conditions leading to cascading outages and system collapse.

- Firm load shed.  It is expected that some of the loss of generation contingencies studied might lead to under frequency load shed (UFLS), particularly for the Spring off-peak case.  The study group will present a comparison of case results based on frequency decline without UFLS.  That is, UFLS will not be modeled for these studies, unless necessary.

- Maximum frequency deviation will be based on the ERCOT Operating Guides, Section 2.9.

7.0 Tasks

The following tasks outline in general, how the study will proceed.  This is subject to change by the study team.

## Task 1: Case Flat Starts (one month)

- Modify the generation schedule in the 2008 Summer on-peak SSWG case to model the current 2300MW ERCOT RRS rule, a proposed 2500MW of RRS, and a proposed 2700MW of RRS.

- Flat start 2008 Summer on-peak case for 2300MW, 2500MW, and 2700MW of responsive reserve

- Modify the generation schedule in the 2008 Spring off-peak SSWG case to model the current 2300MW ERCOT RRS rule, a proposed 2500MW of RRS, and a proposed 2700MW of RRS.

- Flat start 2008 Spring off-peak case with high wind for 2300MW, 2500MW, and 2700MW of responsive reserve

- Run sensitivity analysis to determine if full wind models are necessary.

## Task 2: Governor Model Preparation (one month)

- Build governor model, using IEESGO, recently developed combined cycle models, or a combination

- Get actual event data, to benchmark unit typical responses

- Do an analysis of combined cycle models

- Implement MW-control model where necessary

## Task 3: Load Model Preparation (concurrent with Tasks 1&2)

#### Build frequency-sensitive and voltage-sensitive load model

#### Prepare LaaRs data for existing LaaR (by ERCOT)

#### Prepare LaaRs generic data for modeling 50% of RRS for each maximum spinning reserve scenario.

#### Prepare LaaRs generic data for modeling 75% of RRS

## Task 4: Determine Contingencies and Fault Locations (concurrent with Tasks 1&2)

- Determine location of faults (near nuclear plants, or near wind farms)

- One North, one South, one near wind farms

- Determine generating units to trip

## Task 5: Make Dynamic Runs (two weeks)

- To be done by ERCOT

- Two base cases, peak and off-peak

- Three scenarios of max. spinning reserve: 2300MW, 2500MW, and 2700MW

- 50% and 75% LaaRs, all at 59.7 Hz

- Assess the effect of wind

Task 6: Development And Delivery Of Draft Report (two weeks)

- To be done by DWG study group.

- Review by full Dynamics Working Group.

- Present to ROS and LTSTF for review.

- Incorporate ROS and LTSTF comments.

- Present Phase One report to ROS.

Task 7: Phase Two: Study Tiered Frequency Options that would allow higher % LaaR Values (one month)

- Determine frequency tiers and percentages to run (proposed frequency tiers at 59.7 Hz, 59.8 Hz, and 59.9 Hz).

- Rerun studies with frequency tier options

- Study team to determine how to perform sensitivity analysis to help gauge future performance beyond 2008, and the time frame for additional required studies

- Modify report results.

- Present Phase Two report to ROS.

8.0 Project Deliverables

Report to the ROS will include supporting information for a ROS decision on RRS obligation levels.  The DWG cannot make a recommendation without definitive criteria from ROS for such a decision.  The DWG may, however, make recommendations for the percentage of RRS that can be LaaRs, at each RRS level, if so indicated by the study results.

9.0 Estimated Cost and Timeline

This study will require each working group member’s time. It will also require the formation of a study group made up of working group members who will have to commit a much larger amount of time to the studies. This group will set up, run, and perform a preliminary review of the studies. The study group will require about 4 people and 12 days (384 man-hours) to set up and run the studies. The group will meet about four times for about 3 days each time. The actual time required is difficult to estimate and the study group will modify the plan, as circumstances require. Following completion of the studies the group will write a draft report summarizing the results. Writing the draft report will take an additional man month (160 man-hours). The study group will send the draft report to the DWG for review and comment. A final report will be completed following this review.

The months in the chart correspond to work-months, not calendar months.  Allow extra time will be needed to allow for Thanksgiving and Christmas holidays.

|  | Month 1 | Month 2 | Month 3 | Month 4 | Month 5 | Month 6 |
| --- | --- | --- | --- | --- | --- | --- |
| Task 1 | XXXX |  |  |  |  |  |
| Task 2 |  | XXXX |  |  |  |  |
| Task 3 | XX | XX |  |  |  |  |
| Task 4 | X | XXX |  |  |  |  |
| Task 5 |  |  | ERCOT |  |  |  |
| Task 6 |  |  | XX | DWG |  |  |
| Review and approval |  |  |  | LTSTF ROS |  |  |
| Phase Two: Task 7 |  |  |  |  | XXXX ERCOT DWG |  |
| Review and approval |  |  |  |  |  | LTSTF ROS |

XXXX = Weeks of study group work

ERCOT = Weeks of work done by ERCOT

DWG = Full DWG review of study results and report

LTSTF = LTSTF review of report

ROS = ROS review and approval of report