| OGRR Number | 204 | OGRR Title | Hotline Technology Update |
| --- | --- | --- | --- |
| Date | October 11, 2007 |
| Submitter’s Information |
| Name | Dennis Kunkel |
| E-mail Address | dkkunkel@AEP.com |
| Company | American Electric Power |
| Phone Number | 3612894003 |
| Fax Number | 3612996550 |

| ERCOT/Market Segment Impacts and Benefits |
| --- |
| Assumptions | 1 |  |
|  | 2 |  |
|  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  | 2 |  |  |
|  | Impact Area | Monetary Impact |
| Market Benefit | 1 |  |  |
|  | 2 |  |  |
| Additional Qualitative Information | 1 |  |
|  | 2 |  |
|  | 3 |  |
| Other | 1 |  |
| Comments | 2 |  |
|  | 3 |  |

Comments

AEP was recently penalized by ERCOT and the PUCT for having the ERCOT Hotline come into a redundant CPU PBX that did not have a single point of failure.  The 500 set requirement is old language that prevents companies from enhancing and providing redundancy and flexibility to route the communications to a back up center and/or multiple personal within an office (the 500 set requirement does not allow the routing to multiple desks and phone sets).  The 500 set does have a single point of failure which happened to AEP when we moved from a redundant CPU PBX to the 500 set.  The ringer on the phone did not work properly and the phone had to be replaced after a missed call.  AEP supports the need to remove the language that limits our advancement into better and more secure phone communication technology.

Revised Proposed Operating Guide Language