## Response to Comments
No. | Issuing Entity (Name) | Page Number | Description | Response | Reason / Comment
1 | Luminant | P. 74 CE4 DAM Clearing Engine | 8. n. If a valid COP is not available for a resource that has submitted Three-Part Supply Offer, the resource’s HSL and LSL shall be set to 0MW and the Three-Part Supply Offer shall not be cleared. Why is this change being done? It does not appear to be required by NPRR008 or NPRR012. Even though the offered Resource is not shown in the COP for the Operating Day, the QSE could have made the offer with the intent of starting the Resource if struck in the DAM but not otherwise. If the Resource is struck, the QSE continues to have the choice to either start the Resource or not, just as it has the option to shutdown another Resource that was online and struck in the DAM but which it chose not to run during the commitment period. There are economic considerations that the QSE must understand for these actions but the QSE is free to exercise choice. The QSE has an obligation to apprise ERCOCT of its plans by maintaining the accuracy of its COP to within 1 hour of its decision concerning Resource commitment. | Accepted | This change is to clarify the existing requirement, which is stated in the Protocols (refer to 4.5.1 (4) (c) (ii) (A)). DAM will not use Online/Offline status in COP, but DAM will use the HSL/LSL value in COP as the resource limit in the optimization. Requirement will be changed as follows: n. If HSL/LSL is not available for a resource that has submitted Three-Part Supply Offer or EOC only offers, the resource’s HSL and LSL shall be set to 0MW and the Three-Part Supply Offer or EOC only offers shall not be cleared.
2 | PG&C | P 80 CE10 – Control of DAM Clearing Process | 1. Under normal circumstances, ERCOT should begin execution of DAM at 1000. Execution of the DAM shall be manually initiated by the ERCOT Operator and may not occur before Bids/Offers are validated, and external subsystems, including EMS, NMMS, OS, Registration, Settlement, CRR have completed. 1. Under normal circumstances, ERCOT should begin execution of DAM at 1000. Execution of the DAM shall be initiated by a production processing application scheduler with manual override capabilities by an authorized ERCOT Operator as warranted under certain conditions (i.e. job fails to run). | Rejected | The MMS provides the capability to initiate the DAM execution as a pre-scheduled job. ERCOT considers that automated initiation of the DAM execution is unlikely to be the normal way of initiating the DAM due to the following factors: - Extra time may be needed for bid/offer validation - Coordination with external subsystems, including EMS, NMMS, OS, Registration, Settlement, CRR - ERCOT Operator assurance of input data and overall system conditions
3 | PG&C | P 80 CE10 – Control of DAM Clearing Process | 2. Execution of the DAM shall be able to take place at any time during the Day-Ahead, as there may be circumstances under which DAM execution needs to be delayed. Changed to: 2. Execution of the DAM will take place during the Day-Ahead, adhering to the publicly published market production timeline. | Accepted | Accedpted with the following change: 2. Execution of the DAM shall take place during the Day-Ahead, adhering to the publicly published market production timeline under normal circumstances.
4 | PG&C | P 80 CE10 – Control of DAM Clearing Process | 4. DAM execution can be aborted after it has been started, due to circumstances such as the discovery of invalid inputs, emergency conditions, equipment failure, etc. Changed to: 4. DAM execution can be aborted after it has been started, due to circumstances such as the discovery of invalid inputs, emergency conditions, equipment failure, reconciliation discrepancies of files and data loads, process failure, etc. ERCOT shall abort a DAM execution if a substantial number of critical or required data submissions are not validated. ERCOT shall use reasonable efforts to contact the submitting market participants to correct errors and then re-execute DAM if a substantial amount of the non-validated submitted data becomes validated. | Rejected | Also refer to response to comment in row 4. The initiation of the DAM execution is subject to the following conditions: - All the QSE submissions that have been received before market deadline have been validated. - Coordination with external subsystems, including EMS, NMMS, OS, Registration, Settlement, CRR - ERCOT Operator assurance of input data and overall system conditions
5 | PG&C | P 80 CE10 – Control of DAM Clearing Process | 6. When execution of the DAM clearing engine is aborted prior to completion, the DAM clearing engine shall not award any bids or offers or set any LMPs and reset to the last known valid data set version as verified by controls and authorized production processing personnel. | Rejected | Abortion of an initiated DAM execution is more likely caused by input data errors. ERCOT needs to be able to correct these data errors and the DAM re-execution shall use the corrected data set.
6 | PG&C | P 80 CE10 – Control of DAM Clearing Process | 7. The DAM execution controller shall support re-execution of the DAM from the beginning or continuation from the last aborted module and validated data set version. | Accepted
7 | PG&C | P 80 CE10 – Control of DAM Clearing Process | 8. Only authorized ERCOT production processing personnel shall be able to manually invoke DAM clearing processes in order to analyze and review results at different stages of the execution. | Accepted | 8. ERCOT Operator who is authorized to run the DAM shall be able to manually invoke DAM clearing processes in order to analyze and review results at different stages of the execution.
8 | PG&C | P 80 CE10 – Control of DAM Clearing Process | 9. The DAM Clearing Engine shall be able to be run in “study mode,” which shall report results to the ERCOT Operator but shall not award or publish any bids or offers. At no time should the run time or the “study mode” be allowed to affect or delay the production processing time of the DAM execution. Request for a “study mode” under these conditions will only be permitted once the DAM execution is complete. | Accepted | 9. The DAM Clearing Engine shall be able to be run in “study mode,” which shall report results to the ERCOT Operator but shall not award or publish any bids or offers. At no time should a “study mode” DAM execution be allowed to affect or delay the DAM execution in the production system.