## Slide 1: WMS Report To TAC
November 2007

## Slide 2: In Brief
New Task Force formed
  BEERTF
QSE Managers WG
Demand Side Working Group
4 Nodal Related Reports
1 Report Related to Recent Congestion

## Slide 3: Staff Reports
Nodal Market – Performance Monitoring Program
  Vote - recommend TAC relieve ERCOT of monitoring program requirement until the completion of the Section 8 re-write
Nodal Market – Overview of Settlement Points; LMPs and Scheduling Discussion
  ERCOT will revise resource nodes busses and feasibility of non-resource settlement points for November WMS
Nodal Market – Verifiable Cost Methodology, Progress Report
  Document to be finalized by year-end for 2008 TAC approval
Nodal Market – Decision Time Line for Transition of CSCs, TCRs, CRRs, Zones
  Brief discussion and added to March 2008 WMS
Congestion Report on Recent Events (September 24 – October 3)

## Slide 4: Working Group Reports QSE Managers WG
PRR739, Administrative Price Adjustments
  Reviewed existing language and suggested 3 proposed options to optimize the PRR
    Require ERCOT to capture both MCPE as calculated by SPD as well as the Administratively Adjusted MCPE and settle, by interval, any provider of DBES at the minimum of the two values.
    Allow DBES providers the option to dispute for SPD calculated MCPE under all circumstances of Administratively set pricing.
    If additional Responsive Reserve as described in OGRR 205 is passed and in effect, the following actions may be appropriate:
      For EECP events described in 6.9.5.1.(1).(a) & (b), allow DBES entities to dispute for original MCPE, or if possible, proactive modifications by ERCOT to set MCPE for these entities
      OOM for short supply should happen with much less frequency, therefore section 6.9.5.1.(1).(c) could be removed.
      For NSRS, section 6.9.5.1.(1).(d) – no action on DBES entities
  After a robust discussion this issue was not voted on due to parallel activities at the BEERTF and a need for ROS to review the recommendations

## Slide 5: Working Group Reports QSE Managers WG
OGRR205, Modify Responsive Reserve Obligation
  Requesting to modify the OGRR mandating that the ERCOT Responsive Reserve Obligation is 2300 MW.
    increase the Responsive Reserve Obligation to 2800 MW.
    not recommend modifying the MW thresholds for which Alerts or EECP action is taken
  No Vote Taken
  WMS determined OGRR205 not yet ripe for vote.

## Slide 6: Working Group Reports DSWG
Excellent Presentation available http://www.ercot.com/meetings/wms/keydocs/2007/1017/04._DSWG_Update_WMS_Slides_10-17-07.ppt#428,5,Summary LaaR RRS Deployment – 9/5/07
Summary LaaR RRS Deployment – 9/5/07
    System Response at 95% of Obligation in 6 minutes and 20 seconds
Update: EILS Proposed Rule Amendment (PUC Project 34706)

## Slide 7: Staff Reports
Nodal Market – Performance Monitoring Program
  Presentation by John Adams
Presented to WMS for the sake of compliance with current Nodal Protocols.
Will not be added to the Operating Guides until Section 8 re-writes are complete and the Performance Monitoring Program Document is updated; updated documents will require additional approval.
  ROS declined to endorse the temporary document.
  PDCWG identified errors.
WMS recommends TAC relieve ERCOT of monitoring program requirement until the completion of the Section 8 re-write.

## Slide 8: Staff Reports
Nodal Market – Overview of Settlement Points; LMPs and Scheduling Discussion
  Presentation by Kenneth Ragsdale
Presentation was to review some potential naming problems; however the choice of settlement points was questioned
  After consider able discussion - WMS agreed that nodal settlement points should be high-side of the step-up, instead of low-side.
  WMS also discussed development of a list of non-resource settlement points to accommodate commonly traded points (resource and non-resources nodes mentioned included: STP, WA Parish, Marion, Venus, Limestone, Forney, Graham, Odessa, Oklaunion)
  ERCOT will review Marion and Venus.
Agenda Item for November 2008 WMS: review revised electrical bus (high-side) names for resource nodes, including any non-validated exceptions, and feasibility of non-resource settlement points.

## Slide 9: Staff Reports
Nodal Market – Verifiable Cost Methodology, Progress Report
  Presentation by Ino Gonzales
  ERCOT has completed the first draft of the Verifiable Cost Process Manual (initial comments were due Oct. 29th)
  SDAWG will meet to discuss the comments Nov. 2nd – specific focus: O&M items in Appendix 2
Document to be finalized by year-end for 2008 TAC approval

## Slide 10: Staff Reports
Congestion Report on Recent Events (September 24 – October 3)
  Presentation by Isabel Flores
Northeast (Monticello to Allen Switch)
  September 24 – October 5
  $8.5 million
South to Houston (STP to Hillje)
  October 1-3
  $7.7 million
  More information to be provided
West to North / North to West (Morgan Creek)
  October 2 – 3
  $1.9 million
Additional congestion in Northeast on 10.16.07 - ERCOT to provide details
Dollars are estimated and not settlement quality.

## Slide 11: WMS Report To TAC
November 2007