## Slide 1: 814_20 – Substation ID updates Background and Proposed Action Plan
RMS – 11/07/07

## Slide 2: Background / Reference
Nodal Project – Station names history & requirements – Information shared at RMS in Jan 2007
  In July 2006, ROS passed the new Nodal Naming Convention for substations:
    “Substation names representing the same substation in the Network Operation Model, Updated Network Operations Model, and CRR Network Model shall be unique for all substations within ERCOT and shall be limited to 8 characters.”
  TSP Operation staff were given the option to change their operation model names, but they must follow the naming convention by Nodal Go Live.
  Each TSP was given until December 2006 to submit a list of substation names that they would like to change in the operation model.
  While TSPs can change substation names at any time, ERCOT does not anticipate many additional changes before Nodal Go Live.

## Slide 3: Nodal Changes / Facts
Nodal changes
  In the Nodal Market, the Network Operations Model (NMMS) will be the single direct source for model data including station names. TDSPs will be updating the network model directly, instead of ERCOT
  Nodal protocol reference - 3.10.7.1 Modeling of Transmission Elements and Parameters
  TAC approved the naming convention -- http://nodal.ercot.com/mktrules/np/TAC050406-Naming_Convention.doc
Facts
  ERCOT L* currently manages old and new station names at same time
    We map both to the same CM Zone. ESIIDs are assigned individually so this isn’t a problem.
    Since Market open ERCOT has managed old & new names concurrently – just not in this volume.
    814_20s sent with old station name will not be rejected
    ERCOT will continue to manage old and new names going forward
  TDSPs choose which name to use for both retail operations and network/planning operations

## Slide 4: Nodal Project – Substation Names Impact
As of Oct 2007 -- Following TSP operation staff have changed names in the Operations Model.
TSP Name | Number of Substation Name changes | # of ESI IDs Impacted
City of Garland | 3 | 3
TMPA | 3 | 6
ONCOR | 21 | 76,758
CNP | 206 | ~1,800,000
AEP | 0 | 0
TNMP | 0 | 0
Nueces | 4 | 8,531
Totals | 237 | ~ 1,890,000
ERCOT staff will coordinate with TSP Operations and Settlements organizations to
implement the Model changes into Production as well as submittal of the 814_20s
All changes must be in place before Nodal Go Live

## Slide 5: Is the change required?
No, TDSPs are NOT required to update the station IDs used on Retail Transactions to match the new station IDs used in the network model.
ERCOT network model will follow the new naming convention.
ERCOT settlement systems will manage old and new names.
Some TDSPs will manage old and new names.
    ERCOT will manage the old and new names.
    814_20s sent with old station name will NOT reject unless the TDSP decides to retire the old name.
Some TDSPs will change to new names.
    TDSP will send 814_20s to transition ESI IDs to new station name.
    ERCOT and Market need to be prepared for an increased volume of 814_20s that may process through the market.

## Slide 6: How will ERCOT manage the change?
Substation name changes are a regular process
  ERCOT network team notifies CODIA of a retiring substation
  CODIA pulls a list of ESIIDs both de-energized and active by TDSP for that ID and works with the TDSP to make the change
    MarkeTrak issues are filed to TDSPs providing the ESIID lists
    TDSPs send in 814_20s according to a schedule
    On a weekly basis, updated ESIIDs lists are posted to the MarkeTrak issues until all ESIIDs are removed from the retiring substation
    Once all ESIIDs are removed from the retiring substation, ERCOT will retire the station in Lodestar station tables

## Slide 7: How will ERCOT manage the volumes?
Managing a large volume of 814_20s – good news is, we’ve done this before…Annual Validation!
Using the same approach for annual validation, ERCOT and the TDSPs can coordinate to process ~2MM transactions through in about 2 ½ months
Minimal impact to protocol timings of retail transactions with increased volumes of 814_20s from annual validation in 2007

## Slide 8: Data Availability
Where will substation names be posted/available?
  SCR 727 ESIID Service History & Usage Extract
    Service History updates from 814_20s will be provided to LSEs and TDSPs owning the ESIID
    Lodestar station table changes provided to all Market Participants
  Public Reference Data Extract
    Lodestar station table changes provided to all Market Participants
  TDSP ESIID Extract & Find ESIID
    ESIID substation assignments available
  Retiring Substations mapping to New Substations to be posted. A comment will be added in the Data Dictionary that list the old substation name.

## Slide 9: CR Considerations
Substation name changes occur today in the market – how does that affect CR system/business process?
Large volume of 814_20s will need to flow
New substations will be mapped to the same CMZONE as the current substations

## Slide 10: Outstanding Questions
1. When do we start? Early 2008 or Mid 2008 (near annual validation)?
  Early 2008
    Pros
      Complete the transition sooner rather than later especially if a TDSP is limited to one change per 814_20
    Cons
      CRs may not have time to make any system changes necessary to handle an increase in volume or handle an increase in ‘exceptions’ to their daily processes.

## Slide 11: Outstanding Questions
  Mid 2008 (near annual validation)
    Pros
      If a TDSP supports more than one change per 814_20, will minimize the number of transactions required
      Gives CRs more time to assess impacts and prepare
    Cons
      If issues are experienced, must work around annual validation and less time to complete by 12/1/2008
CNP | No | Oncor | ?
TNMP | ? | AEP | N/A
Nueces | ? |  | 

## Slide 12: Outstanding Questions
2. How quickly should we implement the change?
  As Quickly as Possible (~2.5 months)
    Pros
      Manage 2 station IDs for minimum time
    Cons
      Manage large volume of 814_20s in short timeframe
  At a slower pace
    Pros
      Smaller volume of transactions at one time
    Cons
      Manage 2 stations IDs for longer timeframe
      May conflict with annual validation, even if start earlier in year

## Slide 13: Next Steps
Update RMS at Nov. 7, 2007 meeting – ask RMS to discuss and recommend schedule and duration for the processing
CRs plan for the increase in volume of 814_20s
TDSPs / ERCOT (RCC team) to coordinate 814_20s market schedule
ERCOT (RCS team) communication to the market on action plan and schedule
ERCOT (CODIA team) to communicate outstanding and completion of ESIID substation changes to TDSPs and retirement of station in Lodestar
What else?

## Slide 14: Questions?