## Slide 1: Additional Responsive Reserve

## Slide 2: Objectives
Maintain reliability
  Ensure that adequate reserves are available
Market Clearing Price of Energy is synchronized with reliability requirements
  The market design will allow for price response before manual reliability actions are required

## Slide 3: Additional 500 MW of Responsive Reserve
A seven percent discount is currently applied to the HOL of every generator
Adjusted Responsive Reserve is approximately 1000 – 800 MW less than Responsive Reserve
Proposed additional 500 MW of responsive was derived by:
  Responsive Reserve Obligation equals 2300 MW
  Regulation Up Obligation average equals 700 MW
  Total unadjusted Obligation equals 3000 MW
  Applied discount would equal approximately 2000 MW Adjusted Responsive Reserve
  Adding 500 MW of responsive would result in approximately 2500 MW of Adjusted Responsive Reserve and thus allow the market time to work before the need to OOME units

## Slide 4
2138 MW
2257MW
1922 MW

## Slide 5
2535 MW
2619 MW
2384 MW
2668 MW
2566 MW
2391 MW

## Slide 6
2083 MW
2413 MW
2291 MW

## Slide 7
2311 MW
2437 MW
2511 MW

## Slide 8: EECP 02-24-07 ADJ RRS WITH DIFFERENT DISCOUNT FACTOR

## Slide 9: Summary
ERCOT is implementing a temperature dependant discount factor
Approximately 100 MW of discount equals 1%
Only purchase 500 MW of additional Responsive Reserve for the hours in which the next day temperature forecast is 95 degrees or higher in either North Central or Coast (7%)
Purchase 300 MW of additional Responsive Reserve for the hours in which next day temperature forecast is between 85 and 95 degrees (5%)
Purchase 200 MW of additional Responsive Reserve for the hours in which next day temperature forecast is less than 85 degrees (4%)

## Slide 10: Summary
 |  | Percent of hours forecasted < 85 in day-ahead | Percent of hours forecasted >= 85, but < 95 in day-ahead | Percent of hours forecasted >= 95 in day-ahead
2006 | Coast | 79.420% | 20.338% | 0.242%
 | North Central | 76.761% | 16.132% | 7.107%
 | Max of Coast and North Central | 74.569% | 18.324% | 7.107%
2007* | Coast | 77.587% | 21.914% | 0.499%
 | North Central | 77.727% | 19.521% | 2.752%
 | Max of Coast and North Central | 73.858% | 23.390% | 2.752%
The percentages only include between hour ending 6 and hour ending 22 for each day. |  |  |  | 
* Included in the days for 2007 are January 1 thru October 22. |  |  |  | 
 |  | Number of hours forecasted < 85 in day-ahead | Number of hours forecasted >= 85, but < 95 in day-ahead | Number of hours forecasted >= 95 in day-ahead
2006 | Coast | 4,928 | 1,262 | 15
 | North Central | 4,763 | 1,001 | 441
 | Max of Coast and North Central | 4,627 | 1,137 | 441
2007* | Coast | 3,891 | 1,099 | 25
 | North Central | 3,898 | 979 | 138
 | Max of Coast and North Central | 3,704 | 1,173 | 138