## Slide 1: Texas Regional Entity Report
<number>
November 2007
Notes: TRE Report to ERCOT TAC
November 2007
<number>

## Slide 2: Performance Highlights
<number>
ERCOT’s Control Performance Standard (NERC CPS1) score for September – 128.83
Initial scores for September indicate all non-wind-only QSEs passed the PRR 525 measure
  This is the third straight month all non-wind-only QSEs have passed this measure
Overall control performance score using the PRR 525 measure (SCPS) for non-wind-only QSEs > 95%
Notes: TRE Report to ERCOT TAC
November 2007
<number>

## Slide 3: LaaR Deployment History
<number>
Notes: TRE Report to ERCOT TAC
November 2007
<number>

## Slide 4: Texas RE Monthly Summary
<number>
For October……….
  Protocol & Operating Guides violations
    1 new alleged
  NERC Standards violations
    Several reported in Self-Certifications; now under review
  Final on-site Compliance Audit completed for 2007
  2 registration appeals denied by NERC Board of Trustees Compliance Committee
  1 pending registration appeal
  1 registration appeal remanded to Texas RE
Notes: TRE Report to ERCOT TAC
November 2007
<number>

## Slide 5: “High Interest” NERC Standards
<number>
Critical Infrastructure Protection (CIP) – Applies to all Entities listed in the NERC Compliance Registry in accordance with Implementation Plan for CIP Standards.
Protection and Control (PRC) – One or more PRC Standards apply to most Entities listed in the NERC Compliance Registry.
FAC-003: Transmission Vegetation Management Program – Prevent and report vegetation-related outages. Applies to all Transmission Owners with transmission lines that operate at 200 kV and above. Zero tolerance policy.

## Slide 6: Texas RE Delegation Agreement
<number>
Amended and Restated Regional Delegation Agreement (RDA) between Texas RE and NERC as approved by the Texas RE Board sent to NERC on October 2nd
NERC Staff seeking an extension for the FERC Filing of the RDAs
  FERC Filing was to be made on October 16th
  Allows the NERC Board of Trustees more time to review the 8 RDAs
  NERC Board of Trustees to approve on October 23rd
NERC will file NERC Board of Trustees approved RDAs at FERC
Notes: TRE Report to ERCOT TAC
November 2007
<number>

## Slide 7: Texas RE Fall Workshop
<number>
Held November 2nd – Austin Met Center
Updated participants on the 2007 Compliance Monitoring & Enforcement Program – provide a “sneak peek” at the 2008 Compliance Program
Proposed topics
  Texas RE Organization and Entity roles
    NERC Compliance Monitoring & Enforcement Program
    ERCOT Protocol and Operating Guides compliance
  Organization Registration
  Standards overview
  Assessing compliance
  Enforcement and sanctions
  Q & A
Speakers included Texas RE and NERC Staff

## Slide 8: 2008 Annual ERCOT Operations Training Seminar
<number>
Planning of the 2008 seminar – cooperative effort between the Seminar Working Group and Nodal Training Team.
Seminar will meet many training needs:
  Focus to be on Nodal Basic Training (Basic Training Program)
  NERC Training Requirements – PER-002 (Mandatory requirement for BA & TOP Operators – 5 days)
  ERCOT Operating Guide Requirements – Section 1.8.2 ( 40 hours of System Emergency Training for ERCOT ISO, ERCOT Transmission, and QSE Operators)
  NERC Continuous Education Hours (CEH’s) for RC, BA, TOP, & IA Operators.

## Slide 9: 2008 Annual ERCOT Operations Training Seminar
<number>
Priority given to target group of Operators – ERCOT ISO, TDSP, & QSE
Six (6) sessions – March 24th through May 2nd
Course length – 4 ½ days; Mondays, 9:00 am through Fridays, noon
Location – Austin Met Center
Registration fee still being reviewed - <$200, possibly considerably less
Registration will be through ERCOT’s Learning Management System
Attendees are responsible for making their own hotel reservations

## Slide 10: Texas Regional Entity
<number>
Report Details
Notes: TRE Report to ERCOT TAC
November 2007
<number>

## Slide 11: NERC CPS1 Performance
<number>
ERCOT’s CPS1 Performance
  September Performance
    September performance comparison
      September 2007: 128.83
      September 2006: 142.51
    12 month rolling average comparison
      October 2006 September 2007: 131.47
      October 2005 September 2006: 141.50
PRR 525 Performance
  Scores for September indicate all 34 non-wind-only QSEs passed the measure
  Scores posted on the ERCOT Compliance Website
    SCE Performance Scores
Notes: TRE Report to ERCOT TAC
November 2007
<number>

## Slide 12: ERCOT CPS1 Performance Comparison
<number>
Notes: TRE Report to ERCOT TAC
November 2007
<number>

## Slide 13: ERCOT CPS1 Scores
<number>

## Slide 14: ERCOT’s CPS1 Monthly Performance
<number>
Notes: TRE Report to ERCOT TAC
November 2007
<number>

## Slide 15: ERCOT CPS1 by Interval
<number>
Notes: TRE Report to ERCOT TAC
November 2007
<number>

## Slide 16: QSE PRR 525 10-Minute Interval Scoring
<number>
Notes: TRE Report to ERCOT TAC
November 2007
<number>

## Slide 17: PRR 525 Passing 10-Min Interval Percentage Trends
<number>
Notes: TRE Report to ERCOT TAC
November 2007
<number>

## Slide 18: September 2007 Resource Plan Performance Metrics
<number>
Notes: TRE Report to ERCOT TAC
November 2007
<number>

## Slide 19: Organization Registration Status
<number>
Of 227 entities registered in the ERCOT Region, 8 entities officially appealed their registration
  4 appeals resolved by the Texas RE
  3 Registered Entity appeals heard by NERC Board of Trustees Compliance Committee (BOT CC) – both appeals denied
    1 entity appealed their registration as a Transmission Owner
    1 entity appealed their registration as a Transmission Owner/Planner
    1 remanded to TRE to attempt resolution between 2 parties
  1 appeal remains pending and will go before the BOT CC for resolution of Generator Operator registration

## Slide 20: Violations of ERCOT Protocols Reported by Month
<number>

## Slide 21: Violations of NERC Standards Reported by Month
<number>

## Slide 22: NERC Standards Self-Reported Violations Pre-June 18th
<number>

## Slide 23: Risk Factors for Self-Reported Violations Pre-June 18th
<number>

## Slide 24: Self-Reported Violation Categorization
<number>