| PRR Number | 734 | PRR Title | Revisions to Congestion Management in McCamey Area Provisions |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Protocol Sections Requiring Revision |  | 2.2, Acronyms 7.8.2, Determination of Generation Limits 7.8.4, Determination of Tradeable Generation Rights 7.8.7, Trading or Other Uses of TGRs |  |  |
| Effective Date |  | December 1, 2007. |  |  |
| Priority and Rank Assigned |  | N/A. |  |  |
| Revision Description |  | This Protocol Revision Request (PRR) eliminates the 0600 hour timeframe by which ERCOT must post the Tradable Generation Right (TGR) limits in Section 7.8.2, deletes the requirements in Section 7.8.7, and revises the spelling of “Tradeable” to “Tradable” in Section 2.2 and Section 7.8.4. |  |  |
| Overall Market Benefit |  | N/A. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts |  | ERCOT credit staff and the Credit Working Group (Credit WG) have reviewed PRR734 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 7/30/07, PRR734 and its associated Impact Analysis (IA) were posted. - On 8/23/07, PRS considered this PRR. - On 9/20/07, PRS reviewed the IA and Recommendation Report. - On 10/5/07, TAC considered PRR734. - On 11/13/07, the ERCOT Board of Directors (Board) considered PRR734. |  |  |
| PRS Decision |  | On 8/23/07, PRS unanimously voted to recommend approval of PRR734 as submitted. All Market Segments were present for the vote. On 9/20/07, PRS reviewed the IA and Recommendation Report for PRR733 and voted to forward the documents to TAC. There was one abstention from the Consumer Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 8/23/07, there was no discussion. On 9/20/07, there was no discussion preceding the vote. |  |  |
| TAC Decision |  | On 10/5/07, TAC unanimously voted to recommend approval of PRR734 as submitted by PRS. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 10/5/07, there was no discussion. |  |  |
| Board Action |  | On 11/13/07, the Board approved PRR734 as recommended by TAC. |  |  |

| ERCOT/Market Segment Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | This PRR aligns Protocols requirements with actual procedures. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None | None |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | None | None |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | None |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | None |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | Isabel Flores |
| Company | ERCOT |
| Segment | n/a |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| None. |  |

Proposed Protocol Language Revision

2.2	Acronyms

TGR	Tradable Generation Right

[…..]

7.8	Congestion Management in McCamey Area

[…..]

7.8.2	Determination of Generation Limits

ERCOT shall periodically calculate the amount of generation that can be reliably operated within the McCamey Area considering the projected Dispatch of the total generating capacity in the McCamey Area, including any RMR Unit located in the McCamey Area, and any other factors that may affect the amount of local transmission transfer capability from the McCamey Area.  ERCOT shall post the results of this calculation for an Operating Day in the Day Ahead.

[….]

7.8.4	Determination of Tradable Generation Rights

(1)	One Tradable Generation Right (TGR) provides a QSE scheduling WPGRs located in the McCamey Area the opportunity to schedule one (1) MW of McCamey Area WPGRs in its Resource Plan for each hour of the relevant period (peak or off-peak).

(2)	ERCOT shall determine and allocate the on-peak and off-peak quantity of TGRs available to QSEs representing WPGRs located in the McCamey Area.  The number of TGRs available must be based upon compliance with the ERCOT security criteria.

(3)	ERCOT shall issue TGRs in on-peak and off-peak blocks as follows:

(a)	The on-peak block is for the period from hour ending 0600 through the hour ending1800; and

(b)	The off-peak block is for the period from hour ending1900 through the hour ending 0500.

[….]

[….]