## Slide 1: PRR 746 Revisions to Emergency Interruptible Load Service Provisions to Conform to Amended P.U.C. Subst. R. §25.507
WMS November 14, 2007
PRS November 15, 2007

## Slide 2: PUC Action & PRR 746 Timeline
Substantive Rule amending the Emergency Interruptible Load Service was proposed by PUC Staff in August 2007
  Project 34706
  Subst. R. §25.507
Commissioners on Nov. 1, 2007, adopted the Rule amendments on a 3-0 vote
Order adopting the amendments is pending
PRR 746 implementing the amended Rule needs to be in place for the next procurement cycle (Feb. thru May 2008)
Tentative date to issue the RFP is Dec. 12, 2007
  Consistent with previous RFP timelines
ERCOT Board meets on Dec. 11, 2007
Seeking WMS, PRS, TAC and BOD approval by that date

## Slide 3: PUC Rule Amendments
Significant changes made by the amended EILS Rule:
  Eliminates the definitions of Prime and Non-Prime (a.k.a. Business and Non-Business) Hours (§25.507(b)(4) and (5))
    ERCOT to establish Time Periods within a Contract Period
  Permits ERCOT to restructure the Contract Periods (currently 4 months) to facilitate additional load participation (§25.507(a)(2))
    Requires 90 days notice
  Raises the Cost Cap from $20M to $50M (§25.507(b)(3))
  Gives ERCOT explicit authority to reject a bid it deems to be ‘unreasonable or outside the parameters of an acceptable bid’ (§25.507(a)(3))
  Eliminates the 500 MW floor to run the Service (§25.507(a)(4))
  Eliminates the 500 kW peak demand floor for members of an aggregated EILS Resource (§25.507(c)(1)(b))
  Eliminates the long-term solution sunset provisions (§25.507(a)(6) and §25.507(h))

## Slide 4: PUC Rule Amendments (cont.)
Other changes made by the amended EILS Rule:
  Clarifies language relating to meters and meter data from EILS Resources in NOIE service territories or Private Use Networks (§25.507(c)(2))
  Clarifies that deployed EILS Resources may return to service only when released by ERCOT (§25.507(c)(4)(C))
  Establishes reporting requirements for ERCOT for each Contract Period (§25.507(f)):
    MW procured
    Number of Resources
    Total projected cost

## Slide 5: PUC Rule Amendments (cont.)
Allows exceptions to universal IDR metering for members of EILS aggregations if a ‘statistically valid alternative…consistent with industry best practices can be developed and approved by ERCOT’ (§25.507(c)(2)(B))
ERCOT will have dialogue with MP’s (DSWG, etc.) before filing a future PRR to address this provision

## Slide 6: PRR 746
Revisions in the PRR are straightforward and consistent with Rule amendments
However, the PRR looks more complex than it really is because of revisions to equations
All changes in equations are related to Time Periods

## Slide 7: Time Periods
Original Rule and current Protocols explicitly define Time Periods as follows:
  BUSINESS HOURS: 8 a.m.–8 p.m. M-F except Holidays
  NON-BUSINESS HOURS: All other hours
Original intent was for Business Hours block to attract resources that may not have sufficient Load online overnight and on weekends
Based on bids received, this has not worked as intended
  Vast majority of bids received have been from the same resources for all hours
Current Time Periods don’t accommodate temperature-sensitive loads

## Slide 8: Time Periods (cont.)
Amended PUC Rule gives ERCOT the ability to adjust and add Time Periods within a Contract Period
  ‘Time Periods: Sets of hours designated by ERCOT within a Contract Period’ (25.507(b)(5))
PRR 746 will allow ERCOT to establish Time Periods specific to seasonal Contract Periods

## Slide 9: Time Periods (cont.)
Time Period provision is a simple short definition in the amended PUC Rule (25.507(b)(5))
However, translating it into Protocol language requires revisions to numerous sections:
  ‘Business’ and ‘Non-Business’ hours are embedded as defined subscript terms in 7 different sets of equations in the Protocols
    Self-Provision Option 1 6.5.12(3)(d)
    Self-Provision Option 2 6.5.12(3)(d)
    Capacity Payments for EILS 6.8.6 (1)
    Settlement Obligation for EILS 6.9.4.4 (3)
    Performance Criteria (Default Baseline Availability) 6.10.13.3(b)(3)(iii)
    Performance Criteria (Alt. Baseline Availability) 6.10.13.3(c)(3)(iii)
    Performance Criteria (Availability adjustment) 6.10.13.3(f)

## Slide 10: Time Periods (cont.)
Currently, in each of the 7 instances, there are 2 otherwise identical equations, one each for:
  b = Business Hours
  nb = Non-Business Hours
PRR 746 eliminates the second equation and substitutes:
  tp = Time Period, as defined in the ERCOT Request for Proposal for the Contract Period
These changes look complex, but they simply modify the subscript references
There are no material changes to the equations

## Slide 11: Q&A
ON
OFF
Questions?