| PRR Number |  | PRR Title | Unannounced Generation Capacity Testing |
| --- | --- | --- | --- |
| Date Posted |  | DRAFT |  |
| Protocol Section(s) Requiring Revision (Include Section No. and Title) |  | 6.10.2 General Capacity Testing Requirements |  |
| Requested Resolution (Normal or Urgent, and justification for Urgent status) |  | Normal |  |
| Revision Description |  | Remove the seasonal testing requirement and add a requirement to update Operating Limits based upon ambient temperature |  |
| Reason for Revision |  | Testing conditions and Operating conditions can change substantially. QSEs will be required to ensure that their unit limits not only reflect operational issues but will consider the temperature impact on generation output |  |
| Overall Market Benefit |  | Improved accuracy in Reserve Reporting |  |
| Overall Market Impact |  |  |  |
| Consumer Impact |  |  |  |
| Credit Implications (Yes or No, and summary of impact) |  |  |  |
| Relevance to Nodal Market (Yes or No, and summary of impact) |  | Yes. |  |
| Nodal Protocol Section(s) Requiring Revision (Include Section No. and Title, and submit NPRR if applicable) |  |  |  |

| Sponsor |  |
| --- | --- |
| Name |  |
| E-mail Address |  |
| Company |  |
| Company Address |  |
| Phone Number |  |
| Cell Number |  |
| Market Segment |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

| Assumptions | 1 | Example: Key assumptions used in estimating market cost and/or benefit |  |
| --- | --- | --- | --- |
|  | 2 | Ex: Dependencies on other projects or other timing requirements |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | Example: Cost per MP to implement | Example: $10,000 each for 50 QSEs |
|  | 2 | Ex: Add’l staff required per MP | Ex: 1.5 FTE each for 6 TDSPs @ $65/hour |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Example: Reduced MP costs | Example: 2 FTE reduction for 25 CRs @ $65/hour |
|  | 2 | Ex: Enhanced MP efficiency | Ex: 2 hour savings per day for 50 generators @$65 |
|  | 3 | Ex: Reduced congestion cost | Ex: 0.5% reduction in total congestion cost |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | What to include here: Benefits that are difficult to quantify |  |
|  | 2 | What to include here: Benefits that are not certain but relatively likely |  |
|  | 3 | What to include here: Customer service impacts, cash flow impacts, transaction speed, etc. |  |
|  | 4 |  |  |
| Other Comments | 1 | What to include here: Thoughts on ERCOT systems impacts |  |
|  | 2 | What to include here: Potential manual workarounds or delivery options |  |
|  | 3 | What to include here: Other comments of value to PRS, TAC and the Board of Directors |  |
|  | 4 |  |  |

Proposed Protocol Language Revision

6.10.2	General Capacity Testing Requirements

QSEs shall provide ERCOT with an ambient reasonability limit curve for each  Generation Resource except for those used solely for energy services and whose capacity is less than ten (10) MW.  The ambient reasonability curve shall include temperature, auxiliary load and Gross and Net Real Power Capability.  QSEs shall update their resource plans and telemetry as necessary, to reflect  the ambient temperature limits as well as other operational limitations.  Any unit for which the QSE desires qualification to provide Ancillary Services shall have its Net Dependable Capability verified prior to providing services using the Generation Resource unit even if it fits the small capacity exception.  In order to verify proper limit reporting, ERCOT shall conduct unannounced Generation Resource tests at least once every two years. These test shall consist of ERCOT instructing the QSE to generate at HOL; upon receipt of the instruction the QSE will have 30 minutes to comply and must hold the value for 30 minutes.  The QSE must reach HOL within 30 minutes of receiving the instruction and must have a 30 minute integrated output of no less than 98% of HOL.  After each test, QSEs will complete and submit an updated test form which shall be published by ERCOT in the Operating Guides. ERCOT may test multiple resources simultaneously.  Failure to reach reported HOL by the Generation Resource shall require the QSE to update the ambient reasonability curve and its resource plan and telemetry.  A second failure within a two-year period shall result in a seven percent reduction to the last ambient reasonability curve reported by the Generation Resource.  The discounted ambient reasonability curve shall remain in effect for one year.      The capability of hydro units operating in the synchronous condenser fast response mode to provide hydro Responsive Reserve shall be evaluated by Season.