Agenda for Unannounced Unit Testing

- Discussion of HOL vs. HSL

  - Responsive Reserve is limited to no more than 20% of the lower of:

    - Resource Plan HOL

    - Last Full load test

    - Telemetered HOL to ERCOT via SCADA

  - HOL is currently used to calculate Responsive Reserve

    - Should we continue to use HOL or should HSL be used?

- Discussion of time allowed to reach HOL or HSL

  - Emergency conditions usually require a 30 minute or less response time

  - Participants should update their reported HOL & HSL to reflect what can be delivered during the hour

    - Resource Plans can be updated every 15 minutes

    - HOL is telemetered to ERCOT in real-time

- Discussion of temperature curve

  - Replace the current seasonal requirement with a requirement to submit a temperature dependant unit output curve

  - Participants will be required to update their Resource Plans and Telemetry to reflect their capabilities which should not exceed the submitted temperature curve

- Discussion of consequences for not reaching HOL or HSL