Distributed Generation Task Force

November 5, 2007 Meeting Notes

The DGTF met on November 5, 2007, to continue discussion of ERCOT’s  role in implementing HB 3693 provisions that are codified as PURA (Texas Utilities Code) §§ 39.914 and 39.916.  The DGTF is acting at the direction of the ERCOT Technical Advisory Committee (TAC).  These notes are for informational purposes only and are not intended to be binding on the meeting participants.  The notes, and much of the meeting discussion, are organized to reflect the relevant market participants and market relationships for the implementation of the HB 3693 provisions.

The next DGTF meeting will be held on November 19, 2007, from 9:30-4:00 at the ERCOT Met Center, Room 168.

# Large Renewable DG Proposal (50kw up to 2Mw)

## Register as PGC

## Use IDR (not required to be EPS-could be read monthly) with Load and Generation values

## Mandatory Use of REP’s QSE to schedule and account for energy produced by renewable DG

# Use of Profiling (see Carl Raish powerpoint presentation)

# Non-IDR Options for micro-DG (less than 50kw)

## 2 channel meters would produce 2 meter values-no time dimension

## How are they converted to time values for settlement?  Do they have to be converted? ERCOT market processes do not exist to settle Resource information unless it is reported in 15-minute increments.

## Currently only load would be settled through ERCOT-generation would be settled outside ERCOT through commercial means.

## Could excess generation be settled in ERCOT without a time dimension?

## Would the UFE caused by micro-DG be material?

# Types of Meters

## IDR (appx $157-300 cost plus ongoing monthly wires charges)

### Is it still a residential meter?

### Is there a different monthly metering charge for an IDR meter?

### How the meter reads would be provided (remotely or by a meter reader)

### Compare the cost of the metering to the cost of the DG installation

### “More data than kWh”, ERCOT and TDSP cost of handling the data of multiple meter locations

### Tariff modifications

### 810 and 867 transactions

## Single Meter capable of measuring inflow and outflow exists (Channel 1 and Channel 4)-monthly cumulative of each value (appx $75-100)

## Time-of-Use Meter

### Not all TDSPs have available

### Available TOU meters may be single-channel only

## Advanced Meter

### May replace one or more options when deployed

### Date of deployment uncertain

## Traditional Meter

### Questionable application to renewable DG-REP contract situations.

### May be useful for renewable situations in which owner does not have to (and does not want to) sell excess generation to REP.

Attendees:

Don Tucker, ERCOT

Adrian Marquez, ERCOT

Calvin Opheim, ERCOT

Terry Bates, Oncor

Carl Raish, ERCOT

Diana Ott, ERCOT

Jamie Mitchell, Austin Energy

Pam Jones, ERCOT

Rowland Curry, Fox, Smolen

Jerry Ward, Extyr

Chris Rowley, TXU Energy

Rob Bevill, Green Mountain

Michael Matlock, Gexa Energy

Jamie Lavas, ERCOT

John T. Wright, Tex La Electric Cooperative

Dave Smithson, PUC

Blake Gross, AEP TX

Eric Goff, Constellation Energy

Kevin Fox, Interstate Renewable Energy Council

Kathy Scott, CenterPoint Energy

Dave Crow, CenterPoint Energy

Patricial Look, Reliant

Mike McCabe, Reliant

Paul Smolen, Fox, Molen

Steve Wiese, Solar Alliance

Michael Sheehan,

Interstate Renewable Energy Council

Liz Jones, Chairman, DGTF