## VC Manual
| Document Name: | COMS - Verifiable Cost Manual
ID# | Issuing Entity | Name | Page Number | Description | Accepted / Rejected | Reviewer | Reason
1 | Suez | Mark Wright | No specific page defined with comments | Fuel consumption up to LSL should be included in Verifiable Cost. | Response | Ino Gonzalez | These costs are outside the scope of the current Nodal Protocols.
2 | Suez | Mark Wright | No specific page defined with comments | The Resources’ fuel consumption from LSL to breaker open should be part of the Verifiable Cost Process | Response | Ino Gonzalez | These costs are outside the scope of the current Nodal Protocols.
3 | Suez | Mark Wright | No specific page defined with comments | Shutdown Costs should be included as Verifiable Costs | Response | Ino Gonzalez | These costs are outside the scope of the current Nodal Protocols.
4 | Suez | Mark Wright | No specific page defined with comments | Shutdown costs should be guaranteed for all situations where a startup occurs | Response | Ino Gonzalez | These costs are outside the scope of the current Nodal Protocols.
5 | Suez | Mark Wright | No specific page defined with comments | All startup costs related to RUC instructions should recoverable even if prior to breaker close, the resource is instructed go back off. | Response | Ino Gonzalez | Need to clarify what "all startup costs" means. If these costs are are outside the current scope of the Nodal Protocols, then an NPRR is needed to update the Protocols.
6 | Suez | Mark Wright | No specific page defined with comments | In the event of a Resource incurring additional transportation charges, those charges should be part of the Verifiable Cost Process. | Response | Ino Gonzalez | These costs are outside the scope of the current Nodal Protocols.
7 | Suez | Mark Wright | No specific page defined with comments | Power Purchase Agreement costs incurred to meet commitment instructions should be part of the Verifiable Costs. | Response | Ino Gonzalez | These costs are outside the scope of the current Nodal Protocols.
8 | Suez | Mark Wright | No specific page defined with comments | All costs incurred as a direct result of the SPS actuation should be recoverable. | Response | Ino Gonzalez | These costs are outside the scope of the current Nodal Protocols.
9 | Suez | Mark Wright | No specific page defined with comments | Fuel curtailment costs should be part of the Verifiable Cost Process. | Response | Ino Gonzalez | These costs are outside the scope of the current Nodal Protocols.
10 | Suez | Mark Wright | No specific page defined with comments | Resources should be protected from costs incurred due to prices that diverge from the index prices. Proof of these events would be provided. | Response | Ino Gonzalez | These costs are outside the scope of the current Nodal Protocols.
11 | Reliant | Floyd Trefny | Page 7 Abbreviations | Change Lowest Sustainable Limit to: Low Sustained Limit Change Highest Sustainable Limit to: High Sustained Limit | Response | Ino Gonzalez | Did not make this change in the VC Manual since commments were received after the due date.
12 | Reliant | Floyd Trefny | Section 1 Page 8 | Verifiable Costs are used as a proxy for the costs a Resource incurs while operating. These costs are determined for, and allocated according to, the three discrete stages of the power generation cycle: startup through breaker close, [ need to address the cost of operating a unit after breaker close but before reaching the LSL, Units incur a fuel expense that is greater than that reimbursed by paying the kwh generated times the LMP at the SSP. Need to address how a generator operator collects these actual operating costs] operation at LSL, and operation above LSL. While Verifiable Costs are calculated uniquely for each of these stages, Verifiable Costs in all stages are a function of two types of costs: Fuel Costs and Operation and Maintenance (“O&M”) costs. | Response | Ino Gonzalez | These costs are outside the scope of the current Nodal Protocols.
13 | Reliant | Floyd Trefny | Section 1 Page 8 | The O&M component of Verifiable Costs is intended to capture various other non-fuel, incremental (marginal) costs a Resource incurs while generating power in a given period. The O&M component of Verifiable Costs is first calculated by the owner a Qualified Scheduling Entity (“QSE”) representing the Resource and then verified by ERCOT using data submitted by the ownerQSE. Both the data and the methods used to calculate these costs will vary, depending, for example, on the costs intended to be captured or on the different internal record-keeping and cost-allocation schemes implemented by Resources. Additional detail is provided in subsequent sections of this Manual. [ the generator may be under a PPA contract to the QSE/ the QSE does not know these costs] | Reject | Ino Gonzalez | All costs must be submitted by QSEs. ERCOT settles with QSEs and therefore, are the only entities that are reponsible for any financial transations with respect to settlement purposes. PPAs are outside the scope of the current Nodal Protocols.
14 | Reliant | Floyd Trefny | Section 1 Pages 8,9 | ERCOT calculates Verifiable Costs using data particular to a Resource and that is submitted by a QSE owner representing the Resource. Submitted data is only valid for a single Resource (i.e., it is Resource-specific). Generally, submitting data for the purpose of calculating Verifiable Costs is optional. However, Resources receiving RUC instructions are required to submit and update their Verifiable Costs in accordance with various deadlines detailed in the Nodal Protocols. | Reject | Ino Gonzalez | All costs must be submitted by QSEs. ERCOT settles with QSEs and therefore, are the only entities that are reponsible for any financial transations with respect to settlement purposes.
15 | Reliant | Floyd Trefny | Section 1 Page 9 | The process of calculating Verifiable Costs begins when an owner QSE submits, in the appropriate manner, cost and/or Resource performance data which is permitted by this document. ERCOT subsequently reviews the submitted data and will approve (“verify”) it if ERCOT finds the data to be sufficiently accurate and documented. Only after approving submitted data does ERCOT use it as a basis for calculating Verifiable Costs | Reject | Ino Gonzalez | All costs must be submitted by QSEs. ERCOT settles with QSEs and therefore, are the only entities that are reponsible for any financial transations with respect to settlement purposes.
16 | Reliant | Floyd Trefny | Section 2 Page 13 | RE: Generally Applicable Rules All Verifiable Cost data must be submitted by a QSE representing the Resource; ERCOT will NOT accept Verifiable Cost data directly from a Resource entity. WHY not?? | Response | Ino Gonzalez | All costs must be submitted by QSEs. ERCOT settles with QSEs and therefore, are the only entities that are reponsible for any financial transations with respect to settlement purposes.
17 | Reliant | Floyd Trefny | Section 2 Page 13 | RE: Generally Applicable Rules All references to Heat Rate Curves and Heat Rate data within this document refer to Net Output. This net must be on the same basis as the net that is provided to the generation control system via telemetry | Response | Ino Gonzalez | Need further clarification from Reliant.
18 | Reliant | Floyd Trefny | Section 2 Page 13 | RE: Generally Applicable Rules If fuel consumption rates vary by season, Resources mustmay submit such seasonal costs in accordance with the procedure describe herein. | Response | Ino Gonzalez | We can agree but we thought that the purpose of Verifiable costs is to show all true costs from resources.
19 | Reliant | Floyd Trefny | Section 2 Page 14 | RE: Generally Applicable Rules All submissions of Verifiable Cost data must include an affidavit that avers to the data’s accuracy and authenticity and that is signed by an officer of the QSE owner representing the Resource. | Reject | Ino Gonzalez | All costs must be submitted by QSEs. ERCOT settles with QSEs and therefore, are the only entities that are reponsible for any financial transations with respect to settlement purposes.
20 | Reliant | Floyd Trefny | Section 2 Page 14 | RE: Additional Rules for Combined Cycle Plants 1. Costs will only be verified for CCP configurations that are registered with ERCOT. A Resource Owner QSE representing a CCP must submit Verifiable Cost data for all registered configurations simultaneously. | Reject | Ino Gonzalez | All costs must be submitted by QSEs. ERCOT settles with QSEs and therefore, are the only entities that are reponsible for any financial transations with respect to settlement purposes.
21 | Reliant | Floyd Trefny | Section 2 Page 14 | RE: Additional Rules for Combined Cycle Plants 3. Resources submitting Verifiable Cost data for startup or operation at LSL must submit fuel and O&M data for each configuration mode registeredthat the plant will be operated at. Resources submitting Verifiable Cost data for operation above LSL may submit O&M data for each configuration at which the plant will be operated. | Response | Ino Gonzalez | OK
22 | Reliant | Floyd Trefny | Section 3 Page 16 | RE: Verifiable Startup Costs Policies 4. The Verifiable Startup Cost ($/start) for a Resource is the verified per-start fuel consumption rate (MMBtu/start) multiplied by the relevant fuel price ($/MMBtu) plus the verified O&M costs for the Resource.[ start-up costs can include shutdown costs too] | Reject | Ino Gonzalez | These costs are outside the scope of the current Nodal Protocols.
23 | Reliant | Floyd Trefny | Section 3 Page 16 | RE: Submitting Startup Costs Verifiable Startup Costs represent a proxy for all of the costs a Resource incurs during a sequence beginning when a Resource is first brought online and ending when the Resource synchronizes to the grid at transmission or distribution voltage (“breaker close”).reaches its LSL. | Reject | Ino Gonzalez | These costs are outside the scope of the current Nodal Protocols.
24 | Reliant | Floyd Trefny | Section 3 Page 17 | RE: Startup Fuel Consumption 7. Need to address how to capture fuel used to get to LSL and how to pay the differential from what will be paid because of standard settlement of Kwh generated times LMP and the actual cost of operation between breaker close and unit reaching LSL. | Response | Ino Gonzalez | Agree, we need to find a solution, but is not allowed under the current Protocols.
25 | Reliant | Floyd Trefny | Section 3 Page 18, 19 | RE: Hot Startup Cost Hot startup cost is the expected cost to start a Resource, which is in the "hot" condition. Hot conditions vary unit by unit, but in general, a steam unit is hot through an overnight shutdown. [this cost must be consistent with the number of hours provided for hot start-up in response to section 3.7.1.1 (j)] | Response | Ino Gonzalez | We need to evaluate how we are going to capture this data.
26 | Reliant | Floyd Trefny | Section 3 Page 19 | RE: Intermediate Startup Cost Intermediate startup cost is the expected cost to start a Resource that has recently been online and for which neither hot nor cold conditions are applicable. [this cost must be consistent with the number of hours provided for intermediate start-up in response to section 3.7.1.1 (k)] | Response | Ino Gonzalez | We need to evaluate how we are going to capture this data.
27 | Reliant | Floyd Trefny | Section 3 Page 19 | RE: Cold Startup Cost Cold startup cost is the expected cost to start a Resource which is in the "cold" condition. Cold conditions vary unit by unit, but in general, a unit is cold after a two or three-day shutdown. [this cost must be consistent with the number of hours provided for cold start-up in response to section 3.7.1.1 (l)] | Response | Ino Gonzalez | We need to evaluate how we are going to capture this data.
28 | Reliant | Floyd Trefny | Section 4 Page 20 | RE: Verifiable Minimum Energy Cost Policies 3. Resources must submit the LSL level of output (MW) expected during normal operations. This LSL should also represent the LSL a Resource expects to submit in future COPs and via telemetry in Real Time. | Response | Ino Gonzalez | ERCOT will utilize the LSL submitted with the COP. If there is a large discrepancy with the values submitted with real time telemetry then will have to evaluate our options.
29 | Reliant | Floyd Trefny | Section 4 Page 24 | RE: Verifiable IHR 2. Include the a, b, and c coefficients calculated from the IHR equation (i.e., IHR = 3ax2+2bx+c). An I/O curve is usually written as Fuel cost = A + Bx + Cx2+ Dx3. Then the IHR curve = B + 2Cx +3Dx2. Are you going to get the A, B, C, and Ds mixed up here. I think the EDS 3 test team is using the usual form of this. | Response | Ino Gonzalez | We can consider these proposed changes; however, some QSEs currently submit Heat Rate coefficients consistent with the ERCOT proposed equation. Furthermore, the California Energy Commission developed a set of guidelines for developing Heat Rates curves where they describe the equation of the I/O as: "The Input-Output Curve (Btu/hr) is as before represented by the third order equation: y = ax3+bx2+cx+d Where: y = Input fuel (Btu/hr) x = Output generation (MW) a - d = The coefficients defined by Table B-2 in Appendix B."
30 | Reliant | Floyd Trefny | Section 6 Page 26 | RE: Input-Output Curve 4. Submitted I/O Curves are to be defined by the third-order equation: y = ax3 + bx2+ cx + d [ need to be careful of the use of the A, B, C and D coefficients ] | Response | Ino Gonzalez | Agree.
20 | Reliant | Floyd Trefny
Floyd Trefny