MIS

Web Portal Requirements (B2)

v1.02

| Document Revisions |
| --- |
| Date | Version | Description | Author(s) |
| 08/30/2006 | 0.01 | First draft | Jane Cates |
| 09/05/2006 | 0.01 | Addition of sections 7-16 | Revis Taylor |
| 09/07/2006 | 0.10 | Added Non-Nodal Protocol Requirements | Jane Cates |
| 09/08/2006 | 0.10 | Added Operating Guide Requirements | Jane Cates |
| 09/11/06 | 0.20 | Added updates to sub-process traceability (sections 3.1.1 to 3.1.6) | Revis Taylor |
| 09/12/06 | 0.30 | Added updates to sub-process traceability (sections 3.1.7 to 3.1.9) | Nancy Bender |
| 09/13/06 | 0.40 | Expanded Assumptions | Jane Cates |
| 09/14/06 | .50 | Content & format changes from initial review by IDA | Jane Cates, Revis Taylor, Pat Harris |
| 09/18/06 | .60 | Incorporate IDA changes (Scott Quinn) (starting @ Sections 6 – 12 | Jane Cates |
| 09/1906 | .70 | Incorporate SAQ & KRR comments | Jane Cates |
| 10/3 | .10 | Incorporate all comments from Market Participant review | MIS team |
| 09/20/06 | .09 | Change header/footer to match correct template; and incorporate IDA final revisions | Jane Cates |
| 10/06/06 | .091 | Input accepted MP comments. | J. Cates |
| 10/11/06 | 1.0 | Update version number to reflect approval by TPTF | J. Cates |
| 07/16/07 | 1.01 | Revise based on NPRRs &PRRs (Baseline 1 and 2) NOTE: Additional requirements (appended wth .1, .2, etc.): FR 9.1 – pg. 15 FR 36.1 – pg. 27 FR 40.1 – pg. 29 FR 52.1 – pg. 34 FR 56.1 – pg. 36 FR 79.1 – pg. 47 FR 80.1 – pg. 49 FR 111.1 – pg. 63 FR 114.1 – pg. 65 FR 141.1 – pg. 80 FR 142.1 – pg. 81 FR 142.2 – pg. 81 FR 142.3 – pg. 82 FR 142.4 – pg. 82 FR 165.1 – pg. 93 FR 170.1 – pg. 96 FR 171.1 – pg. 97 FR 217.1 – pg. 117 FR 233.1 – pg. 125 FR 235.1 – pg. 126 FR 235.2 – pg. 127 FR 258.1 – pg. 136 FR 261.1 – pg. 138 FR 261.2 – pg. 138 FR 284.1 – pg. 148 | J. Cates |
| 11/27/07 | 1.02 | Include responses from Reliant: Floyd Trefney | J. Cates |

Table of Contents

1	SCOPE	2

1.1	MIS Web Portal objectives:	2

1.2	MIS Components:	2

1.3	Document Assumptions	2

2	Structure	2

3	Functional Requirements	2

3.1	Requirements from Nodal Protocols	2

3.2	Requirements from CURRENT PROTOCOLS	2

3.3	Requirements from OTHER BINDING DOCUMENTS	2

4	Supplementary Requirements	2

4.1	Performance Requirements	2

4.2	Legal and Regulatory requirements	2

4.3	System and Communication Requirements	2

4.4	System Security Requirements	2

4.5	Back up and Recovery Requirements	2

4.6	Availability and Redundancy Requirements	2

4.7	Maintainability Requirements	2

# SCOPE

The requirements listed in this document will provide a single point of access for Market Participants, the PUCT and ERCOT staff to Nodal market information, and to ERCOT market-facing applications that comply with Nodal Protocol requirements and standards which include:

Role-based security, allowing access to information on a need-to-know basis

Content displayed in the following categories:

- View-only data

- Extract data

- Reports for printing or download

- XML data for interface to internal (Market Participant) systems

- Access to ERCOT internal applications via UI

## MIS Web Portal objectives:

Specific MIS Web Portal (hereinafter referred to as MIS) objectives are to:

- Provide access to policies, guidelines, procedures, forms and applications for implementation and operation of Protocols described in the ERCOT Nodal Protocols Document.  (hereafter referred to as ‘the Protocols’).

- Enforce security policies to govern protected information as specified in Section 1.3.1.1.(b) of the Protocols.

- Provide secure access to specific information as described in the Protocols.

- Authenticate users of the portal according to established procedures / business rules.

- Allow authorized access to ERCOT application systems.

- Enable dynamic posting of approved content for authorized access.

- Accept comments, questions, and other input as described in the Protocols.

- Ensure scheduled only downtime for the portal. Adhere to scheduled only downtime instances as planned

- Accept input from Nodal applications for immediate and automated posting at specified frequencies.

- Provide an optimum user experience as measured through ERCOT and external Market Participant survey data.

- Maintain confidentiality of Market Participants’ information/data.

- Develop a catalog of data categories and procedures for handling, securing, and protecting information.

## MIS Components:

MIS will provide the following:

- Access to MIS is provided by means of ERCOT-issued digital certificates.  Users without a digital certificate will not be able to access MIS, but can access public information through ERCOT.com or through other public-facing websites. Access to information classified as Critical Energy Infrastructure Information (CEII) used by market participants and researchers may be accessed with a user name and password on the Operations and System Planning Data website. Market participants, however, will be able to access this information directly via digital certificate and will not have to sign in.

- Configurable ‘My Page’ that provides for content access according to user preferences.

- Authentication System that enables levels of access to data/applications by means of digital certificates.  “Single sign-on” capability, passing credentials through to applications as they are loaded.

- Data Categorization of PUBLIC, SECURE, and CERTIFIED:

Public – is available to anyone who accesses MIS.

Secured – is available after identification through a digital certificate.

Certified – is available after identification through a digital certificate and is further determined based on MIS and roles.

- Dynamic-Update Area where information is posted such as temperature, load requirements and forecasts, weather forecasts and assumptions, and other system information which may be captured either automatically or posted manually by ERCOT.

- A Content Area where data such as engineering studies, monthly reports, policies and procedures, special forms, etc. can be posted and accessed.

- A Messaging Area where MIS posts notifications and requests.

- Authenticated Access to Applications 
(A launch pad) as described in the Protocols.

- Search engine and query capabilities.

- A Dashboard Style Application
for display of Market Participant specific information.

## Document Assumptions

The requirements contained in this document were obtained from MIS references in Nodal Protocols dated August 2007, Current Protocols that are posted under the Current Protocols section of ERCOT.com (http://www.ercot.com/mktrules/protocols/current.html) that are not superseded by the Nodal protocols, and Other Binding Documents.

The following sections further define the MIS assumptions.

### General Assumptions

MIS will be available to all Market Participants with a digital certificate issued by ERCOT who transact with ERCOT.

All information required to be posted on MIS will be available to the MIS from the appropriate application systems.

All data transactions will be processed by the Enterprise Service Bus, which has the capability to support the data load.

MIS availability is dictated by the following minimum browser configuration:  
Microsoft © Internet Explorer, Version 6 with Javascript enabled.

ERCOT will post to the MIS all documents specified by PUCT Substantive Rules.

### Security

MIS is responsible for authentication and authorization through the policy server and will conform to the User Role Access designation.

MIS will rely on the Digital Certificate issuance policies performed by ERCOT Market Services in conjunction with ERCOT Legal and Finance for user authentication as outlined by ERCOT Security Standards.

### Data and Applications

The business area that owns each application is responsible for data validation prior to posting on the MIS.  All services presented by the MIS portal will adhere to the ERCOT Common Information Model

MIS is not responsible for data formatting or transformation.  MIS is solely an access point for data, but is responsible for presenting data as received from source systems.

Where requirements state a posting frequency such as “continuously”, it is assumed that MIS will display data as it becomes available.

MIS will not be responsible for posting partial data sets; data that are posted are assumed to be verified by the source system(s).

MIS will conform to the fail-over scheme defined in the Disaster Recovery guidelines for ERCOT applications and data.

MIS will not develop user interfaces. Each application is responsible for developing and providing its own user interface according to the ERCOT Developers User Guide.

### Storage and Retention

Application data will be retrieved from existing ERCOT business applications through the Enterprise Service Bus except where explicitly defined otherwise in the Requirements detail sections of this document.

Application data retention and expiration is the responsibility of the data/business owners.

### Performance

Service level agreements (SLAs) and web transaction services will exist between integration points (business applications) and the MIS portal to provide appropriate response time.

### MIS Migration and Integration

A plan for migrating to the new MIS portal as well as integration with existing ERCOT data will be determined and documented during the Conceptual Design phase.

# Structure

This document is structured into the following sections:

Nodal Protocol Requirements

Current Protocol Requirements

Other Binding Documents

All protocol references are from the Protocols dated August  2007.

# Functional Requirements

## Requirements from Nodal Protocols

### Section 1 – Overview

| Requirement Id | FR1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 1.1 (2) AUG06 PR 1.1 (2) (b)(i) AUG06 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Provide a list of all approved “Other Binding Documents” on MIS Public. Posting Category: Secure Posting Frequency: Within 5 business days of change Protocol Text: 1.1.(2) ERCOT shall post all Other Binding Documents to a part of the MIS Secure Area that is reserved for posting of Other Binding Documents. “Other Binding Documents” means: The Operating Guides, the Retail Market Guide, the Settlement Metering Operating Guides, the Power System Planning Charter and Process, Texas SET, the Texas Market Test Plan, and the ERCOT Creditworthiness Standards; and The policies, guidelines, procedures, forms, and applications that satisfy all the requirements listed below: (i) Before the policy, guideline, procedure, form, or application takes effect, ERCOT must e-mail it to all affected registered Market Participants and must post it to the part of the MIS Secure Area that is reserved for posting of Other Binding Documents. ERCOT must use reasonable efforts to e-mail and post the policy, guideline, procedure, form, or application at least 30 days before it takes effect, but ERCOT must e-mail and post the policy, guideline, procedure, form, or application at least 15 Business Days before it takes effect, unless ERCOT reasonably determines that an urgent circumstance necessitates a shorter notice period or the ERCOT Board approves a shorter notice period. (ii) If either the e-mail or posting under Section 1.1(2)(b)(i) occurs less than 30 days before the policy, guideline, procedure, form, or application takes effect, ERCOT must include in the e-mail and posting an explanation of why it was not able to give 30 days’ advance notice before the policy, guideline, procedure, form, or application takes effect. (iii) ERCOT must label the policy, guideline, procedure, form, or application at the top of its first page with the words “Other Binding Document under Section 1.1 of the Protocols.” (iv) The policy, guideline, procedure, form, or application must expressly state how long it will be in effect. |

| Requirement Id | FR2 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 1.3.3(1)(b) AUG06 PR 1.3.3(1)(c)(iv) ) AUG06 PR 1.3.3(2) ) AUG06 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Provide access to protected information at the expiration of the confidentiality period. Posting Category: Secure Posting Frequency: After the Protected Information status expires. This is a rolling requirement. Protected Information status changes according to PUCT Rules. {note the current protocols are not in compliance with the disclosure rules of the commission. Nodal staff is drafting a NPRR that will effect this section.) Protocol Text: 1.3.3 (1) (b) The Protected Information status of part of the data specified under Section 1.3.1.1(b) expires 180 days after the applicable Operating Day, and ERCOT at that time shall make that part of the data available on the MIS Secure Area in a standard reporting format. That part of the data for which the Protected Information status expires and which is to be posted is as follows: (i) Ancillary Service Offers by Operating Hour for each QSE for all Ancillary Service submitted for the DAM or any SASM; (ii) The quantity of Ancillary Service offered by Operating Hour for each QSE for all Ancillary Service submitted for the DAM or any SASM; and (iii) Energy Offer Curve prices and quantities for each Settlement Interval by Resource. (c) The Protected Information status of data specified under Section 1.3.1.1(c) (through (h) expires 180 days after the applicable Operating Day. One hundred eighty days after the Operating Day, ERCOT shall make the following information available on the MIS Secure Area in a standard reporting format: (i) Ancillary Service Obligation and Ancillary Service Supply Responsibility for each QSE; (ii) Actual metered Resource values for each QSE by Resource by Settlement Interval; (iii) Complete Current Operating Plan data for each QSE snapshot on each hour; and (iv) Adjusted Metered Load for each QSE by LSE, by Load Zone and by Settlement Interval, both from the initial settlement and all subsequent settlements. ERCOT shall post each subsequent Adjusted Metered Load within seven days after the subsequent settlement operation is finished. Data from the first posting and all subsequent settlement postings must remain accessible for at least 24 months after the Operating Day. (2) Upon the expiration of the Protected Information status of any data as specified in Section 1.3.3, Expiration of Confidentiality, paragraph (1), that data must be made available to the extent required under Section 12, Market Information System. |

| Requirement Id | FR3 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 1.4.3.1.1(2) AUG06 PR 1.4.4 AUG06 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Provide the name of ERCOT TAC Chairperson to which Market Participants may send materials about Audit issues. Provide access to available Audit reports, results of audits, and recommended actions. Posting Category: Name of TAC chairperson: Public Audit reports, audit results & recommended actions: Public Posting Frequency: Name of TAC chairperson: Not specified Audit reports, audit results & recommended actions: Within one week of availability Protocol Text: Members and Market Participants shall send any requests regarding such issues to the ERCOT TAC Chairperson designee identified on the MIS for inclusion on the TAC agenda. ... The results of the audits and recommended actions to be taken by ERCOT must be provided to ERCOT Members and Market Participants upon request. ERCOT shall post the availability of audit reports, results of audits, and recommended actions on the MIS Public Area within one week of availability. |

| Requirement Id | FR4 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 1.5 AUG06 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post a schedule of ERCOT fees and charges. Posting Category: Public Posting Frequency: Within two business days of change Protocol Text: ... ERCOT shall post a schedule of ERCOT fees and charges on the MIS Public Area within two Business Days of change. |

### Section 2:  Definitions and Acronyms – No MIS directives

### Section 3:  Management Activities for the ERCOT System

| Requirement Id | FR5 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.1.1 (2) (h) AUG07 PR 3.1.1 (2) (i) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P03CoordinateOutages |
| Coverage of Sub-Process |  |
| Description: Post all proposed and approved schedules for Planned Outages and Maintenance Outages of Transmission Facilities. Posting Category: Secure Posting Frequency: within 1 hour Protocol Text: Posting all proposed and approved schedules for Planned Outages and Maintenance Outages of Transmission Facilities on the Market Information System (MIS) Secure Area under Section 3.1.5.13, Transmission Report; Creating aggregated schedules of Planned Outages for Resources and posting those schedules on the MIS Secure Area under Section 3.2.3, System Adequacy Report; |

| Requirement Id | FR6 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.1.3.1 (2) AUG07 PR 3.1.3.2 (2) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P03CoordinateOutages |
| Coverage of Sub-Process |  |
| Description: Post statistics of how TSP Planned outages compare with actual TSP outages. Provide statistics of how Resource Planned Outages compare with actual Resource Outages. Posting Category: Secure Posting Frequency: TSP Statistics: Semi-annually Resource Statistics: Monthly Protocol Text: ERCOT shall report statistics on how TSP Planned Outages compare with actual TSP Outages, post those statistics to the MIS Secure Area, and report those statistics to ERCOT subcommittees twice per year. However, to the extent Outages are required to repair or improve telemetry accuracy or failures, the Outage must not be counted against the TSP in its performance of planning Outages, because such Outages cannot reasonably be forecasted 12 months in advance. ERCOT shall report statistics monthly on how Resource Planned Outages compare with actual Resource Outages, and post those statistics to the MIS Secure Area. |

| Requirement Id | FR7 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.1.5.7 (1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P03CoordinateOutages |
| Coverage of Sub-Process |  |
| Description: Post notice of withdrawal of approved Transmission Facility outages and Rescheduling of Approved Planned Outages and Maintenance Outages Posting Category: Secure Posting Frequency: Within an hour of change Protocol Text: If ERCOT believes it cannot meet the applicable reliability standards and has exercised reasonable options, ERCOT may contact the TSP for more information prior to its withdrawal of the approval for a Planned Outage or Maintenance Outage Schedule. ERCOT shall inform the affected TSP both orally and in written or electronic form as soon as ERCOT identifies a situation that may lead to the withdrawal of ERCOT’s approval. If ERCOT withdraws its approval, the TSP may submit a new request for approval of the Planned Outage or Maintenance Outage Schedule provided the new request meets the submittal requirements for Outage Scheduling. If ERCOT withdraws approval of Planned Outages and Maintenance Outages of Transmission Facilities, ERCOT shall post notice through the MIS Secure Area as soon as practicable but not later than one hour of the change to inform Market Participants. |

| Requirement Id | FR8 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.1.5.13 (a) and (b) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P03CoordinateOutages |
| Coverage of Sub-Process |  |
| Description: Post any proposed and approved Transmission Facilities Outages Posting Category: Secure Posting Frequency: Proposed: Within one hour of receipt Approved: Within one hour of approval Protocol Text: ERCOT shall post on the MIS Secure Area: (a) All Proposed Transmission Facilities Outages that have not yet been accepted, approved or rejected within one hour of receipt by ERCOT; and (b) Any approved, accepted or rejected Transmission Facilities Outage within one hour of approval, acceptance or rejection of the Outage. |

| Requirement Id | FR9 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.2.2 AUG07 3.12 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P05ForecastLoad |
| Coverage of Sub-Process |  |
| Description: Publish peak demand forecasts by load zone (36-Month Load Forecast) Posting Category: Secure Posting Frequency: Weekly Protocol Text: (1) ERCOT shall develop and publish monthly on the MIS Secure Area peak Demand forecasts by Forecast Zone for each week, starting with the second week for the next 36 months using the 36-Month Load Forecast as described in Section 3.12, Load Forecasting. During the development of this forecast, ERCOT may consult with QSEs, TSPs, and other Market Participants that may have knowledge of potential Load growth. (2) ERCOT may, at its discretion, publish on the MIS additional peak Demand analyses for periods beyond 36 months. (3) ERCOT shall develop and publish hourly on the MIS Secure Area peak Demand forecasts by Forecast Zone for each hour of the next seven days using the Seven-Day Load Forecast as described in Section 3.12. (4) For purposes of Demand forecasting, ERCOT may choose to use the same forecast as that used for the Load forecast. |
| Requirement Id | FR9.1 |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.2.3 (1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P05ForecastLoad |
| Coverage of Sub-Process |  |
| Description: Post a Medium Term System Adequacy Report Posting Category: Secure Posting Frequency: Weekly Protocol Text: (1) ERCOT shall generate and post a “Medium-Term System Adequacy Report” on the MIS Secure Area. ERCOT shall update the report monthly using the latest aggregate Generation Resource capacity and Load Resource capacity. The data will be provided for each week, starting with the second week, of a rolling 36-month period. The Medium-Term System Adequacy Report will provide: (a) Generation Resource capacity at the time of forecasted weekly peak Demand; (b) Load Resource capacity at the time of the forecasted weekly peak Demand; (c) Weekly peak forecast Demand described in Section 3.2.2, Demand Forecasts; (d) Calculated system reserve, highlighting any deficiency hours that excludes Load Resource capacity; (e) Calculated system reserve, highlighting any deficiency hours that includes Load Resource capacity shown as a reduction in forecast Demand; (f) Ancillary Service requirements; and (g) Transmission constraints that have a high probability of being binding in SCED or DAM given the forecasted system conditions for each week excluding the effects of any Transmission or Resource Outages. |

| Requirement Id | FR10 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.2.3 (2) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P05ForecastLoad |
| Coverage of Sub-Process |  |
| Description: Post a Short-Term Adequacy Report Posting Category: Secure Posting Frequency: Hourly Protocol Text: (2) ERCOT shall generate and post a “Short-Term System Adequacy Report” on the MIS Secure Area. ERCOT shall update this report hourly following updates to the Seven-Day Load Forecast and on detection of a change to Resource Status that changes the availability of a Resource. The Short-Term System Adequacy Report will provide: (a) For Generation Resources, the available On-Line Resource capacity for each hour, using the COP for the first seven days; (b) For Load Resources, the available capacity for each hour using the COP; (c) Forecast Demand for each hour described in Section 3.2.2, Demand Forecasts; (d) Ancillary Service requirements for the Operating Day and subsequent days; and (e) Transmission constraints that have a high probability of being binding in SCED or DAM given the forecasted system conditions for each week including the effects of any Transmission or Resource Outages. The binding constraints may not be updated every hour. |

| Requirement Id | FR12 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.3.2.2 AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post information about each new transmission element to be installed on the ERCOT transmission grid (Record of Approved Work) Posting Category: Secure Posting Frequency: Monthly Protocol Text: ERCOT shall maintain a record of all work approved in accordance with Section 3.3, Management of Changes to ERCOT Transmission Grid, and shall publish, and update monthly, information on the MIS Secure Area regarding each new Transmission Element to be installed on the ERCOT Transmission Grid. |

| Requirement Id | FR13 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.5.1(1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post the list of Electrical Buses that are part of a Hub Posting Category: Public Posting Frequency: As each hub is defined Protocol Text: Hubs settled through ERCOT may only be created by an amendment to Section 3.5.2, Hub Definitions. Hubs are made up of one or more Electrical Buses. ERCOT shall post the list of Electrical Buses (including their names) that are part of a Hub on the MIS Public Area. A Hub, once defined, may not be modified except as explicitly described in the definition of that Hub. |

| Requirement Id | FR14 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.5.1(2) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Notify all market participants when any Electrical Bus is removed from the Network Operations Model or the CRR Network Model through permanent changes. Posting Category: Public Posting Frequency: As soon as practicable Protocol Text: (2) When any Electrical Bus within a Hub Bus is removed from the Network Operations Model or the CRR Network Model through permanent changes to the Network Operations Model or CRR Network Model, ERCOT shall provide notice to all Market Participants on the MIS Public Area as soon as practicable and exclude that Electrical Bus from the Hub Bus price calculation. |

| Requirement Id | FR15 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.5.1(4) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Notify all market participants when any Electrical Bus is disconnected from the Network Operations Model or the CRR Network Model through temporary operations changes in transmission topology. Posting Category: Secure Posting Frequency: As soon as practicable, with real time implications Protocol Text: When any Electrical Bus within a HUB bus is disconnected from the Network Operations Model or the CRR Network Model through operations changes in transmission topology temporarily, ERCOT shall provide notice to all Market Participants as soon as practicable and exclude that Electrical Bus from the Hub price calculation. |

| Requirement Id | FR16 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.5.3.1 AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post a list of all the Hub buses included in each Hub Posting Category: Public Posting Frequency: As each hub is defined Protocol Text: ERCOT shall post a list of all the Hub Buses included in each Hub on the MIS Public area. The list must include the name and kV rating for each Electrical Bus included in each Hub Bus. |

| Requirement Id | FR18 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10 (3) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post transmission element equipment ratings and rating methodology Posting Category: Secure Posting Frequency: The day prior to the ratings becoming effective and seven days following the change in methodologies Protocol Text: TSPs shall provide ERCOT with equipment ratings and update the ratings as required by ERCOT. ERCOT shall post all equipment ratings on the MIS Secure Area no later than the day prior to the ratings becoming effective including the identity of the Transmission Element, old rating and new rating, effective date, and a text reason supplied by the appropriate TSP(s) for the rating change. ERCOT may request TSPs to provide detailed information on the methodology, including data for determination of each requested rating. ERCOT may review and comment on the methodology. ERCOT shall post all methodologies on the MIS Secure Area within seven days following a change in methodology. |

| Requirement Id | FR19 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10(4) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post dynamic ratings and ambient temperatures used to calculate ratings. Posting Category: Secure Posting Frequency: At the time the model is published Protocol Text: ERCOT must use system ratings consistent with the ratings expected to be used during Real-Time for the system condition being modeled, including Dynamic Ratings using expected temperatures for those system conditions. For each model, ERCOT shall post ratings and the ambient temperatures used to calculate the ratings on the MIS Secure Area when the model is published. |

| Requirement Id | FR20 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10(8) AUG076 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post NOMCRs and current status on the in-service date, including any prerequisite NOMCRs provided by the requestor Posting Category: Secure Posting Frequency: Within five business days of receipt of the NOMCR Protocol Text: ERCOT shall track each request received from TSPs and Resources via the NOMCR process, through implementation and final testing of the change. ERCOT shall notify each NOMCR requestor when the requested change is processed and implemented in accordance with Section 3.10.1, Time Line for Network Operations Model Change Requests, ERCOT shall also provide the submitting TSP a link to a network model containing the change for verifying the implementation of the NOMCR and associated one-line displays. ERCOT shall post all NOMCRs on the MIS Secure Area within five Business Days following receipt of the NOMCR, consistent with CEII standards. When posting a NOMCR, each change must be posted using the CIM data exchange format showing incremental changes to the last posted ERCOT Network Operations Model, to facilitate TSPs and other Market Participants in updating their internal network models to reflect changes made at ERCOT. For each NOMCR, ERCOT shall post on the MIS Secure Area current status on the in-service date, including any prerequisite NOMCRs provided by the requestor. |

| Requirement Id | FR21 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10 (10) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post any changes to NOMCRs Posting Category: Secure Posting Frequency: Within three business days of accepting corrections to NOMCR Protocol Text: Any requestor of an NOMCR must receive approval from ERCOT of an NOMCR before connecting of any associated equipment to the ERCOT Transmission Grid. ERCOT shall notify a requestor of any deficiencies in its NOMCR. ERCOT shall accept corrections to the NOMCR if the requestor has corrected any deficiencies by the required submittal date. ERCOT shall post any changes to an NOMCR on the MIS Secure Area within three Business Days of accepting corrections. |

| Requirement Id | FR22 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10 (11) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Publish a summary of approved NOMCRs Posting Category: Secure Posting Frequency: Following ERCOT approval of an NOMCR Protocol Text: On receipt of the information set forth in Section 3.10.7, ERCOT System Modeling Requirements, ERCOT shall review the information and notify the requestor of any required modifications. ERCOT may, at its discretion, require changes or more details regarding the work plan for the NOMCR. The requestor shall notify ERCOT and any other affected Entities as soon as practicable of any requested changes to the work plan defined in the NOMCR. The requestor shall consult with other Entities likely to be affected and shall revise the work plan, following any necessary or appropriate discussions with ERCOT and other affected Entities. ERCOT shall approve or reject the request, including any revisions made by the requestor, within 15 days of receipt of the complete request and any revisions. Following ERCOT approval, ERCOT shall publish a summary of the NOMCR on the MIS Secure Area. |

| Requirement Id | FR23 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10.2 (3) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post the annual planning transmission model. Posting Category: Secure Posting Frequency: On schedule Protocol Text: ERCOT shall make available to TSPs and/or DSPs and all appropriate Market Participants, consistent with applicable policies regarding release of Critical Energy Infrastructure Information (CEII), the transmission model used in transmission planning. ERCOT shall provide model information through the use of the Electric Power Research Institute (EPRI) and NERC sponsored “Common Information Model” and web-based XML communications. |

| Requirement Id | FR24 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10.2 (4) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post the submittal schedule for updating transmission information and models Posting Category: Secure Posting Frequency: Six months before the annual and two-year CRR auctions Protocol Text: ERCOT shall establish a detailed submittal schedule for updating transmission information. ERCOT shall post such information and the model on the MIS Secure Area six (6) months prior to the annual and two-year CRR auctions. |

| Requirement Id | FR25 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10.3 (5) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post the CRR Network Model Posting Category: Secure Posting Frequency: As developed Protocol Text: ERCOT shall make available to TSPs and/or DSPs and all appropriate Market Participants, consistent with applicable policies regarding release of Critical Energy Infrastructure Information (CEII), the CRR Network Model. ERCOT shall provide model information through the use of the Electric Power Research Institute (EPRI) and NERC-sponsored “Common Information Model” and web based XML communications. |

| Requirement Id | FR26 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10.4 (1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P04EstimateStateAnalyzeContingencies |
| Coverage of Sub-Process |  |
| Description: Post all documents relating to the State Estimator Performance Standard Posting Category: Secure Posting Frequency: On TAC approval of new standard Protocol Text: ERCOT shall design, install, operate, and maintain its systems and establish applicable related processes to meet the TAC-approved State Estimator (SE) performance standard for Transmission Elements that under typical system conditions potentially affect the calculation of LMPs as described in Section 3.10.7.5, Telemetry Criteria, and Section 3.10.9, State Estimator Performance Standard. ERCOT shall post all documents relating to the State Estimator Performance Standard on the MIS Secure Area. |

| Requirement Id | FR27 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10.4 (4) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post comparison test results between the current and new Network Operations Model Posting Category: Secure Posting Frequency: Within one week following the completion of the comparison test run. Protocol Text: ERCOT shall install Energy Management System test and simulation facilities that accommodate execution of the State Estimator and LMP calculator, respectively. These facilities will be used to conduct tests prior to placing a new model into ERCOT’s production environment to verify the new model’s accuracy. The Energy Management System test facilities allow a potential model to be tested before replacing the current production environment model. The Energy Management System test and simulation facilities must perform Real-Time Security Analysis to test a proposed transmission model before replacing the current production environment model. The Energy Management System State Estimation test facilities must have Real-Time ICCP links to test the state estimation function using actual Real-Time conditions. The Energy Management System LMP Test Facilities must accept data uploads from the production environment providing QSE Resource offers, and telemetry via ICCP. If the production data are unavailable, ERCOT may employ a data simulation tool or process to develop test data sets for the LMP Test Facilities. ERCOT shall acquire model comparison software that will show all differences between the next production model and production environment model and shall post this information on the MIS Secure Area within one week following test completion. This comparison shall indicate differences in device parameters, missing or new devices, and status changes. |

| Requirement Id | FR28 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10.4 (5) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Provide Notice via electronic means to all Market Participants and post interim update changes to the Network Operations Model Posting Category: Secure Posting Frequency: Within two business days following report of interim updates to PUCT and WEMM Protocol Text: When implementing Transmission Element changes, ERCOT shall correct errors uncovered during testing that are due to submission of inaccurate information. Each TSP shall provide reasonably accurate information at the time of the original submission. ERCOT may update the model on an interim basis, outside of the timeline described in Section 3.10.1, Time Line for Network Operations Model Change Requests, for the correction of temporary configuration changes in a system restoration situation, such as after a storm, or correction of impedances and ratings. Interim updates to the Network Operations Model caused by unintentional inconsistencies of the model with the physical transmission grid may be made. If an interim update is implemented, ERCOT shall report changes to the PUCT staff and the WEMM. ERCOT shall provide notice via electronic means to all Market Participants and post the notice on the MIS Secure Area detailing the changed model information and the reason for the interim update within two Business Days following the report to PUCT staff and WEMM. |

| Requirement Id | FR30 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10.7.1 (2) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post all names and parameters of all Transmission Elements Posting Category: Secure Posting Frequency: By 0600 each day Protocol Text: Each Transmission Element must have a unique identifier using a consistent naming convention used between ERCOT and TSPs. ERCOT shall develop the naming convention with the assistance of the TSP and the approval of TAC. The Transmission Element naming convention must be based on a methodology that uses a prefix that uniquely identifies the TSP, followed by the name of the equipment used by the TSP. In addition to the Network Operations Model releases described in Section 3.10.1, Time Line for Network Operations Model Change Requests, ERCOT shall provide all names and parameters of all Transmission Elements to Market Participants posted on MIS Secure Area by 0600 each day. |

| Requirement Id | FR31 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10.7.1.4 (5) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post information regarding all transformers represented in the Network Operations Model Posting Category: Secure Posting Frequency: When model is updated Protocol Text: ERCOT shall post to the MIS Secure Area information regarding all transformers represented in the Network Operations Model. . |

| Requirement Id | FR32 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10.7.1.5 (3) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post information regarding switching device operations for devices in the Network Operations Model Posting Category: Secure Posting Frequency: When model is updated Protocol Text: The ERCOT Operating Guides must include parameters for standard reactor and capacitor switching plans for use in the Network Operations Model. ERCOT shall model the devices under Section 3.10.4, ERCOT Responsibilities, in all applicable ERCOT applications and systems. ERCOT shall provide copies of the switching plan to the Market Participants via the MIS Secure Area. Any change in TSP guidelines or switching plan must be provided to ERCOT before implementation (except for emergency). Any change in guidelines or switching plan must be provided in accordance with the NOMCR process or other ERCOT-prescribed process. |

| Requirement Id | FR33 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10.7.4 (2) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post all Special Protection Systems (SPS) and Remedial Action Plans (RAP) under consideration Posting Category: Secure Posting Frequency: within five business days of receipt Protocol Text: Proposed new SPSs and RAPs and proposed changes to SPSs and RAPs must be submitted to ERCOT for review and approval by ERCOT and all directly affected TSPs and Resource Entities under the applicable procedures in the Operating Guides. Once a new or changed SPS or RAP is approved by ERCOT and all directly affected TSPs and Resource Entities, the TSP shall submit the approved SPS or RAP to ERCOT using an NOMCR. The NOMCR must include a detailed description of the system conditions required to implement the SPS or RAP. Execution of an SPS or RAP must be included or assumed in the calculation of LMPs as well as the Network Operations Model. ERCOT shall post all SPSs and RAPs under consideration on the MIS Secure Area within five Business Days of receipt by ERCOT . |

| Requirement Id | FR34 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10.7.4 (3) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post all Approved SPSs and RAPs Posting Category: Secure Posting Frequency: Within two business days before implementation Notes: Need to identify all RAPs and and SPSs as well as provide a means to identify when the RAP or SPS went into effect and when it may be scheduled to no longer be necessary. This is primarily a business process with resultant data element for posting – needs to be near-real-time posting frequency. Protocol Text: ERCOT shall model, and include in the Security Analysis, approved SPSs and RAPs. ERCOT shall post on the MIS Secure Area all approved SPSs and RAPs at least two Business Days before implementation, identifying the date of implementation. |

| Requirement Id | FR35 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10.7.5.1(2) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post performance metrics on TSPs and QSEs in providing accurate data. Posting Category: Secure Posting Frequency: On a monthly basis Protocol Text: ERCOT shall measure TSP or QSE performance in providing accurate data that do not include ambiguous changes in state and shall report the performance metrics on the MIS Secure Area on a monthly basis. |

| Requirement Id | FR36 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10.7.5.2 (5) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post notice of electrical buses not meeting TAC approved accuracy requirements, including a list of all measurements and the residual errors Posting Category: Secure Posting Frequency: Monthly Protocol Text: Each TSP, QSE and ERCOT shall develop a continuously operated program to maintain telemetry of all Transmission Element measurements to provide accurate results using TAC-approved accuracy standards from the State Estimator. For any location where there is a connection of multiple, measured, Transmission Elements, ERCOT shall have an automated process to detect and notify ERCOT system operators if the residual sum of all telemetered measurements is more than (a) five percent of the largest line rating at the Electrical Bus or (b) five MW, whichever is greater. If a location chronically fails this test, ERCOT shall notify the applicable TSP or QSE and suggest actions that the TSP or QSE could take to correct the failure. Within 30 days, the TSP or QSE shall take the actions necessary to correct the failure or provide ERCOT with a detailed plan with a projected timeframe to correct the failure. ERCOT shall post a notice on the MIS Secure Area of any Electrical Buses not meeting TAC-approved accuracy requirements, including a list of all measurements and the residual errors on a monthly basis. |

| Requirement Id | FR 36.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10.7.6 (2) AUG07 PR 3.10.7.6 (3) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post all Generic Transmission Limits no later than the day prior to the GTL becoming effective in any ERCOT application. Posting Category: Secure Posting Frequency: Day prior to GTL becoming effective Protocol Text: (2) Except as provided in (3) below, ERCOT shall post all GTLs on the MIS Secure Area no later than the day prior to the GTL becoming effective in any ERCOT application. Posting of GTLs shall include the identity of all constrained transmission flows, old limits, if applicable, and new flow limits, effective date, and an explanation for each flow limit and for the change, if applicable. ERCOT shall provide detailed information on the methodology, including data and studies used for determination of each GTL, on the MIS Secure Area. Market Participants may review and comment on ERCOT’s methodology. Within seven days following receipt of any comments, ERCOT shall post the comments with the subject GTL. (3) If an unexpected change to ERCOT System conditions requires a new GTL to manage ERCOT System reliability not posted pursuant to (2) above, ERCOT will declare an Alert and post on the MIS Secure Area the new GTL, including the detail information described above. ERCOT shall include an explanation regarding why it did not post the limit change on the previous day. |

| Requirement Id | FR37 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10.8 (3) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post updated Dynamic Ratings adjusted for current temperature Posting Category: Secure Posting Frequency: Each operating hour Notes: Should be consistent with CIM downloads. Protocol Text: Each Operating Hour, ERCOT shall post on the MIS Secure Area updated Dynamic Ratings adjusted for the current temperature. |

| Requirement Id | FR38 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10.8.4 (3) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post the list of transmission elements with a high probability of providing increased efficiency with the use of Dynamic Ratings along with information if the TSP has agreed to provide the rating Posting Category: Secure Posting Frequency: Semi-annually Protocol Text: ERCOT shall identify additional Transmission Elements that have a high probability of providing significant added economic efficiency to the ERCOT market through Dynamic Rating and request such Dynamic Ratings from the associated TSP. ERCOT shall post semi-annually the list of the Transmission Elements and identify if the TSP has agreed to provide the rating on the MIS Secure Area. |

| Requirement Id | FR39 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10.8.5 (b) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post circumstances preventing submission of temperature adjusted rating table Posting Category: Secure Posting Frequency: within five business days of receipt Protocol Text: Submit within two months a temperature adjusted rating table when a request is received from ERCOT unless multiple requests are made by ERCOT within the two-month period or unusual circumstances prevent the request from being accommodated in a timely fashion. Such circumstances must be explained to ERCOT in writing and must be posted by ERCOT on the MIS Secure Area within five Business Days of receipt. |

| Requirement Id | FR40 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.10.9.2 AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P04EstimateStateAnalyzeContingencies |
| Coverage of Sub-Process |  |
| Description: Post a report of telemetry and state estimator performance and post notification to TSPs of any lapses of observability. Posting Category: Secure Posting Frequency: Monthly Protocol Text: ERCOT shall monitor the performance of the State Estimator, Network Security Analysis, SCED, and LMP Calculator. ERCOT shall post a monthly report of these items on the MIS Secure Area. ERCOT shall notify affected TSPs of any lapses of observability of the transmission system. |

| Requirement Id | FR40.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.11.4(1)(b) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Monitor and post results of differences in LMPs from SCED process to determine areas of chronic congestion and resolution recommendations Posting Category: Secure Posting Frequency: Upon determination Protocol Text: (1) ERCOT, shall monitor the differences in Locational Marginal Prices from the Security-Constrained Economic Dispatch process to identify geographic areas potentially experiencing chronic congestion. On determination of chronic congestion, ERCOT shall: (a) Validate with the TSP that the data from the Network Operating Model and the Updated Network Model are correct. If the models are valid, ERCOT shall use the planning criteria in the transmission planning process, through the appropriate Regional Planning Group, to develop recommendations for resolution, if applicable. (b) Post all the results from this process on the MIS Secure Area and provide them to the PUCT Staff, the Wholesale Electric Market Monitor, the appropriate ERCOT subcommittee(s), and the ERCOT Board of Directors. |

| Requirement Id | FR41 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.12 (a) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P05ForecastLoad |
| Coverage of Sub-Process |  |
| Description: Post a Seven-Day Load Forecast that generates forecasted hourly Load over the next 168 hours for each of the Weather Zones and each of the Forecast Zones Posting Category: Secure Posting Frequency: Hourly Notes: Report should be organized to show 24 hours of the Operating Day at a time with updates of actual load to the hours as the day progresses Protocol Text: (a) ERCOT shall update and post hourly on the MIS Secure Area a “Seven-Day Load Forecast” that generates forecasted hourly Load over the next 168 hours for each of the Weather Zones and for each of the Forecast Zones. |

| Requirement Id | FR42 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.12 (b) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P05ForecastLoad |
| Coverage of Sub-Process |  |
| Description: Post a 36-Month Load Forecast that provides a daily minimum and maximum forecast for the next 36-months for each of the Weather Zones and for each of the Forecast Zones Posting Category: Secure Posting Frequency: Daily Protocol Text: (b) ERCOT shall update and post monthly on the MIS Secure Area a “36-Month Load Forecast” that provides a daily minimum and maximum forecast for the next 36-months for each of the Weather Zones and for each of the Forecast Zones. |

| Requirement Id | FR43 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.13 (3) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P05ForecastLoad |
| Coverage of Sub-Process |  |
| Description: Post objective criteria for LTWPF (wind forecasts) and thresholds for unbiased, accurate forecasts Posting Category: Secure Posting Frequency: Within five business days of change Protocol Text: ERCOT shall develop cost-effective tools or services to forecast energy production from IRRs with technical assistance from QSEs scheduling Renewable Resources. ERCOT shall use its best efforts to develop accurate and unbiased forecasts, as limited by the availability of relevant explanatory data. ERCOT shall post on the MIS Secure Area objective criteria and thresholds for unbiased, accurate forecasts within five Business Days of change. |

| Requirement Id | FR44 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.14.1(f) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPPS.P03ReviewUpdateUnitStatus |
| Coverage of Sub-Process |  |
| Description: Post the criteria upon which ERCOT evaluates whether an RMR Unit meets the test of operational necessity to support ERCOT System reliability Posting Category: Secure Posting Frequency: Within five business days of change Protocol Text: A Generation Resource is eligible for RMR status based on criteria established by ERCOT indicating its operation is necessary to support ERCOT System reliability according to the Operating Guides. ... ERCOT shall post to the MIS Secure Area the criteria upon which it evaluates whether an RMR Unit meets the test of operational necessity to support ERCOT System reliability within five Business Days of change. |

| Requirement Id | FR45 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.14.1(i) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPPS.P03ReviewUpdateUnitStatus |
| Coverage of Sub-Process |  |
| Description: Post information relative to the use of RMR units including energy deployed Posting Category: Secure Posting Frequency: Monthly Protocol Text: ERCOT shall post on the MIS Secure Area all information relative to the use of RMR Units including energy deployed monthly. |

| Requirement Id | FR46 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.14.1.2.(1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPPS.P03ReviewUpdateUnitStatus |
| Coverage of Sub-Process |  |
| Description: Post Suspension of Operation notice and all relevant studies and post notification to all Registered Market Participants of the Application Posting Category: Secure Posting Frequency: Upon receipt of a notification of suspension of operation Notes: Should be in a report that adds to the bottom of the list as new entries are needed to be posted. Protocol Text: Upon receipt of a Notification under Section 3.14.1.1, Notification of Suspension of Operation, ERCOT shall post the Notification on the MIS Secure Area and shall post all existing relevant studies and data and provide electronic notice to all Registered Market Participants of the Application and posting of the studies and data. |

| Requirement Id | FR47 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.14.1.2 (2) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPPS.P03ReviewUpdateUnitStatus |
| Coverage of Sub-Process |  |
| Description: Post comments received on whether the proposed RMR Unit meets the test of operational necessity to support ERCOT System reliability Posting Category: Secure Posting Frequency: Within 14 days after receiving notice Protocol Text: Within 14 days after receiving the notice described in paragraph (1) above, unless otherwise notified by ERCOT that a shorter comment period is required, Market Participants may submit comments to ERCOT on whether the proposed RMR Unit meets the test of operational necessity to support ERCOT System reliability or whether the proposed RMR Unit should qualify for a multi-year RMR Agreement. ERCOT shall consider and post all submitted comments on the MIS Secure Area. |

| Requirement Id | FR48 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.14.1.2 (3) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPPS.P03ReviewUpdateUnitStatus |
| Coverage of Sub-Process |  |
| Description: Post RMR Initial Determination Information Posting Category: Secure Posting Frequency: Within 18 days after receiving notification Protocol Text: Within 18 days after receiving the Notification, ERCOT shall make an initial determination of whether the Generating Resource is required to support ERCOT System reliability. ERCOT shall post this determination on the MIS Secure Area and notify the Generation Entity of the determination. |

| Requirement Id | FR49 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.14.1.2 (4) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPPS.P03ReviewUpdateUnitStatus |
| Coverage of Sub-Process |  |
| Description: Post Part II information related to a Notification of Suspension Posting Category: Secure Posting Frequency: Within 10 days after a determination that the Generating Resource is required Protocol Text: Within 10 days after a determination by ERCOT that the Generating Resource is required to support ERCOT System reliability, the Generation Entity shall, if it has not already done so, complete and submit to ERCOT Part II of the Notification of Suspension of Operations (Section 22, Attachment I, Notification of Suspension of Operations). ERCOT shall post the Part II information on the MIS Secure Area. On the 11th day after the determination or on receipt of Part II of the Notification, whichever comes first, ERCOT and the Generation Entity shall begin good faith negotiations on an RMR Agreement. These negotiations shall include the budgeting process for Eligible Costs and for fuel costs as detailed in Section 3.14.1.8, Budgeting Eligible Costs, and Section 3.14.1.12, Budgeting Fuel Costs. |

| Requirement Id | FR50 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.14.1.3 (2) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPPS.P03ReviewUpdateUnitStatus |
| Coverage of Sub-Process |  |
| Description: Post unit specific studies, reports and data by which ERCOT justified entering into the RMR Agreement Posting Category: Secure Posting Frequency: As soon as available Protocol Text: ERCOT shall post on the MIS Secure Area, as they become available, unit-specific studies, reports, and data, by which ERCOT justified entering into the RMR Agreement. |

| Requirement Id | FR51 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.14.1.4 AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPPS.P03ReviewUpdateUnitStatus |
| Coverage of Sub-Process |  |
| Description: Post a list of feasible alternatives that may, at a future time, be more cost-effective than the continued renewal of the existing RMR Agreement Posting Category: Secure Posting Frequency: No later than 90 days after the execution of an RMR Agreement Protocol Text: No later than 90 days after the execution of an RMR Agreement, ERCOT shall report to the Board and post on the MIS Secure Area a list of feasible alternatives that may, at a future time, be more cost-effective than the continued renewal of the existing RMR Agreement. Through the ERCOT System planning process, ERCOT shall develop a list of potential alternatives to the service provided by the RMR Unit. At a minimum, the list of potential alternatives that ERCOT must consider include, building new or expanding existing Transmission Facilities, installing voltage control devices, soliciting or buying by auction interruptible Load from Retail Electric Providers, or extending the existing RMR Agreement on an annual basis. If a cost-effective alternative to the service provided by the RMR Unit is identified, ERCOT shall provide a proposed timeline to study and/or implement the alternative. |

| Requirement Id | FR52 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.14.1.12 AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post requests and responses for deviations in filing actual RMR cost data Posting Category: Public Posting Frequency: On schedule Protocol Text: The RMR Unit owner shall provide ERCOT with actual Eligible Costs on a monthly basis in a level of detail sufficient for ERCOT to verify that all Eligible Costs are actual and appropriate. Actual cost data must be submitted on time by the Generation Entity for the RMR Unit and then verified by ERCOT so the actual cost data can be reflected in the True-Up Settlement Statement. To be considered timely for the final, actual cost data for month ‘x’ must be submitted by the 20th of the month following month ‘x’. To be considered timely for the true-up, actual cost data for month ‘x’ must be submitted 30 days prior to the publishing date of the True-Up Settlement Statement for the first day in month ‘x’. Any deviation in filing actual cost data in accordance with this calendar must be requested of ERCOT, by the QSE representing an RMR unit. Such request for deviation shall contain the reason for the inability to meet the calendar and an expected date that the cost data will be provided to ERCOT. At its discretion ERCOT may choose to honor such a request. ERCOT shall post on the Public MIS any such request and response thereto. In the event, that actual cost data is not submitted in accordance with the calendar or approved deviation for the true-up, then the cost for the portion of Eligible Cost that has not been submitted is deemed to be zero. |

| Requirement Id | FR52.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.14.1.16 (1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post requests and responses for deviations in filing actual fuel costs Posting Category: Public Posting Frequency: On schedule Protocol Text: The RMR Unit owner shall provide ERCOT with actual fuel costs on a monthly basis for the RMR Unit in a level of detail sufficient for ERCOT to verify that all fuel costs are actual and appropriate. ERCOT shall perform a true-up of the estimated fuel costs using the submitted and verified actual fuel costs for the RMR Unit. Actual cost data must be submitted on time by the Generation Entity for the RMR Unit and then verified by ERCOT so the actual cost data can be reflected in the True-Up Settlement Statement. To be considered timely for the final, actual cost data for month ‘x’ must be submitted by the 20th of the month following month ‘x’. To be considered timely for the true-up, actual cost data for month ‘x’ must be submitted 30 days prior to the publishing date of the True-Up Settlement Statement for the first day in month ‘x’. Any deviation in filing actual cost data in accordance with this calendar must be requested of ERCOT, by the QSE representing an RMR unit. Such request for deviation shall contain the reason for the inability to meet the calendar and an expected date that the cost data will be provided to ERCOT. At its discretion ERCOT may choose to honor such a request. ERCOT shall post on the Public MIS any such request and response thereto. In the event, that actual cost data is not submitted in accordance with the calendar or approved deviation for the true-up, then the cost for the portion of Eligible Cost that has not been submitted is deemed to be zero. |

| Requirement Id | FR53 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.15 (1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post voltage profiles Posting Category: Secure Posting Frequency: Not specified Protocol Text: ERCOT in coordination with the TSPs shall conduct studies to determine the normally desired predetermined distribution of desired nominal voltage set points across the ERCOT System Voltage Profile for all Electrical Buses used for Voltage Support in the ERCOT System and shall post all Voltage Profiles on the MIS Secure Area. ERCOT may temporarily modify its requirements based on Current System Conditions. ERCOT shall determine the amount of Voltage Support Service needed to provide sufficient reactive capacity in appropriate locations to provide ERCOT System security as specified in the ERCOT Operating Guides. |

| Requirement Id | FR54 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.16 (4) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P02RunSASMarkets |
| Coverage of Sub-Process |  |
| Description: Post notice of need for additional Ancillary Service Resources and the reliability reason for the increase Posting Category: Secure Posting Frequency: If need is determined Protocol Text: If ERCOT determines a need for additional Ancillary Service Resources under these Protocols or the ERCOT Operating Guides, after an Ancillary Service Plan for a specified day has been posted, ERCOT shall inform the market by posting notice on the MIS Secure Area, of ERCOT’s intent to procure additional Ancillary Service Resources under Section 6.4.8.2, Supplemental Ancillary Service Market. ERCOT shall post the reliability reason for the increase in service requirements. |

| Requirement Id | FR55 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.16 (5) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P02RunSASMarkets |
| Coverage of Sub-Process |  |
| Description: Post engineering studies representing specific Ancillary Service requirement Posting Category: Secure Posting Frequency: Annually Protocol Text: ERCOT shall post engineering studies on the MIS Secure Area representing specific Ancillary Service requirement on an annual basis. |

| Requirement Id | FR56 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.19 (6) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Post Competitive Constraints as well as Competitive Constraints that have been suspended and the duration of the suspension Posting Category: Secure Posting Frequency: At least five business days before changes and as soon as practicable for any suspended constraints Protocol Text: ERCOT shall post the Competitive Constraints to the MIS Secure Area at least five Business Days before any change takes effect. ERCOT shall post any Competitive Constraints that have been suspended and the duration of the suspension as soon as practicable to the MIS Secure Area. |

| Requirement Id | FR 56.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 3.19.3(2) NOV06 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post the Competitive Constraints Posting Category: Secure Posting Frequency: By 0600 in the Day-Ahead Protocol Text: (2) ERCOT shall post the Competitive Constraints to the MIS Secure Area by 0600 in the Day-Ahead. |

### Section 4:  Day-Ahead Operations

| Requirement Id | FR57 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.2.1.1(1) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P02RunSASMarkets |
| Coverage of Sub-Process |  |
| Description: Post Ancillary Service Plans Posting Category: Public Posting Frequency: By 0600 of the Day Ahead Notes: Data should be pushed to the QSE and available for download. Protocol Text: ERCOT shall analyze the expected Load conditions for the Operating Day and develop an Ancillary Service Plan that identifies the Ancillary Service MW necessary for each hour of the Operating Day. The MW of each Ancillary Service required may vary from hour to hour depending on ERCOT System conditions. ERCOT must post the Ancillary Service Plan to the MIS Public Area by 0600 of the Day-Ahead. |

| Requirement Id | FR58 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.2.1.1(2) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P01RunDAMarkets |
| Coverage of Sub-Process |  |
| Description: Post changes in the Percentage of Load Resources allowed to provide Responsive Reserve Posting Category: Public Posting Frequency: By 0600 of the Day Ahead Notes: Data should be pushed to the QSE and available via web interface by all users. Retention period should be set based on further MP/ERCOT discussion. This provision is an extension of (1) above and likely means that if ERCOT determines an Emergency condition, that it should notice that with the details when it makes the 0600 AS Plan posting discussed in (1) above. Protocol Text: If ERCOT determines that an Emergency Condition may exist that would adversely affect ERCOT System reliability, it may change the percentage of Load Resources that are allowed to provide Responsive Reserve Service (RRS) from the monthly amounts determined previously, as described in Section 3.16, Standards for Determining Ancillary Service Quantities, and must post any change in the percentage to the MIS Public Area by 0600 of the Day-Ahead. |

| Requirement Id | FR59 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.2.1.2 (3)JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post each QSEs Load Ratio Share used for the AS Obligation calculation Posting Category: Certified Posting Frequency: By 0600 of the Day Ahead Notes: Data should be pushed to the QSE. Retention period should be set based on further MP/ERCOT discussion. Retention for this data may be dependent on resettlement timelines. the AS Obligation is determined using applicable data from the most recently available initial settlement data. So for the 0600 posting, this would not rely on resettlement data—only on initial settlement data. See Protocols 4.2.1.2(1).] Protocol Text: By 0600 of the Day-Ahead, ERCOT shall post on the MIS Certified Area each QSE’s Load Ratio Share used for the Ancillary Service Obligation calculation. |

| Requirement Id | FR60 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.2.2 (4) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P05ForecastLoad |
| Coverage of Sub-Process |  |
| Description: Post WGRPP Forecasts for each WGR and provide through the Messaging Area Posting Category: Certified Posting Frequency: Hourly Notes: Data should be pushed to the QSE and posted on the Certified Area. Reliant—but we should be able to query for historical information this if we have the appropriate security level. Retention period should be set based on further MP/ERCOT discussion. Protocol Text: Each hour, ERCOT shall provide, through the Messaging System, the WGRPP forecasts for each WGR to the QSE that represents that WGR and shall post each WGRPP forecast on the MIS Certified Area. |

| Requirement Id | FR61 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.2.2 (5) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P05ForecastLoad |
| Coverage of Sub-Process |  |
| Description: Post the aggregated WGRPP forecast of all WGRs Posting Category: Secure Posting Frequency: Hourly Notes: Data should be posted on the Secure Area and historical information should be available through query. Retention period should be set based on further MP/ERCOT discussion. Protocol Text: Each hour, ERCOT shall post the aggregated WGRPP forecast of all WGRs on the MIS Secure Area. |

| Requirement Id | FR62 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.2.3 JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P01RunDAMarkets COWM.P03RunRUC COWM.P04RunRTMarkets COWM.P05ConductCRRMarkets COPS.P05ForecastLoad CSWM.P01MeterAcquireData CSWM.P02CreateLoadProfileAggData |
| Coverage of Sub-Process |  |
| Description: Post operating day forecasted ERCOT system conditions Posting Category: Secure Posting Frequency: By 0600 of the Day Ahead Notes: Item (c) Data should be pushed to the QSE and available for random access via web interface by all users. Retention period should be set based on further MP/ERCOT discussion. All other items should be available for view and downloadable extract at the user’s discretion. Retention period should be set for each extract based on further MP/ERCOT discussion. Protocol Text: No later than 0600 in the Day-Ahead, ERCOT shall post on the MIS Secure Area, and make available for download, the following information for the Operating Day: The Network Operations Model topology that includes known transmission line and other Transmission Facilities Outages in the Common Information Model format for the minimum Load hour and the peak Load hour; Weather assumptions used by ERCOT to forecast ERCOT System conditions and used in the Dynamic Rating Processor; Any weather-related changes to the transmission contingency list; ERCOT System, Weather Zone, and Load Zone Load forecasts for the next seven days, by hour, and a message on update indicating any changes to the forecasts by means of the Messaging System; Load forecast distribution factors from which Market Participants can calculate Load at the Electrical Bus level by hour for the next seven days; Load Profiles for non-IDR metered Customers; Distribution Loss Factors and forecasted ERCOT-wide Transmission Loss Factors, as described in Section 13.3, Distribution Losses and in Section 13.2, Transmission Losses, for each Settlement Interval of the Operating Day; A current list of all Settlement Points that may be used for market processes and transactions A mapping of Settlement Points to Electrical Buses in the Network Operations Model; and. A list of transmission constraints that have a high probability of binding in the Security-Constrained Economic Dispatch (SCED) or DAM. |

| Requirement Id | FR63 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.2.4 JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P01RunDAMarkets COWM.P06ValidateCOPPrices |
| Coverage of Sub-Process |  |
| Description: Post DAM pre-validation rules for offers, bids and trades and any software documentation and code that is not Protected Information Posting Category: Secure Posting Frequency: Within five business days after ERCOT receives it Notes: Items should be available for view and downloadable extract at the user’s discretion. Retention period should be set for each extract based on further MP/ERCOT discussions. Protocol Text: ERCOT shall provide each QSE with the information necessary to pre-validate its data for DAM, including publishing validation rules for offers, bids and trades and posting any software documentation and code that is not Protected Information to the MIS Secure Area within five Business Days after ERCOT receives it. |

| Requirement Id | FR64 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.1.2(2) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P01RunDAMarkets COWM.P03RunRUC COPS.P07MonitorDeployAncillaryServices (RCv1) CSWM.P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Notify both buying and selling QSEs of reported capacity trades and post notification. Posting Category: Certified Posting Frequency: For each capacity trade Protocol Text: When a Capacity Trade is reported to ERCOT, ERCOT shall notify both the buying and selling QSEs by using the Messaging System, if available, and on the MIS Certified Area. |

| Requirement Id | FR65 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.1.2(3) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P01RunDAMarkets COWM.P03RunRUC COPS.P07MonitorDeployAncillaryServices (RCv1) CSWM.P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post confirmed and unconfirmed Capacity Trade validation Posting Category: Certified Posting Frequency: For each capacity trade submitted Protocol Text: ERCOT shall continuously validate Capacity Trades and continuously display on the MIS Certified Area information that allows any QSE named in a Capacity Trade to view confirmed and unconfirmed Capacity Trades. |

| Requirement Id | FR66 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.2.2(2) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P01RunDAMarkets COWM.P03RunRUC COPS.P07MonitorDeployAncillaryServices (RCv1) CSWM.P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Notify both buying and selling QSEs of reported Energy Trades. Post reported Energy Trades. Posting Category: Certified Posting Frequency: On Demand Protocol Text: When an Energy Trade is reported to ERCOT, ERCOT shall notify both the buying and selling QSEs by using the Messaging System if available and the MIS Certified Area. |

| Requirement Id | FR67 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.2.2(3) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P01RunDAMarkets COPS.P07MonitorDeployAncillaryServices (RCv1) CSWM.P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post confirmed and unconfirmed Energy Trades for each QSE Posting Category: Certified Posting Frequency: On Demand Protocol Text: ERCOT shall continuously validate Energy Trades and continuously display on the MIS Certified Area information that allows any QSE named in an Energy Trade to view confirmed and unconfirmed Energy Trades. |

| Requirement Id | FR68 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.3.2(2) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P01RunDAMarkets |
| Coverage of Sub-Process |  |
| Description: Post validated QSE Self-Schedules Posting Category: Secure [An NPRR should be submitted to change this to Certified] Posting Frequency: Continuously Protocol Text: ERCOT shall continuously validate Self-Schedules and continuously display on the MIS Secure Area information that allows the QSE named in a Self-Schedule to view validated Self-Schedules. |

| Requirement Id | FR69 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.5.2(2) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P01RunDAMarkets COWM.P05ConductCRRMarkets |
| Coverage of Sub-Process |  |
| Description: Post valid CRR Offers Posting Category: Certified Posting Frequency: Continuously Protocol Text: ERCOT shall continuously display on the MIS Certified Area information that allows any QSE submitting a CRR Offer to view its valid CRR Offers. |

| Requirement Id | FR70 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.6.2(2) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P01RunDAMarkets COWM.P05ConductCRRMarkets |
| Coverage of Sub-Process |  |
| Description: Post valid PTP Obligation Bids Posting Category: Certified Posting Frequency: Continuously Protocol Text: ERCOT shall continuously display on the MIS Certified Area information that allows any QSE submitting a PTP Obligation Bid to view its valid PTP Obligation Bid. |

| Requirement Id | FR71 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.7.2.2(2) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P02RunSASMarkets |
| Coverage of Sub-Process |  |
| Description: Post confirmed Ancillary Service (AS) offers Posting Category: Certified Posting Frequency: Continuously Protocol Text: ERCOT shall continuously validate Ancillary Service Offers and continuously display on the MIS Certified Area information that allows any QSE named in an Ancillary Service Offer to view its confirmed Ancillary Service Offers. |

| Requirement Id | FR72 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.7.3.2(2) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P02RunSASMarkets |
| Coverage of Sub-Process |  |
| Description: Notify both buying and selling QSE about reported AS Trade. Post reported AS Trades. Posting Category: Certified Posting Frequency: On Demand Protocol Text: When an Ancillary Service Trade is reported to ERCOT, ERCOT shall notify both the buying and selling QSEs by using the Messaging System if available and the MIS Certified Area. |

| Requirement Id | FR73 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.7.3.2(3) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P02RunSASMarkets |
| Coverage of Sub-Process |  |
| Description: Post confirmed and unconfirmed AS Trades. Posting Category: Secure Posting Frequency: Continuously Protocol Text: ERCOT shall continuously validate Ancillary Service Trades and continuously display on the MIS Secure Area information that allows any QSE named in an Ancillary Service Trade to view its confirmed and unconfirmed Ancillary Service Trades. |

| Requirement Id | FR74 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.9.2.2(2) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P02RunSASMarkets |
| Coverage of Sub-Process |  |
| Description: Display Generation Resource Startup Offers and Minimum Energy Offers Posting Category: Certified Posting Frequency: Continuously Protocol Text: ERCOT shall continuously display on the MIS Certified Area information that allows any QSE submitting a Startup Offer and Minimum-Energy Offer to view its valid Startup Offers and Minimum-Energy Offers. |

| Requirement Id | FR75 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.9.3.2(3) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P01RunDAMarkets COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Display of valid Energy Offer Curves Posting Category: Certified Posting Frequency: Continuously Protocol Text: ERCOT shall continuously validate Energy Offer Curves and continuously display on the MIS Certified Area information that allows any QSE to view its valid Energy Offer Curves. |

| Requirement Id | FR76 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.9.4.1(d) JAN07 PR 4.4.9.4.1(e) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post capacity factors for each Resource Posting Category: Secure Posting Frequency: By the 20th day of each month Notes: Items should be available for view and downloadable extract at the user’s discretion Retention period should be set for each extract based on further MP/ERCOT discussions. This will need to be done before the market opens. Protocol Text: The previous 12 months’ capacity factor must be updated by ERCOT by the 20th day of each month using the most recent data for use in the next month. ERCOT shall post to the MIS Secure Area the capacity factor for each Resource before the start of the effective month. The process for developing the mitigate offer cap in (a) and (b) above must be described by ERCOT in a procedure approved by the appropriate TAC Subcommittee, and posted to the MIS Secure Area within one Business Day after initial approval, and after each approved change. |

| Requirement Id | FR77 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.9.5.2(3) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P01RunDAMarkets |
| Coverage of Sub-Process |  |
| Description: Post DAM Energy-Only Offer Curves Posting Category: Certified Posting Frequency: Continuous Protocol Text: ERCOT shall continuously validate DAM Energy-Only Offers and continuously display on the MIS Certified Area information that allows any QSE to view its valid DAM Energy-Only Offers. |

| Requirement Id | FR78 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.9.6.2(3) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P01RunDAMarkets |
| Coverage of Sub-Process |  |
| Description: Post Valid DAM Energy Bids Posting Category: Certified Posting Frequency: Continuous Protocol Text: ERCOT shall continuously validate DAM Energy Bids and continuously display on the MIS Certified Area information that allows any QSE to view its valid DAM Energy Bids. |

| Requirement Id | FR79 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.10(3) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P06ValidateCOPPrices |
| Coverage of Sub-Process |  |
| Description: Notify QSE of rejected bids and offers Posting Category: Certified Posting Frequency: As soon as practicable upon determination by the Market System Protocol Text: (3) ERCOT shall reject the QSE’s individual bids and offers whose credit exposure, as calculated in item (6) below, exceeds the Counter-Party’s credit limit for DAM participation as described in items (1) and (2) above, and shall notify the QSE through the MIS Certified Area as soon as practicable. |

| Requirement Id | FR 79.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.11.1(1)(e) NOV06 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post the updated value of the PNM and the SWCAP Posting Category: Public Posting Frequency: End of next day following applicable operating day Protocol Text: (e) By the end of the next Business Day following the applicable Operating Day, ERCOT shall post the updated value of the PNM and the current SWCAP on the MIS Public Area. |

| Requirement Id | FR80 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.5.3 (2) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P01RunDAMarkets COWM.P06ValidateCOPPrices |
| Coverage of Sub-Process |  |
| Description: Post the hourly DAM Results Posting Category: Public Posting Frequency: No later than 1330 Notes: All items – data should be pushed to the QSE and via web interface by all users. Data should also be available through user defined query (‘random query’).Retention period should be set based on further MP/ERCOT discussion. Protocol Text: As soon as practicable, but no later than 1330, ERCOT shall post on the MIS Public Area the hourly: (a) Day-Ahead MCPC for each type of Ancillary Service for each hour of the Operating Day; (b) Day-Ahead Settlement Point Prices for each Settlement Point for each hour of the Operating Day; (c) Day-Ahead hourly LMPs for each Electrical Bus for each hour of the Operating Day; (d) Shadow Prices for every binding constraint for each hour of the Operating Day; (e) Quantity of total Ancillary Service Offers received in the DAM, in MW by Ancillary Service type for each hour of the Operating Day; (f) Total quantity of energy (in MWh) bought in DAM at each Settlement Point for each hour of the Operating Day; (g) Total quantity of energy (in MWh) sold in the DAM at each Settlement Point for each hour of the Operating Day; and (h) Aggregated Ancillary Service Offer Curve of all Ancillary Service Offers for each type of Ancillary Service for each hour of the Operating Day. |

### Section 5:  Transmission Security Analysis and Reliability Unit Commitment

| Requirement Id | FR80.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 5.3(3)(b) OCT06 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P03RunRUC CPPS.P01PlanFutureBaseCases |
| Coverage of Sub-Process |  |
| Description: Post information related to the RUC. Posting Category: Secure Posting Frequency: As soon as practicable but not later than one hour after removal Notes: Items should be available for view and downloadable extract at the user’s discretion. Retention period should be set for each extract based on further MP/ERCOT discussions. Protocol Text: (3) For each RUC process, ERCOT shall: ... (b) Post to the MIS Secure Area, the following information related to the RUC: (i) All active and binding transmission constraints (contingency and overloaded element pair information where available) used as inputs to RUC; and (ii) All Resources that were committed or decommitted by the RUC process; and |

| Requirement Id | FR81 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 5.3(4) OCT06 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P03RunRUC |
| Coverage of Sub-Process |  |
| Description: Publish validation rules for offers, bids and trades, and RUC software documentation Posting Category: Secure Posting Frequency: Within five business days of receipt Notes: Items should be available for view and downloadable extract at the user’s discretion. Retention period should be set for each extract based on further MP/ERCOT discussions. Protocol Text: ERCOT shall provide each QSE with the information necessary to pre-validate their data for DRUC and HRUC including: (a) Publishing validation rules for offers, bids, and trades; and (b) Posting any software documentation and code that is not Protected Information to the MIS Secure Area within five Business Days of receipt by ERCOT. |

| Requirement Id | FR82 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 5.5.1(5) OCT06 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P03RunRUC COWM.P04RunRTMarkets CPPS.P01PlanFutureBaseCases |
| Coverage of Sub-Process |  |
| Description: Post the Standard contingency list, noting changes made Posting Category: Secure Posting Frequency: Before use in the Security Sequence Notes: Items should be available for view and downloadable extract at the user’s discretion. Retention period should be set for each extract based on further MP/ERCOT discussions. Protocol Text: ERCOT shall analyze base configuration, select n-1 contingencies and select n-2 contingencies under the Operating Guides. The Operating Guides must also specify the criteria by which ERCOT may remove contingencies from the list. ERCOT shall post to the MIS Secure Area the standard contingency list, including identification of changes from previous versions before being used in the Security Sequence. ERCOT shall evaluate the need for Resource-specific deployments during Real-Time operations for management of congestion consistent with the Operating Guides. |

| Requirement Id | FR83 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 5.5.1(6) OCT06 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P03RunRUC CPPS.P01PlanFutureBaseCases |
| Coverage of Sub-Process |  |
| Description: Post any Temporarily removed contingencies and reason for removal. Posting Category: Secure Posting Frequency: As soon as practicable but not later than one hour after removal Notes: Items should be available for view and downloadable extract at the user’s discretion. Retention period should be set for each extract based on further MP/ERCOT discussions. Protocol Text: ERCOT shall also post to the MIS Secure Area any contingencies temporarily removed from the standard contingency list by ERCOT immediately after successful execution of the Security Sequence. ERCOT shall include the reason for removal of any contingency as soon as practicable but not later than one hour after removal. |

| Requirement Id | FR84 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 5.5.1(11)OCT06 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P03RunRUC |
| Coverage of Sub-Process |  |
| Description: Post Deselected contingencies and reasons for removal. Posting Category: Secure Posting Frequency: As soon as practicable but not later than one hour after deselection Notes: Items should be available for view and downloadable extract at the user’s discretion. Retention period should be set for each extract based on further MP/ERCOT discussions. Protocol Text: ERCOT may deselect certain contingencies known to cause errors or that otherwise result in inconclusive study output in the RUC. On continued de-selection of contingencies, ERCOT shall prepare an analysis to determine the cause of the error. ERCOT may use information from the DAM processes as decision support during the Hour-Ahead processes. ERCOT shall post to the MIS Secure Area any contingencies deselected by ERCOT and must include the reason for removal as soon as practicable, but not later than one hour after deselection. |

| Requirement Id | FR85 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 5.5.2(3) OCT06 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P03RunRUC |
| Coverage of Sub-Process |  |
| Description: Post Changes to RUC committed Resources and associated reasons for changes. Posting Category: Secure Posting Frequency: Within one day of change---with potential to occur daily Notes: Items should be available for view and downloadable extract at the user’s discretion. Retention period should be set for each extract based on further MP/ERCOT discussions. Please see comments regarding acknowledgement at Section 5.3 as noted above. Protocol Text: ERCOT shall review the RUC-recommended Resource commitments to assess feasibility and shall make any changes that it considers necessary, in its sole discretion. ERCOT shall notify each QSE which of its Resources have been committed as a result of the RUC process. ERCOT shall, within one day after making any changes to the RUC-recommended commitments, post to the MIS Secure Area any changes that ERCOT made to the RUC-recommended commitments with an explanation of the changes. |

| Requirement Id | FR86 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 5.6.1(4) OCT06 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post Process for Determining Verifiable Costs Posting Category: Secure Posting Frequency: Within one business day after initial approval and after each approved change Notes: Items should be available for view and downloadable extract at the user’s discretion. Retention period should be set for each extract based on further MP/ERCOT discussions. Protocol Text: The process for determining the verifiable actual costs must be developed by ERCOT, approved by the appropriate TAC subcommittee, and posted to the MIS Secure Area within one Business Day after initial approval and after each approved change. |

| Requirement Id | FR87 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 5.6.3(3) OCT06 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P03RunRUC |
| Coverage of Sub-Process |  |
| Description: Post Process for determining verifiable actual Costs for a startup attempt Posting Category: Secure Posting Frequency: Within one business day after initial approval and after each approved change Notes: Items should be available for view and downloadable extract at the user’s discretion. Retention period should be set for each extract based on further MP/ERCOT discussions. Protocol Text: The process for determining the verifiable actual costs for a startup attempt under (2) above must be developed by ERCOT, approved by the appropriate TAC subcommittee, and posted to the MIS Secure Area within one Business Day after initial approval and after each approved change. |

| Requirement Id | FR88 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 5.7.4 (3) OCT06 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P03RunRUC CSWM.P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post Total RUC Make-whole Charges and Clawback Payments Posting Category: Secure Posting Frequency: Monthly, within 10 days after the Initial Settlement of the last day of the month has been completed Notes: Items should be available for view and downloadable extract at the user’s discretion. Retention period should be set for each extract based on further MP/ERCOT discussions. Protocol Text: On a monthly basis, within 10 days after the Initial Settlement of the last day of the month has been completed, ERCOT shall post on the MIS Secure Area the total RUC Make-Whole Charges and RUC Clawback Payments, by Settlement Interval, by QSE capacity-shortfall and by amount uplifted. |

### Section 6:  Adjustment Period and Real-Time Operations

| Requirement Id | FR89 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.3.1 [table] JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post Activities for the Adjustment Period: Shift Schedules Posting Category: Secure Posting Frequency: 24x7 Protocol Text: ERCOT Activities column: Post shift schedules on the MIS Secure Area. |

| Requirement Id | FR90 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.3.1 [table] JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Post Activities for the Adjustment Period: Energy Offer Curves or Output Schedules Posting Category: Certified Posting Frequency: One hour before the end of the Adjustment Period for the upcoming operating hour Protocol Text: ERCOT Activities column: Notify the QSE via the MIS Certified Area that an Energy Offer Curve or Output Schedule has not yet been submitted for a Resource as a reminder that one of the two must be submitted by the end of the Adjustment Period |

| Requirement Id | FR91 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.3.2 [table] JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Post Activities for Real-Time Operations: LMPs, Settlement Point Price at each hub and load zone with time stamp, along with SCED shadow prices and active binding transmission constraints. Post the Settlement Point Prices for each Settlement Point immediately following the end of each Settlement interval. Posting Category: Public Posting Frequency: SCED LMPs, shadow prices, active binding constraints – immediately after Base point deployment by SCED, approximately every five minutes. Settlement Point Prices – immediately after each settlement interval. Note: these are “Initial” prices. Please refer to Notes section for “Final” and “Board Approved” versions. Notes: FINAL Prices (section 6.3 (3)) should be posted after 1600 of the next day. BOARD APPROVED price revisions (section 6.3(3)) should be flagged and posted as available. Most data to come from Market System, Settlement Point Price information may have to come from Settlements—but this is a real time posting which requires aggregation of the LMP data to calculate Settlement Point Price approximately every 15 minutes. Protocol Text: ERCOT Activities column: Distribute by ICCP, and post to the MIS Public Area, the LMPs created by each SCED process for each Resource Node, and the Settlement Point Price at each Hub and Load Zone immediately on deployment of Base Points from SCED with the time stamp the prices are effective Post SCED Shadow Prices via the MIS Public Area Post on the MIS Public Area active binding transmission constraints by Transmission Element name (contingency/overloaded element pairs) via the MIS Public Area Post the Settlement Point Prices for each Settlement Point immediately following the end of each Settlement Interval |

| Requirement Id | FR92 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.3.2 [table] JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Post Ancillary Service Capacity parameters Posting Category: Secure Posting Frequency: During the operating hour Protocol Text: ERCOT Activities column: Post parameters as required by Section 6.4.8, Ancillary Services Capacity During the Adjustment Period and in Real-Time, to the MIS Secure Area. |

| Requirement Id | FR93 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.3.2(3) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Post all changes in system conditions that could affect security and transmission limits. Posting Category: Secure Posting Frequency: At the beginning of each hour Protocol Text: (3) At the beginning of each hour, ERCOT shall post on the MIS Secure Area the following information: (a) Changes in ERCOT System conditions that could affect the security and dynamic transmission limits of the ERCOT System, including: (i) changes or expected changes in the status of Transmission Facilities for the remaining hours of the current Operating Day and all hours of the next Operating Day; supplementing those that are already in the Outage Scheduler; and (ii) any conditions such as adverse weather conditions as determined from the ERCOT-designated weather service; (b) Updated system-wide Load forecasts; (c) The quantities of RMR Services deployed by ERCOT for each previous hour of the current Operating Day; (d) Total ERCOT System Demand, from Real-Time operations, integrated over each Settlement Interval; and (e) Updated Electrical Bus Load distribution factors and other information necessary to forecast Electrical Bus Loads for each hour of the current Operating Day and all hours of the next Operating Day. |

| Requirement Id | FR94 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.3.4 JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Post validation rules for offers, bids, and trades. Posting Category: Secure Posting Frequency: Within five business days of receipt Protocol Text: ERCOT shall provide each QSE with the information necessary to pre-validate its data for Real-Time operations including publishing validation rules for offers, bids, and trades and posting any software documentation and code that is not Protected Information to the MIS Secure Area within five Business Days after receipt by ERCOT. |

| Requirement Id | FR95 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.4.2.4 (3) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Post valid QSE output schedule. Posting Category: Certified Posting Frequency: Continuously Protocol Text: ERCOT shall continuously validate Output Schedules and continuously display on the MIS Certified Area information that allows any QSE to view its valid Output Schedule. |

| Requirement Id | FR96 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.4.8.2.3 (2) JAN07 PR 6.4.8.2.3 (3) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets COWM.P02RunSASMarkets COWM.P06ValidateCOPPrices |
| Coverage of Sub-Process |  |
| Description: Post SASM Results Posting Category: Public Posting Frequency: Under the Protocols timeline 45 minutes after ERCOT sends notice of SASM to all QSEs Protocol Text: (2) As soon as practicable, but no later than the time specified in Section 6.4.8.2, Supplemental Ancillary Services Market, ERCOT shall post on the MIS Public Area the hourly: (a) SASM MCPC for each type of Ancillary Service for each hour; (b) Total Ancillary Service procured in MW by Ancillary Service type for each hour; and (c) Aggregated Ancillary Service Offer Curve for each Ancillary Service for each hour. (3) ERCOT shall monitor SASM MCPCs for errors and shall “flag” for further review questionable prices before posting and make notations in the posting if there are conditions that cause the prices to be questionable. |

| Requirement Id | FR97 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.5.1.2(2) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Publish notification to QSEs of no output schedule or energy offer curve. Posting Category: Certified Posting Frequency: One hour before the end of the Adjustment Period for the upcoming operating hour Protocol Text: ERCOT shall verify that either an Energy Offer Curve providing prices for the Resource between its HSL and LSL or an Output Schedule has been submitted for each On-Line Resource an hour before the end of the Adjustment Period for the upcoming Operating Hour. ERCOT shall notify QSEs that have not submitted an Output Schedule or Energy Offer Curve through the MIS Certified Area. |

| Requirement Id | FR98 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.5.1.2(5) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post Shift Schedule Posting Category: Secure Posting Frequency: One hour before the end of the Adjustment Period for the upcoming operating hour Protocol Text: ERCOT shall post shift schedules on the MIS Secure Area. |

| Requirement Id | FR99 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.5.3(2) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Post TSP limitations regarding Dispatch Instructions Posting Category: Secure Posting Frequency: Continuously Protocol Text: Each TSP shall notify ERCOT of any limitations on the TSP’s system that may affect ERCOT Dispatch Instructions. ERCOT shall continuously maintain a posting on the MIS Secure Area of any TSP limitations that may affect Dispatch Instructions. Examples of such limitations may include: temporary changes to transmission or transformer ratings, temporary changes to range of automatic tap position capabilities on auto-transformers, fixing or blocking tap changer, changes to no-load tap positions or other limitations affecting the delivery of energy across the ERCOT Transmission Grid. Any conflicts that cannot be satisfactorily resolved may be brought to ERCOT by any of the affected Entities for investigation and resolution. |

| Requirement Id | FR100 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.5.7.1.5 JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets COPS.P04EstimateStateAnalyzeContingencies |
| Coverage of Sub-Process |  |
| Description: Publish output from Topology Consistency Analyzer summaries of incorrect breaker and switch statuses Posting Category: Secure Posting Frequency: After each SCED execution (approximately every 5 minutes) Protocol Text: The Topology Consistency Analyzer identifies possibly erroneous breaker and switch status. The Topology Consistency Analyzer must notify ERCOT of inconsistencies detected and must indicate the correct breaker and switch status(es) when the preponderance of redundant information from the telemetered database indicates true errors in status. For example, such processing would detect flow on lines, flow on devices or network load, shown as disconnected from the transmission system and would indicate to ERCOT that there was a continuity error associated with the flow measurement or status indication. ERCOT may override SCADA telemetry as required to correct erroneous breaker and switch status before that information is processed by the Network Security Analysis for the next SCED interval. ERCOT shall notify the TSP or QSE, who shall correct the status indications as soon as practicable. The Topology Consistency Analyzer maintains a summary of all incorrect status indicators and provides that information to all TSPs and other Market Participants through the MIS Secure Area. |

| Requirement Id | FR101 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.5.7.1.7(1) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Publish Summaries of Dynamically adjusted transmission element ratings Posting Category: Secure Posting Frequency: Every hour – Note: needs to be consistent with Req. 3.10.8 Protocol Text: The Dynamic Rating Processor provides Dynamic Ratings using the processes described in Section 3.10.8, Dynamic Ratings, for all transmission lines and transformer elements with Dynamic Ratings designated by the TSPs. ERCOT shall obtain Real-Time weather data, where available, from multiple locations and provide it to the Dynamic Rating Processor. Weather conditions must include ambient temperature and may include wind speed when available. ERCOT shall post summaries of dynamically adjusted Transmission Element limits on the MIS Secure Area in a form that allows Market Participants to directly upload Real-Time data into the Common Information Model. |

| Requirement Id | FR102 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.5.7.1.7(2) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Publish Dynamic Rating report Posting Category: Secure Posting Frequency: Monthly Protocol Text: On a monthly basis, ERCOT shall provide a summary report for each dynamically rated Transmission Element specifying the average change in Normal Rating in MVA that is gained on the element through use of a Dynamic Rating rather than the Normal Rating. ERCOT shall post this report to the MIS Secure Area. |

| Requirement Id | FR103 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.5.7.1.11(1) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Post active SCED contingencies, or any determined to be inaccurate in inappropriate and excluded from SCED. Posting Category: Secure Posting Frequency: Continuously Protocol Text: ERCOT may not allow any contingency anticipated to be active in SCED, identified by NSA, until it has verified that the contingency is accurate and appropriate given the current operating state of the ERCOT Transmission Grid. ERCOT shall continuously post to the MIS Secure Area any active contingencies in SCED and any contingencies that it has determined to be inaccurate or inappropriate and thus excluded from SCED under Section 5.5.1, Security Sequence. The ERCOT System Operator will flag for further review by ERCOT any contingencies deemed inaccurate or inappropriate. |

| Requirement Id | FR104 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.5.7.1.13(4) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets CSWM.P02CreateLoadProfileAggData COPS.P04EstimateStateAnalyzeContingencies CPPS.P02EvaluateVoltageSetpoints |
| Coverage of Sub-Process |  |
| Description: Publish continuously the Real-Time Operations status Posting Category: Secure Posting Frequency: Hourly Notes: Needs clarification from TPTF, other than item h: Should ERCOT post (a) the latest SE solution, or (b) All SE solutions for the hour, or (c) other proposal. Also, the SE solution should be exportable as a CIM compliant database. Protocol Text: Every hour, ERCOT shall post on the MIS Secure Area the following information: (a) Status of all breakers and switches used in the Network Security Analysis except breakers and switches connecting Resources to the ERCOT Transmission Grid; (b) Transmission flows and voltages from the State Estimator; (c) Individual transmission Load on Electrical Buses, sum of the Load on each Electrical Bus in each Load Zone, and total Load on Electrical Buses in the ERCOT System, the sum of ERCOT generation, and flow on the DC Ties, all from the State Estimator; (d) Transformer flows, voltages and tap position from the State Estimator; (e) All voltage schedules; (f) All binding transmission constraints and the contingency or overloaded element pairs that caused such constraint; (g) All Shadow Prices on binding transmission constraints; and (h) The 15-minute average of Loads on the Electrical Buses from State Estimator results. |

| Requirement Id | FR105 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.5.7.3(5)(c) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P04EstimateStateAnalyzeContingencies COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Post Security Violations and Binding Transmission Constraints Posting Category: Secure Posting Frequency: Monthly Protocol Text: The two-step SCED methodology referenced in paragraph (1) above […] (c ) ERCOT shall archive information and provide monthly summaries of security violations and any binding transmission constraints identified in Step 2 of the SCED process. The summary must describe the Limiting Element (or identified operator-entered constraint with operator’s comments describing the reason and the Resource-specific impacts for any manual overrides). ERCOT shall provide the summary to Market Participants on the MIS Secure Area and to the WEMM. |

| Requirement Id | FR107 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.5.7.5(1) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Publish Real-Time System Amount Updates Posting Category: Secure Posting Frequency: Every 10 seconds Protocol Text: ERCOT shall calculate the following every 10 seconds and provide Real-Time summaries to ERCOT operators and all Market Participants using the MIS Secure Area and ICCP, giving updates of calculations every 10 seconds, which show the Real-Time total system amount of: Responsive Reserve Capacity from Generation Resources; Responsive Reserve Capacity from Load Resources excluding Controllable Load Resources; Responsive Reserve Capacity from Controllable Load Resources; Non-Spinning Reserve available from On-Line Generation Resources with Energy Offer Curves; Non-Spinning Reserve available from undeployed Load Resources; Non-Spinning Reserve available from Off-Line Generation Resources; Non-Spinning Reserve available from Resources with Output Schedules; Undeployed Reg-Up and undeployed Reg-Down; Available capacity with Energy Offer Curves in the ERCOT System that can be used to increase Base Points in SCED; Available capacity with Energy Offer Curves in the ERCOT System that can be used to decrease Base Points in SCED; Available capacity without Energy Offer Curves in the ERCOT System that can be used to increase Base Points in SCED; and Available capacity without Energy Offer Curves in the ERCOT System that can be used to decrease Base Points in SCED. [ there is a requriement to also post the adjusted physical responsive reserve. We also added the total generation and total on-line capacity from generation so a complete picture of actual operating conditions is provided to MPs and ERCOT operators] |

| Requirement Id | FR108 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.5.7.6.2.1(5) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P07MonitorDeployAncillaryServices (RCv1) COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Post Total Amount of Regulation Service Posting Category: Secure Posting Frequency: Daily Protocol Text: Every day, ERCOT shall post to the MIS Secure Area the total amount of deployed Reg-Up and Reg-Down energy in each Settlement Interval of the previous day. |

| Requirement Id | FR109 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.5.7.6.2.3(6) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Post Output Schedule Changes/Adjustments Posting Category: Certified Posting Frequency: On trigger condition, trigger condition needs to be defined in Market system Protocol Text: For Dynamically Scheduled Resources (DSRs) providing Non-Spin, on deployment of Non-Spin, the DSR’s QSE shall adjust its Resource Output Schedule to reflect the amount of deployment. For non-DSRs with Output Schedules providing Non-Spin, on deployment of Non-Spin, ERCOT shall adjust the Resource Output Schedule for the remainder of the Operating Period to reflect the amount of deployment. ERCOT shall notify the QSEs representing the non-DSR of the adjustment through the MIS Certified Area. |

| Requirement Id | FR110 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.5.9.2 (2) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Send message and publish Notice of SCED Failure Posting Category: Secure Posting Frequency: Upon SCED Failure Protocol Text: For intervals that the SCED process fails to reach a solution, then the LMPs for the interval for which no solution was reached are equal to the LMPs in the most recently solved interval. ERCOT shall notify the market of the failure using the Messaging System and by posting on the MIS Secure Area. |

| Requirement Id | FR111 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.5.9.3.3 (7) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post Alert Messages Under Emergency Conditions Posting Category: Secure Posting Frequency: Upon emergency conditions Protocol Text: ERCOT shall post the Alert message electronically to the MIS Secure Area and shall provide verbal notice to all TSPs and QSEs via the Hotline. ... |

| Requirement Id | FR111.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.5.9.5.1(4) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post registration details of all registered BLTs. Posting Category: Secure Posting Frequency: Upon registration Protocol Text: ERCOT shall post the registration details of all registered BLTs to the MIS Secure Area. |

| Requirement Id | FR112 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.5.9.6(2) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM.P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Post Black Start Service Restoration Plan Posting Category: Secure Posting Frequency: Within 14 days of creation or update Protocol Text: ERCOT may Dispatch Black-Start Service pursuant to an emergency restoration plan to begin restoration of the ERCOT System to a secure operating state after a blackout. ERCOT shall include in the restoration plan specific instructions for all Market Participants, including TSPs and DSPs, describing actions to be taken on loss of communication and other general restoration actions. ERCOT shall post the restoration plan on the MIS Secure Area within 14 days of creation or update. |

### Section 7:  Congestion Revenue Rights

| Requirement Id | FR113 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 7.1 (2)(d) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P05ConductCRRMarkets CSWM P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Present trading of Congestion Revenue Rights Application. Posting Category: Secure Posting Frequency: Upon Request Bilateral Market – Any CRR Account Holder may trade PTP Options, ... Bilateral trading may be done privately or through ERCOT. ERCOT shall facilitate trading on the MIS Secure Area of existing CRRs between CRR Account Holders, subject to credit requirements. ERCOT shall settle CRRs with the CRR Account Holder shown on ERCOT records. |

| Requirement Id | FR114 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 7.3.1.1 AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P05ConductCRRMarkets |
| Coverage of Sub-Process |  |
| Description: Post the list of all flowgates available for FGRs and provide notice to all market participants. Posting Category: Public Posting Frequency: As soon as practicable after change in designation Protocol Text: Flowgates where ERCOT offers FGRs may only be created by an amendment to Section 7.3.1.2, Defined Flowgates. ERCOT shall post the list of all flowgates available for FGRs on the MIS Public Area. If there is any change in the designation of flowgates, ERCOT shall provide notice to all Market Participants as soon as practicable. |

| Requirement Id | FR114.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 7.5.1(2) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P05ConductCRRMarkets |
| Coverage of Sub-Process |  |
| Description: Post any CRR Network Model outages Posting Category: Secure Posting Frequency: Consistent with model posting requirements Protocol Text: The CRR Network Model must be based on, but is not the same as, the Network Operations Model. ... These outages included in the CRR Network Model shall be posted on the MIS Secure Area consistent with model posting requirements by ERCOT with accompanying cause and duration information, as indicated in the Outage Scheduler. ... |

| Requirement Id | FR115 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 7.5.2.2(2) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P05ConductCRRMarkets |
| Coverage of Sub-Process |  |
| Description: Post valid CRR Auction Status and Offers Posting Category: Certified Posting Frequency: Continuously Protocol Text: ERCOT shall continuously display on the MIS Certified Area information that allows any CRR Account Holder submitting a CRR Auction Offer to view its valid CRR Auction Offers. |

| Requirement Id | FR116 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 7.5.2.4(2) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P05ConductCRRMarkets |
| Coverage of Sub-Process |  |
| Description: Post CRR Auction Holder’s valid CRR Auction Bids Posting Category: Certified Posting Frequency: Continuously Protocol Text: ERCOT shall continuously display on the MIS Certified Area information that allows any CRR Account Holder submitting a CRR Auction Bid to view its valid CRR Auction Bids. |

| Requirement Id | FR117 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 7.5.3(1)(b) AUG07 PR 7.5.3(1)(d) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P05ConductCRRMarkets |
| Coverage of Sub-Process |  |
| Description: Post CRR Auction Calendar and CRR Auction results Posting Category: Not Specified Posting Frequency: Not Specified Protocol Text: ERCOT shall: Post calendar of CRR Auction Post CRR Auction results |

| Requirement Id | FR118 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 7.5.3(1)(i) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P05ConductCRRMarkets CPWM P02MonitorCredit CSWM P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post the CRR Network Model Posting Category: Secure Posting Frequency: 10 days before the monthly auction and 20 days before the annual auction Protocol Text: Post CRR Network Model of the effective month of the auction on the MIS Secure Area, before each CRR Auction For monthly auctions the model shall be posted no later than 10 business days before the auction. For annual auctions the model shall be posted no later than 20 business days before the annual auction. |

| Requirement Id | FR119 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 7.5.3.1(1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P05ConductCRRMarkets CPWM P02MonitorCredit CSWM P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post Auction Results for each CRR awarded in, sold in, or allocated before the CRR Auction. Posting Category: Certified Posting Frequency: On schedule Protocol Text: Following each CRR Auction, ERCOT shall record and make available to each CRR Account Holder on the MIS Certified Area the following information for each CRR awarded in, sold in, or allocated before, the CRR Auction to the specific CRR Account Holder Unique identifier of each CRR; Type of CRR (PTP Option, PTP Obligation, PTP Option with Refund, PTP Obligation with Refund, MCFRIs or other FGRs); Clearing price and, if applicable, the PCRR pricing factor of each CRR; Except for FGRs, the source and sink of each CRR; and FGR identity and direction; The date and time-of-use block for which the CRR is effective; and Total MW of each PTP pair of CRR, awarded, sold or allocated, or total MW for each flowgate, awarded, sold or allocated. |

| Requirement Id | FR120 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 7.5.3.1(2) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P05ConductCRRMarkets CPWM P02MonitorCredit CSWM P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post Auction Results for each outstanding CRR after the CRR Auction. Posting Category: Public Posting Frequency: Following each CRR Auction Protocol Text: Following each CRR Auction, ERCOT shall post to the MIS Public Area the following information for all outstanding CRRs following this auction: PTP Options and PTP Options with Refund – the source and sink , and total MWs; PTP Obligations and PTP Obligations with Refund – the source and sink and total MWs; FGRs – the identity of each directional flowgate, and the magnitude of positive flow (MW) on each directional network element represented by each flowgate; The identities of the CRR Account Holders that were awarded or allocated CRRs in or before the CRR Auction; The clearing prices for each strip of CRR blocks awarded in the CRR Auction; The identity and post contingency flow of each binding directional element based on the CRR Network Model used in the CRR Auction; and All CRR Auction Bids and CRR Auction Offers, without identifying the name of the CRR Account Holder that submitted the bid or offer. |

| Requirement Id | FR121 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 7.5.3.2(1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P05ConductCRRMarkets CPWM P02MonitorCredit CSWM P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post annual and monthly CRR Pre-Auction information, including CRR Auction calendar Posting Category: Public Posting Frequency: Not less than 20 days before each annual CRR Auction and not less than 10 days before each monthly auction Protocol Text: (1) Not less than 20 days before each annual CRR Auction and not less than 10 days before each monthly CRR Auction, ERCOT shall post the following to the MIS Public Area: For the CRR Auction, number and type (PTP Options or PTP Obligations) of CRRs previously awarded or allocated for each appropriate month, including the source and sink for each such CRR; For the CRR Auction, number of MCFRIs that have been previously awarded or allocated for each appropriate month, including the flowgate for each such MCFRI; McCamey Area flowgate limits and the affected Transmission Elements used to derive those limits. Deadline for CRR Account Holders to satisfy financial requirements to participate in the auction; Specifications for the equipment and interfaces necessary to participate in the CRR Auction; Date and time by which CRR Auction Bids and CRR Auction Offers in the CRR Auction must be submitted; Bid and offer format; and Any other relevant information of commercial significance to CRR Account Holders. |

| Requirement Id | FR122 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 7.5.5.2 AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P05ConductCRRMarkets CSWM P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post CRR Ownership of record Posting Category: Public Posting Frequency: Monthly Protocol Text: ERCOT shall post monthly, by the fifth Business Day of the month, on the MIS Public Area CRR ownership of record for each source and sink pair and each flowgate: the identities of the CRR Account Holders, type of CRR held by that account holder, and total MWs held by that account holder. |

| Requirement Id | FR123 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 7.7.2(1) AUG07 PR 7.7.2(2) AUG07 PR 7.7.2(4) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P05ConductCRRMarkets COPS P05ForecastLoad |
| Coverage of Sub-Process |  |
| Description: Publish maps indicating the Electrical Buses contained in the McCamey area, post the specific predefined directional network element that defines each McCamey Area flowgate and post a current geographical map and an electrical one-line diagram of the boundaries of the McCamey Area. Posting Category: Secure Posting Frequency: Ongoing updates as necessary Protocol Text: MCFRIs are a type of FGR that must be allocated only to WGRs in the McCamey Area, which is an area of west Texas with an abundance of wind-powered generation for which there are export capability limitations. ERCOT shall determine the boundaries of the McCamey Area and publish maps on the MIS Secure Area indicating the Electrical Buses contained in the McCamey Area. ERCOT shall post to the MIS Secure Area the specific predefined directional network element that defines each McCamey Area flowgate. The elements that comprise new McCamey Area flowgates may be established due to changes in the transmission system. ERCOT shall post on the MIS Public Area a current geographical map and an electrical one-line diagram of the boundaries of the McCamey Area. ERCOT shall revise the map and diagram as necessary to reflect any changes in transmission system configuration or new interconnections of WGRs in west Texas |

| Requirement Id | FR124 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 7.9.1.2 (5) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P05ConductCRRMarkets CSWM P03SettleBillTransfer COPS P06DevelopASAnalyzeVoltageStability COWM P01RunDAMarkets COWM P06ValidateCOPPrices CPWM P02MonitorCredit CSWM P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post the calculation of PTP Option value in DAM Posting Category: Public Posting Frequency: Not Specified Protocol Text: For informational purposes, the following calculation of PTP Option value shall be posted on the MIS Public Area: DAOPTPRINFO (j, k) = (DASP c * Max (0, (DAWASF j, c – DAWASF k, c))) |

| Requirement Id | FR125 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 7.9.2.2 (7) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P05ConductCRRMarkets CSWM P03SettleBillTransfer COPS P08ReportOperations COWM P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Post calculation of PTP Option in RTM Posting Category: Public Posting Frequency: Not Specified Protocol Text: For informational purposes, the following calculation of PTP Option value shall be posted on the MIS Public Area: RTOPTPRINFO (j, k) = [(RTSP c, y * Max (0, RTWASF j, c, y – RTWASF k, c, y) * TLMP y) / (TLMP y)] |

### Section 8:  Performance Monitoring and Compliance

| Requirement Id | FR126 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 8.1.2.2(4) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P01RunDAMarkets |
| Coverage of Sub-Process |  |
| Description: Post standard test document for simulation of Load interruption required for Ancillary Services Test Posting Category: Public Posting Frequency: Posted within 7 days of test completion. Protocol Text: A specific Load Resource to be used for the first time to provide Regulation, Responsive Reserve or Non-Spin must be tested to ERCOT’s reasonable satisfaction (tripped or simulated trip, if required and approved by ERCOT) before its qualification to provide Ancillary Service. The test must take place at a time mutually selected by the QSE representing the Load Resource and ERCOT. ERCOT shall make available its standard test document for simulation of Load interruption required under this Section on the MIS Public Area. A Load Resource used to provide Responsive Reserve must be qualified for correct relay operation by its host TSP and DSP, if applicable. |

| Requirement Id | FR127 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 8.2 (2) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS P01ModelManageData COPS P08ReportOperations CPWM P01RegisterValidateMarket CSWM P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post reports that the WEMM delivers to TAC on ERCOT’s operations and performance (Operations Performance Report) Posting Category: Secure Posting Frequency: Within 7 days of receipt, normally quarterly. Protocol Text: TAC, or a subcommittee designated by TAC, shall continually review the WEMM’s assessments of ERCOT’s operations and ERCOT’s performance in controlling the ERCOT Control Area according to requirements and criteria established by the Operating Guides and NERC policy and standards operating of Control Areas. Any reports that the WEMM delivers to TAC on ERCOT’s operations and performance must be posted to the MIS Secure Area by ERCOT. Reports of all substandard ERCOT operations must be provided to TAC, the ERCOT Board and to the NERC Board as appropriate. Assessments and reports include the following ERCOT activities. ... |

| Requirement Id | FR128 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 8.4(1) JAN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS P01ModelManageData COPS P08ReportOperations CPWM P01RegisterValidateMarket CSWM P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post Performance Non-Compliance reports Posting Category: Secure Posting Frequency: On events of non-compliance Protocol Text: Reports of all activities that do not meet the performance criteria in this Section 8 and in the Operating Guides must be provided to TAC, the ERCOT Board, the PUCT and to the NERC Board as appropriate. Non-compliance reports must be posted on the MIS Secure Area on delivery. |

### Section 9:  Settlement and Billing

| Requirement Id | FR129 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.1.2(1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS P07MonitorDeployAncillaryServices COWM P01RunDAMarkets COWM P04RunRTMarkets COWM P05ConductCRRMarkets CPWM P02MonitorCredit CPWM P03ManageAccountsIssuesDisputes CSWM P01MeterAcquireData CSWM P01MeterAcquireData CSWM P02CreateLoadProfileAggData CSWM P03SettleBillTransfer COPS P05ForecastLoad COPS P06DevelopASAnalyzeVoltageStability COWM P06ValidateCOPPrices |
| Coverage of Sub-Process |  |
| Description: Publish Settlement Calendar for each operating day Posting Category: Public Posting Frequency: Not specified Protocol Text: ERCOT shall post and maintain on the Market Information System (MIS) Public Area a “Settlement Calendar” to denote, for each Operating Day, when: (a) Each scheduled Settlement Statement for the DAM will be issued under Section 9.2.4, DAM Statement and Section 9.2.5, DAM Resettlement Statement; (b) Each Settlement Invoice for the DAM will be issued under Section 9.3, Settlement Invoices for the DAM; (c) Payments for the DAM are due under Section 9.4, Payment Process for the DAM; (d) Each Late Fee Invoice for the DAM will be issued under Section 9.4.5, Late Fees and Late Fee Invoices for the DAM; (e) Payments for DAM Late Fee Invoices are due under Section 9.4.5; (f) Each scheduled Settlement Statement for the Real-Time Market will be issued under Section 9.5.4, RTM Initial Statement, Section 9.5.5, RTM Final Statement, Section 9.5.6, RTM Resettlement Statement, and Section 9.5.8, RTM True-Up Statement; (g) Each Settlement Invoice for the Real-Time Market will be issued under Section 9.6, Settlement Invoices for the Real-Time Market; (h) Payments for the Real-Time Market are due under Section 9.7, Payment Process for the RTM; (i) Each Late Fee Invoice for the Real-Time Market will be issued under Section 9.7.5, Late Fees and Late Fee Invoices for the RTM; (j) Payments for RTM Late Fee Invoices are due under Section 9.7.5; (k) Each RTM Uplift Invoice will be issued under Section 9.7.3, Partial Payments by Invoice Recipients for the RTM; (l) Payments for RTM Uplift Invoices are due under Section 9.7.3; (m) Each CRR Auction Invoice will be issued under Section 9.8, CRR Auction Invoices; (n) Payments for CRR Auction Invoices are due under Section 9.9, Payment Process for CRR Auction Invoices; (o) Each CRR Auction Revenue Distribution Invoice will be issued under Section 9.10, CRR Auction Revenue Distribution Invoices; (p) Payments for CRR Auction Revenue Distribution Invoices are due under Section 9.11, Payment Process for CRR Auction Revenue Distribution; (q) Each CRR Balancing Account Invoice will be issued under Section 9.12, CRR Balancing Account Invoices; (r) Payments for CRR Balancing Account Invoices are due under Section 9.13, Payment Process for the CRR Balancing Account; and (s) Settlement and Billing Disputes for each scheduled Settlement Statement and Settlement Invoice must be submitted to be considered timely under Section 9.14. |

| Requirement Id | FR130 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.1.3 AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPWM P02MonitorCredit CSWM P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Provide Settlement Statement Access via report and XML download Posting Category: Certified Posting Frequency: As specified by the calendar Protocol Text: A Statement or Invoice Recipient may access its Settlement Statements electronically, using either the following methods: Secured entry on the MIS Certified Area; eXtensible Markup Language (XML) access to the MIS Certified Area. |

| Requirement Id | FR131 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.2.2(1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPWM P02MonitorCredit CSWM P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post Settlement Statements for the DAM applicable to each Market Participant. Posting Category: Certified Posting Frequency: Pursuant to the date specified in the Settlement Calendar Protocol Text: ERCOT shall make each Settlement Statement for a DAM available on the date specified on the Settlement Calendar for that DAM by posting it on the MIS Certified Area for the applicable Market Participant to which the Settlement Statement is addressed (Statement Recipient). |

| Requirement Id | FR132 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.2.6 AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS P05ForecastLoad COPS P06DevelopASAnalyzeVoltageStability COWM P01RunDAMarkets COWM P06ValidateCOPPrices CPWM P02MonitorCredit CSWM P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Publish DAM Resettlement Notification Posting Category: Public Posting Frequency: No later than one Business Day after the declaration of the resettlement Protocol Text: While maintaining confidentiality of all Market Participants, ERCOT shall post a notice on the MIS Public Area no later than one Business Day after the declaration of the resettlement, indicating that the DAM for a specific Operating Day will be resettled and the date that the DAM Resettlement Statements for that DAM will be issued by ERCOT. ERCOT shall include the following information in the notice of resettlement: Detailed description of reason(s) for resettlement; For the applicable Operating Day; Affected Charge Types; and Total resettled amount, by Charge Type. |

| Requirement Id | FR133 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.3(1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Publish invoices for the DAM Posting Category: Certified Posting Frequency: As specified by the calendar Protocol Text: ERCOT shall issue Invoices for the DAM (DAM Invoice) on the second Business Day after the Operating Day. For each DAM Invoice, the Market Participant to whom the Invoice is addressed (“Invoice Recipient”) is either a payee or payor. The Invoice Recipient is responsible for accessing the Invoice on the MIS Certified Area once posted by ERCOT. |

| Requirement Id | FR134 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.3(2) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P01RunDAMarkets COWM P04RunRTMarkets COWM P05ConductCRRMarkets CPWM P02MonitorCredit CPWM P03ManageAccountsIssuesDisputes CSWM P01MeterAcquireData CSWM P02CreateLoadProfileAggData CSWM P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Publish Settlement Invoices based on Resettlement Statements for the DAM Posting Category: Certified Posting Frequency: On the same business day that the DAM resettlement statement is posted Protocol Text: ERCOT shall issue DAM Invoices that are based on DAM Resettlement Statements on the same Business Day as the day that the DAM Resettlement Statement is posted to the MIS Certified Area. |

| Requirement Id | FR135 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.4.3(f) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CSWM P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post the short pay plan of short-pay DAM Invoice Recipients Posting Category: Secure Posting Frequency: Upon entering into a payment plan with a short-pay Invoice Recipient Protocol Text: When ERCOT enters into a payment plan with a short-pay Invoice Recipient, ERCOT shall post to the MIS Secured Area: The short-pay plan; The schedule of quantifiable expected payments, updated if and when modifications are made to the payment schedule; and Invoice dates to which the payments will be applied. |

| Requirement Id | FR136 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.4.5(3) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P05ConductCRRMarkets CSWM P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post Late Fee Invoices for the DAM Posting Category: Certified Posting Frequency: No later that the date specified on the Settlement Calendar Protocol Text: ERCOT shall post to the MIS Certified Area for each DAM Invoice Recipient, a DAM Invoice based on late fees (DAM Late Fee Invoice). The DAM Late Fee Invoice Recipient is responsible for accessing the information from the MIS Certified Area once posted by ERCOT. |

| Requirement Id | FR137 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.5.2(1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPWM P02MonitorCredit CSWM P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post Settlement Statements for the RTM for an operating day Posting Category: Certified Posting Frequency: Pursuant to the Date Specified on the Settlement Calendar Protocol Text: ERCOT shall make each Settlement Statement for the RTM for an Operating Day available on the date specified on the Settlement Calendar for that Operating Day by posting it to the MIS Certified Area for the applicable Statement Recipient. |

| Requirement Id | FR138 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.5.7 AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CSWM P03SettleBillTransfer COWM P03RunRUC COWM P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Post Notice of Resettlement for the Real-Time Market Posting Category: Public Posting Frequency: Within one Business Day after the declaration of the resettlement Protocol Text: While maintaining confidentiality of all Market Participants, ERCOT shall post a notice of resettlement for the RTM on the MIS Public Area within one Business Day after the declaration of the resettlement, indicating that a specific Operating Day will be resettled and the date that the RTM Resettlement Statements will be issued by ERCOT. ERCOT shall include the following information in the notice of resettlement: Detailed description of reason(s) for resettlement; Affected Operating Days; Affected settlement Charge Types; and Total resettled amount, by Charge Type. |

| Requirement Id | FR139 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.5.9(1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P03RunRUC COWM P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Post notice of delay of True-Up Settlement Timeline Changes for the Real-Time Market (Notice of Delay) Posting Category: Public Posting Frequency: 180 days post Operating day with conditions Protocol Text: If the IDR Data Threshold has not been met by the 180th day after the Operating Day (or, if the 180th day is not a Business Day, by the next day thereafter that is a Business Day), then ERCOT shall immediately post a notice of delay on the MIS Public Area of any RTM True-Up Statement issuance, indicating the IDR Data Threshold has not been met. |

| Requirement Id | FR140 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.5.9(2) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COWM P03RunRUC COWM P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Publish Notice of True-Up Settlement Timeline Changes for the Real-Time Market (Issuing a True-Up Statement) Posting Category: Public Posting Frequency: Within two Business Days after discovering the delay Protocol Text: For any delayed RTM True-Up Statement, ERCOT shall post a Notice of RTM True-Up Settlement on the MIS Public Area indicating that it will issue an RTM True-Up Statement for a specific Operating Day within two Business Days after discovering the delay. As soon as practicable, ERCOT shall post on the MIS Public Area the revised date on which the delayed RTM True-Up Statement will be issued. |

| Requirement Id | FR141 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.6(3) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS P08ReportOperations COWM P04RunRTMarkets |
| Coverage of Sub-Process |  |
| Description: Post RTM Invoices Posting Category: Certified Posting Frequency: Pursuant to the dates specified in the Settlement Calendar Protocol Text: ERCOT shall post RTM Invoices on the MIS Certified Area. |

| Requirement Id | FR141.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.7.3(f) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post RTM short pay plan with a short-pay Invoice Recipient. Posting Category: Secure Posting Frequency: Protocol Text: .When ERCOT enters into a payment plan with a short-pay Invoice Recipient, ERCOT shall post to the MIS Secure Area: (i) The short-pay plan; (ii) The schedule of quantifiable expected payments, updated if and when modifications are made to the payment schedule; and (iii) Invoice dates to which the payments will be applied |

| Requirement Id | FR142 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.7.5(3) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS P08ReportOperations COWM P04RunRTMarkets CSWM P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post Late Fee Invoices for the RTM Posting Category: Certified Posting Frequency: By no later than the date specified in the Settlement Calendar Protocol Text: ERCOT shall post to the MIS Certified Area for each RTM Invoice Recipient, an Invoice based on Late Fees (RTM Late Fee Invoice). The RTM Late Fee Invoice Recipient is responsible for accessing the information from the MIS Certified Area once posted by ERCOT. |

| Requirement Id | FR142.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.8.(3) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post Late Fee Invoices for the RTM Posting Category: Certified Posting Frequency: Protocol Text: ERCOT shall post on the MIS Certified Area for each Invoice Recipient CRR Auction Invoice based on CRR Auction charges and payments as set forth in: (a) Section 7.5.6.1, Payment of an Awarded CRR Auction Offer; (b) Section 7.5.6.2, Charge of an Awarded CRR Auction Bid; and (c) Section 7.5.6.3, Charge of PCRRs Pertaining to a CRR Auction. |

| Requirement Id | FR142.2 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.10.(5) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post CARD Invoices for each Invoice Recipient Posting Category: Certified Posting Frequency: Protocol Text: ERCOT shall post on the MIS Certified Area for each Invoice Recipient a CARD Invoice based the calculations located: (a) Section 7.5.6.4, CRR Auction Revenues; and (b) Section 7.5.7, Method for Distributing CRR Auction Revenues. |

| Requirement Id | FR142.3 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.12.(4) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post CRR Balancing Account Invoices for each Invoice Recipient Posting Category: Certified Posting Frequency: Protocol Text: ERCOT shall post on the MIS Certified Area for each Invoice Recipient a CRR Balancing Account Invoice based the calculations located: (a) Section 7.9.3.4, Monthly Refunds to Short-Paid CRR Owners; and (b) Section 7.9.3.5, CRR Balancing Account Closure. |

| Requirement Id | FR142.4 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.14.2(1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post dispute communications to and from ERCOT Posting Category: Certified Posting Frequency: Protocol Text: A Settlement Statement Recipient or Invoice Recipient may dispute items or calculations in the Settlement Statement or Invoice, except as limited for RTM True-Up Statements in paragraphs (2) and (3) below. If the Settlement Statement or Invoice Recipient wishes to dispute any of these items or calculations and the relevant data extracts are complete, it shall register the Settlement and Billing dispute with ERCOT by electronic means within ten Business Days after the date the Settlement Statement or Invoice was issued. If the Settlement Statement or Invoice Recipient wishes to dispute any of these items or calculations and the relevant data extracts are incomplete, it shall register the Settlement and Billing dispute with ERCOT by electronic means within ten Business Days from the issue date of issue of the Settlement Statement or Settlement Invoice containing the alleged error. However, to the extent the disputing party claims the Settlement or Billing dispute relates to information made available under Section 1.3.3, Expiration of Confidentiality, then the disputing party must register the Settlement and Billing dispute with ERCOT by electronic means within 60 days after the date that the information becomes available. All communication to ERCOT and from ERCOT concerning disputes must be through either the MIS Certified Area or other electronic communication. . |

| Requirement Id | FR143 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.14.3(4) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CSWM P03SettleBillTransfer COPS P07MonitorDeployAncillaryServices COWM P01RunDAMarkets COWM P04RunRTMarkets COWM P05ConductCRRMarkets CPWM P02MonitorCredit CPWM P03ManageAccountsIssuesDisputes CSWM P01MeterAcquireData CSWM P02CreateLoadProfileAggData |
| Coverage of Sub-Process |  |
| Description: Publish forms for entering a settlement and billing dispute. Posting Category: Certified Posting Frequency: Continuously Protocol Text: Forms for entering a Settlement and billing dispute must be provided on the MIS Certified Area. |

| Requirement Id | FR144 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.14.4(2) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CSWM P02CreateLoadProfileAggData CSWM P03SettleBillTransfer CPWM P03ManageAccountsIssuesDisputes COWM P07AnalyzeMarket |
| Coverage of Sub-Process |  |
| Description: Publish settlement and billing dispute resolution report. Posting Category: Secure Posting Frequency: Monthly Protocol Text: ERCOT shall place priority on processing timely disputes. On a monthly basis, ERCOT shall issue a Settlement and billing dispute resolution report on the MIS Secure Area containing information related to the disposition of Granted and Granted with Exception Settlement and billing disputes and the impact of that disposition by Operating Day. |

| Requirement Id | FR145 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.14.4(4) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CSWM P02CreateLoadProfileAggData CSWM P03SettleBillTransfer CPWM P03ManageAccountsIssuesDisputes COWM P07AnalyzeMarket |
| Coverage of Sub-Process |  |
| Description: Publish necessary adjustments in processing disputes on the next available Settlement Statement for the Operating Day Posting Category: Certified Posting Frequency: On the next available Settlement Statement for the Operating Day Protocol Text: For Settlement and Billing disputes requiring complex research or additional time for resolution and late disputes that can be reasonably processed, ERCOT shall notify the Invoice Recipient or Statement Recipient of the length of time expected to research and post those disputes and, if a portion or all of the dispute is granted, ERCOT shall post on the MIS Certified Area the necessary adjustments on the next available Settlement Statement for the Operating Day, if any portion or all of the dispute is Granted. Statement or Invoice Recipients have the right to proceed to the ADR process in Section 20, Alternative Dispute Resolution Procedure, for timely filed disputes that cannot be resolved through the Settlement and Billing dispute process contained in Section 9.8, Settlement and Billing Dispute Process. |

| Requirement Id | FR146 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.14.6 AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CSWM P02CreateLoadProfileAggData CSWM P03SettleBillTransfer CPWM P03ManageAccountsIssuesDisputes |
| Coverage of Sub-Process |  |
| Description: Publish report of status of all disputes. Posting Category: Public Posting Frequency: Daily Protocol Text: ERCOT shall post daily to the MIS Public Area a report of the status of all disputes. The report must include: Filed date; Disputing Entity; Dispute ID number; Dispute status; Date of last status change; Charge Type; Amount disputed; and Amount awarded. |

| Requirement Id | FR147 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.15.1 AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPWM P03ManageAccountsIssuesDisputes |
| Coverage of Sub-Process |  |
| Description: Post Charge Type Matrix Posting Category: Public Posting Frequency: Ten days before implementation of change Protocol Text: ERCOT shall post a Charge Type Matrix on the MIS Public Area that summarizes each Charge Type by variable name used in the Protocols, description, and Protocol section number reference. ERCOT post changes to this Charge Type matrix at least ten days before implementation of change |

| Requirement Id | FR148 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.16 AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPWM P03ManageAccountsIssuesDisputes |
| Coverage of Sub-Process |  |
| Description: Post Administrative Fees Posting Category: Public Posting Frequency: Within two Business Days following PUCT approval Protocol Text: The ERCOT Board shall determine, subject to PUCT approval, the administrative fees, as described in this Section 9.10, Administrative Fees, and ERCOT shall post them on the MIS Public Area within two Business Days following PUCT approval. |

| Requirement Id | FR149 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.17.1(1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CSWM P02CreateLoadProfileAggData COPS P01ModelManageData CPPS P01PlanFutureBaseCases CSWM P01MeterAcquireData CSWM P02CreateLoadProfileAggData |
| Coverage of Sub-Process |  |
| Description: Post Billing Determinant Data Elements Posting Category: Secure Posting Frequency: By December 1st of each year Protocol Text: ERCOT shall calculate and provide to Market Participants on the MIS Secure Area the following data elements annually to be used by TSPs and DSPs as billing determinants for transmission access service. This data must be provided by December first of each year. This calculation must be made under the requirements of the PUCT. The data that is used to perform these calculations must come from the same systems used to calculate Settlement-billing determinants used by ERCOT. The 4-Coincident Peak (4-CP) for each DSP, as applicable; The ERCOT average 4-CP; The average 4-CP for each DSP, as applicable, coincident to the ERCOT average 4-CP. |

| Requirement Id | FR150 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 9.18(3) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CSWM.P02CreateLoadProfileAggData |
| Coverage of Sub-Process |  |
| Description: Post a report summarizing allowed expenses and Profile Development Cost Recovery Fee for Non-ERCOT Sponsored Load Profile Segment Posting Category: Public Posting Frequency: Within 60 days after ERCOT approves a profile segment Protocol Text: Within 60 days after ERCOT approves a profile segment, ERCOT staff shall evaluate the costs submitted and shall disallow any costs not meeting these criteria. The remaining costs must comprise the total reimbursable cost. Within the same 60-day period, ERCOT shall post a report on the MIS Public Area summarizing the allowed expenses by paragraphs (1) and (2) above. If a Market Participant, including the requestor, disagrees with the ERCOT staff determination with respect to the total reimbursable cost, the Market Participant may submit a dispute as outlined in Section 20. No disputes may be submitted after 45 days from posting of the total reimbursable cost to the MIS Public Area. |

### Section 12:  Market Information System

| Requirement Id | FR151 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 12.2(1) SEP05 |
| Coverage of Source | Complete |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post information as directed throughout Protocols. Posting Category: Public Posting Frequency: Ongoing Protocol Text: ERCOT shall post information to the MIS as directed throughout these protocols. With the exception of information requested by a Market Participant in accordance with (3) below, ERCOT may not use the MIS to post information beyond that specifically required in these Protocols. |

| Requirement Id | FR152 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 12.2(3) SEP05 |
| Coverage of Source | Complete |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post Market Participant Requests Posting Category: Certified Posting Frequency: Ongoing Protocol Text: To the extent a request is reasonable, in ERCOT’s sole discretion, ERCOT shall post to the MIS Certified Area information that is requested by a Market Participant but not required to be posted by these Protocols. |

| Requirement Id | FR153 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 12.2(4) SEP05 |
| Coverage of Source | Complete |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post a list of posting requirements contained in the Protocols (Protocols Posting Summary List) Posting Category: Public Posting Frequency: Ongoing Protocol Text: ERCOT shall create and maintain a list of all of the posting requirements contained in these Protocols. This list and changes thereto, shall be posted to the MIS Public Section. |

| Requirement Id | FR154 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 12.2(5) SEP05 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post a list of Other Binding Documents Posting Category: Public Posting Frequency: Ongoing Protocol Text: ERCOT shall post the list of Other Binding Documents to the MIS Public Area. |

| Requirement Id | FR155 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 12.3(b) SEP05 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Provide all information required under any regulations of the Public Utility Commission of Texas (PUCT) or other Governmental Authorities. Posting Category: Public Posting Frequency: Ongoing Protocol Text: The MIS must, at a minimum, provide all information required under any regulations of the Public Utility Commission of Texas (PUCT) or other Governmental Authorities. |

| Requirement Id | FR156 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 12.3(c) SEP05 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Provide all integrated telemetered Megawatts for each QSE unit for each settlement period. Posting Category: Certified Posting Frequency: Daily Note: We need TPTF to provide clarification of what specifically is meant by “all available information.” Provided by LCRA: “All available information” would include any data or determinants necessary to shadow settle the ERCOT-provided settlement statements. This should include Gross MW’s, Net MW’s, and Aux MW’s. Protocol Text: The MIS must include any available information that may be used by a Qualified Scheduling Entity (QSE) to estimate or verify bills for all ERCOT-provided settlements. |

| Requirement Id | FR157 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 12.3(e) SEP05 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Provide security measures to protect the confidentiality of protected information as required by Protocols. Posting Category: Not applicable Posting Frequency: Not applicable Protocol Text: The MIS must include security measures to protect the confidentiality of Protected Information as required by these Protocols |

| Requirement Id | FR158 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 12.3(f) SEP05 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Comply with industry standards for commercial websites, including query and search functionality. Posting Category: Not applicable Posting Frequency: Not applicable Protocol Text: The MIS must comply with industry standards for commercial websites, including query and search functionality |

| Requirement Id | FR159 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 12.3(g) SEP05 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Provide hyperlink navigation between posting list described in Section 12.2(4) and the MIS posted information. Posting Category: Not applicable Posting Frequency: Not applicable Protocol Text: The MIS must provide easy navigation based on the posting list described in Section 12.2(4) above for document retrieval. This navigability must include hyperlinks between listings and the MIS posted information. |

| Requirement Id | FR160 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 12.3(h) SEP05 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Provide hyperlink navigation to Other Binding Documents. Posting Category: Secure Posting Frequency: Not applicable Protocol Text: The MIS must provide easy navigation to the Other Binding Documents described in Section 12.2(5) above. This navigability must include hyperlinks between listings and the documents. |

### Section 16:  Registration and Qualification of Market Participants

| Requirement Id | FR161 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 16.1(2)AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPWM.P01RegisterValidateMarket CPWM.P02MonitorCredit |
| Coverage of Sub-Process |  |
| Description: Post the standard forms for Qualification, Registration, and Execution of Agreements Posting Category: Public Posting Frequency: Ongoing Protocol Text: (2) A standard Form Market Participant Agreement is in Section 22, Agreements, and ERCOT shall also post this agreement on the Market Information System (MIS) Public Area. |

| Requirement Id | FR162 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 16.1(3) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPWM.P01RegisterValidateMarket CPWM.P02MonitorCredit |
| Coverage of Sub-Process |  |
| Description: Post Registration Procedures and Applications Posting Category: Public Posting Frequency: Ongoing Protocol Text: ERCOT shall post on the MIS Public Area all registration procedures and applications necessary to complete registration for any function described in these Protocols. As part of its registration procedures, ERCOT may require one or more of the following: Reasonable tests of the ability of a Market Participant to communicate with ERCOT or perform as required under these Protocols; An application fee as determined by the ERCOT Board; and Related agreements for specific purposes (such as agency designation, meter splitting, or network interconnection) that apply only to some Market Participants. |

| Requirement Id | FR163 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 16.2.2 AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post the QSE Application form and fee schedule applicable to QSE applications. Posting Category: Public Posting Frequency: Ongoing Protocol Text: To register as a QSE, an applicant must submit to ERCOT a completed QSE application and any applicable fee. ERCOT shall post on the MIS Public Area the form in which QSE applications must be submitted, all materials that must be provided with the QSE application and the fee schedule, if any, applicable to QSE applications. The QSE application shall be attested to by a duly authorized officer or agent of the applicant. The QSE applicant shall promptly notify ERCOT of any material changes affecting a pending application using the appropriate form posted on the MIS Public Area. The application must be submitted at least 60 days before the proposed date of commencement of service |

| Requirement Id | FR164 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 16.2.3.1(1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post the Qualified Scheduling Entity Service Filing forms and procedures. Posting Category: Public Posting Frequency: Ongoing Protocol Text: Not less than 15 days before starting any QSE activities with ERCOT, each QSE shall submit a complete “Service Filing,” which includes a QSE Registration Form and a declaration on any Subordinate QSEs. ERCOT shall post on the MIS Public Area the forms and procedures to be used by a QSE to submit Service Filings. The Service Filing must include the following: Proof of credit for ERCOT security amount, as detailed below; the security amount must increase or decrease as the number of represented Market Participants and their respective market activities change; A complete list of all Market Participants that the QSE intends to represent; the list may be updated only until, but not within, the three days before the QSE starts providing QSE services; and, The date upon which the QSE proposes to start QSE activities with ERCOT. |

| Requirement Id | FR165 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 16.2.4 AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post a current list of all Qualified Scheduling Entities (QSEs) with a cautionary statement of service entitlement. Posting Category: Public Posting Frequency: Ongoing Protocol Text: ERCOT shall post on the MIS Public Area and maintain a current list of all QSEs. ERCOT shall include with that posting a cautionary statement that inclusion on that list does not necessarily mean that a QSE is entitled to provide any service to a third party, nor does it obligate a QSE to provide any service to a third party. |

| Requirement Id | FR165.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 16.2.6.1(8) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post a referral list of qualified QSEs. Posting Category: Public Posting Frequency: Ongoing Protocol Text: ERCOT shall maintain a referral list of qualified QSEs on the MIS Public Area who request to be listed as providing QSE services on short notice. The list shall include the QSE’s name, contact information and whether they are qualified to represent Load and/or Resources and/or provide Ancillary Services. ERCOT shall not be obligated to verify the abilities of any QSE so listed. ERCOT shall require all QSEs listed to confirm their inclusion on the referral list no later than the start of each calendar year. |

| Requirement Id | FR166 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 16.3.2(1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post the Load Serving Entities (LSE) Application form and requirements. Posting Category: Public Posting Frequency: Ongoing Protocol Text: Any Entity providing electric service to Customers in ERCOT, or in Non-ERCOT portions of Texas in areas where Customer Choice is in effect, must submit to ERCOT a Load Serving Entity Application (“LSE application”). ERCOT shall post on the MIS Public Area the form in which LSE applications must be submitted, all materials that must be provided with the LSE application, and the fee schedule, if any, applicable to LSE applications. |

| Requirement Id | FR167 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 16.5.2(1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post the Resource Entity Application form and procedures. Posting Category: Public Posting Frequency: Ongoing Protocol Text: To register as a Resource Entity, an applicant must submit to ERCOT a completed Resource Entity application and any applicable fee. ERCOT shall post on the MIS Public Area the form in which Resource Entity applications must be submitted, all materials that must be provided with the Resource Entity application |

| Requirement Id | FR168 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 16.8.2 AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post the CRR Account Holder Application form and procedures. Posting Category: Public Posting Frequency: Ongoing Protocol Text: To register as a CRR Account Holder, an applicant must submit to ERCOT a completed CRR Account Holder application and any applicable fee. ERCOT shall post on the MIS Public Area the form in which CRR Account Holder applications must be submitted, all materials that must be provided with the CRR Account Holder application and the fee schedule, if any, applicable to CRR Account Holder applications. The CRR Account Holder application shall be attested to by a duly authorized officer or agent of the applicant. The CRR Account Holder applicant shall promptly notify ERCOT of any material changes affecting a pending application using the appropriate form posted on the MIS Public Area. The application must be submitted at least 15 days before the first day of participation in the CRR Auction process or purchase of CRRs. |

| Requirement Id | FR169 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 16.11.2(1) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPWM.P02MonitorCredit |
| Coverage of Sub-Process |  |
| Description: Publish the ERCOT Creditworthiness Standards (Requirements for Setting an ERCOT Counter-Party’s Unsecured Credit Limit). Posting Category: Public Posting Frequency: Ongoing Protocol Text: The terms Minimum Credit Rating, Credit Rating, Minimum Equity, Minimum Average Times/Interest Earning Ratio (TIER) and Debt Service Coverage (DSC) Ratios, Maximum Debt to Total Capitalization Ratio, Minimum Equity to Assets Ratio, Minimum Earnings Before Interest, Taxes, Depreciation, Amortization (EBITDA) to Interest and Current Maturities of Long-Term Debt (CMLTD) ratio, Unsecured Credit Limit and Minimum Equity Ratios are defined in the ERCOT Creditworthiness Standards adopted by the ERCOT Board of Directors and published on the MIS Public Area. |

| Requirement Id | FR170 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 16.11.4.5(2) AUG07 PR 16.11.4.5(3) AUG07 PR 16.11.4.5(4) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post the weighting values associated with pricing components (Determination of the Counter-Party Future Credit Exposure) Posting Category: Public Posting Frequency: Ongoing Protocol Text: The posting of the various weighting values will be posted to the MIS for the following CRR types: PTP obligations PTP Options FGRs Variable Unit Description W1 – W4 None Weighting—The weighting associated with the pricing components that sum to 1. The values of these factors must be determined by the Credit Working Group and posted on the MIS Public Area. |

## Requirements from CURRENT PROTOCOLS

### Section 10:  Metering

| Requirement Id | FR170.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 10.4.2 AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post EPS Design Proposal form Posting Category: Public Posting Frequency: Protocol Text: Before installation of new EPS Meters, TSP or DSP shall provide ERCOT with an EPS Design Proposal of the Metering Facilities being considered for ERCOT approval as EPS Meter Facilities. An “EPS Design Proposal” is the documentation required on the form available on the MIS Public Area. Included one line drawings must be dated, detailed, bear the current drawing revision number, and show all devices which contribute to the burden in the metering circuits. Other information may also be required by ERCOT for review regarding the meter and related installation and Facilities; such additional information shall be promptly provided to ERCOT by the TSP or DSP upon request of ERCOT. |

| Requirement Id | FR171 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 10.4.3.2 AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post Provisional Approval Guidelines Posting Category: Public Posting Frequency: Quarterly Notes: .rtf Document created from an access database. Can be viewed or downloaded Protocol Text: If ERCOT finds that the documentation: provided by the TSP or DSP is incomplete or demonstrates that the EPS Metering Facility fails to meet the standards contained within this Section and SMOG; then ERCOT may, elect to issue a provisional approval for the Metering Facility. The terms and conditions on which such provisional approval is issued shall be at ERCOT’s discretion and shall be defined for the TSP or DSP. ERCOT shall not issue an approval until such time as all of the conditions of the provisional approval have been fulfilled to the satisfaction of ERCOT. ERCOT shall post any provisional approvals on the MIS Public Area on a quarterly basis. |

| Requirement Id | FR171.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 10.12.3(b) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Distribute Settlement Quality Meter Data to Market Participants Posting Category: Certified Posting Frequency: Upon request Protocol Text: ERCOT shall distribute Settlement Quality Meter Data to Market Participants: ... On Request – An Market Participant may submit an electronic request via the MIS Certified Area for specific meter consumption data. ERCOT will receive and validate the request and, if appropriate, automatically forward the appropriate information to the Market Participant. |

| Requirement Id | FR172 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 10.14.2(a) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations CSWM.P01MeterAcquireData |
| Coverage of Sub-Process |  |
| Description: Post Temporary Exemptions from Compliance Application Guideline Posting Category: Public Posting Frequency: Within one week of change to guidelines Notes: Word Document can be viewed or downloaded Protocol Text: ERCOT shall use the following process when considering applications for temporary exemptions from compliance with this Section and the SMOG. (a) Publication of Guidelines: ERCOT shall post on the MIS Public Area the general guidelines that it will use when considering applications for exemptions within five Business Days of a change of guidelines, so as to achieve consistency in its reasoning and decision-making and to give prospective applicants an indication of whether an application for exemption may be considered favorably. |

| Requirement Id | FR173 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 10.14.2(b) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P01ModelManageData |
| Coverage of Sub-Process |  |
| Description: Post the application for exemption, whether the application was approved or rejected and reason for rejection Posting Category: Public Posting Frequency: Quarterly Notes: .rtf Document created from an access database. Can be viewed or downloaded Protocol Text: (b) Publication of Decision: ERCOT shall post on the MIS Public Area the application for exemption and whether the application was approved or rejected by ERCOT and the reasons for rejecting the application, if applicable, on a quarterly basis. |

### Section 11:  Data Acquisition and Aggregation

| Requirement Id | FR174 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 11.4.3.1 MAR07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations COPS.P05ForecastLoad CSWM.P02CreateLoadProfileAggData |
| Coverage of Sub-Process |  |
| Description: Publish Weather Responsiveness Determination data as a data extract Posting Category: Not specified Posting Frequency: Yearly, no later than November 20th Protocol Text: The weather responsiveness determination shall be performed annually between November 1st and November 15th. No later than November 20th, ERCOT shall produce a report that contains the ESI IDs that require profile code modifications as a result of the weather responsiveness test. This report shall be published to Market Participants in a data extract via the MIS by November 20th. |

| Requirement Id | FR175 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 11.4.3.1 MAR07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations COPS.P05ForecastLoad CSWM.P02CreateLoadProfileAggData |
| Coverage of Sub-Process |  |
| Description: Publish Repeat Tests of Weather Responsiveness for ESI IDs results Posting Category: Not specified Posting Frequency: Yearly, beginning on December 1st and continuing monthly thereafter until May of the following year Protocol Text: Beginning on December 1st, and continuing monthly thereafter until May of the following year, ERCOT shall repeat the weather responsiveness test. These tests shall be limited to ESI IDs that had some missing data during the previous summer period when the most recent weather responsiveness test was performed. As above, ERCOT shall produce a report that contains the ESI IDs requiring profile code modifications and shall publish the report via the MIS. |

| Requirement Id | FR176 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 11.5.1.1 MAR07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations COPS.P05ForecastLoad CSWM.P02CreateLoadProfileAggData |
| Coverage of Sub-Process |  |
| Description: Post Aggregated Load Data –Access to Market Participant Data for each settlement run. Posting Category: Not specified Posting Frequency: Within 48 hours of finalizing the data for the Settlement Statements Protocol Text: Each Market Participant will have access only to its own information and/or the information of the Entities, which it represents. ERCOT will make the aforementioned data for each settlement run available to Market Participants via MIS within forty-eight (48) hours of finalizing the data for Settlement Statements. |

| Requirement Id | FR178 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 11.5.2.2 MAR07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer CSWM.P02CreateLoadProfileAggData |
| Coverage of Sub-Process |  |
| Description: Publish market generation information. Posting Category: Not specified Posting Frequency: Within 48 hours of finalizing the data for the Settlement Statements Protocol Text: [Reliant: also, need to define ‘settlement run types’ to ensure that posting requirement is met. Will these data be with settlement data or under another category on the MIS?] The following general market generation information will be posted to the MIS: (1) Total Generation (2) Total AML ERCOT will make the aforementioned data for each settlement run type available to Market Participants via MIS within forty-eight (48) hours of finalizing the data for Settlement Statements. |

| Requirement Id | FR179 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 11.6.1 MAR07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CSWM.P02CreateLoadProfileAggData COPS.P08ReportOperations COPS.P05ForecastLoad |
| Coverage of Sub-Process |  |
| Description: Post Annual Unaccounted For Energy (UFE) Analysis findings Posting Category: By April 30th each year Posting Frequency: Annual Notes: Not Required. UFE Analysis has never been performed. Protocol Text: ERCOT will provide an annual UFE analysis report consisting of UFE data analysis from the preceding calendar year. This report will be based on final settlement data and will be posted to the Market Information System (MIS) by April 30th. The appropriate TAC Subcommittee may: (1) Request interim UFE analysis reports; (2) Establish a task force for further UFE investigation that may include the establishment of UFE analysis zones. ... |

### Section 13:  Transmission and Distribution Losses

| Requirement Id | FR181 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 13.1.1(2) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process | COPS.P05ForecastLoad COPS.P06DevelopASAnalyzeVoltageStability CSWM.P02CreateLoadProfileAggData COWM.P01RunDAMarkets |
| Description: Post Transmission Loss Factor Forecasts and Actuals Posting Category: Not specified Posting Frequency: By 0600 of the Day Ahead period and then actuals on the day following the operating day Protocol Text: ERCOT shall forecast Transmission Loss Factors (TLFs) and post them to the MIS Public Area by 0600 of the Day Ahead period. ERCOT shall forecast the ERCOT-wide TLFs as a percentage of Load for each Settlement Interval of the Operating Day. By the close of business on the day following the Operating Day, ERCOT shall also calculate TLFs for each Settlement Interval using the actual system Load for that Settlement Interval and shall post the resulting deemed actual TLFs to the settlement system and the MIS Public Area. |

| Requirement Id | FR182 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 13.1.1(3) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CSWM.P02CreateLoadprofileAggData CSWM.P01MeterAcquireData COPS.P05ForecastLoad COWM.P01RunDAMarkets |
| Coverage of Sub-Process |  |
| Description: Forecast and Post Settlement Interval Distribution Loss Factors and Actuals Posting Category: Not specified Posting Frequency: By 0600 of the Day Ahead period Protocol Text: ERCOT shall forecast Settlement Interval Distribution Loss Factors (DLFs) and post them to the MIS Public Area by 0600 of the Day Ahead period. ERCOT shall forecast the Settlement Interval DLFs as a percentage of Load for each Settlement Interval of the Operating Day. On the day following the Operating Day, ERCOT shall also calculate Settlement Interval DLFs using actual system Load for that Settlement Interval and post the resulting deemed actual Settlement Interval DLFs to the settlement system and the MIS Public Area. |

| Requirement Id | FR183 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 13.2.1 (2)AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P05ForecastLoad COPS.P06DevelopASAnalyzeVoltageStability CSWM.P02CreateLoadProfileAggData COWM.P01RunDAMarkets |
| Coverage of Sub-Process |  |
| Description: Post Forecasted Transmission Loss Factors Posting Category: Not specified Posting Frequency: 0600 Day Ahead Protocol Text: At 0600 of the Day Ahead period, ERCOT shall forecast a TLF for each Settlement Interval of the Operating Day and post on the MIS Public Area the forecasted TLFs which correspond to the Operating Day forecast. The source of the on-peak and off-peak losses are the ERCOT load flow base cases for the applicable month. |

| Requirement Id | FR184 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 13.2.2(3) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P05ForecastLoad COPS.P06DevelopASAnalyzeVoltageStability CSWM.P02CreateLoadProfileAggData |
| Coverage of Sub-Process |  |
| Description: Post Deemed Actual Transmission Loss Factors Posting Category: Not specified Posting Frequency: 0600 two days after the Operating Day Protocol Text: ERCOT shall use the TLFs corresponding to the on-peak and off-peak base case ERCOT System Loads during the applicable months as the basis for the ERCOT-wide deemed actual TLFs. ERCOT will post TLFs to the MIS Public Area by 0600 two (2) days after the Operating Day. |

| Requirement Id | FR186 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 13.2.4 (3) AUG07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P05ForecastLoad COPS.P06DevelopASAnalyzeVoltageStability COPS.P08ReportOperations |
| Coverage of Sub-Process |  |
| Description: Post seasonal Transmission Loss Factors Posting Category: Not specified Posting Frequency: Thirty days prior to the start of the season Protocol Text: ERCOT shall post, to the MIS Public Area, monthly TLFs 30 days prior to the start of the month. The posting will include monthly on-peak and off-peak cases for 18 months in the future. |

### Section 14:  State of Texas Renewable Energy Credit Trading Program

| Requirement Id | FR187 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 14.2 (20) AUG04 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post a list of facilities which includes facility identification numbers, names, location, type and noncompetitive certification data. Posting Category: Not specified Posting Frequency: Ongoing Protocol Text: Post a list of Facility Identification Numbers, and the associated Facility name, location, type, and noncompetitive certification data on the MIS |

| Requirement Id | FR188 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 14.2 (21) AUG04 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations COPS.P05ForecastLoad |
| Coverage of Sub-Process |  |
| Description: Post Particulate Generation Data for REC Generators on the MIS Posting Category: Not specified Posting Frequency: Ongoing Protocol Text: ERCOT shall post on the MIS a table containing CO2, SO2, NOx, and particulate matter emissions data on an MWh basis for each certified REC generating Facility and REC offset generating Facility. ERCOT shall use generation data gathered for the REC trading program and the most recent annual emissions data provided by either the Texas Natural Resource Conservation Commission or the United States Environmental Protection Agency, as requested from those agencies by the PUCT, to calculate these numbers. ERCOT shall use the formulas provided by the PUCT for this posting. |

| Requirement Id | FR189 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 14.10.2 AUG04 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P05ForecastLoad |
| Coverage of Sub-Process |  |
| Description: Post requests for CCF changes on the MIS Posting Category: Not specified Posting Frequency: Within 10 business days of receipt of the letter from the PUCT. Protocol Text: For purposes of calculating HO (historical output) from renewable capacity, ERCOT shall keep a list of renewable generators, REC certification dates, and annual MWh generation totals. ERCOT shall use this revised CCF for the two Compliance Periods immediately after it is set. If the PUCT has determined that the REC Program is failing to meet the statutory targets for renewable energy capacity in Texas, it will instruct ERCOT to use a different number than that which would be calculated using the formula for the CCF. Such requests will be published on ERCOT’s MIS web site within ten (10) Business Days of receipt of the letter from the PUCT. |

| Requirement Id | FR190 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 14.13 AUG04 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P05ForecastLoad |
| Coverage of Sub-Process |  |
| Description: Post Public Information of Interest to Buyers and Sellers of RECs on the MIS Posting Category: Not specified Posting Frequency: Ongoing Protocol Text: ERCOT shall maintain public information of interest to buyers and sellers of RECs on the MIS. The information provided shall include, at a minimum, a directory of all REC generators, Competitive Retailers, and other participants in the REC Program. The directory shall include the following information: (1) Name of the REC generator, Competitive Retailer, or other REC account holder; (2) Name of the designated representative; (3) Street address or post office box number; (4) City, state or province, and ZIP or postal code; (5) Country (if not the United States); (6) Phone number; (7) Fax number; (8) E-mail address (with hypertext link); and (9) Web site address (with hypertext link). |

| Requirement Id | FR191 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 14.13 AUG04 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post Facility ID numbers, names, locations and types; and post and the aggregated total energy sales on the MIS Posting Category: Not specified Posting Frequency: Not specified Protocol Text: ERCOT shall conspicuously display the following disclaimer in upper case and in bold font: DISCLAIMER: ERCOT DOES NOT KNOW OR ENDORSE THE CREDITWORTHINESS OR REPUTATION OF ANY REC ACCOUNT HOLDER LISTED IN THIS DIRECTORY. ERCOT may provide other information that describes the REC trading program, as it deems convenient or necessary for administering the REC trading program. ERCOT shall maintain a hypertext link to the appropriate pages on the PUCT’s web site that are related to the REC Program. ERCOT shall post each month the best available aggregated total energy sales (in MWh) of Competitive Retailers in Texas for the previous month and year-to-date for the calendar year. ERCOT shall post a list of Facility identification numbers, associated names, locations, and types |

### Section 15:  Customer Registration

| Requirement Id | FR192 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 15 JUN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPWM.P01RegisterValidateMarket CPWM.P02MonitorCredit |
| Coverage of Sub-Process |  |
| Description: Post Transaction flow diagrams for Customer Registration on the MIS Posting Category: Not specified Posting Frequency: Not specified Protocol Text: 4th Paragraph, Last sentence: Transaction flow diagrams for Customer registration processing are posted on the MIS. |

| Requirement Id | FR193 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 15.2 JUN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post ESI ID information on the MIS Posting Category: Not specified Posting Frequency: Not specified Protocol Text: Competitive Retailers and Aggregators may obtain information from ERCOT to determine or to verify the ESI ID for a Service Delivery Point (SDP) using the Service Address. CRs or Aggregators may also obtain information from ERCOT to determine or to verify the Service Address for a SDP, using the ESI ID through a look-up function on the MIS. This look-up function will return the following information for a SDP: (1) Service Address; (2) Meter read code; (3) ESI ID; (4) TDSP; (5) Premise Type; (6) Current Status (active/de-energized/inactive) with effective date; and (7) Move-In/Move-Out pending flag with associated date, if applicable.. [...] |

### Section 18:  Load Profiling

| Requirement Id | FR194 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 18.2.9 JUL07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CSWM.P02CreateLoadProfileAggData COWM.P07AnalyzeMarket |
| Coverage of Sub-Process |  |
| Description: Post MP Request for Changes to Load Profiles on the MIS Posting Category: Not specified Posting Frequency: within sixty (60) days of receipt of written petitionh Protocol Text: Any Market Participant may petition ERCOT for adjustments to the existing Load Profiles and for development of new Load Profiles. The Market Participant making the request shall submit their proposal in writing to ERCOT. ERCOT will post to the Market Information System (MIS) the request and respond to such requests within sixty (60) days. ERCOT shall coordinate with the appropriate ERCOT TAC subcommittee for each change request. ERCOT shall strive to make the necessary changes within a reasonable period of time. [...]. |

| Requirement Id | FR 195 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 18.3.2 JUL07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post Load Profiling Models Posting Category: Not specified Posting Frequency: Not specified Protocol Text: ERCOT will make available the models used to produce the forecast and backcast profiles for the settlement process. The Load Profile models shall be accessible via the Market Information System in a downloadable format. |

| Requirement Id | FR196 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 18.3.3 JUL07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post Load Profile data Posting Category: Secure Posting Frequency: Forecasted Load Profiles for the 3 following days by 1000 each Business day. Backcast profiles by 1000 of the second Business day following the backcast day. Profile data will be made available for 2 years. Protocol Text: ERCOT will publish Load Profile data from the profile creation process, in accordance with Section 18.2.7, Daily Profile Creation Process to the Market Information System and through the common API. Load Profile data will be made available to Market Participants for a period of two (2) years. ERCOT will post to the Market Information System by 1000 each Business Day forecasted Load Profiles for the three (3) following days for each Load Profile Type and Weather Zone. Backcast profiles for each Load Profile Type and Weather Zone will be available by 1000 of the second (2nd) Business Day following the backcast day. No data will be provided that will allow identification of individual Customers. |

| Requirement Id | FR198 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 18.4.1 JUL07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P05ForecastLoad CSWM.P02CreateLoadProfileAggData |
| Coverage of Sub-Process |  |
| Description: Post Load Profile ID Assignment Table on the MIS Posting Category: Not specified Posting Frequency: Ongoing Protocol Text: ERCOT shall develop a cross-reference table of all Load Profile ID used in the ERCOT market. The table shall clearly state class relationship to Load Profile Type. This information shall be made accessible, on the MIS, to all Market Participants. The cross-reference information shall be compiled and expressed in clear, unambiguous language, and in a manner that will minimize Load Profile ID assignment disputes. |

| Requirement Id | FR199 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 18.4.5 JUL07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P05ForecastLoad CSWM.P02CreateLoadProfileAggData |
| Coverage of Sub-Process |  |
| Description: Post Assignment of Weather Zones to ESI IDs on the MIS Posting Category: Not specified Posting Frequency: Ongoing Protocol Text: ... ERCOT will post to MIS a mapping of a Weather Zone to appropriate Customer registration element used in assigning Weather Zones. |

| Requirement Id | FR200 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 18.6.2 JUL07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P05ForecastLoad COPS.P08ReportOperations CSWM.P02CreateLoadProfileAggData |
| Coverage of Sub-Process |  |
| Description: Post IDR Mandatory Installation Threshold Reports on the MIS Posting Category: Not specified Posting Frequency: Not specified Protocol Text: ERCOT shall produce a report informing the appropriate Market Participants of profiled Premises that have become subject to the provisions of Section 18.6.1(1), IDR Mandatory Installation Threshold. ERCOT shall put in place a system to track Market Participants’ timely adherence to this requirement. This report shall be posted to MIS. |

### Section 19:  Texas Standard Electronic Transaction

| Requirement Id | FR201 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 19 JUN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post SET Implementation Guides to the MIS Posting Category: Not specified Posting Frequency: Ongoing Protocol Text: This Section of the Protocols contains an overview of the purpose and scope of the Texas Standard Electronic Transaction (SET), and a series of definitions identifying the use of each SET transaction. It also refers to the full implementation guidelines, which will be posted on the Market Information System (MIS) maintained by ERCOT. The specific implementation guidelines are not included either in the body of these Protocols or as an attachment to these Protocols. |

| Requirement Id | FR202 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 19.1 JUN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post SET Implementation Guides and change control documents to the MIS Posting Category: Not specified Posting Frequency: Not specified Protocol Text: Texas SET describes the standard electronic data transactions, implementation guides, Protocols, principles and procedures that enable and facilitate the processes of Customer Choice in the deregulated Texas electric market. The full implementation guidelines and change control process documents shall be published on the MIS by ERCOT and shall define and serve as the standard electronic protocols for the applicable SET transactions among all Market Participants (MPs) and ERCOT. |

|  | FR203 |
| --- | --- |

| Requirement Id | FR205 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 19.4.5 JUN07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post Change Control standards on the MIS Posting Category: Not specified Posting Frequency As necessary when changes are made. Protocol Text: In order to accommodate the change control process, ERCOT in conjunction with the appropriate TAC subcommittee, or its designated working group, will maintain, publish, and post the standards and the ongoing modifications/enhancements to these standards on the MIS. A consolidated new release of the standards will be published and electronically posted based on the nature and priority of changes requested. The consolidated new release publication will encompass all changes implemented during the period subsequent to the last released publication and will be posted to the MIS. |

### Section 20:  Alternative Dispute Resolution Procedure

| Requirement Id | FR207 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 20.2.2 OCT 04 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPWM.P03ManageAccountsIssuesDisputes COWM.P07AnalyzeMarket CSWM.P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post the ADR resolution date on the MIS Posting Category: Not specified Posting Frequency: Not specified Protocol Text: For any ADR Procedure invoked in connection with a settlement and billing dispute submitted pursuant to Section 9.5, Settlement and Billing Disputes, the Market Participant submitting the dispute must provide Notice to the General Counsel of ERCOT (as set forth in Section 20.2.1, Requirement for Written Request) within forty-five (45) days of the date that ERCOT denied the Market Participant’s settlement and billing dispute. ERCOT shall post the dispute resolution date on the portion of the MIS used for the processing of disputes. […] |

| Requirement Id | FR208 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 20.5.3 OCT 04 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | CPWM.P03ManageAccountsIssuesDisputes COWM.P07AnalyzeMarket CSWM.P03SettleBillTransfer |
| Coverage of Sub-Process |  |
| Description: Post summary of dispute on the MIS Posting Category: Not specified Posting Frequency: Not specified Protocol Text: As soon as practicable after appointment of the arbitrator or the arbitration panel, the arbitrators shall submit to the General Counsel of ERCOT a summary of the dispute (which summary shall not include information claimed to be confidential, proprietary, or Customer-specific), which ERCOT shall post to the MIS. The summary by the arbitrators shall also specify a date for filing of interventions. |

### Section 21:  Process for Protocol Revision

| Requirement Id | FR209 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.1 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations |
| Coverage of Sub-Process |  |
| Description: Post decisions of Protocol Revision Subcommittee, TAC, or ERCOT Board with respect to PRR Posting Category: Not specified Posting Frequency: Within three business days of the decision by the Protocol Revision Subcommittee Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: […] All decisions of the Protocol Revision Subcommittee (PRS), as defined below, the ERCOT Technical Advisory Committee (TAC) and the ERCOT Board (Board) with respect to any PRR shall be posted to the MIS within three (3) Business Days of the date of the decision. All such postings shall be maintained on the MIS for at least one hundred eighty (180) days from the date of posting. |

| Requirement Id | FR210 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.3 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations |
| Coverage of Sub-Process |  |
| Description: Post schedule and agenda of the Protocol Revision Subcommittee Posting Category: Not specified Posting Frequency: Not specified Notes: [...] ERCOT shall consult with the chair of the PRS to coordinate and establish the meeting schedule for the PRS or other assigned subcommittee. The PRS shall meet at least once per month and shall ensure that reasonable advance notice of each meeting, including the meeting agenda, is posted to the MIS. |

| Requirement Id | FR211 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.4.1 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post completed PRRs Posting Category: Not specified Posting Frequency: Within three business days of correction or completion of a PRR Notes: Same requirements for webpage functionality for Nodal as in Zonal [...] If a submitted PRR is complete or once a PRR is corrected, ERCOT shall post a complete PRR to the MIS and distribute the PRR to the PRS within three (3) Business Days. |

| Requirement Id | FR212 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.4.2 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post a notice of the submitter’s withdrawal of a PRR Posting Category: Not specified Posting Frequency: Within one business day of the submitter’s notice to the PRS. Notes: Same requirements for webpage functionality for Nodal as in Zonal Protocol Text: Upon notice to the PRS, the submitter of a PRR may withdraw the PRR at any time prior to approval of the PRR by the PRS. ERCOT shall post a notice of the submitter’s withdrawal of a PRR on the MIS within one (1) Business Day of the submitter’s notice to PRS. |

| Requirement Id | FR213 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.4.3 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations |
| Coverage of Sub-Process |  |
| Description: Publish report (“PRS Recommendation Report”) Posting Category: Not specified Posting Frequency: Within three business days after the PRS takes action to approve, approve with modifications, or reject the PRR Notes: Same requirements for webpage functionality for Nodal as in Zonal Protocol Text: [...] To receive consideration, comments must be delivered electronically to ERCOT in the designated format provided on the MIS within twenty-one (21) days from the posting date of the PRR. Comments submitted after the due date of the twenty-one (21) day comment period may be considered at the discretion of PRS after these comments have been posted. Comments submitted in accordance with the instructions on the MIS—regardless of date of submission—shall be posted to the MIS and distributed electronically to the PRS within three (3) Business Days of submittal. [...] Within three (3) Business Days after PRS takes action to approve, approve with modifications, or reject the PRR, ERCOT shall issue a report (“PRS Recommendation Report”) to TAC reflecting the PRS action and post the same to the MIS. The PRS Recommendation Report shall contain the following items: (1) identification of submitter; (2) modified Protocol language proposed by the PRS; (3) identification of authorship of comments; (4) proposed effective date(s) of the PRR; (5) priority and rank for any PRRs requiring a system change project; and (6) recommended action: approval or approval with modified language. |

| Requirement Id | FR214 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.4.4 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations |
| Coverage of Sub-Process |  |
| Description: Post comments relating to PRS recommendation report and send to TAC and PRS electronically. Posting Category: Not specified Posting Frequency: Within three business days of submittal if comments were submitted in accordance to the instructions on the MIS Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: [...] Within three (3) Business Days of receipt of comments related to the PRS Recommendation Report, ERCOT shall post such comments to the MIS. The comments shall include identification of the commenting Entity. Comments submitted in accordance with the instructions on the MIS—regardless of date of submission—shall be posted to the MIS and distributed electronically to the TAC and PRS within three (3) Business Days of submittal. |

| Requirement Id | FR215 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.4.5 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post results of completed Protocol Impact Analysis (PIA) Posting Category: Not specified Posting Frequency: Within 25 days after PRS approval of the PRR unless longer review period is warranted due to complexity. Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: [...] Unless a longer review period is warranted due to the complexity of the proposed PRS Recommendation Report, ERCOT shall issue the PIA for the recommended PRR within twenty-five (25) days after PRS approval of the PRR. ERCOT shall post the results of the completed PIA on the MIS. If a longer review period is required for ERCOT Staff to complete a full PIA, ERCOT Staff shall submit a schedule for completion of the PIA to the PRS chair. |

| Requirement Id | FR216 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.4.6 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations |
| Coverage of Sub-Process |  |
| Description: Post Protocol Revision Subcommittee Review of Impact Analysis Posting Category: Not specified Posting Frequency: If PRS revises its recommendation, ERCOT shall update the PIA and issue the updated PIA at least three (3) Business Days prior to the regularly scheduled TAC meeting Protocol Text: After ERCOT posts the results of the PIA, PRS shall review the PIA at its next regularly scheduled meeting. PRS may revise its PRS Recommendation Report after considering the information included in the PIA. If PRS revises its Recommendation Report, a revised PRS Recommendation Report shall be issued by PRS to TAC and posted on the MIS. Additional comments received regarding the revised PRS Recommendation Report shall be accepted up to three (3) Business Days prior to the TAC meeting at which the PRR is scheduled for consideration. If PRS revises its recommendation, ERCOT shall update the PIA and issue the updated PIA at least three (3) Business Days prior to the regularly scheduled TAC meeting. If a longer review period is required for ERCOT Staff to update the PIA, ERCOT Staff shall submit a schedule for completion of the PIA to the TAC chair. |

| Requirement Id | FR217 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.4.7 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations |
| Coverage of Sub-Process |  |
| Description: Post the Technical Advisory Committee Vote – TAC Recommendation Report Posting Category: Not specified Posting Frequency: Within three business days of the TAC recommendation concerning the PRR Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: If TAC recommends approval of a PRR that does not require an ERCOT project for implementation or requires an ERCOT project which can be performed in the current ERCOT budget cycle based upon its priority and ranking, ERCOT shall prepare a TAC Recommendation Report, issue the report to the ERCOT Board and post the report on the MIS within three (3) Business Days of the TAC recommendation concerning the PRR. The TAC Recommendation Report shall contain the following items: (1) identification of the submitter of the PRR; (2) modified Protocol language proposed by TAC (3) identification of the authorship of comments; (4) proposed effective date(s) of the PRR; (5) priority and rank for any PRR requiring a system change request; (6) PRS recommendation; and (7) TAC recommendation. |

| Requirement Id | FR217.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.4.7 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations |
| Coverage of Sub-Process |  |
| Description: Post TAC Recommendation Report for PRRs requiring a project for implementation Posting Category: Posting Frequency: Within three business days of the decision by the Protocol Revision Subcommittee Protocol Text: If TAC recommends approval of a PRR that requires a project for implementation that cannot be funded within the current ERCOT budget cycle, ERCOT shall prepare a TAC Recommendation Report and post the report on the MIS within three (3) Business Days of the TAC recommendation concerning the PRR. ERCOT shall assign the approved PRR to the “Unfunded Project List” until the ERCOT Board approves an annual ERCOT budget in a manner that indicates funding would be available in the new budget cycle to implement the project if approved by the Board; in such case, the TAC Recommendation Report would be provided at the next Board meeting following such budget approval for the Board’s consideration under Section 21.4.9, ERCOT Board Vote. |

| Requirement Id | FR218 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.4.8 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations |
| Coverage of Sub-Process |  |
| Description: Post the ERCOT Impact Analysis Based on Technical Advisory Committee Recommendation Report Posting Category: Not specified Posting Frequency: Within three business days of issuance of an updated PIA Protocol Text: For PRRs not designated Urgent, ERCOT shall review the TAC Recommendation Report and update the PIA as soon as practicable, but no later than thirty (30) days after the TAC Recommendation Report is issued, unless a longer period is warranted due to the complexity of the changes proposed by TAC. If the PRR does not require a project assigned to the Unfunded Project List, ERCOT shall issue the updated PIA (if any) to the ERCOT Board and post it on the MIS within three (3) Business Days of issuance. If a longer review period is required for ERCOT Staff to update the PIA, ERCOT Staff shall submit a schedule for completion of the PIA to the TAC and ERCOT Board chairs. [...] |

| Requirement Id | FR219 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.4.8 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations |
| Coverage of Sub-Process |  |
| Description: Post the ERCOT Impact Analysis Based on Technical Advisory Committee Recommendation report Posting Category: Not specified Posting Frequency: For PRRs designated Urgent, ERCOT shall prepare the PIA within thirty (30) days after the TAC Recommendation Report is issued or based on a TAC approved accelerated schedule Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: For PRRs designated Urgent, ERCOT shall prepare the PIA within thirty (30) days after the TAC Recommendation Report is issued or based on a TAC approved accelerated schedule, unless a longer period is warranted due to the complexity of the changes proposed by TAC. If the PRR does not require a project assigned to the Unfunded Project List, ERCOT shall issue the PIA to the ERCOT Board and post it on the MIS. If a longer review period is required for ERCOT Staff to update the PIA, ERCOT Staff shall submit a schedule for completion of the PIA to the TAC and ERCOT Board chairs. |

| Requirement Id | FR220 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.4.10 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post the Board Decision of PRR Approval/Rejection Posting Category: Not specified Posting Frequency: Within three business days after the Board’s decision Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: The Board’s decision regarding approval or rejection of a PRR shall be posted on the MIS as a Board Action Report within three (3) Business Days after the Board’s decision. |

| Requirement Id | FR221 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.4.10 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post the Board Decision and Filing of Approved Protocol Modification Posting Category: Not specified Posting Frequency: posted on the MIS as soon as practicable, but no later than one (1) day before the effective date of the changes Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: If the ERCOT Board approves a change or changes to the Protocols, such change(s) shall be: (1) filed with the PUCT for informational purposes as soon as practicable, but no later than one (1) day before the effective date of the changes; and (2) incorporated into the Protocols and posted on the MIS as soon as practicable, but no later than one (1) day before the effective date of the changes. |

| Requirement Id | FR222 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.4.11 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post appeals of decisions of PRR to the TAC Posting Category: Not specified Posting Frequency: Within three business days after the date of the relevant decision Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: If PRS rejects the PRR, any ERCOT Member, Market Participant, the PUCT Staff or ERCOT Staff may appeal directly to the TAC. Such appeal to the TAC must be submitted to ERCOT within ten (10) Business Days after the date of the relevant decision. Appeals made after this time shall be rejected. Appeals to the TAC shall be posted on the MIS within three (3) Business Days and placed on the agenda of the next available regularly scheduled TAC meeting, provided that the appeal is provided to ERCOT at least eleven (11) days in advance of the TAC meeting; otherwise the appeal will be heard by the TAC at the next regularly scheduled TAC meeting. |

| Requirement Id | FR223 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.4.11 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post appeals to the ERCOT Board Posting Category: Not specified Posting Frequency: Within three business days after the date of the relevant decision Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: If TAC rejects the PRR, any ERCOT Member, Market Participant, the PUCT Staff or ERCOT Staff may appeal directly to the ERCOT Board. Such appeal to the ERCOT Board must be submitted to ERCOT within ten (10) Business Days after the date of the relevant decision. Appeals made after this time shall be rejected. Appeals to the ERCOT Board shall be posted on the MIS within three (3) Business Days and placed on the agenda of the next available regularly scheduled ERCOT Board meeting, provided that the appeal is provided to the ERCOT General Counsel at least eleven (11) days in advance of the Board meeting; otherwise the appeal will be heard by the Board at the next regularly scheduled Board meeting. |

| Requirement Id | FR224 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.4.11 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post Appeal of Board Decision to the PUCT or other Governmental Authority Review Posting Category: Not specified Posting Frequency: Not specified Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: Any ERCOT Member, Market Participant or PUCT Staff may appeal any decision of the ERCOT Board regarding the PRR to the PUCT or other Governmental Authority. Such appeal to the PUCT or other Governmental Authority must be made within thirty-five (35) days of the date of the relevant decision. If the PUCT or other Governmental Authority rules on the PRR, ERCOT shall post the ruling on the MIS. |

| Requirement Id | FR225 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.5 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post notice of Urgent PRR Requests Posting Category: Not specified Posting Frequency: Not specified Protocol Text: [...] Notice of an Urgent PRR pursuant to this subsection shall be posted on the MIS. [...] |

| Requirement Id | FR226 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.8.1 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations |
| Coverage of Sub-Process |  |
| Description: Post all System Change Requests Posting Category: Not specified Posting Frequency: Within three business days of receipt Notes: Same requirements for webpage functionality for Nodal as in Zonal Protocol Text: [...] ERCOT shall assign a complete SCR to the appropriate subcommittee of TAC (“Assigned TAC Subcommittee”), post the SCR to the MIS and distribute the SCR to the Assigned TAC Subcommittee within three (3) Business Days of receipt. |

| Requirement Id | FR227 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.8.2 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post notice of withdrawal of a System Change Request – Notice of SCR Withdrawal Posting Category: Not specified Posting Frequency: Within one business day of the submitters notice Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: [...] ERCOT shall post a notice of the submitter’s withdrawal of a SCR on the MIS within one (1) Business Day of the submitter’s notice to ERCOT. [...] |

| Requirement Id | FR228 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.8.3 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations |
| Coverage of Sub-Process |  |
| Description: Post all comments to System Change Requests Posting Category: Not specified Posting Frequency: Not specified Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: [..] Comments submitted in accordance with the instructions on the MIS shall be posted to the MIS—regardless of date of submission—and distributed electronically to the Assigned TAC Subcommittee within three (3) Business Days of submittal. [..] |

| Requirement Id | FR229 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.8.3 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post SCR Recommendation Report to TAC Posting Category: Not specified Posting Frequency: Within three business days after the TAC takes action Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: [..] Within three (3) Business Days after the Assigned TAC Subcommittee takes action on the SCR, ERCOT shall issue the SCR Recommendation Report to TAC reflecting the Assigned TAC Subcommittee action and post the same to the MIS. [..] |

| Requirement Id | FR230 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.8.4 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post comments related to SCR Recommendation Report Posting Category: Not specified Posting Frequency: Within three business days of receipt of comments Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: Within three (3) Business Days of receipt of comments related to the SCR Recommendation Report, ERCOT shall post such comments to the MIS. The comments shall include identification of the commenting Entity. |

| Requirement Id | FR231 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.8.5 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post results of System Change Request Impact Analysis Posting Category: Not specified Posting Frequency: After the completion of the SIA Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: [...] Unless a longer period is warranted due to the complexity of the proposed system changes as indicated in the SCR Recommendation Report, ERCOT shall issue a SIA for the recommended SCR within twenty-five (25) days after approval of the SCR by the Assigned TAC Subcommittee. After the completion of the SIA, ERCOT shall post the results of the SIA on the MIS. If a longer review period is required by the ERCOT Staff to update the SIA, ERCOT Staff shall submit a schedule for completion of the SIA to the Assigned TAC Subcommittee chair. |

| Requirement Id | FR232 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.8.6 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post the revised SCR Recommendation Report as issued to TAC Posting Category: Not specified Posting Frequency: Not specified Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: [...] If the Assigned TAC Subcommittee revises its recommendation, ERCOT shall prepare a revised SCR Recommendation Report, issue the report to TAC and post the report on the MIS within three (3) Business Days of the Assigned TAC Subcommittee recommendation concerning this SCR.. Additional comments received regarding the revised SCR Recommendation Report will be accepted up to three (3) Business Days prior to the TAC meeting at which the SCR is scheduled for consideration. [...] |

| Requirement Id | FR233 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.8.7 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post TAC Recommendation Report Posting Category: Not specified Posting Frequency: Within three business days of the TAC recommendation Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: If TAC recommends approval of a SCR, that does not require an ERCOT project for implementation or requires an ERCOT project which can be performed in the current ERCOT budget cycle based upon its priority and ranking, ERCOT shall prepare a TAC Recommendation Report, issue the report to the ERCOT Board and post the report on the MIS within three (3) Business Days of the TAC recommendation concerning the SCR. The TAC Recommendation Report shall contain the following items: (1) identification of the submitter of the SCR; (2) identification of the authorship of comments; (3) proposed effective date(s) of the SCR; (4) priority and rank for any SCRs requiring a system change project; and (5) TAC recommendation |

| Requirement Id | FR233.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.8.7 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations |
| Coverage of Sub-Process |  |
| Description: Post TAC Recommendation Report for SCRs requiring a project for implementation Posting Category: Not Specified Posting Frequency: Within three business days of the TAC Recommendation Protocol Text: If TAC recommends approval of an SCR that requires a project for implementation that cannot be funded within the current ERCOT budget cycle, ERCOT shall prepare a TAC Recommendation Report and post the report on the MIS within three (3) Business Days of the TAC recommendation concerning this SCR. ... |

| Requirement Id | FR234 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.8.8 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post the System Impact Analysis Report Posting Category: Not specified Posting Frequency: Within three business days of an issuance Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: ERCOT shall review the TAC Recommendation Report for SCRs and update the SIA as soon as practicable, but no later than thirty (30) days after the TAC Recommendation Report is issued, unless a longer period is warranted due to the complexity of the changes proposed by TAC. If the SCR does not require a project assigned to the Unfunded Project List, ERCOT shall issue the updated SIA (if any) to the ERCOT Board and post it on the MIS within three (3) Business Days of issuance. If a longer review period is required for ERCOT Staff to update the SIA, ERCOT Staff shall submit a schedule for completion of the SIA to the TAC and Board chairs. |

| Requirement Id | FR235 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.8.10 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post Board SCR Approval or Rejection Posting Category: Not specified Posting Frequency: Within three business days after the Board’s decision Notes: Same requirements for webpage functionality for Nodal as in Zonal. Protocol Text: The Board’s decision to approve or reject an SCR shall be posted on the MIS as a Board Action Report within three (3) Business Days after the Board’s decision. |

| Requirement Id | FR235.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.8.11 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post notice of an Urgent SCR Posting Category: Not Specified Posting Frequency: Within three business days of the TAC Recommendation Protocol Text: Notice of an Urgent SCR pursuant to this subsection shall be posted on the MIS. Any SCRs that take effect pursuant to an Urgent request shall be subject to an ERCOT SIA pursuant to Section 21.8.5, System Change Request Impact Analysis, and ERCOT Board consideration pursuant to Section 21.8.9, ERCOT Board Vote. |

| Requirement Id | FR235.2 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.9 MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations |
| Coverage of Sub-Process |  |
| Description: Post revised TAC Recommendation Report of PRR or SCR if approval designates that the associated project can be funded in the current ERCOT budget cycle or upon reevaluation Posting Category: Not Specified Posting Frequency: Within three business days of the TAC Recommendation Protocol Text: ...If TAC approves a priority and ranking designation of a PRR or SCR such that the associated project can be funded in the current ERCOT budget cycle, ERCOT shall revise the TAC Recommendation Report, issue the report to the ERCOT Board and post the report on the MIS within three (3) Business Days of the TAC recommendation concerning the PRR or SCR and present the PRR or SCR to the Board for consideration at the next meeting for which proper notice can given for consideration in accordance with this Section. ... All projects in the Unfunded Project List for more than two (2) years shall be re-evaluated by PRS as part of the annual ERCOT budget process for a possible recommendation to TAC to reject the associated PRR or SCR – which may include a recommendation to modify the PRR or SCR to eliminate the associated project; if such rejection or modification is recommended by PRS, ERCOT shall revise the associated Recommendation Report, issue the report to TAC and post the report on the MIS within three (3) Business Days of the PRS recommendation concerning the PRR or SCR for consideration at next TAC meeting for which proper notice can be given. |

| Requirement Id | FR236 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.11.1(3) MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post all decisions of the Protocol Revision Subcommittee (PRS), the Technical Advisory Committee (TAC) and the ERCOT Board (Board) with respect to any NPRR. Posting Category: Not specified Posting Frequency: Within three business days of the date of the decision Notes: Section 21.11 applies to NPRRs until the date of full implementation of the Texas nodal market. Protocol Text: All decisions of the Protocol Revision Subcommittee (PRS), the Technical Advisory Committee (TAC) and the ERCOT Board (Board) with respect to any NPRR shall be posted to the MIS within three (3) Business Days of the date of the decision. All such postings shall be maintained on the MIS for at least one hundred eighty (180) days from the date of posting. |

| Requirement Id | FR237 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.11.3.1.(4) MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: If a submitted NPRR is complete or once a NPRR is corrected, post the completed or corrected NPRR Posting Category: Not specified Posting Frequency: Within three business days after it is completed or corrected Notes: Section 21.11 applies to NPRRs until the date of full implementation of the Texas nodal market. Protocol Text: If a submitted NPRR is complete or once a NPRR is corrected, ERCOT shall post the completed or corrected NPRR to the MIS and distribute the NPRR to the PRS within three (3) Business Days after it is completed or corrected. |

| Requirement Id | FR238 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.11.3.2.(1) MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post a notice of withdrawal of a NPRR Posting Category: Not specified Posting Frequency: Within one business day after the submitter’s notice Notes: Section 21.11 applies to NPRRs until the date of full implementation of the Texas nodal market. Protocol Text: Upon notice to the PRS, the submitter of a NPRR may withdraw the NPRR at any time prior to consideration of the NPRR by the PRS. ERCOT shall post a notice of the submitter’s withdrawal of a NPRR on the MIS within one (1) Business Day after the submitter’s notice to PRS. |

| Requirement Id | FR239 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.11.3.3(1) MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations |
| Coverage of Sub-Process |  |
| Description: Post all NPRR Comments Posting Category: Not specified Posting Frequency: Within three business days of submittal Notes: Section 21.11 applies to NPRRs until the date of full implementation of the Texas nodal market. Protocol Text: Any interested ERCOT Member, Market Participant, PUCT staff or ERCOT staff may comment on the NPRR. To receive consideration, comments must be delivered electronically to ERCOT in the designated format. Comments submitted in accordance with the instructions on the MIS shall be posted to the MIS and distributed electronically to the PRS within three (3) Business Days of submittal. |

| Requirement Id | FR240 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.11.3.3(4) MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post the PRS Recommendation Report from the Protocol Revision Subcommittee Review Posting Category: Not specified Posting Frequency: Within three business days of submittal Notes: Section 21.11 applies to NPRRs until the date of full implementation of the Texas nodal market. Protocol Text: Within three (3) Business Days after PRS takes action, ERCOT shall issue a Report (“PRS Recommendation Report” or “PRS Action Report”) reflecting the PRS action and post the same to the MIS. The PRS Report shall contain the following items: (a) Identification of submitter; (b) Modified Nodal Protocol language proposed by the PRS; (c) Identification of authorship of comments; (d) Action: recommendation for approval or approval with modified language, rejection, or referral. |

| Requirement Id | FR241 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.11.3.4(1) MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post all comments regarding the PRS Recommendation Report. Posting Category: Not specified Posting Frequency: Within three business days of submittal Notes: Section 21.11 applies to NPRRs until the date of full implementation of the Texas nodal market. Protocol Text: Any interested ERCOT Member, Market Participant, PUCT staff or ERCOT staff may comment on the PRS Recommendation Report. To receive consideration, comments on the PRS Recommendation Report must be delivered electronically to TAC and ERCOT in the designated format provided on the MIS. Comments submitted shall be posted to the MIS and distributed electronically to the TAC and PRS within three (3) Business Days of submittal. |

| Requirement Id | FR242 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.11.3.6(2) MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post all PRS revisions to recommendations Posting Category: Not specified Posting Frequency: Within three business days prior to the regularly scheduled TAC meeting Notes: Section 21.11 applies to NPRRs until the date of full implementation of the Texas nodal market. Protocol Text: If PRS revises its Recommendation Report, a revised PRS Recommendation Report shall be issued by PRS to TAC and posted on the MIS. Additional comments received regarding the revised PRS Recommendation Report shall be accepted up to three (3) Business Days prior to the TAC meeting at which the NPRR is scheduled for consideration. If PRS revises its recommendation, ERCOT shall update the IA and issue the updated IA at least three (3) Business Days prior to the regularly scheduled TAC meeting. If a longer review period is required for ERCOT staff to update the IA, ERCOT staff shall submit a schedule for completion of the IA to the TAC chair. |

| Requirement Id | FR243 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.11.3.7(3) MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post the (“TAC Recommendation Report” or “TAC Action Report”) reflecting the TAC action. Posting Category: Not specified Posting Frequency: Within three business days after TAC takes action Notes: Section 21.11 applies to NPRRs until the date of full implementation of the Texas nodal market. Protocol Text: Within three (3) Business Days after TAC takes action, ERCOT shall issue a Report (“TAC Recommendation Report” or “TAC Action Report”) reflecting the TAC action and post the same to the MIS. The TAC Report shall contain the following items: (a) Identification of the submitter of the NPRR; (b) Modified Nodal Protocol language proposed by TAC; (c) Identification of the authorship of comments; (d) PRS recommendation; and (e) TAC recommendation or action. |

| Requirement Id | FR244 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.11.3.9(1) MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post all ERCOT Board Decisions — APRR Approval or Rejection by the Board Posting Category: Not specified Posting Frequency: Within three business days after the Board’s decision Notes: Section 21.11 applies to NPRRs until the date of full implementation of the Texas nodal market. Protocol Text: The ERCOT Board’s (Board) decision regarding approval or rejection of a NPRR shall be posted on the MIS as a Board Action Report within three (3) Business Days after the Board’s decision. |

| Requirement Id | FR245 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.11.3.9(2) MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post all of ERCOT Board Decisions relating to Nodal Protocol Changes Posting Category: Not specified Posting Frequency: No later than one day before the effective date of the changes Notes: Section 21.11 applies to NPRRs until the date of full implementation of the Texas nodal market. Protocol Text: If the Board approves a change or changes to the Nodal Protocols, such change(s) shall be: (a) Filed with the PUCT as soon as practicable, but no later than one (1) day before the effective date of the changes; and (b) Incorporated into the Nodal Protocols and posted on the MIS as soon as practicable, but no later than one (1) day before the effective date of the changes. |

| Requirement Id | FR246 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.11.3.10(1) MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com COPS Market Guide |
| Coverage of Sub-Process |  |
| Description: Publish all Appeals of Decision relating to NPRR Rejection Appeal and Publication Posting Category: Not specified Posting Frequency: Within three business days of the appeal to the TAC Notes: Section 21.11 applies to NPRRs until the date of full implementation of the Texas nodal market. Protocol Text: If PRS rejects the NPRR, any ERCOT Member, Market Participant, the PUCT staff or ERCOT staff may appeal directly to the TAC. Such appeal to the TAC must be submitted to ERCOT within ten (10) Business Days after the date of the relevant decision. Appeals made after this time shall be rejected. Appeals to the TAC must be posted on the MIS within three (3) Business Days and placed on the agenda of the next available regularly scheduled TAC meeting, provided that the appeal is provided to ERCOT at least eleven (11) days in advance of the TAC meeting; otherwise the appeal will be heard by the TAC at the next regularly scheduled TAC meeting. |

| Requirement Id | FR247 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.11.3.10(3) MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post all rejection of appeals rejected due to late filing Posting Category: Not specified Posting Frequency: Within three business days of the appeal Notes: Section 21.11 applies to NPRRs until the date of full implementation of the Texas nodal market. Protocol Text: Appeals made after this time must be rejected. Appeals to the Board must be posted on the MIS within three (3) Business Days and placed on the agenda of the next available regularly scheduled Board meeting, provided that the appeal is provided to the ERCOT General Counsel at least eleven (11) days in advance of the Board meeting; otherwise the appeal will be heard by the Board at the next regularly scheduled Board meeting. |

| Requirement Id | FR248 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 21.11.3.10(4) MAR 07 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com COPS Market Guide |
| Coverage of Sub-Process |  |
| Description: Post all appeals of any decision of the Board regarding the NPRR to the PUCT or other Governmental Authority. Posting Category: Not specified Posting Frequency: Not specified Notes: Section 21.11 applies to NPRRs until the date of full implementation of the Texas nodal market. Protocol Text: Any ERCOT Member, Market Participant or PUCT staff may appeal any decision of the Board regarding the NPRR to the PUCT or other Governmental Authority. Such appeal to the PUCT or other Governmental Authority must be made within thirty-five (35) days of the date of the relevant decision. If the PUCT or other Governmental Authority rules on the NPRR, ERCOT shall post the ruling on the MIS and shall implement the effect, if any, of the ruling on the Nodal Protocols. |

## Requirements from OTHER BINDING DOCUMENTS

### Operating Guides

#### Section 1:  Introduction  
Market Overview, Change Control, Relationships and Definitions

| Requirement Id | FR249 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 1.3.1(2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations |
| Coverage of Sub-Process |  |
| Description: Post all OWG ROS, TAC and Board of Directors decisions to the MIS Posting Category: Public Posting Frequency: Within three business days Operating Guide Text: All decisions of the Operations Working Group (OWG), as defined below, Reliability and Operations Subcommittee (ROS), the ERCOT Technical Advisory Committee (TAC) and the ERCOT Board of Directors with respect to any OGRR shall be posted to the Market Information System (MIS) within three Business Days of the date of the decision. All such postings shall be maintained on the MIS for at least 180 days from the date of posting. |

| Requirement Id | FR250 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 1.3.1 (5)(b) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | COPS.P08ReportOperations |
| Coverage of Sub-Process |  |
| Description: Post administrative OGRRs on the MIS Posting Category: Public Posting Frequency: Five business days before implementation Operating Guide Text: ERCOT shall post such Administrative OGRRs to the MIS and distribute the OGRR to the OWG at least 5 business days before implementation. [...] |

| Requirement Id | FR251 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 1.3.3(4) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post OWG meeting notice and agenda on the MIS Posting Category: Public Posting Frequency: Within three business days Operating Guide Text: [...] The OWG shall ensure that reasonable advance notice of each meeting, including the meeting agenda, is posted to the MIS. |

| Requirement Id | FR252 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 1.3.4.1(1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post OGRR on the MIS Posting Category: Public Posting Frequency: Not specified Operating Guide Text: OGRRs shall be submitted electronically to ERCOT by completing the designated form provided on the MIS. [...] |

| Requirement Id | FR253 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 1.3.4.1(4) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post complete or corrected OGRR on the MIS. Posting Category: Public Posting Frequency: within three Business Days of submittal Operating Guide Text: If a submitted OGRR is complete or once an OGRR is corrected, ERCOT shall post the complete OGRR to the MIS and distribute the OGRR to the OWG within three Business Days. |

| Requirement Id | FR254 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 1.3.4.2(1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post withdrawal of OGRR by submitter on the MIS Posting Category: Public Posting Frequency: within one Business Day of the submitter’s notice to OWG. Operating Guide Text: By providing notice to OWG, the submitter of an OGRR may withdraw the OGRR at any time prior to its recommendation by the OWG. ERCOT shall post a notice of the submitter’s withdrawal of an OGRR on the MIS within one Business Day of the submitter’s notice to OWG. |

| Requirement Id | FR255 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 1.3.4.3(2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Provide format for delivering comments to OWG Recommendation Report on the MIS Posting Category: Public Posting Frequency: within three Business Days of submittal Operating Guide Text: To receive consideration, comments must be delivered electronically to ERCOT in the designated format provided on the MIS within 21 days from the posting date of the OGRR. Comments submitted after the 21 day comment period may be considered at the discretion of OWG after these comments have been posted. Comments submitted in accordance with the instructions on the MIS—regardless of date of submission—shall be posted to the MIS and distributed electronically to the OWG within three Business Days of submittal. |

| Requirement Id | FR256 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 1.3.4.4(1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post OWG Recommendation Report on the MIS Posting Category: Public Posting Frequency: Not specified Operating Guide Text: Any interested party may comment on the OWG Recommendation Report. To receive consideration, comments on the OWG Recommendation Report must be delivered electronically to ROS and ERCOT in the designated format provided on the MIS within 21 days from the date of posting/distribution of the OWG Recommendation Report. |

| Requirement Id | FR257 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 1.3.4.4(3) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post comments to the OWG Recommendation Report on the MIS Posting Category: Public Posting Frequency within three Business Days of submittal Operating Guide Text: Comments submitted in accordance with the instructions on the MIS—regardless of date of submission—shall be posted to the MIS and distributed electronically to the ROS and OWG within three Business Days of submittal. |

| Requirement Id | FR258 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 1.3.4.6(2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post revised OWG Recommendation Report on the MIS Posting Category: Public Posting Frequency: Not specified Operating Guide Text: If OWG revises its Recommendation Report, a revised OWG Recommendation Report shall be issued by OWG to ROS and posted on the MIS. [...] |

| Requirement Id | FR258.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 1.3.4.7(3) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post ROS Recommendation Report Posting Category: Public Posting Frequency: Within three business days Operating Guide Text: If ROS recommends approval of an OGRR, ERCOT shall prepare a ROS Recommendation Report, issue the report to TAC and post the report on the MIS within three Business Days of the ROS recommendation concerning the OGRR. ... |

| Requirement Id | FR259 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 1.3.4.8 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post any updated IA on the MIS Posting Category: Public Posting Frequency: Within three Business Days of issuance. Operating Guide Text: [...] ERCOT shall issue the updated IA (if any) to TAC and post it on the MIS within three Business Days of issuance. [...] |

| Requirement Id | FR260 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 1.3.4.10 (4) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post TAC action report on the MIS Posting Category: Public Posting Frequency: Within three Business Days Operating Guide Text: If TAC approves as submitted, approves as modified, or rejects an OGRR, ERCOT shall prepare a TAC Action Report and post it on the MIS within three Business Days. [...] |

| Requirement Id | FR261 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 1.3.4.12(1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post OWG decision appeals to the ROS Posting Category: Public Posting Frequency: Not specified Operating Guide Text: With reference to a decision by OWG, any interested party may appeal directly to the ROS. Such appeal to the ROS must be submitted to ERCOT within ten Business Days after the date of the relevant decision. Appeals made after this time shall be rejected. Appeals to the ROS shall be posted on the MIS within three Business Days and placed on the agenda of the next available regularly scheduled ROS meeting, provided that the appeal is provided to ERCOT at least 11 days in advance of the ROS meeting; otherwise the appeal will be heard by the ROS at the next regularly scheduled ROS meeting. |

| Requirement Id | FR261.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 1.3.4.12(2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post ROS decision appeals to the TAC Posting Category: Public Posting Frequency: Not specified Operating Guide Text: With reference to a decision by ROS, any interested party may appeal directly to the TAC. Such appeal to the TAC must be submitted to ERCOT within ten Business Days after the date of the relevant decision. Appeals made after this time shall be rejected. Appeals to the TAC shall be posted on the MIS within three Business Days and placed on the agenda of the next available regularly scheduled TAC meeting, provided that the appeal is provided to ERCOT at least 11 days in advance of the TAC meeting; otherwise the appeal will be heard by the TAC at the next regularly scheduled TAC meeting. |

| Requirement Id | FR261.2 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 1.3.4.12(3) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post TAC decision appeals to the ERCOT Board Posting Category: Public Posting Frequency: Not specified Operating Guide Text: With reference to a decision by TAC, any interested party may appeal directly to the ERCOT Board. Such appeal to the ERCOT Board must be submitted to ERCOT within ten Business Days after the date of the relevant decision. Appeals made after this time shall be rejected. Appeals to the ERCOT Board shall be posted on the MIS within three Business Days and placed on the agenda of the next available regularly scheduled ERCOT Board meeting, provided that the appeal is provided to the ERCOT General Counsel at least 11 days in advance of the Board meeting; otherwise the appeal will be heard by the Board at the next regularly scheduled Board meeting. |

| Requirement Id | FR262 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 1.3.4.12(4) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post any PUCT or other Governmental Authority ruling on the OGRR on the MIS Posting Category: Public Posting Frequency: within three Business Days Operating Guide Text: [...] If the PUCT or other Governmental Authority rules on the OGRR, ERCOT shall post the ruling on the MIS. |

| Requirement Id | FR263 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 1.3.5 (3) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post notices of an urgent OGRR on the MIS Posting Category: Public Posting Frequency: Not specified Operating Guide Text: Notice of an urgent OGRR pursuant to this subsection shall be posted on the MIS. |

#### Section 2:  System Operations  
ERCOT Control Area Authority Operation

| Requirement Id | FR264 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 2.2.7.1 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post the instantaneous time error on the MIS for QSEs Posting Category: Not specified Posting Frequency: Not specified Operating Guide Text: [...] The instantaneous time error is available to all ERCOT QSEs in the Market Information System (MIS). |

| Requirement Id | FR265 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 2.4.5.3, Reference: Protocol Section 6.7.8, Deployment of RMR Service (5) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post RMR orders on the MIS Posting Category: Not specified Posting Frequency: as soon as possible, but no later than the next Business Day, for such Operating Day Operating Guide Text: In the event that ERCOT orders an RMR Unit or MRA Resource to operate to sustain reliable ERCOT System operation in any Operating Day, ERCOT will post on the MIS as soon as possible, but no later than the next Business Day, for such Operating Day: Each Resource receiving an RMR or MRA Dispatch Instruction for each interval; The amount of RMR or MRA energy ERCOT requested from each Resource for each interval; and The binding transmission constraint (contingency and/or overloaded element(s)) causing RMR or MRA deployment. |

#### Section 3:  Operational Interfaces 
QSE and TDSP Interface with ERCOT

No MIS Requirements

#### Section 4:  Emergency Operation 
Notifications, Transmission Security, EECP and Black Start

| Requirement Id | FR266 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 4.2.2 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post any emergency operations advisories on the MIS Posting Category: Not specified Posting Frequency: Not specified Notes: Referenced in Protocols Operating Guide Text: In the event of an Advisory, ERCOT will notify TOs and QSEs and post the information on the MIS |

| Requirement Id | FR267 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 4.2.3 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post alerts on the MIS Posting Category: Not specified Posting Frequency: Not specified Notes: Referenced in Protocols Operating Guide Text: ERCOT will post the Alert electronically on the MIS and will notify all TDSPs and QSEs via the Messaging System of the posted Alert(s). |

#### Section 5:  Planning

| Requirement Id | FR268 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | OG 5.1.4 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post the Planning – Transmission Reliability Testing contingency list on the MIS Posting Category: Not specified Posting Frequency: Not specified Operating Guide Text: ERCOT will post the contingency unit list on MIS. |

#### Section 6:  Reports and Forms

No MIS Requirements

#### Section 7:  Disturbance Monitoring and System Protection

No MIS Requirements

#### Section 8:  Operational Metering and Communication
ERCOT Real Time Operational Metering and Communication

No MIS Requirements

### Commercial Operations Market Guide

#### COPMG – Sections 1 – 2

No MIS Requirements

#### Section 3:  Process for Commercial Operations Market Guide Revision

| Requirement Id | FR269 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.1(2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post process for Commercial Operations Market Guide Revision – COPMGRR –on the MIS Posting Category: Public Posting Frequency: Within three business days Operating Guide Text: All decisions of the COPS Communication Working Group (“CCWG”), as defined below, the ERCOT Commercial Operations Subcommittee (“COPS”) and the Technical Advisory Committee (“TAC”) with respect to any COPMGRR shall be posted to the public area of the MIS within three Business Days of the date of the decision. All such postings shall be maintained on the public area of the MIS for at least 180 days from the date of posting. |

| Requirement Id | FR270 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.3(4) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post CCWG meeting notes/agenda Posting Category: Not specified Posting Frequency: Not specified Operating Guide Text: ERCOT shall consult wth the chair of the CCWG to coordinate and establish the meeting schedule for the CCWG or other assigned working groups. The CCWG shall meet at least once per month and shall ensure that reasonable advance notice of each meeting, including the meeting agenda, is posted to the MIS. |

| Requirement Id | FR271 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.4.1(1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post COPMGRR forms on the MIS Posting Category: Not specified Posting Frequency: Not specified Operating Guide Text: COPMGRRs shall be submitted electronically to ERCOT by completing the designated form provided on the MIS. |

| Requirement Id | FR272 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.4.1(4) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post completed or corrected COPMGRRs on the MIS Posting Category: Not specified Posting Frequency: within three Business Days Operating Guide Text: If a submitted COPMGRR is complete or once a COPMGRR is corrected, ERCOT shall post a complete COPMGRR to the public area of the MIS and distribute the COPMGRR to the CCWG within three Business Days. |

| Requirement Id | FR273 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.4.2(1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post wthdrawal of COPMGRRs on the MIS Posting Category: Not specified Posting Frequency: Within one day of the submitter’s notice Operating Guide Text: [...] ERCOT shall post a notice of the submitter’s withdrawal of a COPMGRR on the public area of the MIS within one Business Day of the submitter’s notice to CCWG. |

| Requirement Id | FR274 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.4.3(2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post CCWG comments on the MIS Posting Category: Public Posting Frequency: within three Business Days of submittal Operating Guide Text: ... Comments submitted after the due date of the 21day comment period may be considered at the discretion of CCWG after these comments have been posted. Comments submitted in accordance with the instructions on the MIS—regardless of date of submission—shall be posted to the public area of the MIS and distributed electronically to the CCWG within three Business Days of submittal. |

| Requirement Id | FR275 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.4.3(4) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post the CCWG Recommendation Report on the MIS Posting Category: Not specified Posting Frequency: Within three Business Days after CCWG takes action Operating Guide Text: Within three Business Days after CCWG takes action to approve, approve with modifications, or reject the COPMGRR, ERCOT shall issue a report (“CCWG Recommendation Report”) to COPS reflecting the CCWG action and post the same to the MIS. ... |

| Requirement Id | FR276 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.4.4(2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post comments from the CCWG Recommendation Report on the MIS Posting Category: Not specified Posting Frequency: Within three business days of receipt Operating Guide Text: Within three Business Days of receipt of comments related to the CCWG Recommendation Report, ERCOT shall post such comments to the MIS. [...] |

| Requirement Id | FR277 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.4.4(3) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post comments submitted in accordance with the instructions on the public area of the MIS on the MIS Posting Category: Not specified Posting Frequency: within three Business Days of submittal Operating Guide Text: Comments submitted in accordance with the instructions on the public area of the MIS — regardless of date of submission — shall be posted to the public area of the MIS and distributed electronically to the COPS and CCWG within three Business Days of submittal. |

| Requirement Id | FR278 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.4.6(2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post revised CCWG Recommendation Report on the MIS Posting Category: Not specified Posting Frequency: Not specified Operating Guide Text: If CCWG revises its Recommendation Report, a revised CCWG Recommendation Report shall be issued by CCWG to COPS and posted on the MIS. ... |

| Requirement Id | FR279 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.4.7(1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post CCWG Recommendation Report on the MIS Posting Category: Not specified Posting Frequency: Not specified Operating Guide Text: COPS shall consider any COPMGRRs that CCWG has submitted to COPS for consideration for which both a CCWG Recommendation Report has been posted and an IA based on such CCWG recommendation (as updated if modified by CCWG under Section 3.4.6, Communication Working Group Review of Impact Analysis) has been posted on the public area of the MIS for at least three days. ... |

| Requirement Id | FR280 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.4.7(3) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post COPS Recommendation Report on the MIS Posting Category: Not specified Posting Frequency: within three Business Days of the COPS recommendation concerning the COPMGRR Operating Guide Text: If COPS recommends approval of a COPMGRR, ERCOT shall prepare a COPS Recommendation Report, issue the report to the TAC and post the report on the public area of the MIS within three Business Days of the COPS recommendation concerning the COPMGRR. [ ... ] |

| Requirement Id | FR281 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.4.8 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post the IA (based on COPS Recommendation Report) on the MIS Posting Category: Not specified Posting Frequency: Within three business days of issuance Operating Guide Text: [...] ERCOT shall issue the updated IA (if any) to the TAC and post it on the public area of the MIS within three Business Days of issuance. |

| Requirement Id | FR282 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.4.10 (4) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post TAC Action Report on the MIS Posting Category: Not specified Posting Frequency: Within three business days of issuance Operating Guide Text: If TAC approves, approves as modified, or rejects a COPMGRR, ERCOT shall prepare a TAC Action Report and post it on the public area of the MIS within three Business Days. |

| Requirement Id | FR283 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.5(1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post appeals to the COPS on the MIS Posting Category: Public Posting Frequency: Within three business days Operating Guide Text: ... Appeals to the COPS shall be posted on the public area of the MIS within three Business Days and placed on the agenda of the next available regularly scheduled COPS meeting, provided that the appeal is provided to ERCOT at least 11 days in advance of the COPS meeting; otherwise the appeal will be heard by the COPS at the next regularly scheduled COPS meeting. |

| Requirement Id | FR284 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.5(2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post any appeals to TAC on the MIS Posting Category: Public Posting Frequency: Within three business days Operating Guide Text: ... Appeals to the TAC shall be posted on the public area of the MIS within three Business Days and placed on the agenda of the next available regularly scheduled TAC meeting, provided that the appeal is provided to ERCOT at least 11 days in advance of the TAC meeting; otherwise the appeal will be heard by the TAC at the next regularly scheduled TAC meeting. |

| Requirement Id | FR284.1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.5(3) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post any appeals to the ERCOT Board on the MIS Posting Category: Public Posting Frequency: Within three business days Operating Guide Text: ... Appeals to the ERCOT Board shall be posted on the public area of the MIS within three Business Days and placed on the agenda of the next available regularly scheduled ERCOT Board meeting, provided that the appeal is provided to the ERCOT General Counsel at least 11 days in advance of the Board meeting; otherwise the appeal will be heard by the Board at the next regularly scheduled Board meeting. |

| Requirement Id | FR285 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.5(4) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post the COPMGRR PUCT Ruling on the MIS Posting Category: Not specified Posting Frequency: Not specified Operating Guide Text: ... If the PUCT or other Governmental Authority rules on the COPMGRR, ERCOT shall post the ruling on the MIS. |

| Requirement Id | FR286 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | COPMG 3.6(3) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post an urgent COPMGRR request on the MIS Posting Category: Not specified Posting Frequency: Not specified Operating Guide Text: Notice of an urgent COPMGRR pursuant to this subsection shall be posted on the MIS. |

### Competitive Metering Guide

#### CMG – Sections 1 – 16

No MIS Requirements

#### Section 17:  Process for Competitive Metering Guide Revisions

| Requirement Id | FR287 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.1(2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post all RMWG decisions on the MIS Posting Category: Public Posting Frequency: Within three business days Operating Guide Text: All decisions of the Retail Metering Working Group (RMWG), as defined below, the ERCOT Retail Market Subcommittee (RMS), the Technical Advisory Committee (TAC) and the ERCOT Board with respect to any CMGRR shall be posted to the Market Information System (MIS) within three (3) Business Days of the date of the decision. All such postings shall be maintained on the MIS for at least 180 days from the date of posting. |

| Requirement Id | FR288 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.1(5)b. |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post administrative CMGRRs on the MIS Posting Category: Not specified Posting Frequency: At least 10 business days before implementation Operating Guide Text: ERCOT shall post such Administrative CMGRRs to the MIS and distribute the CMGRR to the RMWG at least ten (10) business days before implementation. ... |

| Requirement Id | FR289 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.3(4) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post meeting agenda on the MIS for RMWG Posting Category: Not specified Posting Frequency: Not specified Operating Guide Text: ERCOT shall consult with the chair of the RMWG to coordinate and establish the meeting schedule for the RMWG or other assigned subcommittee. The RMWG shall meet at least once per month, unless no CMGRRs were submitted during the prior 24 calendar day, and shall ensure that reasonable advance notice of each meeting, including the meeting agenda, is posted to the MIS.. |

| Requirement Id | FR290 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.4.1(1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post CMGRR form on the MIS Posting Category: Not specified Posting Frequency: Not specified Operating Guide Text: CMGRRs shall be submitted electronically to ERCOT by completing the designated form provided on the MIS. ERCOT shall provide an electronic return receipt response to the submitter upon receipt of the CMGRR. |

| Requirement Id | FR291 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.4.1(4) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post completed or corrected CMGRR on the MIS Posting Category: Not specified Posting Frequency: within three (3) Business Days Operating Guide Text: If a submitted CMGRR is complete or once a CMGRR is corrected, ERCOT shall post the complete CMGRR to the MIS and distribute the CMGRR to theRMWG within three (3) Business Days. |

| Requirement Id | FR292 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.4.2 (1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post notice of withdrawal of a CMGRR on the MIS Posting Category: Not specified Posting Frequency: Within one (1) Business Day of the submitter’s notice to COMET Operating Guide Text: ... ERCOT shall post a notice of the submitter’s withdrawal of a CMGRR on the MIS within one (1) Business Day of the submitter’s notice to RMWG. |

| Requirement Id | FR293 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.4.3(2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post CMGRR Comments (Competitive Metering Working Group Review and Action ) on the MIS Posting Category: Not specified Posting Frequency: Within 3 business days of submittal Operating Guide Text: ... Comments submitted in accordance with the instructions on the MIS regardless of date of submission shall be posted to the MIS and distributed electronically to the RMWG within three (3) Business Days of submittal. |

| Requirement Id | FR294 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.4.3(4) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post RMWG Recommendation Report (CMGRR Comments) on the MIS Posting Category: Not specified Posting Frequency: Within 3 business days after COMET takes action Operating Guide Text: Within three (3) Business Days after RMWG takes action (other than deferral),ERCOT shall issue a report (“RMWG Recommendation Report”) to RMS reflecting the RMWG’s action and post the same to the MIS. ... |

| Requirement Id | FR295 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.4.4(2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post RMWG Recommendation Report with Comments on the MIS Posting Category: Not specified Posting Frequency: Within 3 business days of comment receipt Operating Guide Text: Within three (3) Business Days of receipt of comments related to the RMWG Recommendation Report, ERCOT shall post such comments to the MIS. |

| Requirement Id | FR296 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.4.4(3) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post RMWG Recommendation Report (Comments, Distribute) on the MIS Posting Category: Not specified Posting Frequency: Within 3 business days of submittal Operating Guide Text: Comments submitted in accordance with the instructions on the MIS regardless of date of submission shall be posted to the MIS and distributed electronically to the RMS and RMWG within three (3) Business Days of submittal. |

| Requirement Id | FR297 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.4.6(2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post RMWG Recommendation Report (Revised) on the MIS Posting Category: Not specified Posting Frequency: Not specified Operating Guide Text: If RMWG revises its Recommendation Report, a revised RMWG Recommendation Report shall be issued by RMWG to RMS and posted on the MIS. ... |

| Requirement Id | FR298 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.4.7(1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post Competitive Metering Working Group Review of Impact Analysis) on the MIS Posting Category: Not specified Posting Frequency: Not specified Operating Guide Text: RMS shall consider any CMGRRs that RMWG has submitted to RMS for consideration for which both a RMWG Recommendation Report has been posted and an IA based on such COMET recommendation (as updated if modified by RMWG under Section 17.4.6, Retail Metering Working Group Review of Impact Analysis) has been posted on the MIS for at least three days. |

| Requirement Id | FR299 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.4.7(3) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post retail Market Subcommittee (RMS) Review and Action – RMS Recommendation Report-- on the MIS Posting Category: Not specified Posting Frequency: Within three business days of the RMS recommendation Operating Guide Text: If RMS recommends approval of a CMGRR, ERCOT shall prepare a RMS commendation Report, issue the report to TAC and post the report on the MIS within three (3) Business Days of the RMS recommendation concerning the CMGRR. ... |

| Requirement Id | FR300 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.4.8 |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post Retail Market Subcommittee (RMS) Recommendation Report –Updated IA-- on the MIS Posting Category: Not specified Posting Frequency: Within three business days of issuance Operating Guide Text: ERCOT shall issue the updated IA (if any) to TAC and post it on the MIS within three (3) Business Days of issuance. |

| Requirement Id | FR301 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.4.10(4) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps |  |
| Coverage of Sub-Process |  |
| Description: Post TAC Action Report on the MIS Posting Category: Not specified Posting Frequency: Within three business days of TAC decision Operating Guide Text: If TAC approves as submitted, approves as modified, or rejects a CMGRR, ERCOT shall prepare a TAC Action Report and post it on the MIS within three (3) Business Days of the TAC decision. ... |

| Requirement Id | FR302 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.5(1) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post appeals to RMS on the MIS Posting Category: Not specified Posting Frequency: Within three business days of receipt Operating Guide Text: Appeals to the RMS shall be posted on the MIS within three (3) Business Days and placed on the agenda of the next available regularly scheduled RMS meeting, ... |

| Requirement Id | FR303 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.5(2) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post appeals to TAC on the MIS Posting Category: Not specified Posting Frequency: Within three business days of receipt Operating Guide Text: ... Appeals made after this time shall be rejected. Appeals to the TAC shall be posted on the MIS within three (3) Business Days and placed on the agenda of the next available regularly scheduled TAC meeting, ... |

| Requirement Id | FR304 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.5(3) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post Appeals to ERCOT Board on the MIS Posting Category: Not specified Posting Frequency: Within three business days of receipt Operating Guide Text: ... Appeals to the ERCOT Board shall be posted on the MIS within three (3) Business Days and placed on the agenda of the next available regularly scheduled ERCOT Board meeting, .... |

| Requirement Id | FR305 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.5(4) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post appeals to PUCT Post Ruling on the MIS Posting Category: Not specified Posting Frequency: Not specified Operating Guide Text: If the PUCT or other Governmental Authority rules on the CMGRR, ERCOT shall post the ruling on the MIS |

| Requirement Id | FR306 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | CMG 17.6 (3) |
| Coverage of Source | Partial |
| Traceability to Sub-Process Maps | ERCOT.com |
| Coverage of Sub-Process |  |
| Description: Post Urgent Requests Posting Category: Not specified Posting Frequency: Not specified Operating Guide Text: Notice of an urgent CMGRR pursuant to this subsection shall be posted on the MIS. |

#### CMG – Sections 18 – Metering Forms

No MIS Requirements

# Supplementary Requirements

## Performance Requirements

MIS must be stable and provide high availability of access to each application area by authorized users.  Performance characteristics will be determined and detailed in the conceptual and detailed design.

## Legal and Regulatory requirements

All ERCOT / Market Participant data must be archived as dictated by regulatory requirements.

## System and Communication Requirements

MIS will include a Messaging Area to display information between individual Nodal systems and market participants.  MIS will support data transfer between ERCOT and market participant systems via .xml or standard download format.

## System Security Requirements

MIS access will be controlled by digital certificate authentication in accordance with ERCOT security policies and will be administered by ERCOT Market Services.  Additional details will be provided in the Conceptual System Design.

## Back up and Recovery Requirements

All ERCOT / Market Participant data is backed up on a daily basis.  Additional details will be provided in the Conceptual System Design.

## Availability and Redundancy Requirements

The MIS web portal must be available 7/24. MIS is considered a tier 1 system and critical to base ERCOT business processes.

## Maintainability Requirements

MIS will be maintained by internal ERCOT personnel. Service Level Agreements and explicit support will be detailed in the detail design document.

# Comments

NPRR 057

NPRR 057

NPRR 057

NPRR 060

NPRR 060

NPRR 002

The Note is under the Notes heading.

NPRR 002

NPRR 006 deleted “current electrical bus load distribution factors”

NPRR 006 deleted “current electrical bus load distribution factors”

Added with NPRR 006

This was missed from original requirements.

Added by NPRR 003

NPRR 009

NPRR 009

NPRR 009

FR 051, approved  JUL 07,  removed this section (6).

NPRR 008

NPRR 009

NPRR 009

NPRR 005

NPRR 005

NPRR 005

NPRR 33

NPRR 008

NPRR 017

NPRR 017

NPRR 017

NPRR 017

NPRR 017

NPRR 017

Because of NPRR 007 or 017:  this number was 9.8.3(4) is now section 9.14.3(4)

NPRR 007

NPRR 007

NPRR 007

NPRR 007

NPRR 007

NPRR 007

NPRR 007

NPRR 034

NPRR 034 –JC:  this sounds like an email or similar mechanism...we do not currently have this in MIS...

NPRR 034

NPRR 034

NPRR 034

NPRR 034

PRR 695

PRR 695

The FEB Protocols do not list this as an MIS requirement. Should this be removed?

FEB 07 Protocols do not specify MIS – should this be removed?