## Slide 1: Distributed Generation Task Force
November 29, 2007
TAC Report

## Slide 2: DGTF Focus
HB 3693 Section 24:
  PURA § 39.914 Credit for Surplus Solar Generation by Public Schools
HB 3693 Section 26:
  PURA § 39.916 Interconnection of Distributed Renewable Generation
PUC Project No. 34890: Rulemaking Relating to Net Metering and Interconnection of Distributed Generation also will address these provisions

## Slide 3: ERCOT’s Statutory Responsibility for Distributed Renewable Generation
[ERCOT] shall develop procedures so that the amount of electricity purchased for a district … is accounted for in settling the total load served by the provider that serves the district’s load. A district … must have metering devices capable of providing measurements consistent with [ERCOT’s] settlement requirements. PURA § 39.914(c).
[ERCOT] shall develop procedures so that the amount of electricity purchased from a distributed renewable generation owner under … is accounted for in settling the total load served by the [distributed renewable generation owner’s retail provider] by January 1, 2009. A distributed renewable generation owner requesting net metering services … must have metering devices capable of providing measurements consistent with [ERCOT’s] settlement requirements. PURA § 39.916(j).

## Slide 4: DGTF Issues
Clarify the status of the renewable DG owner under existing protocols and whether any protocol modification is necessary
Determine what meter standards are necessary to account for and settle excess generation produced by the renewable DG owner
Determine settlement methodology (actual meter reads, profiling, or some combination) for the renewable DG when acquired by the REP

## Slide 5: DGTF Schedule
Task Force Meetings
  October 22 (appx. 30 participants)
  November 5 (appx. 25 participants)
  November 19 (appx. 25 participants)
  December 4
  December 17
Final Report to TAC
  January 3

## Slide 6: Settlement Issues
Potential diversity of RDG resources
Self-use v. commercial sale of RDG
Difficulty of discerning and aligning incentives for REPs and RDG Owners
Simplicity for RDG Owners, who may lack sophistication of conventional resource owners
Bridging gap between the present and the potential for widespread deployment of advanced meters

## Slide 7: Assumptions
RDG Owner and REP already have a contract for sale of excess generation
All metering will measure excess load and excess production, not gross load and gross production
Meters will only run one way

## Slide 8: Full IDR Settlement
Features
  RDG Owner installs IDR meter to separately measure excess load and excess generation on two channels in 15-minute increments
  RDG Owner registers as a resource (PGC) with ERCOT
  REP QSE assumes all scheduling and settlement obligations for RDG Owner
  Flows through full ERCOT settlement process
Issues
  Relatively expensive for small (<50kw) installations
  No TDSP tariff for IDR residential installations
  May require ERCOT/TDSP system changes to accommodate IDR data for residential ESI IDs
BEST OPTION

## Slide 9: IDR Data Aggregation Settlement
RDG Owner installs IDR meter to separately measure excess load and excess generation on two channels in 15-minute increments
Data does not flow through full scheduling and settlement process, only through data aggregation
No resource registration, QSE necessary
Some ERCOT system changes necessary
UNDER CONSIDERATION

## Slide 10: Non-IDR Profile Settlement
Probably limited to solar, perhaps limited to small installations
RDG Owner installs 2-channel, non-IDR meter to separately measure excess load and excess generation in the aggregate
The load and generation values are spread across previously-developed load and generation profiles or a hybrid load-and-generation profile
Some ERCOT system changes necessary
UNDER CONSIDERATION

## Slide 11: Non-IDR Data Aggregation Settlement
Limited to installations for customers already on non-IDR, profiled settlement
Perhaps limited to installations <50kw
RDG Owner installs 2-channel, non-IDR meter to separately measure excess load and excess generation in the aggregate
Data does not flow through full scheduling and settlement process, only through data aggregation
Generation, like load, is spread across pre-existing load profiles
Some ERCOT system changes necessary
UNDER CONSIDERATION