ERCOT Operating Guides

Section 8

Attachment D

Seasonal Unit Net Real Power Capability Verification

DRAFT

(Effective Upon Texas Nodal Market Implementation)

# Seasonal Unit Net Real Power Capability Verification

General Information

Unit Code (16 character):   			Location (County):

Unit Name:  					Date of test:

Generator’s QSE:  				Resource Entity:

Test Results

Start Time:

Start MW (Gross)*:

Start MW (Net)**:

MW 10 Minutes after Start Time (Gross)*:

MW 10 Minutes after Start Time (Net)**:

Time to Reach Maximum Generation:

Temperature at Plant (F):

MW at Maximum Generation (Gross)*:

MW at Maximum Generation (Net)**:

MWH Net during the First Full Clock Hour after Maximum Generation is reached:

Limiting Factors:

* Value measured at generator terminals

** Value measured at the point of interconnection

Submittal

Resource Entity Representative:

QSE Representative:

Date submitted to ERCOT Rep.: