ERCOT Operating Guides

Section 8

Attachment J

ERCOT Data Sets

DRAFT

(Effective Upon Texas Nodal Market Implementation)

ERCOT Data Sets

For any required data, the following table describes how the data is to be provided to ERCOT or is provided from ERCOT.

| ACTION |  | DATA QUANTITY |  | PURPOSE |  | SUPPLIED BY |  | RECEIVED BY |  | FREQUENCY |  | MODE OF COMM. |  | FORMAT |  | PROTOCOLS REFERENCE / COMMENTS |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DAY-AHEAD SCHEDULING PROCESS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Day Ahead Notification |  | Network Operations Model topology which includes Transmission Outages |  | Day-Ahead Planning |  | ERCOT |  | QSE |  | Daily by 0600 |  | API & MIS Secure Area |  | XML |  | Protocol Section 4.2.3 (a), Posting Forecasted ERCOT System Conditions |  |  |
|  |  | Weather assumptions used by ERCOT to forecast system conditions |  | Day-Ahead Planning |  | ERCOT |  | QSE |  | Daily by 0600 |  | API & MIS Secure Area |  | XML |  | Protocol Section 4.2.3 (b), Posting Forecasted ERCOT System Conditions |  |  |
|  |  | Any weather-related changes to the transmission contingency list |  | Day-Ahead Planning |  | ERCOT |  | QSE |  | Daily by 0600 |  | API & MIS Secure Area |  | XML |  | Protocol Section 4.2.3 (c), Posting Forecasted ERCOT System Conditions |  |  |
|  |  | ERCOT System, Weather Zone, and Load Zone Load forecasts for next seven days |  | Day-Ahead Planning |  | ERCOT |  | QSE |  | Daily by 0600 |  | API & MIS Secure Area |  | XML |  | Protocol Section 4.2.3 (d), Posting Forecasted ERCOT System Conditions |  |  |
|  |  | Load forecast distribution factors |  | Day-Ahead Planning |  | ERCOT |  | QSE |  | Daily by 0600 |  | API & MIS Secure Area |  | XML |  | Protocol Section 4.2.3 (e), Posting Forecasted ERCOT System Conditions |  |  |
|  |  | Load Profiles for non-IDR metered Customers |  | Day-Ahead Planning |  | ERCOT |  | QSE |  | Daily by 0600 |  | API & MIS Secure Area MIS Secure Area |  |  |  | Protocol Section 4.2.3 (f), Posting Forecasted ERCOT System Conditions |  |  |
|  |  | Distribution Loss Factors and forecasted ERCOT-wide Transmission Loss Factors |  | Day-Ahead Planning |  | ERCOT |  | QSE |  | Daily by 0600 |  | API & MIS Secure Area MIS Secure Area |  |  |  | Protocol Section 4.2.3 (g), Posting Forecasted ERCOT System Conditions |  |  |
|  |  | Current list of Settlements Points that may be used for market processes & transactions |  | Day-Ahead Planning |  | ERCOT |  | QSE |  | Daily by 0600 |  | API & MIS Secure Area MIS Secure Area |  |  |  | Protocol Section 4.2.3 (h), Posting Forecasted ERCOT System Conditions |  |  |
|  |  | Mapping of Settlement Points to Electrical Buses in the Network Operations Model |  | Day-Ahead Planning |  | ERCOT |  | QSE |  | Daily by 0600 |  | API & MIS Secure Area MIS Secure Area |  |  |  | Protocol Section 4.2.3(i), Posting Forecasted ERCOT System Conditions |  |  |
|  |  | Wind-Powered Generation Resource Production Potential forecasts |  | Day-Ahead Planning |  | ERCOT |  | QSE |  | Each Hour |  | API & MIS Certified Area |  | XML |  | Protocol Section 4.2.2 (4), Wind-Powered Generation Resource Production Potential |  |  |
|  |  | Aggregated Wind-Powered Generation Resource Production Potential forecasts |  | Day-Ahead Planning |  | ERCOT |  | QSE |  | Each Hour |  | API & MIS Secure Area |  | XML |  | Protocol Section 4.2.2 (5), Wind-Powered Generation Resource Production Potential |  |  |
|  |  | Ancillary Services Plan |  | Day-Ahead Planning |  | ERCOT |  | QSE |  | Daily by 0600 |  | API & MIS Public Area |  | XML |  | Protocol Section 4.2.1.1(1), Ancillary Services Plan |  |  |
|  |  | Ancillary Service Obligations |  | Day-Ahead Planning |  | ERCOT |  | QSE |  | Daily by 0600 |  | API & MIS Certified Area |  | XML |  | Protocol Section 4.2.1.2 (2), Ancillary Service Obligation Assignment and Notice |  |  |
|  |  | QSE’s Load Ratio Share used for the Ancillary Service Obligation calculation |  | Day-Ahead Planning |  | ERCOT |  | QSE |  | Daily by 0600 |  | API & MIS Certified Area |  | XML |  | Protocol Section 4.2.1.2 (3), Ancillary Service Obligation Assignment and Notice |  |  |
| Self-Arranged Ancillary Services |  | Self-Arranged Ancillary Service Quantities, by service |  | QSE submit Self-Arranged Ancillary Service |  | QSE |  | ERCOT |  | Daily by 1000 |  | API |  | XML |  | Protocol Section 4.4.7.1 (2), Self-Arranged Ancillary Services Quantities |  |  |
| Ancillary Service Offers |  | Generation Resource-specific Ancillary Service Offers |  | QSE submit Ancillary Service Offers |  | QSE |  | ERCOT |  | Daily by 1000 |  | API |  | XML |  | Protocol Section 4.4.7.2 (1), Ancillary Service Offers |  |  |
|  |  | Load Resource-specific Ancillary Service Offers |  | QSE submit Ancillary Service Offers |  | QSE |  | ERCOT |  | Daily by 1000 |  | API |  | XML |  | Protocol Section 4.4.7.2 (2), Ancillary Service Offers |  |  |
|  |  | Ancillary Service Offer Validation |  | Notify QSE of invalid Offers |  | ERCOT |  | QSE |  | As needed |  | API |  | XML |  | Protocol Section 4.4.7.2.2 (3), Ancillary Service Offer Validation |  |  |
|  |  | Corrected Ancillary Service Offers |  | QSE submit corrected Offers |  | QSE |  | ERCOT |  | Daily by 1000 |  | API |  | XML |  | Protocol Section 4.4.7.2.2 (3), Ancillary Service Offer Validation |  |  |
| Ancillary Service Trades |  |  |  | QSE submit Ancillary Service Trades |  | QSE |  | ERCOT |  | Daily by 1430 |  | API |  | XML |  | Protocol Section 4.4.7.3 (2), Ancillary Service Trades |  |  |
|  |  | Ancillary Service Trades Validation |  | Notify QSE of invalid Trades |  | ERCOT |  | QSE |  | As needed |  | API |  | XML |  | Protocol Section 4.4.7.3 (3), Ancillary Service Trades |  |  |
|  |  | Corrected Ancillary Service Trades |  | Submit Corrected Trades |  | QSE |  | ERCOT |  | Daily by 1430 |  | API |  | XML |  | Protocol Section 4.4.7.3 (3), Ancillary Service Trades |  |  |
|  |  | Valid Trades |  | Notify both buying and selling QSE |  | ERCOT |  | QSE |  | As needed |  | API & MIS Certified Area |  | XML |  | Protocol Section 4.4.7.3.2 (2), Ancillary Service Trade Validation |  |  |
| Current Operating Plan (COP) |  | Submit for any Resource and for Resources that will provide Ancillary Service |  | QSE submit COP |  | QSE |  | ERCOT |  | Daily by 1430 |  | API |  | XML |  | Protocol Section 3.9.1, Current Operating Plan (COP) Criteria and 4.4.7.4 (3), Ancillary Service Supply Responsibility |  |  |
|  |  | Current Operating Plan Validation |  | Notify QSE of invalid COP |  | ERCOT |  | QSE |  | As needed |  | API |  | XML |  | Protocol Section 3.9.2 (4), Current Operating Plan Validation |  |  |
| Capacity Trades |  |  |  | QSE submit Capacity Trades |  | QSE |  | ERCOT |  | Daily bye1430 will n the DRUC pr |  | API |  | XML |  | Protocol Section 4.4.1 (2), Capacity Trades |  |  |
|  |  |  |  |  |  |  |  |  |  |  | , if feill be u |  |  |  |  |  | 3), Capacity Trades |  |
|  |  | Capacity Trade Validation |  | Notify QSE of invalid Capacity Trades |  | ERCOT |  | QSE |  | As needed |  | API & MIS Certified Area |  | XML |  | Protocol Section 4.4.1.2 (2), Capacity Trade Validation |  |  |
|  |  | Corrected Capacity Trades |  | QSE submit corrected Trades |  | QSE |  | ERCOT |  | Daily by 1430 |  | API |  | XML |  | Protocol Section 4.4.1 (4), Capacity Trades |  |  |
| Energy Trades |  |  |  | QSE submit Energy Trades |  | QSE |  | ERCOT |  | Daily by 1430 |  | API |  | XML |  | Protocol Section 4.4.2 (2), Energy Trades |  |  |
|  |  |  |  |  | Invalid Capacity Trades |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Energy Trades Validation |  | Notify QSE of invalid Trades |  | ERCOT |  | QSE |  | As needed |  | API |  | XML |  | Protocol Section 4.4.2 (24, Energy Trades Val |  |  |
|  |  | Corrected Energy Trades |  | QSE submit corrected Trades |  | QSE |  | ERCOT |  | Daily by 1430 |  | API |  | XML |  | Protocol Section 4.4.2 (4), Energy Trades |  |  |
| Three-Part Supply Offers |  | Energy Offer Curve, Startup offers and Minimum-Energy Offers |  | QSE submit Offers |  | QSE |  | ERCOT |  | Daily by 1000 |  | API |  | XML |  | Protocol Section 4.4.9.2.1 (2), Startup Offer and Minimum-Energy Offer Criteria |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | MIS Certified Area |  |  |  |  |  |
|  |  | Three-Part Supply Offer Validation |  | Notify QSE of invalid Offers |  | ERCOT |  | QSE |  | As needed |  | API |  | XML |  | Protocol Section 4.4.9.2.2 (3), Startup Offer and Minimum-Energy Offer Validation |  |  |
|  |  | Corrected Three-Part Supply Offers |  | QSE submit correct Offers |  | QSE |  | ERCOT |  | Daily by 1000 |  | API |  | XML |  | Protocol Section 4.4.9.2.2 (3), Startup Offer and Minimum-Energy Offer Validation |  |  |
| DAM Energy-Only Offer Curve |  |  |  | QSE submit DAM Energy-Only Offer Curve |  | QSE |  | ERCOT |  | Daily by 1000 |  | API |  | XML |  | Protocol Section 4.4.9.5 (1), DAM Energy-Only Offer Curves |  |  |
|  |  | Energy-Only Offer Curve Validation |  | Notify QSE of invalid Offers |  | ERCOT |  | QSE |  | As needed |  | API |  | XML |  | Protocol Section 4.4.9.5.2 (2), DAM Energy-Only Offer Validation |  |  |
|  |  | Corrected Energy-Only Offer Curve |  | QSE submit corrected Offers |  | QSE |  | ERCOT |  | Daily by 1000 |  | API |  | XML |  | Protocol Section 4.4.9.5.2 (2), DAM Energy-Only Offer Validation |  |  |
| DAM Energy Bids |  |  |  | QSE submit DAM Energy Bids |  | QSE |  | ERCOT |  | Daily by 1000 |  | API |  | XML |  | Protocol Section 4.4.9.6 (1), DAM Energy Bids |  |  |
|  |  | Energy Bid Validation |  | Notify QSE of invalid Bids |  | ERCOT |  | QSE |  | As needed |  | API |  | XML |  | Protocol Section 4.4.9.6 (2), DAM Energy Bid Validation |  |  |
|  |  | Corrected Energy Bids |  | QSE submit corrected bids |  | QSE |  | ERCOT |  | Daily by 1000 |  | API |  | XML |  | Protocol Section 4.4.9.6 (2), DAM Energy Bids Validation |  |  |
| Energy Offer Curve |  |  |  | QSE submit Energy Offer Curve |  | QSE |  | ERCOT |  | Daily by 1000 |  | API |  | XML |  | Protocol Section 4.4.9.3 (2), Energy Offer Curve |  |  |
|  |  | Energy Offer Curve Validation |  | Notify QSE of invalid Offer Curve |  | ERCOT |  | QSE |  | As needed |  | API |  | XML |  | Protocol Section 4.4.9.3.2 (2), Energy Offer Curve Validation |  |  |
|  |  | Corrected Energy Offer Curve |  | QSE submit corrected Offer Curve |  | QSE |  | ERCOT |  | Daily by 1000 |  | API |  | XML |  | Protocol Section 4.4.9.3.2 (2), Energy Offer Curve Validation |  |  |
| Self-Schedules |  |  |  | QSE submit Self-Schedules |  | QSE |  | ERCOT |  | Any interval before the end of the Adjustment Period |  | API |  | XML |  | Protocol Section 4.4.3 Self-Schedules |  |  |
|  |  | Self-Schedules Validation |  | Notify QSE of invalid Self-Schedules |  | ERCOT |  | QSE |  | As needed |  | API |  | XML |  | Protocol Section 4.4.3 (3), Self-Schedules |  |  |
|  |  | Corrected Self-Schedules |  | QSE submit corrected Self-Schedules |  | QSE |  | ERCOT |  | As needed |  | API |  | XML |  | Protocol Section 4.4.3 (3), Self-Schedules |  |  |
| DC Tie Schedules |  |  |  | QSE’s Submit DC-Tie Schedules |  | QSE |  | ERCOT |  | Daily by 1430 |  | API |  | XML |  | Protocol Section 4.4.4 (3), DC Tie Schedules |  |  |
|  |  | DC-Tie Schedule Validation |  | Notify QSE of invalid DC-Tie Schedule |  | ERCOT |  | QSE |  | As needed |  | API |  | XML |  | Protocol Section 4.4.4 (4), DC Tie Schedules |  |  |
|  |  | Corrected DC-Tie Schedules |  | QSE submit corrected information |  | QSE |  | ERCOT |  | Daily by 1430 |  | API |  | XML |  | Protocol Section 4.4.4 (4), DC Tie Schedules |  |  |
| CRR Offers |  | CRR Account Holders to sell CRRs in DAM |  | QSE submit CRR Offers |  | QSE |  | ERCOT |  | Daily by 1000 |  | API |  | XML |  | Protocol Section 4.4.5, CRR Offers |  |  |
|  |  | CRR Offer Validation |  | Notify QSE of invalid Offers |  | ERCOT |  | QSE |  | As needed |  | API |  | XML |  | Protocol Section 4.4.5.2 (3), CRR Offer Validation |  |  |
|  |  | Corrected CRR Offers |  | QSE submit corrected Offers |  | QSE |  | ERCOT |  | Daily by 1000 |  | API |  | XML |  | Protocol Section 4.4.5.2 (3), CRR Offers |  |  |
| PTP Obligation Bids |  |  |  | QSE submit PTP Obligation Bids |  | QSE |  | ERCOT |  | Daily by 1000 |  | API |  | XML |  | Protocol Section 4.4.6.1 (1), PTP Obligation Bid Criteria |  |  |
|  |  | PTP Obligation Bid Validation |  | Notify QSE of invalid Bids |  | ERCOT |  | QSE |  | As needed |  | API |  | XML |  | Protocol Section 4.4.6.2 (3), PTP Obligation Bid Validation |  |  |
|  |  | Corrected PTP Obligation Bids |  | QSE submit corrected Bids |  | QSE |  | ERCOT |  | Daily by 1000 |  | API |  | XML |  | Protocol Section 4.4.6.2 (3), PTP Obligation Bid Validation |  |  |
| DAM Results |  |  |  | Awarded DAM Transactions |  | ERCOT |  | QSE |  | Daily, no later than 1330 |  | API |  | XML |  | Protocol Section 4.5.3 (1), Communicating DAM Results |  |  |
|  |  | MCPC, Settlement Point Prices, LMPs, Shadow Prices, Quantities |  | View additional information |  | ERCOT |  | QSE |  | Daily, no later than 1330 |  | API & MIS Public Area |  | XML |  | Protocol Section 4.5.3 (2), Communicating DAM Results |  |  |
| QSE Current Operating Plan |  | Resource Availability Status |  | QSE submit COP |  | QSE |  | ERCOT |  | Daily by 1430, then as needed |  | API |  | XML |  | Protocol Section 3.9, Current Operating Plan (COP) 44..43Ancla |  |  |
|  |  |  |  | Notify QSE of invalid COP |  | ERCOT |  | QSE |  | As needed |  | API |  | XML |  | Protocol Section 3.9.2 (1), Current Operating Plan Validation |  |  |
|  |  |  |  | QSE correct COP |  | QSE |  | ERCOT |  | Daily by 1430, then as needed |  | API |  | XML |  | Protocol Section 3.9.2 (1), Current Operating Plan Validation |  |  |
| ADJUSTMENT PERIOD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Adjustment Period Schedule Changes |  | Current Operating Plan |  | QSE submit and update Resource Status |  | QSE |  | ERCOT |  | As needed during Adjustment Period |  | API |  | XML |  | Protocol Section 6.4.5, Resource Status |  |  |
|  |  | Capacity Trades, Energy Trades, Self-Schedules, and Ancillary Service Trades |  | QSE submit and update Trades and Schedules |  | QSE |  | ERCOT |  | As needed during Adjustment Period |  | API |  | XML |  | Protocol Section 6.4.1, Capacity Trades, Energy Trades, Self-Schedule, and Ancillary Service Trades |  |  |
|  |  | Output Schedules |  | QSE submit and update Output Schedules |  | QSE |  | ERCOT |  | As needed during Adjustment Period |  | API |  | XML |  | Protocol Section 6.4.2, Output Schedules |  |  |
|  |  | Non-DSR Resource |  | QSE submit and update Output schedule for a non-DSR Resource |  | QSE |  | ERCOT |  | As needed during Adjustment Period |  | API |  | XML |  | Protocol Section 6.4.2.1, Output Schedules for Resources Other than Dynamically Scheduled Resources |  |  |
|  |  |  |  | QSE submit Incremental and Decremental Energy Offer Curves for DSRs |  | QSE |  | ERCOT |  | As needed during Adjustment Period |  | API |  | XML |  | Protocol Section 6.4.2.2, Output Schedules Dynamically Scheduled Resources |  |  |
|  |  | Energy Offer Curve |  | QSE submit and update Energy Offer Curves |  | QSE |  | ERCOT |  | As needed during Adjustment Period |  | API |  | XML |  | Protocol Section 6.4.3 (3), Energy Offer Curve |  |  |
|  |  | Three-Part Supply Offers |  | QSE submit Three-Part Supply Offers for Off-line Generation Resources |  | QSE |  | ERCOT |  | As needed during Adjustment Period |  | API |  | XML |  | Protocol Section 6.3.1 (1), Activities for the Adjustment Period |  |  |
|  |  |  |  | Notify QSEs of HRUC results |  | ERCOT |  | QSE |  | As needed |  | API |  | XML |  | Protocol Section 5.5.3 (2), Communication of RUC Commitments and Decommitments |  |  |
| Supplemental Ancillary Service Market |  |  |  | Notify QSEs of intent to procure additional Ancillary Services |  | ERCOT |  | QSE |  | As needed during Adjustment Period |  | API |  | XML |  | Protocol Section 6.4.8.2 (2), Supplemental Ancillary Service Market |  |  |
|  |  |  |  | QSEs may resubmit Ancillary Service Offers |  | QSE |  | ERCOT |  | 30 minutes from time of notice |  | API |  | XML |  | Protocol Section 6.4.8.2 (2), Supplemental Ancillary Service Market |  |  |
|  |  |  |  | Notify QSEs with awards |  | ERCOT |  | QSE |  | As needed |  | API |  | XML |  | Protocol Section 6.4.8.2 (2), Supplemental Ancillary Service Market |  |  |
|  |  |  |  | QSE submit updated COP and updated Ancillary Service Schedule |  | QSE |  | ERCOT |  | As needed |  | API |  | XML |  | Protocol Section 6.4.8.2 (2), Supplemental Ancillary Service Market |  |  |
| OPERATING PERIOD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| LFC Inputs |  | Frequency |  | Real-Time Monitoring and Control |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.6.1(3), LFC Process. |  |  |
| Generation Resource Data |  | Generation Resource MW |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (2) a, Operational Data Requirements Net and Gross Generation is required. |  |  |
|  |  | Generation Resource Mvar |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (2) b, Operational Data Requirements Net and Gross Reactive is required. |  |  |
|  |  | Plant Auxiliary Load |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (2) c, Operational Data Requirements. |  |  |
|  |  | Status of switching devices in the plant switchyard not monitored by the TSP affecting flows on the ERCOT System |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (2) d, Operational Data Requirements. |  |  |
|  |  | Generation Resource Breaker and Switch Status |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (2) f, Operational Data Requirements. |  |  |
|  |  | Generator Step-up Transformers Tap Position |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.1.13 (1) (d) (ii) (A), Data Inputs and Outputs for the Real-Time Sequence and SCED. |  |  |
|  |  | Generation Resource High Sustained Limit (HSL) |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.4.5 (1), Resource Status, Protocol Section 6.5.5.2 (2) g, Operational Data Requirements and Protocol Section 6.5.7.1.13 (1) (d) (ii) (B), Data Inputs and Outputs for the Real-Time Sequence and SCED. |  |  |
|  |  | Generation Resource Low Sustained Limit (LSL) |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.4.5 (1), Resource Status, Protocol Section 6.5.5.2 (2) j, Operational Data Requirements and Protocol Section 6.5.7.1.13 (1) (d) (ii) (C), Data Inputs and Outputs for the Real-Time Sequence and SCED. |  |  |
|  |  | Generation Resource High Emergency Limit (HEL) |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (2) h, Operational Data Requirements. |  |  |
|  |  | Generation Resource Low Emergency Limit (LEL) |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (2) j, Operational Data Requirements. |  |  |
|  |  | Text reason for any Resource where a ramp rate is deviating from a standard ramp rate curve for the resource, or the HSL is less than, or LSL is greater than, the normal high and low limits set in protocol section 3.7.1, Resource Parameter Criteria |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.4.5 (1), Resource Status |  |  |
|  |  | Generation Resource Normal Ramp Rate |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.4.5 (1), Resource Status. |  |  |
|  |  | Generation Resource Emergency Ramp Rate |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.4.5 (1), Resource Status. |  |  |
|  |  | Generation Resource Status |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.4.5 (1), Resource Status and 6.5.5.1(1). |  |  |
|  |  | Generation Resource Regulation Up Schedule |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (2) k, Operational Data Requirements. |  |  |
|  |  | Generation Resource Regulation Down Schedule |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (2) k, Operational Data Requirements. |  |  |
|  |  | Generation Resource Responsive Reserve Schedule |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (2) k, Operational Data Requirements. |  |  |
|  |  | Generation Resource Non-Spin Schedule |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (2) k, Operational Data Requirements. |  |  |
|  |  | Generation Resource Regulation Up Participation Factor |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (2) l, Operational Data Requirements. |  |  |
|  |  | Generation Resource Regulation Down Participation Factor |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (2) l, Operational Data Requirements. |  |  |
|  |  | Generation Resource Responsive Reserve Participation Factor |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (2) l, Operational Data Requirements. |  |  |
|  |  | Generation Resource Inhibit Regulation Up Status |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (6), Operational Data Requirements. |  |  |
|  |  | Generation Resource Inhibit Regulation Down Status |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (6), Operational Data Requirements. |  |  |
|  |  | Combined-Cycle Configuration |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (8) b, Operational Data Requirements. |  |  |
|  |  | Generation Resource DSR Base Point |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.6.1(8) j, LFC Process Description. |  |  |
|  |  | Private Network Net Interchange to ERCOT |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 Sec |  | ICCP |  | Blocks 1 & 2 |  | For private networks, the net interchange shall be provided along with gross MW and MVar per generation Resource. |  |  |
| Wind Powered Generation Resource Data |  | Wind Speed |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (4), Operational Data Requirements. |  |  |
| Load Resource Data |  | Load Resource MW |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2(4) a, Operational Data Requirements. Shall be telemetered to ERCOT using a (-) sign convention. |  |  |
|  |  | Resource Status |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.4.5 (1), Resource Status, Protocol Section 6.5.5.1(1), Changes in Resource Status, Protocol Section 6.5.5.2 (8) b & c, Operational Data Requirements. |  |  |
|  |  | Load Resource Breaker Status |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (4) c, Operational Data Requirements. |  |  |
|  |  | Load Resource Low Power Consumption (LPC) |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2(4) d, Operational Data Requirements. Shall be telemetered to ERCOT using a (-) sign convention |  |  |
|  |  | Load Resource Maximum Power Consumption (MPC) |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (4) e, Operational Data Requirements. Shall be telemetered to ERCOT using a (-) sign convention |  |  |
|  |  | Load Resource High-Set Under-frequency Relay Status (if RRS resource) |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (4) g, Operational Data Requirements. |  |  |
|  |  | Load Responsive Reserve Schedule |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (4) f, Operational Data Requirements. |  |  |
|  |  | Load Resource Responsive Reserve Participation Factor |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 3.6, Load Participation (implied). |  |  |
|  |  | Load Regulation Down Schedule |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 3.6, Load Participation (implied). |  |  |
|  |  | Load Resource Regulation Down Participation Factor |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 3.6, Load Participation (implied). |  |  |
|  |  | Load Resource Regulation Up Schedule |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 3.6, Load Participation (implied). |  |  |
|  |  | Load Resource Regulation Up Participation Factor |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 3.6, Load Participation (implied). |  |  |
|  |  | Load Resource Non-Spin Schedule |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 3.6, Load Participation (implied). |  |  |
|  |  | Load Resource Inhibit Regulation Up Status |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 3.6, Load Participation (implied). |  |  |
|  |  | Load Resource Inhibit Regulation Down Status |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 3.6, Load Participation (implied). |  |  |
|  |  | Load Resource NRAMP |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 3.6, Load Participation (implied). |  |  |
|  |  | Load Resource ERAMP |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 3.6, Load Participation (implied). |  |  |
|  |  | Load Resource DSR Output Schedule |  | Real-Time Monitoring, SCED & Security Analysis |  | QSE |  | ERCOT |  | 2 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (2) e, Operational Data Requirements |  |  |
| Note: Requirements were written with the May 5, 2006 Protocols. This requirement came after that date. |  | Controllable Load Resource Scheduled Power Consumption that represents zero Ancillary Service Deployments |  | Real-Time Monitoring |  | QSE |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (4) h, Operational Data Requirements |  |  |
| Note: Requirements were written with the May 5, 2006 Protocols. This requirement came after that date. |  | Controllable Load Resource Net Reactive Power (in MVar) |  | Real-Time Monitoring |  | QSE |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2 (4) i, Operational Data Requirements |  |  |
| DSR Load |  | DSR Load Schedules |  | Real-Time Monitoring |  | QSE |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.4.2.5 (3) a, DSR Load. |  |  |
|  |  | DSR Output Schedules |  | Real-Time Monitoring |  | QSE |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.4.2.5 (3) a, DSR Load. |  |  |
| Bus Data |  | Unit High Side Bus Voltage kV |  | Real-Time Monitoring |  | QSE |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.5.2, Voltage Support Service, May be supplied by the TSP. Low Side with appropriate transformer model may be substituted. |  |  |
|  |  | Bus Voltage at Private Network connection to ERCOT |  | Real-Time Monitoring |  | QSE |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | This voltage may be supplied by the TSP. |  |  |
| Data sent to QSE |  | LMPs created by each SCED process for each Resource Node and the Settlement Point Price at each Hub and Load Zone |  | SCED Results |  | ERCOT |  | QSE |  | 5 min |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.3.2, Activities for Real-Time Operations |  |  |
|  |  | Regulation MW |  | LFC |  | ERCOT |  | QSE |  | 4 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.6.2.1 (8), Deployment of Regulation Service. |  |  |
|  |  | Responsive Reserve MW |  | LFC |  | ERCOT |  | QSE |  | 4 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.6.2.2 (11), Deployments of Responsive Reserve Service. |  |  |
|  |  | Non-Spinning Dispatch Instruction (on/off) |  | LFC |  | ERCOT |  | QSE |  | 4 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.6.2.3 (4), Non-Spinning Reserve Service Deployment. |  |  |
| Generation Resource Data sent to QSE |  | Resource identifier |  | LFC |  | ERCOT |  | QSE |  | 4 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.4 (a), Base Points. |  |  |
|  |  | Generator base point MW |  | LFC |  | ERCOT |  | QSE |  | 4 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.4 (b), Base Points. |  |  |
|  |  | Generator LMP |  | LFC |  | ERCOT |  | QSE |  | 4 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.3.2 (2), Activities for Real-Time Operations. |  |  |
|  |  | Generator Suspend Ramping to Base Point (on/off) |  | LFC |  | ERCOT |  | QSE |  | 4 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.6.1 (9), LFC Process Description |  |  |
|  |  | Generator base point above HASL due to RRS (on/off) |  | LFC |  | ERCOT |  | QSE |  | 4 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.4 (c), Base Points. |  |  |
|  |  | Time of Dispatch |  | LFC |  | ERCOT |  | QSE |  | 4 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.4 (d), Base Points. |  |  |
|  |  | Pseudo unit dispatch (on/off) |  | LFC |  | ERCOT |  | QSE |  | 4 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.4 (e), Base Points. |  |  |
| Emergency Base Point Data Packet |  | Resource Identifier |  | LFC |  | ERCOT |  | QSE |  | 4 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.9.2 (3) c, Failure of the SCED Process. |  |  |
|  |  | Emergency base point (on/off) |  | LFC |  | ERCOT |  | QSE |  | 4 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.9 (1), Emergency Operations. |  |  |
|  |  | Time of Dispatch Instruction - Start |  | LFC |  | ERCOT |  | QSE |  | 4 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.9.2 (3) c, Failure of the SCED Process. |  |  |
|  |  | Time of Dispatch Instruction - Duration |  | LFC |  | ERCOT |  | QSE |  | 4 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.9.2 (3) c, Failure of the SCED Process. |  |  |
| Bus Data Set |  | HUB or Load zone LMP |  | LFC |  | ERCOT |  | QSE |  | 4 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.3.2 (2), Activities for Real-Time Operations. |  |  |
| Ancillary Services Capacity Monitor |  | Responsive Reserve Capacity from Generation Resources |  |  |  | ERCOT |  | QSE |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.5 (1) a, Ancillary Services Capacity Monitor. |  |  |
|  |  | Responsive Reserve Capacity from Load Resources |  |  |  | ERCOT |  | QSE |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.5 (1) b, Ancillary Services Capacity Monitor. |  |  |
|  |  | Non-Spinning Reserve available from On-Line Generation Resources with Energy Offer Curves |  |  |  | ERCOT |  | QSE |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.5 (1) c, Ancillary Services Capacity Monitor. |  |  |
|  |  | Non-Spinning Reserve available from undeployed Load Resources |  |  |  | ERCOT |  | QSE |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.5 (1) d, Ancillary Services Capacity Monitor. |  |  |
|  |  | Non-Spinning Reserve available from Off-Line Generation Resources |  |  |  | ERCOT |  | QSE |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.5 (1) e, Ancillary Services Capacity Monitor. |  |  |
|  |  | Non-Spinning Reserve available from Resources with Output Schedules |  |  |  | ERCOT |  | QSE |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.5 (1) f, Ancillary Services Capacity Monitor. |  |  |
|  |  | Undeployed Regulation Up and Undeployed Regulation Down |  |  |  | ERCOT |  | QSE |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.5 (1) g, Ancillary Services Capacity Monitor. |  |  |
|  |  | Available capacity with Energy Offer Curves in the ERCOT System that can used to increase Base Points in SCED |  |  |  | ERCOT |  | QSE |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.5 (1) h, Ancillary Services Capacity Monitor. |  |  |
|  |  | Available capacity with Energy Offer Curves in the ERCOT System that can used to decrease Base Points in SCED |  |  |  | ERCOT |  | QSE |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.5 (1) i, Ancillary Services Capacity Monitor. |  |  |
|  |  | Available capacity without Energy Offer Curves in the ERCOT System that can used to increase Base Points in SCED |  |  |  | ERCOT |  | QSE |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.5 (1) j, Ancillary Services Capacity Monitor. |  |  |
|  |  | Available capacity with Energy Offer Curves in the ERCOT System that can used to decrease Base Points in SCED |  |  |  | ERCOT |  | QSE |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.5 (1) k, Ancillary Services Capacity Monitor. |  |  |
| Note: Requirements were written with the May 5, 2006 Protocols. This requirement came after that date. |  | Responsive Reserve Capacity from Controllable Load Resources |  |  |  | ERCOT |  | QSE |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.5 (1) c, Ancillary Services Capacity Monitor |  |  |
| Security Analysis |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bus Data |  | Bus Voltage kV |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 6.5.7.1.13(1)(a)(i), Data Inputs and Outputs for the Real-Time Sequence and SCED |  |  |
| Transformer Data |  | Transformer Flow MW |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 6.5.7.1.13(1)(a)(ii), Data Inputs and Outputs for the Real-Time Sequence and SCED. Positive flow is into the transformer. |  |  |
|  |  | Transformer Flow Mvar |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 6.5.7.1.13(1)(a)(ii), Data Inputs and Outputs for the Real-Time Sequence and SCED. Positive flow is into the transformer |  |  |
|  |  | LTC Tap Position |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 6.5.7.1.13(1)(a)(v), Data Inputs and Outputs for the Real-Time Sequence and SCED. |  |  |
| Transmission Line Data |  | Line Flow MW |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 6.5.7.1.13(1)(a)(ii), Data Inputs and Outputs for the Real-Time Sequence and SCED. Positive flow is out of the station |  |  |
|  |  | Line Flow Mvar |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 6.5.7.1.13(1)(a)(ii), Data Inputs and Outputs for the Real-Time Sequence and SCED. Positive flow is out of the station |  |  |
| Shunt (Inductive or Capacitive Data |  | MW |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 6.5.7.1.13(1)(a)(ii), Data Inputs and Outputs for the Real-Time Sequence and SCED. Positive for supplying VAR Negative for absorbing VAR |  |  |
|  |  | Mvar |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 6.5.7.1.13(1)(a)(ii), Data Inputs and Outputs for the Real-Time Sequence and SCED. Positive for supplying VAR Negative for absorbing VAR |  |  |
|  |  | Bank Breaker Status |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 6.5.7.1.13(1)(a)(iii), Data Inputs and Outputs for the Real-Time Sequence and SCED. |  |  |
| Circuit Breaker Data |  | Circuit Breaker MW flow |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 3.10.7.4 (2), Telemetry Criteria. Positive flow is from bus section to equipment (optional) |  |  |
|  |  | Circuit Breaker Mvar |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 3.10.7.4 (2), Telemetry Criteria. Positive flow is from bus section to equipment (optional) |  |  |
|  |  | Breaker Status |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 3.10.7.4 (2), Telemetry Criteria. |  |  |
| Load Data |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Load metering is preferred from the high side of the transformation point of the substation distribution transformer. |  |  |
|  |  | Load in MW |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 3.10.7.4 (2), Telemetry Criteria. (Implied). Negative for Load MW. |  |  |
|  |  | Load in Mvar |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 3.10.7.4 (2), Telemetry Criteria. (Implied). Negative for Load Mvar. |  |  |
| DC Tie Injection Data |  | DC Injection in MW |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 3.10.7.2 (3), Modeling of Resources and Transmission Loads. Positive flow is out of the station. |  |  |
|  |  | DC Injection in Mvar |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 3.10.7.2 (3), Modeling of Resources and Transmission Loads. Positive flow is out of the station |  |  |
|  |  | DC Tie Breaker Status |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 3.10.7.2 (3), Modeling of Resources and Transmission Loads. (Implied) |  |  |
| Weather Zone Tie Line Data |  | Temperature |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 6.5.7.1.13 (1) e, Data Inputs and Outputs for the Real-Time Sequence and SCED. |  |  |
|  |  | Wind Speed (if available) |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 6.5.7.1.13 (1) e, Data Inputs and Outputs for the Real-Time Sequence and SCED. |  |  |
| Dynamic Rating Data |  | Line ID |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 60 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 3.10.8.1 (1) a, Dynamic Ratings Delivered via ICCP. |  |  |
|  |  | From Status |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 60 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 3.10.8.1 (1) b, Dynamic Ratings Delivered via ICCP. |  |  |
|  |  | To Station |  | Real-Time Monitoring, SCED & Security Analysis |  | TSP |  | ERCOT |  | 60 sec |  | ICCP |  | Blocks 1&2 |  | Protocol Section 3.10.8.1 (1) c, Dynamic Ratings Delivered via ICCP. |  |  |
|  |  | Normal Rating |  | Real-Time Security Analysis |  | TSP |  | ERCOT |  | 60 min |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 3.10.8.1 (1) d, Dynamic Ratings Delivered via ICCP. |  |  |
|  |  | Emergency Rating |  | Real-Time Security Analysis |  | TSP |  | ERCOT |  | 60 min |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 3.10.8.1 (1) d, Dynamic Ratings Delivered via ICCP. |  |  |
|  |  | 15-Minute Rating |  | Real-Time Security Analysis |  | TSP |  | ERCOT |  | 60 min |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 3.10.8.1 (1) d, Dynamic Ratings Delivered via ICCP. |  |  |
| Weather Zone Data |  | Current Temperature for each applicable Weather Zone |  | Real-Time Security Analysis |  | TSP |  | ERCOT |  | 10 min |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 3.10.8.1, Dynamic Ratings Delivered via ICCP |  |  |
| Block Load Transfer Point Data |  | Switching Device Status at BLT points. |  | BLT Transfers |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.9.5(i), Block Load Transfers between ERCOT and Non-ERCOT Control Areas |  |  |
| Other Modeled Devices (SVCs, etc.) |  | MW |  |  |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.1.13, Data Inputs and Outputs for the Real-Time Sequence and SCED. |  |  |
|  |  | MVar |  |  |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.1.13, Data Inputs and Outputs for the Real-Time Sequence and SCED. |  |  |
|  |  | Status |  |  |  | TSP |  | ERCOT |  | 10 sec |  | ICCP |  | Blocks 1 & 2 |  | Protocol Section 6.5.7.1.13, Data Inputs and Outputs for the Real-Time Sequence and SCED. |  |  |

NOTE:	Real-Time data for Security Analysis can be provided to TSPs on request.

Private Network refers to generators with self-serve private load behind a single meter at the point of injection into the ERCOT grid.

LEGEND:

Mode of Communication

Web Portal - Online application available to market participants via the World Wide Web.

TCH - Transaction Clearinghouse.  The mechanism used to send/receive EDI transactions.

API - Programmatic API. A message protocol used to automate data exchange between ERCOT and market participants.

ICCP - Inter-Control Center Communication Protocol.  A standard protocol used to automate data exchange real-time control information between the ERCOT and participants.

Format

EDI - Electronic Data Exchange format. EDI formats are specified by the Texas SET working group and are based on standard EDI transaction protocols.

XML - eXtensible Markup Language.  XML is a self-describing meta language used to facilitate the exchange of data. XML will format requests and receive replies using the API.

CSV - Comma Separated Values.  A generic file format where elements of data are separated by commas within a file.

Office Document - One of the common Microsoft Office file formats such as MS Word or MS Excel.