# ERCOT

# DYNAMICS WORKING GROUP

## Report to ROS

## December 6, 2007

Progress of Responsive Reserve / LaaRs study

- The flat start of the 2008 Summer On-peak case is underway.  We are working through some data problems with missing unit information.  In addition, there have been some issues with the Uplan dispatch and the new combined-cycle models.

- The DWG held a conference call December 5 to discuss the flat start problems and other issues related to the study.

DWG Tasks, 2007

| Task | Status |
| --- | --- |
| Flat start 2007 case | Complete |
| Flat start 2010 case | Complete |
| Flat start 2007 case with wind models. | Complete |
| Publish 2006 flat start book. | Complete |
| Publish 2007 flat start book. | Working |
| Make annual determination of the number and location of dynamic monitoring devices. | Complete |
| Responsive Reserve / LaaRs study | Working |
| Dynamic Voltage Recovery criteria | Working |
| Review recently approved NERC Standards with respect to ERCOT Op Guides and Protocols | Working |
| Participate in ROS Ad Hoc Task Force regarding Power System Stabilizers | Working |
| Annual Procedural Manual review/update. | Working |
| Begin 2008 flat start activities. | Roll into RRS/ LaaRs study |