## Slide 1: Texas Regional Entity Report
December 2007

## Slide 2: Performance Highlights
ERCOT’s Control Performance Standard (NERC CPS1) score for October – 118.38
Initial scores for October indicate 34 non-wind-only QSEs passed and 1 non-wind-only QSE failed the PRR 525 measure

## Slide 3: Texas RE Monthly Summary
For October……….
  Protocol & Operating Guides violations
    1 new alleged
  NERC Standards violations
    17 new alleged – all resulting from entity self-certifications
  0 New events reported
    2 Compliance Reviews in progress
  Final on-site Compliance Audit completed for 2007
  2 Registration appeals denied by NERC Board of Trustees Compliance Committee
  1 Appeal remanded to the Texas RE for resolution
  1 Pending registration appeal

## Slide 4: Texas RE Developments
October 18th – FERC conditionally accepted the proposed 2008 NERC and Regional Entity Budgets and Business Plans
  Allows Regional Entities to collect their budgets as provided in their income statements
  December 14, 2007 – Compliance filing required to clarify Texas RE’s non-statutory cost for 2008
  April 1, 2008 – File 2007 budget true-up comparing 2007 proposed budget to actual expenditures
October 23rd – NERC Board of Trustees approved the amended and restated Texas RE/NERC Delegation Agreement
  October 30th – Regional Delegation Agreements filed with FERC

## Slide 5: Texas RE Fall Workshop Report
November 2nd – Austin Met Center
Updated participants on the 2007 Compliance Monitoring & Enforcement Program
Provided a “sneak peek” at the 2008 Compliance Program
Over 100 attendees + additional participants on WebEx
Speakers included Texas RE and NERC Staff

## Slide 6: Texas Regional Entity
Report Details

## Slide 7: NERC CPS1 Performance
ERCOT’s CPS1 Performance
  October Performance
    Monthly comparison
      2007: 118.38
      2006: 137.26
    12 month rolling average comparison
      November 2006 October 2007: 129.89
      November 2005 October 2006: 142.68
PRR 525 Performance
  Scores for October indicate 34 non-wind-only QSEs passed and 1 non-wind-only QSE failed the measure
  Scores posted on the ERCOT Compliance Website
    SCE Performance Scores

## Slide 8: ERCOT CPS1 Performance Comparison

## Slide 9: ERCOT CPS1 Year-to-Year Comparison

## Slide 10: ERCOT’s CPS1 Monthly Performance

## Slide 11: ERCOT CPS1 by Interval

## Slide 12: QSE PRR 525 10-Minute Interval Scoring

## Slide 13: October 2007 – SCPS2 Scores

## Slide 14: October 2007 Resource Plan Performance Metrics

## Slide 15: Organization Registration Status
Of 228 functions registered in the ERCOT Region, 9 entities have officially appealed their registration
  4 appeals resolved by the Texas RE
  3 appeals heard by NERC Board of Trustees Compliance Committee (BOT CC)
    1 entity appealed their registration as a Transmission Owner – appeal denied
    1 entity appealed their registration as a Transmission Owner/Planner – appeal denied
    1 entity appealed their registration as a Generator Operator – appeal remanded to Texas RE for continued discussion and resolution with appealing entity
  2 appeals pending and may go before the BOT CC for resolution
    1 entity appealing their registration as a Generator Operator
    1 entity appealing their registration as a Generator Owner

## Slide 16: Registration Activities
Purchasing-Selling Entity (PSE) Registration
  Initially, registration notices sent to 33 entities
  Registration criteria used
    Entity operates as a Qualified Scheduling Entity (QSE) in the ERCOT Market
    Entity shown on NERC TSIN (Transmission Service Information Network) List
    Entity schedules transactions across a HVDC tie
ERCOT PSE registration being removed

## Slide 17: NERC Functional Entity Types
DP – Distribution Provider
GO – Generator Owner
GOP – Generator Operator
TO – Transmission Owner
TP – Transmission Planner
RC – Reliability Coordinator
BA – Balancing Authority
TOP – Transmission Operator
PA – Planning Authority
TSP – Transmission Service Provider
RP – Resource Planner
PSE – Purchasing-Selling Entity

## Slide 18: Compliance Process Flowcharts
NERC Compliance Monitoring and Enforcement Program – Reliability Standards
  Link to NERC Reliability Flowcharts
ERCOT Compliance Process – ERCOT Protocols and Operating Guides
  Link to Protocols & Guides Flowcharts

## Slide 19: 2007 Compliance Audits

## Slide 20: 2008 Audit Schedule
The 2008 Texas RE Audit Schedule is available here.

## Slide 21: Compliance Reviews of Events by Month

## Slide 22: Violations of ERCOT Protocols

## Slide 23: Violations of NERC Standards Reported by Month

## Slide 24: NERC Standards Self-Certification
NERC Registered Entities NOT audited in 2007 required to self-certify to the Actively Monitored Reliability Standards applicable to their Registration(s)
  101 GOs
  41 GOPs
  23 TOs
  165 Total Registered Functions

## Slide 25: NERC Standards Self-Certification
Self-Certifications were due October 1st
  95% overall response
  18 Entities required second notice
  8 responses outstanding
    3 requested extensions which were granted
    5 Entities will receive third notice
Utilizing NERC escalation process for non-submittal of requested data

## Slide 26: NERC Standards Self-Certification
To date, 19 alleged violations identified (September & October)
  6 FAC-008 – lack documented process
    2 GOs
  4 FAC-009 – lack documented process
    2 GOs
  4 CIP-001 – lack documented process
    1 GOP
  3 IRO-004 – lack documented process
    2 GOs; 1 GOP
  2 PRC-005 – relay maintenance delinquent
    1 TO; 1 GO

## Slide 27: NERC Standards Self-Certification Violation Details

## Slide 28: NERC Standards Self-Reported Violations Pre-June 18th

## Slide 29: Risk Factors for Self-Reported NERC Standards Violations – Pre-June 18th

## Slide 30: NERC Standards Self-Reported Violation Categorization – Pre-June 18th