Principles on Verifiable Cost Process

- Verifiable Start-up and Min Energy Costs are the most reasonable representations that can be verified by ERCOT for accuracy of a generator’s cost to cycle (start-up and shut down) and run the unit at minimum energy, using a Fuel Index.

- Verifiable Incremental Heat Rate is the most reasonable representation that can be verified by ERCOT for accuracy of a generator’s incremental cost to operate from LSL/LEL to HSL/HEL, using a Fuel Index.

- Verifiable O&M costs are Average Incremental O&M Costs

- There is a level of risk that Resource owners take in the recovery of Start-up and Minimum Energy costs

- The Verifiable Cost Process intends to make Generators whole and minimize costs to load

- FIP and FOP are defined by Protocols

- Emissions Costs/Credits are an important part of verifiable O&M costs

- Resource Owners should have a process to address exceptional events that create significant harm

- Verifiable Costs Process is to be used prospectively.