November 7, 2008

SSWG Meeting Notes

San Antonio, Texas

The SSWG met November 6-8 in San Antonio for its annual update and review of the data set B cases.  A general meeting to discuss other issues was held on November 7th.  Doug Evans initially gave a presentation on several nodal, future scheduling, and NERC/TRE issues.  His power point presentation is attached.  There were several questions as a result of the presentations requiring responses from ERCOT personnel.  These questions were:

- For buses that do not have a corresponding Electrical Bus will the TO/TSP be able to provide the bus name?

- When will network operations model clean up occur?  Will there be an official review period for each TSP?

- When are the TSPs scheduled to sign off on the new model?

- When will ERCOT have the ‘new’ model loaded into the system?

The item 1. question was discussed at a subsequent NDSWG meeting.  The response from ERCOT (Curtis Crews) was that the TO/TSP would be able to provide the bus names that did not have a corresponding electrical bus.  The ERCOT responses from Curtis Crews  to questions 2 through 4 are as follows:

- “On a continual basis.  No specific time period has been established for individual TSPs.  They can start cleanup now and that would help future efforts.  Officially, I have indicated the model has to be in NMMS.”

3.   “As soon as they have checked the data in NMMS.  “Officially” scheduled for March 31, 2008 end date.”

4.  “We planned it last month.  Indications tend to place that date in mid-December.  Any specific date is contingent upon Siemen’s abilities to incorporate new CIM Data Dictionary that results form attempting to load model into Siemens product.  The attempts, if/when errors are noted, then have to be vetted by Siemens, Areva, and ABB.  Gut feel, if pressed, would be mid-January but that would be totally unofficial and more realistic.”

Several other issues/proposals that were discussed and the SSWG response are as follows:

Issue:  Should auxiliary loads be modeled on selected generating units?

SSWG Response:  The ROS Dynamics Working Group should create the cases with auxiliary load modeled if they are required for their purposes.  These special DWG cases could use SSWG cases as starting points and SSWG could help with tuning the cases after the extra MW/MVAR of load and gen is added if necessary.

SSWG Issues w/Proposal:

- Obtaining data

- Modeling load questions(would need MW and MVAR curves for each plant and each configuration of CC)

- Effect on contingencies(contingency of gens would not remove aux loads)

- From where and how to obtain data(an option would be to put this data request into the RARF Resource Asset Registration Form)

- Probability of errors being introduced to the cases

- Time required to obtain and verify data

- Some plants having Net PMAX and others with Gross PMAX would not be consistent with values reported to stakeholders and regulatory bodies

- SSWG studies with generation modifications would require extra work

- New procedures would have to be developed to identify the aux load to maintain a consistent load

Issue:  Should the ALDR definition of minimum load period be defined as occurring during the Spring?

SSWG Response:  The ALDR definition should be left as is.

SSWG Issues w/Proposal

- SSWG Procedures define the load modeled in the Minimum case as a yearly minimum for each TDSP.

- ALDR minimum is presently defined as that occurring coincident with the ERCOT minimum load

- Individual TDSP internal processes are not compatible with a change in definition of minimum load

Issue:  Schedule

SSWG Response:

- Quarterly updates to the cases should continue on the existing schedule

- Set A cases should be posted by July 1

- Set B cases should be posted by October 15

- Both Data Set meetings in 2008 should be held in San Antonio

- LCRA accepted providing the SSWG Vice Chair for 2008.

Two other items discussed were:

- Tracking the 5 Year Plan projects in TPIT, possibly having them on a separate sheet

- Oncor’s IPLN program for creating contingency files

The proposed 2008 case schedule resulting from the meeting is as follows:

2009 DSA Schedule

March 3, 2007   ALDR due to ERCOT

April 1		ALDR due to SSWG.

April 11		NOIES send generation dispatch data to ERCOT.

April 11		Pass 0 due to ERCOT

April 18		Pass 1 cases due to SSWG (w/UPLAN economic dispatch)

April 25		Pass 1 changes due to ERCOT.

May 2		Pass 2 cases due to SSWG (w/UPLAN economic dispatch)

May 9		Pass 2 changes due to ERCOT

May 15		Pass 3 cases due to SSWG (w/UPLAN economic dispatch)

May 21		Pass 3 changes due to ERCOT

June 3-5     	 SSWG meeting at ERCOT office to finalize cases.

July 1        	Cases posted on the ERCOT website

2009 DSB Schedule

July 2		NOIES send generation dispatch data to ERCOT.

July 30		Pass 0 due to ERCOT

Aug. 6		Pass 1 cases due to SSWG (w/UPLAN economic dispatch)

Aug. 13		Pass 1 changes due to ERCOT.

Aug. 20		Pass 2 cases due to SSWG (w/UPLAN economic dispatch)

Aug. 27		Pass 2 changes due to ERCOT

Sept. 3		Pass 3 cases due to SSWG (w/UPLAN economic dispatch)

Sept. 10	Pass 3 changes due to ERCOT

Sept. 16-18	SSWG meeting at ERCOT office to finalize cases.

Oct. 15		Cases posted on the ERCOT website

Previous/Future Chairman

98 cps  Pete Mulhearn

1999 – TXU (Oncor) scot

2000 – CNP Manjula

2001 – TNMP Rex McDanial

2002 – Lcra Tom Bao

2003 – AEP Jim Treece

2004 – CPS JUulius Moore

2005 – STEC  John Moore

2006 – Austin Energy  Ken

2007 – BEC Dwight Beckman

2008 – Oncor Walt Simmons

2009 – LCRA Brad Woods

Doug Evans Power Point Presentation