| NPRR Number | 091 | NPRR Title | Scarcity Pricing and Mitigated Offer Cap During the Period Commencing on the Nodal Market Implementation Date and Continuing for a Total of 45 Days |
| --- | --- | --- | --- |
| Timeline | Normal | Action | Tabled |
| Date of Decision | 12/13/07 |
| Protocol Section(s) Requiring Revision | 3.19, Constraint Competitiveness Tests 4.4.11.2, Scarcity Pricing and Mitigated Offer Cap During Nodal Startup (new) |
| Proposed Effective Date | TBD. |
| Priority and Rank Assigned | TBD. |
| Revision Description | This Nodal Protocol Revision Request (NPRR) adds: (1) The provision to Section 3.19 that all transmission constraints are treated as non-competitive constraints during an initial 30 Operating Day period beginning with the Texas Nodal Market Implementation Date. (2) Subsection 4.4.11.2, which requires that the System-Wide Offer Cap (SWCAP) be set to the higher of $XXX or XX Heat Rate times the Fuel Index Price (FIP) during an initial 45 Operating Day period beginning with the Texas Nodal Market Implementation Date. |
| Overall Market Benefit | The Independent Market Monitor (IMM) implementation of the PUCT Chairman proposal provides a set of “guardrails” to reasonably protect against unforeseen issues associated with the operation of the nodal market in the period shortly after “go-live.” |
| Overall Market Impact | Reasonably protect against unforeseen issues associated with the operation of the nodal market in the period shortly after “go-live.” |
| Consumer Impact | Reasonably protect against unforeseen issues associated with the operation of the nodal market in the period shortly after “go-live.” |
| Credit Impacts | TBD. |
| Procedural History | On 12/5/07, ERCOT posted this NPRR. On 12/10/07, NRG Texas LLC comments were posted. On 12/13/07, PRS considered this NPRR. |
| PRS Decision | On 12/13/07, PRS unanimously voted to table NPRR091. All Market Segments were present for the vote. |
| Summary of PRS Discussion | On 12/13/07, PRS noted that TPTF was scheduled to consider NPRR091 on 12/17/07. |

ERCOT/Market Segment Impacts and Benefits

| Quantitative Impacts and Benefits |
| --- |
| Assumptions | 1 |  |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Reasonably protect against unforeseen issues associated with the operation of the nodal market in the period shortly after “go-live.” |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
| Other Comments | 1 | This NPRR addresses concerns raised by the PUCT Commissioners and Market Participants that actions be taken to lessen the impact of the new requirements necessitated by the start of the Texas Nodal Market until such time as Market Participants have acquired experience operating in the DAM and Real Time nodal market. |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |

| Original Sponsor |
| --- |
| Name | Trip Doggett on behalf of TPTF |
| Company | ERCOT |
| Market Segment |  |

| Comments Received |
| --- |
| Comment Author | Comment Summary |
| NRG Texas LLC 121007 | Proposed values for the SWCAP. |

Proposed Protocol Language Revision

3.19	Constraint Competitiveness Tests

(1)	Unless the Board approves changes, the “Competitive Constraints” are the contingency/limiting Transmission Element pairs that represent the Commercially Significant Constraints (CSCs) and Closely Related Elements (CREs), as those terms were defined in the ERCOT Protocols, immediately prior to Texas Nodal Market Implementation Date. The ERCOT Board may approve changes to the Competitive Constraints from time to time, whether before the Texas Nodal Market Implementation Date or after.  A contingency/limiting Transmission Element pair is designated a Competitive Constraint by TAC approval.  Among other relevant factors, TAC shall consider the results of the Test Procedures 1 and 2, as described in Section 3.19.1, Annual Competitiveness Test, in reaching its determination as to whether or not a Transmission Element pair should be considered as a Competitive Constraint.  Any contingency/limiting Transmission Element pair not designated as a Competitive Constraint is deemed to be a non-competitive constraint. Notwithstanding the foregoing, as described in Section 4.4.11.2, Scarcity Pricing and Mitigated Offer Cap During Nodal Startup, for the first 30 Operating Days beginning with the Texas Nodal Implementation Date all TAC approved Competitive Constraints will each be deemed to be a non-competitive constraint.

(2)	An appropriate subcommittee approved by TAC (“TAC Subcommittee”) may develop an alternative list through the analysis described below for determining Competitive Constraints.

(3)	The TAC Subcommittee shall perform the following analysis with the goal of developing an objective standard for determining Competitive Constraints:

(a)	Contingency analysis – based on reasonable generation dispatch that would lead into a set of elements to be studied.

(b)	Constraint Competitiveness Test (CCT) - using the parameters described in Section 3.19.1, Annual Competitiveness Test; Section 3.19.2, Monthly Competitiveness Test; and Section 3.19.3, Daily Competitiveness Test.

(c)	Initial analysis of the CSCs and CREs and additional proposed contingency/limiting Transmission Element pairs for possible modifications or designation to their status as a Competitive Constraint must be completed prior to the Texas Nodal Market Implementation Date and subsequent analysis shall be on-going.

(d)	At a minimum, the CCT should be performed at least once per month and the results compared to the existing TAC-approved Competitive Constraints list.  Based on the comparison, the TAC Subcommittee may evaluate alternative methodologies or alternative Competitive Constraints and report the results of these evaluations to the TAC.

(4)	The WEMM may suspend a Competitive Constraint from being designated as competitive for a specified period of time necessary to allow for analysis, but not to exceed 60 days.  The WEMM shall notify the market of the estimated time needed to conduct the analysis.  The WEMM shall notify the market of any suspended Competitive Constraint before suspension.

(5)	TAC shall approve the Competitive Constraints one month prior to the annual CRR Auction.  Prior to each monthly CRR Auction, TAC shall approve updates to the Competitive Constraints that are applicable for the following monthly auction.  Any Competitive Constraint not determined to be competitive by TAC shall be deemed to be non-competitive.

(6)	ERCOT shall post the Competitive Constraints to the MIS Secure Area at least five Business Days before any change takes effect. ERCOT shall post any Competitive Constraints that have been suspended and the duration of the suspension as soon as practicable to the MIS Secure Area.

4.4.11	System-Wide Offer Caps

(1)	The System-Wide Offer Cap (SWCAP) is as follows:

(a)	The low system-wide offer cap (LCAP) is set on a daily basis at the higher of:

(i)	$500 per MWh for energy and $500 per MW per hour for Ancillary Services; or

(ii)	Fifty times the Fuel Index Price (FIP) of the previous Operating Day, expressed in dollars per MWh for energy and dollars per MW per hour for Ancillary Services.

(b)	The high system-wide offer cap (HCAP) is $2,250 per MWh for energy and $2,250 per MW per hour for Ancillary Services.

(c)	Beginning two months after nodal implementation, the HCAP shall be $3,000 per MWh for energy and $3,000 per MW per hour for Ancillary Services.

(d)	At the beginning of each annual resource adequacy cycle, the SWCAP shall be set equal to the HCAP and maintained at this level as long as the peaker net margin (PNM) during an annual resource adequacy cycle is less than or equal to $175,000 per MW.  During an annual resource adequacy cycle, the SWCAP shall be as set forth above in items (b) and (c) above, unless the PNM has exceeded $175,000 per MW by the date specified.  If the PNM exceeds $175,000 per MW during an annual resource adequacy cycle, on the next Operating Day, the SWCAP shall be reset to the LCAP for the remainder of that annual resource adequacy cycle.

(2)	Any offers that exceed the current SWCAP shall be rejected by ERCOT.

4.4.11.1	Scarcity Pricing Mechanism

(1)	ERCOT shall operate the scarcity pricing mechanism (SPM) as follows:

(a)	The SPM operates on an annual resource adequacy cycle, starting on January 1 and ending on December 31 of each year.

(b)	For each day of the annual resource adequacy cycle, the peaking operating cost (POC) shall be ten times the FIP for the previous Operating Day.  The POC is calculated in dollars per megawatt-hour (MWh).

(c)	For the purpose of this Section, the Real-Time energy price (RTEP) shall be measured as the ERCOT Hub Average 345 kV Hub price.

(d)	For the current annual resource adequacy cycle, the PNM shall be calculated in dollars per megawatt (MW) on a cumulative basis for all past intervals in the annual resource adequacy cycle as follows:

∑((RTEP – POC) * (.25)) for each settlement interval where (RTEP – POC) >0

(e)	By the end of the next Business Day following the applicable Operating Day, ERCOT shall post the updated value of the PNM and the current SWCAP on the MIS Public Area.

4.4.11.2	Scarcity Pricing and Mitigated Offer Cap During Nodal Startup

(1)	During the period starting with the Texas Nodal Implementation Date and continuing for a total of 45 Operating Days, the SWCAP is set by ERCOT on a daily basis at the higher of $XXX or XX  times the Fuel Index Price (FIP), expressed in dollars per MWh for energy and dollars per MW per hour for Ancillary Services. By the end of the next Business Day following the applicable Operating Day, ERCOT shall post the updated value of the PNM and the current SWCAP on the MIS Public Area.

(2)	ERCOT shall provide notice to the market on the 45th Operating Day that the SWCAP will be set as determined in accordance with Section 4.4.11(1) effective at 0000 hrs on the 46th Operating Day.

(3)	During the period starting with the Texas Nodal Implementation Date and continuing for a total of 30 Operating Days, ERCOT shall treat all contingency/limiting Transmission Element pairs identified on the TAC approved Competitive Constraint List as non-competitive constraints for the purposes of the two-step SCED methodology in paragraph (5) of Section 6.5.7.3, Security Constrained Economic Dispatch. .

(4)	ERCOT shall provide notice to the market on the 30th Operating Day that the TAC approved Constraint Competitive List will become effective at 0000 hrs on the 31st Operating Day for the purposes of the two-step SCED methodology in paragraph (5) of Section 6.5.7.3. .