## TitlePage
REPORT ON THE CAPACITY, DEMAND, AND RESERVES IN THE ERCOT REGION
System Planning
December 2007
Summer Assessment Update
ERCOT
2705 West Lake Drive
Taylor, Texas 76574

## Contents
Contents
Tab | Notes
Disclaimer | Please read.
Definitions | List of definitions
Changes from May 2007 CDR | List of changes from the May 2007 CDR
SummerSummary | Shows load forecast, generation resources, and reserve margin for summer 2008 through summer 2013
SummerCapacities | Lists units and their capabilities used in determining the generation resources in the Summer Summary

## Disclaimer
Disclaimer
CDR WORKING PAPER
FOR PLANNING PURPOSES ONLY
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been developed from data provided by ERCOT market participants. The data may contain errors or become obsolete and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS. The specific suitability for any use of the Working Paper and its accuracy should be confirmed by each ERCOT market participant that contributed data for this Working Paper.
This Working Paper is based on data submitted by ERCOT market participants as part of their Annual Load Data Request (ALDR) and their generation asset registration and on data in the EIA-411. As such, this data is updated on an ongoing basis, which means that this report can be rendered obsolete without notice.

## Definitions
Definitions
Available Mothballed Generation
The probability that a mothballed unit will return to service, as provided by its owner, multiplied by the capacity of the unit. Return probabilities are considered protected information under the ERCOT Protocols and therefore are not included in this report.
BULs
Balancing up load. Loads capable of reducing the need for electrical energy when providing Balancing Up Load Energy Service as described in the ERCOT Protocols, Section 6, Ancillary Services. BULs are not considered resources as defined by the ERCOT Protocols.
Effective Load-Carrying Capability (ELCC) of Wind Generation
The amount of wind generation that the Generation Adequacy Task Force (GATF) has recommended to be included in the CDR. The value is 8.7% of the nameplate capacity listed in the Unit Capacities tables, both installed capacity and planned capacity.
LaaRs (Loads acting as resources)
Load capable of reducing or increasing the need for electrical energy or providing Ancillary Services to the ERCOT System, as described in the ERCOT Protocols, Section 6, Ancillary Services. These Resources may provide the following Ancillary Services: Responsive Reserve Service, Non-Spinning Reserve Service, Replacement Reserve Service, and Regulation Service. The Resources must be registered and qualified by ERCOT and will be scheduled by a Qualified Scheduling Entity
Mothballed Capacity
The difference in the available mothballed generation (see definition above) and the total mothballed capacity. For summer 2007 this value is zero in the CDR Report because of the fact that there isn't time to return those units before the start of the summer.
Mothballed Unit
A generation resource for which a generation entity has submitted a Notification of Suspension of Operations, for which ERCOT has declined to execute an RMR agreement, and for which the generation entity has not announced retirement of the generation resource.
Net Dependable Capability
Maximum sustainable capability of a generation resource as demonstrated by performance testing.
Non-Synchronous Tie
Any non-synchronous transmission interconnection between ERCOT and non-ERCOT electric power systems
Other Potential Resources
Capacity resources that include one of the following:
• Remaining "mothballed" capacity not included as resources in the reserve margin calculation
• Remaining DC tie capacity not included as resources in the reserve margin calculation, and
• New generating units that have initiated full transmission interconnection studies through the ERCOT generation interconnection process (Note that new wind generating units would be included based on the appropriate discounted capacity value applied to existing wind generating units.)
Planned Units in Full Interconnection Study Phase
To connect new generation to the ERCOT grid, a generation developer must go through a set procedure. The first step is a high-level screening study to determine the effects of adding the new generation on the transmission system. The second step is the full interconnection study. These are detailed studies done by the transmission owners to determine the effects of the addition of new generation on the transmission system.
Private Networks
An electric network connected to the ERCOT transmission grid that contains load that is not directly metered by ERCOT (i.e., load that is typically netted with internal generation).
Reliability Must-Run (RMR) Unit
A generation resource unit operated under the terms of an agreement with ERCOT that would not otherwise be operated except that they are necessary to provide voltage support, stability or management of localized transmission constraints under first contingency criteria.
Signed IA (Interconnection Agreement)
An agreement that sets forth requirements for physical connection between an eligible transmission service customer and a transmission or distribution service provider
Switchable Unit
A generation resource that can be connected to either the ERCOT transmission grid or a grid outside the ERCOT Region.

## Changes
Changes from 2007 May CDR
1. | The latest net dependable capabilities for the units were used. For the summer this was the 2007 test values. If the net dependable capability was not available, the capability from the unit’s asset generation registration was used.
2. | RMR units were reviewed and the latest information was used in the report.
3. | Mothball return probabilities were not changed from the May 2007 CDR report.
4. | The following units have completed interconnection agreements and/or air permits since the May 2007 CDR: 1) Oak Grove 1, 2) Oak Grove 2, 3) Sandow 5, and 4) Bosque Expansion.
5. | Units that requested full interconnection studies since the May 2007 CDR were added under the “Planned Units in Full Interconnection Study Phase totals.
6. | The May 2007 Load Forecast was used in this report. The May 2008 CDR will include a new 2008 Load Forecast for ERCOT.
7. | The Colorado Bend and Qual Run plants moved from "planned" to operational starting in 2008.
8. | The remaining Holly Street units were removed from the report since they retired in Fall 2007.

## SummerSummary
2007 Report on the Capacity, Demand, and Reserves in the ERCOT Region | [7 empty] | 2007 Report on the Capacity, Demand, and Reserves in the ERCOT Region
Summer Summary - December Update | [7 empty] | Summer Summary - December Update
Load Forecast: |  | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
| Total Summer Peak Demand, MW | 65134.72 | 66507.72 | 67954.66 | 69455.87 | 70733.27 | 72159.8767
| less LAARs Serving as Responsive Reserve, MW | 1125 | 1125 | 1125 | 1125 | 1125 | 1125
| less LAARs Serving as Non-Spinning Reserve, MW | 0 | 0 | 0 | 0 | 0 | 0
| less BULs, MW | 0 | 0 | 0 | 0 | 0 | 0
| Firm Load Forecast, MW | 64009.72 | 65382.72 | 66829.66 | 68330.87 | 69608.27 | 71034.8767
Resources: |  | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
| Installed Capacity, MW | 61721.838 | 61721.838 | 61721.838 | 61721.838 | 61721.838 | 61721.838
| Capacity from Private Networks, MW | 6405 | 6405 | 6405 | 6405 | 6405 | 6405
| Effective Load-Carrying Capability (ELCC) of Wind Generation, MW | 497.0049 | 497.0049 | 497.0049 | 497.0049 | 497.0049 | 497.0049
| RMR Units under Contract, MW | 169 | 169 | 169 | 0 | 0 | 0
| Operational Generation, MW | 68792.8429 | 68792.8429 | 68792.8429 | 68623.8429 | 68623.8429 | 68623.8429
| 50% of Non-Synchronous Ties, MW | 553 | 553 | 553 | 553 | 553 | 553
| Switchable Units, MW | 2877 | 2877 | 2877 | 2877 | 2877 | 2877
| Available Mothballed Generation , MW | 510.1 | 418.8 | 594 | 558 | 522 | 522
| Planned Units (not wind) with Signed IA and Air Permit, MW | 0 | 836 | 3296 | 3296 | 4221 | 4221
| ELCC of Planned Wind Units with Signed IA, MW | 0 | 147.726 | 152.946 | 152.946 | 152.946 | 152.946
| Total Resources, MW | 72732.9429 | 73625.3689 | 76265.7889 | 76060.7889 | 76949.7889 | 76949.7889
| less Switchable Units Unavailable to ERCOT, MW | 317 | 317 | 0 | 0 | 0 | 0
| less Retiring Units, MW | 0 | 0 | 65 | 65 | 65 | 65
| Resources, MW | 72415.9429 | 73308.3689 | 76200.7889 | 75995.7889 | 76884.7889 | 76884.7889
| Reserve Margin | 13.13% | 12.12% | 14.02% | 11.22% | 10.45% | 8.235%
(Resources - Firm Load Forecast)/Firm Load Forecast
Other Potential Resources: |  | 5892.165 | 10436.042 | 14897.289 | 19192.189 | 19776.859 | 20672.559
| Mothballed Capacity , MW | 4445.9 | 4537.2 | 4362 | 4567 | 4603 | 4603
| 50% of Non-Synchronous Ties, MW | 553 | 553 | 553 | 553 | 553 | 553
| Planned Units in Full Interconnection Study Phase, MW | 893.265 | 5345.842 | 9982.289 | 14072.189 | 14620.859 | 15516.559

## SummerCapacities
Unit Capacities - Summer (December Update)
Units used in determining the generation resources in the Summer Summary
Capacities are based on information from the plant owners. This list includes MW available to the grid from private network (self-serve) units. It also includes distributed generation units that have registered with ERCOT. Data without unit names are for private network units or are planned generation that is not public.
Unit Name | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
A von Rosenberg 1-CT1 | 155 | 155 | 155 | 155 | 155 | 155
A von Rosenberg 1-CT2 | 155 | 155 | 155 | 155 | 155 | 155
A von Rosenberg 1-ST1 | 174 | 174 | 174 | 174 | 174 | 174
AEDOMG 1 | 5 | 5 | 5 | 5 | 5 | 5
AES Deepwater 1 | 138 | 138 | 138 | 138 | 138 | 138
Amistad Hydro 1 | 36 | 36 | 36 | 36 | 36 | 36
Amistad Hydro 2 | 36 | 36 | 36 | 36 | 36 | 36
Atascocita 1 | 10.062 | 10.062 | 10.062 | 10.062 | 10.062 | 10.062
Atkins 7 | 20 | 20 | 20 | 20 | 20 | 20
Austin 1 | 8 | 8 | 8 | 8 | 8 | 8
Austin 2 | 9 | 9 | 9 | 9 | 9 | 9
B M Davis 1 | 339 | 339 | 339 | 339 | 339 | 339
B M Davis 2 | 340 | 340 | 340 | 340 | 340 | 340
Bastrop Energy Center 1 | 147 | 147 | 147 | 147 | 147 | 147
Bastrop Energy Center 2 | 150 | 150 | 150 | 150 | 150 | 150
Bastrop Energy Center 3 | 233 | 233 | 233 | 233 | 233 | 233
Baytown 1 | 3.872 | 3.872 | 3.872 | 3.872 | 3.872 | 3.872
Big Brown 1 | 618 | 618 | 618 | 618 | 618 | 618
Big Brown 2 | 589 | 589 | 589 | 589 | 589 | 589
Bio Energy Partners 1 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8
Bio Energy Partners 2 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8
Bluebonnet 1 | 3.872 | 3.872 | 3.872 | 3.872 | 3.872 | 3.872
Bosque 1 | 156 | 156 | 156 | 156 | 156 | 156
Bosque 2 | 151 | 151 | 151 | 151 | 151 | 151
Bosque 3 | 150 | 150 | 150 | 150 | 150 | 150
Bosque 4 | 80 | 80 | 80 | 80 | 80 | 80
Brazos Valley 1 | 168 | 168 | 168 | 168 | 168 | 168
Brazos Valley 2 | 166 | 166 | 166 | 166 | 166 | 166
Brazos Valley 3 | 252 | 252 | 252 | 252 | 252 | 252
Buchanan 1 | 18 | 18 | 18 | 18 | 18 | 18
Buchanan 2 | 18 | 18 | 18 | 18 | 18 | 18
Buchanan 3 | 15 | 15 | 15 | 15 | 15 | 15
C E Newman 5 | 38 | 38 | 38 | 38 | 38 | 38
Calenergy 1 | 73 | 73 | 73 | 73 | 73 | 73
Calenergy 2 | 73 | 73 | 73 | 73 | 73 | 73
Calenergy 3 | 70 | 70 | 70 | 70 | 70 | 70
Canyon 1 | 3 | 3 | 3 | 3 | 3 | 3
Canyon 2 | 3 | 3 | 3 | 3 | 3 | 3
Cedar Bayou 1 | 744 | 744 | 744 | 744 | 744 | 744
Cedar Bayou 2 | 746 | 746 | 746 | 746 | 746 | 746
Coastal Plains 1 | 6.7 | 6.7 | 6.7 | 6.7 | 6.7 | 6.7
Coleto Creek 1 | 633 | 633 | 633 | 633 | 633 | 633
Colorado Bend Energy Center 1 | 105 | 105 | 105 | 105 | 105 | 105
Colorado Bend Energy Center 2 | 76 | 76 | 76 | 76 | 76 | 76
Colorado Bend Energy Center 3 | 76 | 76 | 76 | 76 | 76 | 76
Colorado Bend Energy Center II | 275 | 275 | 275 | 275 | 275 | 275
Comanche Peak 1 | 1159 | 1159 | 1159 | 1159 | 1159 | 1159
Comanche Peak 2 | 1159 | 1159 | 1159 | 1159 | 1159 | 1159
Covel Gardens LG Power Station 1 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Covel Gardens LG Power Station 2 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Covel Gardens LG Power Station 3 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Covel Gardens LG Power Station 4 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Covel Gardens LG Power Station 5 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Covel Gardens LG Power Station 6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Dansby 1 | 105 | 105 | 105 | 105 | 105 | 105
Dansby 2 | 46 | 46 | 46 | 46 | 46 | 46
Decker Creek 1 | 321 | 321 | 321 | 321 | 321 | 321
Decker Creek 2 | 427 | 427 | 427 | 427 | 427 | 427
Decker Creek G1 | 42 | 42 | 42 | 42 | 42 | 42
Decker Creek G2 | 44 | 44 | 44 | 44 | 44 | 44
Decker Creek G3 | 44 | 44 | 44 | 44 | 44 | 44
Decker Creek G4 | 47 | 47 | 47 | 47 | 47 | 47
DeCordova 1 | 779 | 779 | 779 | 779 | 779 | 779
DeCordova A | 71 | 71 | 71 | 71 | 71 | 71
DeCordova B | 69 | 69 | 69 | 69 | 69 | 69
DeCordova C | 69 | 69 | 69 | 69 | 69 | 69
DeCordova D | 68 | 68 | 68 | 68 | 68 | 68
Denison Dam 1 | 44 | 44 | 44 | 44 | 44 | 44
Denison Dam 2 | 44 | 44 | 44 | 44 | 44 | 44
Dunlop (Schumansville) 1 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6
Eagle Pass 1 | 2 | 2 | 2 | 2 | 2 | 2
Eagle Pass 2 | 2 | 2 | 2 | 2 | 2 | 2
Eagle Pass 3 | 2 | 2 | 2 | 2 | 2 | 2
Ennis Power Station 1 | 196 | 196 | 196 | 196 | 196 | 196
Ennis Power Station 2 | 116 | 116 | 116 | 116 | 116 | 116
ExTex La Porte Power Sta.1 | 38 | 38 | 38 | 38 | 38 | 38
ExTex La Porte Power Sta.2 | 38 | 38 | 38 | 38 | 38 | 38
ExTex La Porte Power Sta.3 | 38 | 38 | 38 | 38 | 38 | 38
ExTex La Porte Power Sta.4 | 38 | 38 | 38 | 38 | 38 | 38
Falcon Hydro 1 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5
Falcon Hydro 2 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5
Falcon Hydro 3 | 11 | 11 | 11 | 11 | 11 | 11
Fayette Power Project 1 | 604 | 604 | 604 | 604 | 604 | 604
Fayette Power Project 2 | 613 | 613 | 613 | 613 | 613 | 613
Fayette Power Project 3 | 444 | 444 | 444 | 444 | 444 | 444
Forney Energy Center GT11 | 161 | 161 | 161 | 161 | 161 | 161
Forney Energy Center GT12 | 164 | 164 | 164 | 164 | 164 | 164
Forney Energy Center GT13 | 164 | 164 | 164 | 164 | 164 | 164
Forney Energy Center GT21 | 162 | 162 | 162 | 162 | 162 | 162
Forney Energy Center GT22 | 161 | 161 | 161 | 161 | 161 | 161
Forney Energy Center GT23 | 163 | 163 | 163 | 163 | 163 | 163
Forney Energy Center STG 10 | 414 | 414 | 414 | 414 | 414 | 414
Forney Energy Center STG 20 | 415 | 415 | 415 | 415 | 415 | 415
Freestone Energy Center 1 | 151 | 151 | 151 | 151 | 151 | 151
Freestone Energy Center 2 | 151 | 151 | 151 | 151 | 151 | 151
Freestone Energy Center 3 | 177 | 177 | 177 | 177 | 177 | 177
Freestone Energy Center 4 | 152 | 152 | 152 | 152 | 152 | 152
Freestone Energy Center 5 | 157 | 157 | 157 | 157 | 157 | 157
Freestone Energy Center 6 | 178 | 178 | 178 | 178 | 178 | 178
Frontera 1 | 142 | 142 | 142 | 142 | 142 | 142
Frontera 2 | 148 | 148 | 148 | 148 | 148 | 148
Frontera 3 | 173 | 173 | 173 | 173 | 173 | 173
FW Regional LFG Generation Facility 1 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
GBRA H 4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4
GBRA H 5 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4
GBRA TP 4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4
Gibbons Creek 1 | 463 | 463 | 463 | 463 | 463 | 463
Graham 1 | 231 | 231 | 231 | 231 | 231 | 231
Graham 2 | 366 | 366 | 366 | 366 | 366 | 366
Granite Shoals 1 | 29 | 29 | 29 | 29 | 29 | 29
Granite Shoals 2 | 30 | 30 | 30 | 30 | 30 | 30
Greens Bayou 5 | 388 | 388 | 388 | 388 | 388 | 388
Greens Bayou 73 | 47 | 47 | 47 | 47 | 47 | 47
Greens Bayou 74 | 47 | 47 | 47 | 47 | 47 | 47
Greens Bayou 81 | 47 | 47 | 47 | 47 | 47 | 47
Greens Bayou 82 | 55 | 55 | 55 | 55 | 55 | 55
Greens Bayou 83 | 57 | 57 | 57 | 57 | 57 | 57
Greens Bayou 84 | 54 | 54 | 54 | 54 | 54 | 54
Guadalupe Power Partners 1 | 147 | 147 | 147 | 147 | 147 | 147
Guadalupe Power Partners 2 | 138 | 138 | 138 | 138 | 138 | 138
Guadalupe Power Partners 3 | 146 | 146 | 146 | 146 | 146 | 146
Guadalupe Power Partners 4 | 138 | 138 | 138 | 138 | 138 | 138
Guadalupe Power Partners 5 | 182 | 182 | 182 | 182 | 182 | 182
Guadalupe Power Partners 6 | 203 | 203 | 203 | 203 | 203 | 203
Handley 3 | 395 | 395 | 395 | 395 | 395 | 395
Handley 4 | 435 | 435 | 435 | 435 | 435 | 435
Handley 5 | 435 | 435 | 435 | 435 | 435 | 435
Hays Energy Facility 1 | 224 | 224 | 224 | 224 | 224 | 224
Hays Energy Facility 2 | 225 | 225 | 225 | 225 | 225 | 225
Hays Energy Facility 3 | 225 | 225 | 225 | 225 | 225 | 225
Hays Energy Facility 4 | 227 | 227 | 227 | 227 | 227 | 227
Hidalgo 1 | 145 | 145 | 145 | 145 | 145 | 145
Hidalgo 2 | 144 | 144 | 144 | 144 | 144 | 144
Hidalgo 3 | 172 | 172 | 172 | 172 | 172 | 172
Inks 1 | 14 | 14 | 14 | 14 | 14 | 14
J K Spruce 1 | 560 | 560 | 560 | 560 | 560 | 560
J T Deely 1 | 385 | 385 | 385 | 385 | 385 | 385
J T Deely 2 | 385 | 385 | 385 | 385 | 385 | 385
Jack County Generation Facility 1 | 160 | 160 | 160 | 160 | 160 | 160
Jack County Generation Facility 2 | 160 | 160 | 160 | 160 | 160 | 160
Jack County Generation Facility 3 | 300 | 300 | 300 | 300 | 300 | 300
Johnson County Generation Facility 1 | 158 | 158 | 158 | 158 | 158 | 158
Johnson County Generation Facility 2 | 100 | 100 | 100 | 100 | 100 | 100
Lake Creek 1 | 75 | 75 | 75 | 75 | 75 | 75
Lake Creek 2 | 227 | 227 | 227 | 227 | 227 | 227
Lake Creek D1 | 2 | 2 | 2 | 2 | 2 | 2
Lake Creek D2 | 2 | 2 | 2 | 2 | 2 | 2
Lake Creek D3 | 2 | 2 | 2 | 2 | 2 | 2
Lake Hubbard 1 | 382 | 382 | 382 | 382 | 382 | 382
Lake Hubbard 2 | 516 | 516 | 516 | 516 | 516 | 516
Lamar Power Project CT11 | 160 | 160 | 160 | 160 | 160 | 160
Lamar Power Project CT12 | 156 | 156 | 156 | 156 | 156 | 156
Lamar Power Project CT21 | 156 | 156 | 156 | 156 | 156 | 156
Lamar Power Project CT22 | 157 | 157 | 157 | 157 | 157 | 157
Lamar Power Project STG1 | 196 | 196 | 196 | 196 | 196 | 196
Lamar Power Project STG2 | 198 | 198 | 198 | 198 | 198 | 198
Leon Creek 3 | 65 | 65 | 65 | 65 | 65 | 65
Leon Creek Peaking 1 | 44 | 44 | 44 | 44 | 44 | 44
Leon Creek Peaking 2 | 44 | 44 | 44 | 44 | 44 | 44
Leon Creek Peaking 3 | 43 | 43 | 43 | 43 | 43 | 43
Leon Creek Peaking 4 | 45 | 45 | 45 | 45 | 45 | 45
Lewisville 1 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8
Limestone 1 | 827 | 827 | 827 | 827 | 827 | 827
Limestone 2 | 849 | 849 | 849 | 849 | 849 | 849
Lost Pines 1 | 165 | 165 | 165 | 165 | 165 | 165
Lost Pines 2 | 161 | 161 | 161 | 161 | 161 | 161
Lost Pines 3 | 181 | 181 | 181 | 181 | 181 | 181
Magic Valley 1 | 217 | 217 | 217 | 217 | 217 | 217
Magic Valley 2 | 217 | 217 | 217 | 217 | 217 | 217
Magic Valley 3 | 250 | 250 | 250 | 250 | 250 | 250
Marble Falls 1 | 20 | 20 | 20 | 20 | 20 | 20
Marble Falls 2 | 18 | 18 | 18 | 18 | 18 | 18
Marshall Ford 1 | 36 | 36 | 36 | 36 | 36 | 36
Marshall Ford 2 | 39 | 39 | 39 | 39 | 39 | 39
Marshall Ford 3 | 36 | 36 | 36 | 36 | 36 | 36
Martin Lake 1 | 790 | 790 | 790 | 790 | 790 | 790
Martin Lake 2 | 809 | 809 | 809 | 809 | 809 | 809
Martin Lake 3 | 795 | 795 | 795 | 795 | 795 | 795
McQueeney (Abbott) 1 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4
McQueeney (Abbott) 2 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4
Midlothian 1 | 216 | 216 | 216 | 216 | 216 | 216
Midlothian 2 | 216 | 216 | 216 | 216 | 216 | 216
Midlothian 3 | 212 | 212 | 212 | 212 | 212 | 212
Midlothian 4 | 211 | 211 | 211 | 211 | 211 | 211
Midlothian 5 | 224 | 224 | 224 | 224 | 224 | 224
Midlothian 6 | 226 | 226 | 226 | 226 | 226 | 226
Monticello 1 | 558 | 558 | 558 | 558 | 558 | 558
Monticello 2 | 553 | 553 | 553 | 553 | 553 | 553
Monticello 3 | 770 | 770 | 770 | 770 | 770 | 770
Morgan Creek 5 | 137 | 137 | 137 | 137 | 137 | 137
Morgan Creek A | 69 | 69 | 69 | 69 | 69 | 69
Morgan Creek B | 71 | 71 | 71 | 71 | 71 | 71
Morgan Creek C | 70 | 70 | 70 | 70 | 70 | 70
Morgan Creek D | 70 | 70 | 70 | 70 | 70 | 70
Morgan Creek E | 68 | 68 | 68 | 68 | 68 | 68
Morgan Creek F | 66 | 66 | 66 | 66 | 66 | 66
Morris Sheppard 1 | 12 | 12 | 12 | 12 | 12 | 12
Morris Sheppard 2 | 12 | 12 | 12 | 12 | 12 | 12
Mountain Creek 6 | 118 | 118 | 118 | 118 | 118 | 118
Mountain Creek 7 | 115 | 115 | 115 | 115 | 115 | 115
Mountain Creek 8 | 571 | 571 | 571 | 571 | 571 | 571
Nelson Gardens Landfill 1 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8
Nelson Gardens Landfill 2 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8
Nolte 1 | 1.24 | 1.24 | 1.24 | 1.24 | 1.24 | 1.24
Nolte 2 | 1.24 | 1.24 | 1.24 | 1.24 | 1.24 | 1.24
North Lake 1 | 169 | 169 | 169 | 169 | 169 | 169
North Lake 2 | 175 | 175 | 175 | 175 | 175 | 175
North Lake 3 | 389 | 389 | 389 | 389 | 389 | 389
North Texas 1 | 18 | 18 | 18 | 18 | 18 | 18
North Texas 2 | 19 | 19 | 19 | 19 | 19 | 19
North Texas 3 | 38 | 38 | 38 | 38 | 38 | 38
O W Sommers 1 | 418 | 418 | 418 | 418 | 418 | 418
O W Sommers 2 | 400 | 400 | 400 | 400 | 400 | 400
O W Sommers 3 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
O W Sommers 4 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
O W Sommers 5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
O W Sommers 6 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Oak Ridge 1-3 | 4.8 | 4.8 | 4.8 | 4.8 | 4.8 | 4.8
Odessa-Ector C11 | 145 | 145 | 145 | 145 | 145 | 145
Odessa-Ector C12 | 132 | 132 | 132 | 132 | 132 | 132
Odessa-Ector C21 | 137 | 137 | 137 | 137 | 137 | 137
Odessa-Ector C22 | 147 | 147 | 147 | 147 | 147 | 147
Odessa-Ector ST1 | 208 | 208 | 208 | 208 | 208 | 208
Odessa-Ector ST2 | 213 | 213 | 213 | 213 | 213 | 213
Oklaunion 1 | 650 | 650 | 650 | 650 | 650 | 650
Paris Energy Center 1 | 77 | 77 | 77 | 77 | 77 | 77
Paris Energy Center 2 | 80 | 80 | 80 | 80 | 80 | 80
Paris Energy Center 3 | 88 | 88 | 88 | 88 | 88 | 88
Pearsall 1 | 24 | 24 | 24 | 24 | 24 | 24
Pearsall 2 | 24 | 24 | 24 | 24 | 24 | 24
Pearsall 3 | 24 | 24 | 24 | 24 | 24 | 24
Permian Basin 5 | 114 | 114 | 114 | 114 | 114 | 114
Permian Basin 6 | 524 | 524 | 524 | 524 | 524 | 524
Permian Basin A | 66 | 66 | 66 | 66 | 66 | 66
Permian Basin B | 74 | 74 | 74 | 74 | 74 | 74
Permian Basin C | 67 | 67 | 67 | 67 | 67 | 67
Permian Basin D | 68 | 68 | 68 | 68 | 68 | 68
Permian Basin E | 67 | 67 | 67 | 67 | 67 | 67
Powerlane Plant 1 | 20 | 20 | 20 | 20 | 20 | 20
Powerlane Plant 2 | 26 | 26 | 26 | 26 | 26 | 26
Powerlane Plant 3 | 41 | 41 | 41 | 41 | 41 | 41
Quail Run Energy Center 1 | 70 | 70 | 70 | 70 | 70 | 70
Quail Run Energy Center 2 | 71 | 71 | 71 | 71 | 71 | 71
Quail Run Energy Center 3 | 93 | 93 | 93 | 93 | 93 | 93
Quail Run Energy Center II | 275 | 275 | 275 | 275 | 275 | 275
R W Miller 1 | 73 | 73 | 73 | 73 | 73 | 73
R W Miller 2 | 113 | 113 | 113 | 113 | 113 | 113
R W Miller 3 | 210 | 210 | 210 | 210 | 210 | 210
R W Miller 4 | 102 | 102 | 102 | 102 | 102 | 102
R W Miller 5 | 101 | 101 | 101 | 101 | 101 | 101
Ray Olinger 1 | 79 | 79 | 79 | 79 | 79 | 79
Ray Olinger 2 | 107 | 107 | 107 | 107 | 107 | 107
Ray Olinger 3 | 146 | 146 | 146 | 146 | 146 | 146
Ray Olinger 4 | 76 | 76 | 76 | 76 | 76 | 76
Rayburn 1 | 11 | 11 | 11 | 11 | 11 | 11
Rayburn 2 | 11 | 11 | 11 | 11 | 11 | 11
Rayburn 3 | 22 | 22 | 22 | 22 | 22 | 22
Rayburn 4 | 2 | 2 | 2 | 2 | 2 | 2
Rayburn 5 | 2 | 2 | 2 | 2 | 2 | 2
Rayburn 7 | 49 | 49 | 49 | 49 | 49 | 49
Rayburn 8 | 50 | 50 | 50 | 50 | 50 | 50
Rayburn 9 | 50 | 50 | 50 | 50 | 50 | 50
Rayburn 10 | 40 | 40 | 40 | 40 | 40 | 40
Rio Nogales 1 | 148 | 148 | 148 | 148 | 148 | 148
Rio Nogales 2 | 148 | 148 | 148 | 148 | 148 | 148
Rio Nogales 3 | 154 | 154 | 154 | 154 | 154 | 154
Rio Nogales 4 | 284 | 284 | 284 | 284 | 284 | 284
Sam Bertron 3 | 213 | 213 | 213 | 213 | 213 | 213
Sam Bertron 4 | 228 | 228 | 228 | 228 | 228 | 228
Sam Bertron ST1 | 167 | 167 | 167 | 167 | 167 | 167
Sam Bertron ST2 | 176 | 176 | 176 | 176 | 176 | 176
Sam Bertron T1 | 18 | 18 | 18 | 18 | 18 | 18
Sam Bertron T2 | 12 | 12 | 12 | 12 | 12 | 12
San Jacinto SES 1 | 78 | 78 | 78 | 78 | 78 | 78
San Jacinto SES 2 | 81 | 81 | 81 | 81 | 81 | 81
San Miguel 1 | 396 | 396 | 396 | 396 | 396 | 396
Sandhill Energy Center 1 | 45 | 45 | 45 | 45 | 45 | 45
Sandhill Energy Center 2 | 46 | 46 | 46 | 46 | 46 | 46
Sandhill Energy Center 3 | 46 | 46 | 46 | 46 | 46 | 46
Sandhill Energy Center 4 | 47 | 47 | 47 | 47 | 47 | 47
Sandhill Energy Center 5A | 159 | 159 | 159 | 159 | 159 | 159
Sandhill Energy Center 5C | 80 | 80 | 80 | 80 | 80 | 80
Silas Ray 5 | 16 | 16 | 16 | 16 | 16 | 16
Silas Ray 6 | 19 | 19 | 19 | 19 | 19 | 19
Silas Ray 9 | 38 | 38 | 38 | 38 | 38 | 38
Silas Ray 10 | 47 | 47 | 47 | 47 | 47 | 47
Sim Gideon 1 | 132 | 132 | 132 | 132 | 132 | 132
Sim Gideon 2 | 133 | 133 | 133 | 133 | 133 | 133
Sim Gideon 3 | 329 | 329 | 329 | 329 | 329 | 329
Skyline Landfill 1 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Skyline Landfill 2 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Skyline Landfill 3 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Skyline Landfill 4 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Small Hydro of Texas 1 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2
South Texas 1 | 1333 | 1333 | 1333 | 1333 | 1333 | 1333
South Texas 2 | 1332 | 1332 | 1332 | 1332 | 1332 | 1332
Spencer 4 | 60 | 60 | 60 | 60 | 60 | 60
Spencer 5 | 63 | 63 | 63 | 63 | 63 | 63
Stryker Creek 1 | 182 | 182 | 182 | 182 | 182 | 182
Stryker Creek 2 | 495 | 495 | 495 | 495 | 495 | 495
Stryker Creek D1 | 11 | 11 | 11 | 11 | 11 | 11
Sweetwater Generation Plant 1 | 30 | 30 | 30 | 30 | 30 | 30
Sweetwater Generation Plant 2 | 72 | 72 | 72 | 72 | 72 | 72
Sweetwater Generation Plant 3 | 68 | 68 | 68 | 68 | 68 | 68
Sweetwater Generation Plant 4 | 61 | 61 | 61 | 61 | 61 | 61
T H Wharton 3 | 107 | 107 | 107 | 107 | 107 | 107
T H Wharton 31 | 55 | 55 | 55 | 55 | 55 | 55
T H Wharton 32 | 53 | 53 | 53 | 53 | 53 | 53
T H Wharton 33 | 55 | 55 | 55 | 55 | 55 | 55
T H Wharton 34 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 4 | 108 | 108 | 108 | 108 | 108 | 108
T H Wharton 41 | 56 | 56 | 56 | 56 | 56 | 56
T H Wharton 42 | 55 | 55 | 55 | 55 | 55 | 55
T H Wharton 43 | 55 | 55 | 55 | 55 | 55 | 55
T H Wharton 44 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 51 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 52 | 58 | 58 | 58 | 58 | 58 | 58
T H Wharton 53 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 54 | 58 | 58 | 58 | 58 | 58 | 58
T H Wharton 55 | 58 | 58 | 58 | 58 | 58 | 58
T H Wharton 56 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton G1 | 12 | 12 | 12 | 12 | 12 | 12
Tessman Road 1 | 1.357 | 1.357 | 1.357 | 1.357 | 1.357 | 1.357
Tessman Road 2 | 1.357 | 1.357 | 1.357 | 1.357 | 1.357 | 1.357
Tessman Road 3 | 1.357 | 1.357 | 1.357 | 1.357 | 1.357 | 1.357
Tessman Road 4 | 1.357 | 1.357 | 1.357 | 1.357 | 1.357 | 1.357
Tessman Road 5 | 1.357 | 1.357 | 1.357 | 1.357 | 1.357 | 1.357
Tessman Road 6 | 1.357 | 1.357 | 1.357 | 1.357 | 1.357 | 1.357
Texas City 1 | 100 | 100 | 100 | 100 | 100 | 100
Texas City 2 | 93 | 93 | 93 | 93 | 93 | 93
Texas City 3 | 103 | 103 | 103 | 103 | 103 | 103
Texas City 4 | 130 | 130 | 130 | 130 | 130 | 130
Thomas C Ferguson 1 | 423 | 423 | 423 | 423 | 423 | 423
Tradinghouse 1 | 537 | 537 | 537 | 537 | 537 | 537
Tradinghouse 2 | 807 | 807 | 807 | 807 | 807 | 807
Trinidad 6 | 226 | 226 | 226 | 226 | 226 | 226
Trinidad D1 | 4 | 4 | 4 | 4 | 4 | 4
Twin Oaks 1 | 152 | 152 | 152 | 152 | 152 | 152
Twin Oaks 2 | 153 | 153 | 153 | 153 | 153 | 153
V H Braunig 1 | 206 | 206 | 206 | 206 | 206 | 206
V H Braunig 2 | 220 | 220 | 220 | 220 | 220 | 220
V H Braunig 3 | 397 | 397 | 397 | 397 | 397 | 397
Valley 1 | 170 | 170 | 170 | 170 | 170 | 170
Valley 2 | 520 | 520 | 520 | 520 | 520 | 520
Valley 3 | 375 | 375 | 375 | 375 | 375 | 375
W A Parish 1 | 166 | 166 | 166 | 166 | 166 | 166
W A Parish 2 | 166 | 166 | 166 | 166 | 166 | 166
W A Parish 3 | 248 | 248 | 248 | 248 | 248 | 248
W A Parish 4 | 544 | 544 | 544 | 544 | 544 | 544
W A Parish 5 | 654 | 654 | 654 | 654 | 654 | 654
W A Parish 6 | 656 | 656 | 656 | 656 | 656 | 656
W A Parish 7 | 565 | 565 | 565 | 565 | 565 | 565
W A Parish 8 | 595 | 595 | 595 | 595 | 595 | 595
W A Parish T1 | 13 | 13 | 13 | 13 | 13 | 13
W B Tuttle 1 | 62 | 62 | 62 | 62 | 62 | 62
W B Tuttle 3 | 95 | 95 | 95 | 95 | 95 | 95
W B Tuttle 4 | 154 | 154 | 154 | 154 | 154 | 154
Waco LFG 1 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2
Weatherford 1 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29
Weatherford 2 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29
Weatherford 3 | 0.27 | 0.27 | 0.27 | 0.27 | 0.27 | 0.27
Weatherford 4 | 0.535 | 0.535 | 0.535 | 0.535 | 0.535 | 0.535
Weatherford 6 | 1.37 | 1.37 | 1.37 | 1.37 | 1.37 | 1.37
Weatherford 7 | 1.325 | 1.325 | 1.325 | 1.325 | 1.325 | 1.325
Weatherford 8 | 1.33 | 1.33 | 1.33 | 1.33 | 1.33 | 1.33
Whitney 1 | 30 | 30 | 30 | 30 | 30 | 30
Whitney 2 | 30 | 30 | 30 | 30 | 30 | 30
Wichita Falls 1 | 20 | 20 | 20 | 20 | 20 | 20
Wichita Falls 2 | 20 | 20 | 20 | 20 | 20 | 20
Wichita Falls 3 | 20 | 20 | 20 | 20 | 20 | 20
Wichita Falls 4 | 17 | 17 | 17 | 17 | 17 | 17
Wise County Power Proj. 1 | 204 | 204 | 204 | 204 | 204 | 204
Wise County Power Proj. 2 | 204 | 204 | 204 | 204 | 204 | 204
Wise County Power Proj. 3 | 241 | 241 | 241 | 241 | 241 | 241
Wolf Hollow Power Proj. 1 | 217 | 217 | 217 | 217 | 217 | 217
Wolf Hollow Power Proj. 2 | 216 | 216 | 216 | 216 | 216 | 216
Wolf Hollow Power Proj. 3 | 272 | 272 | 272 | 272 | 272 | 272
Operational | 61721.838 | 61721.838 | 61721.838 | 61721.838 | 61721.838 | 61721.838
| 3 | 3 | 3 | 3 | 3 | 3
| 74 | 74 | 74 | 74 | 74 | 74
| 215 | 215 | 215 | 215 | 215 | 215
| 260 | 260 | 260 | 260 | 260 | 260
| 580 | 580 | 580 | 580 | 580 | 580
| 15 | 15 | 15 | 15 | 15 | 15
| 35 | 35 | 35 | 35 | 35 | 35
| 245 | 245 | 245 | 245 | 245 | 245
| 164 | 164 | 164 | 164 | 164 | 164
| 730 | 730 | 730 | 730 | 730 | 730
| 299 | 299 | 299 | 299 | 299 | 299
| 0 | 0 | 0 | 0 | 0 | 0
| 95 | 95 | 95 | 95 | 95 | 95
| 900 | 900 | 900 | 900 | 900 | 900
| 0 | 0 | 0 | 0 | 0 | 0
| 1 | 1 | 1 | 1 | 1 | 1
| 6 | 6 | 6 | 6 | 6 | 6
| 50 | 50 | 50 | 50 | 50 | 50
| 152 | 152 | 152 | 152 | 152 | 152
| 14 | 14 | 14 | 14 | 14 | 14
| 400 | 400 | 400 | 400 | 400 | 400
| 465 | 465 | 465 | 465 | 465 | 465
| 236 | 236 | 236 | 236 | 236 | 236
| 569 | 569 | 569 | 569 | 569 | 569
| 0 | 0 | 0 | 0 | 0 | 0
| 480 | 480 | 480 | 480 | 480 | 480
| 325 | 325 | 325 | 325 | 325 | 325
| 72 | 72 | 72 | 72 | 72 | 72
| 5 | 5 | 5 | 5 | 5 | 5
| 15 | 15 | 15 | 15 | 15 | 15
| 0 | 0 | 0 | 0 | 0 | 0
Generation from private networks | 6405 | 6405 | 6405 | 6405 | 6405 | 6405
Laredo 1 | 32 | 32 | 32 | 0 | 0 | 0
Laredo 2 | 32 | 32 | 32 | 0 | 0 | 0
Laredo 3 | 105 | 105 | 105 | 0 | 0 | 0
RMR | 169 | 169 | 169 | 0 | 0 | 0
Eagle Pass | 36 | 36 | 36 | 36 | 36 | 36
East | 600 | 600 | 600 | 600 | 600 | 600
Laredo VFT | 100 | 100 | 100 | 100 | 100 | 100
North | 220 | 220 | 220 | 220 | 220 | 220
Sharyland | 150 | 150 | 150 | 150 | 150 | 150
Asynchronous ties | 1106 | 1106 | 1106 | 1106 | 1106 | 1106
Kiamichi Power Part. 1CT101 | 144 | 144 | 144 | 144 | 144 | 144
Kiamichi Power Part. 1CT201 | 146 | 146 | 146 | 146 | 146 | 146
Kiamichi Power Part. 1ST | 312 | 312 | 312 | 312 | 312 | 312
Kiamichi Power Part. 2CT101 | 144 | 144 | 144 | 144 | 144 | 144
Kiamichi Power Part. 2CT201 | 148 | 148 | 148 | 148 | 148 | 148
Kiamichi Power Part. 2ST | 310 | 310 | 310 | 310 | 310 | 310
Tenaska-Frontier 1 | 154 | 154 | 154 | 154 | 154 | 154
Tenaska-Frontier 2 | 139 | 139 | 139 | 139 | 139 | 139
Tenaska-Frontier 3 | 153 | 153 | 153 | 153 | 153 | 153
Tenaska-Frontier 4 | 399 | 399 | 399 | 399 | 399 | 399
Tenaska-Gateway 1 | 151 | 151 | 151 | 151 | 151 | 151
Tenaska-Gateway 2 | 130 | 130 | 130 | 130 | 130 | 130
Tenaska-Gateway 3 | 148 | 148 | 148 | 148 | 148 | 148
Tenaska-Gateway 4 | 399 | 399 | 399 | 399 | 399 | 399
SWITCHABLE | 2877 | 2877 | 2877 | 2877 | 2877 | 2877
Airtricity Panther Creek Wind Farm 1 | 150 | 150 | 150 | 150 | 150 | 150
Airtricity Champion Wind Farm | 126 | 126 | 126 | 126 | 126 | 126
Barton Chapel Wind Farm 1 | 120 | 120 | 120 | 120 | 120 | 120
Big Spring Windpower Fac. E | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9
Buffalo Gap Wind Farm 1 | 120 | 120 | 120 | 120 | 120 | 120
Buffalo Gap Wind Farm 2 | 233 | 233 | 233 | 233 | 233 | 233
Callahan Divide Wind Farm (FPL) | 114 | 114 | 114 | 114 | 114 | 114
Camp Springs Energy Center 1 | 134.4 | 134.4 | 134.4 | 134.4 | 134.4 | 134.4
Capricorn Ridge Wind Project 1 | 200 | 200 | 200 | 200 | 200 | 200
Capricorn Ridge Wind Project 2 | 150 | 150 | 150 | 150 | 150 | 150
Delaware Mt. Wind Farm 1 | 30 | 30 | 30 | 30 | 30 | 30
Desert Sky Wind Farm 1 | 84 | 84 | 84 | 84 | 84 | 84
Desert Sky Wind Farm 2 | 76.5 | 76.5 | 76.5 | 76.5 | 76.5 | 76.5
Forest Creek 1 | 124.2 | 124.2 | 124.2 | 124.2 | 124.2 | 124.2
FPL Energy King NE1 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3
FPL Energy King NW1 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3
FPL Energy King SE1 | 40.3 | 40.3 | 40.3 | 40.3 | 40.3 | 40.3
FPL Energy King SW1 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3
Goat Wind 1 | 150 | 150 | 150 | 150 | 150 | 150
Green Mountain at Brazos 1 | 99 | 99 | 99 | 99 | 99 | 99
Green Mountain at Brazos 2 | 61 | 61 | 61 | 61 | 61 | 61
Horse Hollow Wind Farm 1 | 220.5 | 220.5 | 220.5 | 220.5 | 220.5 | 220.5
Horse Hollow Wind Farm 2 | 186 | 186 | 186 | 186 | 186 | 186
Horse Hollow Wind Farm 3 | 223.5 | 223.5 | 223.5 | 223.5 | 223.5 | 223.5
Horse Hollow Wind Farm 4 | 115 | 115 | 115 | 115 | 115 | 115
Kunitz 1 | 44.8 | 44.8 | 44.8 | 44.8 | 44.8 | 44.8
Louis (Buffalo Gap 3) | 138 | 138 | 138 | 138 | 138 | 138
Mesquite Wind Farm 1 | 200 | 200 | 200 | 200 | 200 | 200
Post Oak Wind 1 | 200 | 200 | 200 | 200 | 200 | 200
Ocotillo Wind Farm 1 | 59 | 59 | 59 | 59 | 59 | 59
Orion NWP Indian Mesa I 1 | 82.5 | 82.5 | 82.5 | 82.5 | 82.5 | 82.5
Project Snyder 1 | 63 | 63 | 63 | 63 | 63 | 63
Red Canyon 1 | 84 | 84 | 84 | 84 | 84 | 84
Roscoe 1 | 209 | 209 | 209 | 209 | 209 | 209
Sand Bluff 1 | 90 | 90 | 90 | 90 | 90 | 90
Silverstar 1 | 60 | 60 | 60 | 60 | 60 | 60
Southwest Mesa Wind 1 | 74.6 | 74.6 | 74.6 | 74.6 | 74.6 | 74.6
Stanton Wind Energy 1 | 101 | 101 | 101 | 101 | 101 | 101
Sweetwater Wind 1 | 36.6 | 36.6 | 36.6 | 36.6 | 36.6 | 36.6
Sweetwater Wind 2 | 97.5 | 97.5 | 97.5 | 97.5 | 97.5 | 97.5
Sweetwater Wind 3 | 129 | 129 | 129 | 129 | 129 | 129
Sweetwater Wind 4 | 300 | 300 | 300 | 300 | 300 | 300
Trent Mesa Wind Farm 1 | 150 | 150 | 150 | 150 | 150 | 150
Whirlwind 1 | 60 | 60 | 60 | 60 | 60 | 60
Wild Horse Wind Farm 1 | 126.5 | 126.5 | 126.5 | 126.5 | 126.5 | 126.5
Wolf Ridge Wind Farm | 201 | 201 | 201 | 201 | 201 | 201
Wolfe Flats Wind Farm 1 | 10 | 10 | 10 | 10 | 10 | 10
Woodward Mountain 1 | 80 | 80 | 80 | 80 | 80 | 80
Woodward Mountain 2 | 80 | 80 | 80 | 80 | 80 | 80
WIND | 5712.7 | 5712.7 | 5712.7 | 5712.7 | 5712.7 | 5712.7
Bosque Expansion | 0 | 255 | 255 | 255 | 255 | 255
J K Spruce 2 | 0 | 0 | 750 | 750 | 750 | 750
Oak Grove 1 | 0 | 0 | 855 | 855 | 855 | 855
Oak Grove 2 | 0 | 0 | 855 | 855 | 855 | 855
Sandow 5 | 0 | 581 | 581 | 581 | 581 | 581
Sandy Creek 1 | 0 | 0 | 0 | 0 | 925 | 925
New Units with Signed IA and Air Permit | 0 | 836 | 3296 | 3296 | 4221 | 4221
Airtricity Inadale | 0 | 212 | 212 | 212 | 212 | 212
Airtricity LaMesa Wind Plant | 0 | 183 | 183 | 183 | 183 | 183
Airtricity Pyron Wind Farm | 0 | 303 | 303 | 303 | 303 | 303
Gulf Wind 1 | 0 | 187 | 187 | 187 | 187 | 187
Gunsight Energy Center | 0 | 200 | 200 | 200 | 200 | 200
Notrees-1 | 0 | 151 | 151 | 151 | 151 | 151
Penascal Wind Farm 1 | 0 | 202 | 202 | 202 | 202 | 202
South Trent Wind Farm | 0 | 101 | 101 | 101 | 101 | 101
Wild Horse Mountain | 0 | 120 | 120 | 120 | 120 | 120
Wild Horse Wind Farm 1 | 0 | 0 | 60 | 60 | 60 | 60
Wild Horse Wind Farm 2 | 0 | 39 | 39 | 39 | 39 | 39
New Wind Generation | 0 | 1698 | 1758 | 1758 | 1758 | 1758
Leon Creek 3 | 0 | 0 | 65 | 65 | 65 | 65
Units to retire | 0 | 0 | 65 | 65 | 65 | 65
Atkins 3 | 12 | 12 | 12 | 12 | 12 | 12
Atkins 4 | 22 | 22 | 22 | 22 | 22 | 22
Atkins 5 | 25 | 25 | 25 | 25 | 25 | 25
Atkins 6 | 50 | 50 | 50 | 50 | 50 | 50
Collin 1 | 138 | 138 | 138 | 138 | 138 | 138
Eagle Mountain 1 | 112 | 112 | 112 | 112 | 112 | 112
Eagle Mountain 2 | 100 | 100 | 100 | 100 | 100 | 100
Eagle Mountain 3 | 378 | 378 | 378 | 378 | 378 | 378
Ft. Phantom 1 | 157 | 157 | 157 | 157 | 157 | 157
Ft. Phantom 2 | 203 | 203 | 203 | 203 | 203 | 203
Handley 1 | 36 | 36 | 36 | 36 | 36 | 36
Handley 2 | 68 | 68 | 68 | 68 | 68 | 68
J L Bates 1 | 71 | 71 | 71 | 71 | 71 | 71
J L Bates 2 | 110 | 110 | 110 | 110 | 110 | 110
Laredo 1 | 0 | 0 | 0 | 32 | 32 | 32
Laredo 2 | 0 | 0 | 0 | 32 | 32 | 32
Laredo 3 | 0 | 0 | 0 | 105 | 105 | 105
Leon Creek 4 | 95 | 95 | 95 | 95 | 95 | 95
Morgan Creek 6 | 457 | 457 | 457 | 457 | 457 | 457
Mountain Creek 2 | 23 | 23 | 23 | 23 | 23 | 23
Mountain Creek 3 | 63 | 63 | 63 | 63 | 63 | 63
Nueces Bay 5 | 31 | 31 | 31 | 31 | 31 | 31
Nueces Bay 6 | 161 | 161 | 161 | 161 | 161 | 161
Nueces Bay 7 | 367 | 367 | 367 | 367 | 367 | 367
P H Robinson 1 | 444 | 444 | 444 | 444 | 444 | 444
P H Robinson 2 | 459 | 459 | 459 | 459 | 459 | 459
P H Robinson 3 | 551 | 551 | 551 | 551 | 551 | 551
P H Robinson 4 | 733 | 733 | 733 | 733 | 733 | 733
W B Tuttle 2 | 90 | 90 | 90 | 90 | 90 | 90
Mothballed | 4956 | 4956 | 4956 | 5125 | 5125 | 5125
Cobisa-Greenville | 0 | 0 | 1750 | 1750 | 1750 | 1750
Comanche Peak 1&2 Upgrade | 0 | 0 | 86 | 86 | 86 | 86
Pampa Energy Center | 0 | 0 | 0 | 0 | 165 | 165
Twin Oaks 3 | 0 | 0 | 0 | 630 | 630 | 630
V H Braunig 6 | 0 | 185 | 185 | 185 | 185 | 185
Winchester Peaking Plant | 0 | 200 | 200 | 200 | 200 | 200
Sand Hill Peakers | 0 | 90 | 90 | 90 | 90 | 90
Mountain Creek | 0 | 0 | 0 | 700 | 700 | 700
Potential Public Non-Wind Resources | 0 | 475 | 2311 | 3641 | 3806 | 3806
M Bar Wind | 0 | 194 | 194 | 194 | 194 | 194
Bull Creek Wind Plant | 0 | 180 | 180 | 180 | 180 | 180
Gray Wind Project | 0 | 141 | 141 | 141 | 141 | 141
Hackberry Wind Farm | 0 | 165 | 165 | 165 | 165 | 165
Pistol Hill Energy Center | 0 | 300 | 300 | 300 | 300 | 300
Turkey Track Energy Center | 0 | 300 | 300 | 300 | 300 | 300
Buffalo Gap 4 | 0 | 378 | 378 | 378 | 378 | 378
Wind Tex Energy Stephens Wind Farm | 0 | 141 | 141 | 141 | 141 | 141
Lenorah Project | 0 | 350 | 350 | 350 | 350 | 350
Sterling Energy Center | 0 | 300 | 300 | 300 | 300 | 300
McAdoo Energy Center II | 0 | 500 | 500 | 500 | 500 | 500
B&B Panhandle Wind | 0 | 0 | 0 | 0 | 1001 | 1001
Gulf Wind 2 | 0 | 0 | 400 | 400 | 400 | 400
Gatesville Wind Farm | 0 | 0 | 200 | 200 | 200 | 200
Camp Springs Energy Center III | 0 | 0 | 350 | 350 | 350 | 350
Gulf Wind 3 | 0 | 0 | 0 | 400 | 400 | 400
Thockmorton Wind Farm | 0 | 0 | 0 | 400 | 400 | 400
Fort Concho Wind Farm | 0 | 0 | 0 | 0 | 400 | 400
Potential Public Wind Resources | 0 | 2949 | 3899 | 4699 | 6100 | 6100
| 80 | 80 | 80 | 80 | 80 | 80
| 244 | 244 | 244 | 244 | 244 | 244
| 0 | 169 | 169 | 169 | 169 | 169
| 300 | 300 | 300 | 300 | 300 | 300
| 0 | 544 | 544 | 544 | 544 | 544
| 0 | 0 | 0 | 193 | 193 | 193
| 0 | 400 | 400 | 400 | 400 | 400
| 0 | 45 | 45 | 45 | 45 | 45
| 0 | 142 | 142 | 142 | 142 | 142
| 0 | 100 | 100 | 100 | 100 | 100
| 0 | 263 | 263 | 263 | 263 | 263
| 0 | 0 | 275 | 275 | 275 | 275
| 0 | 0 | 275 | 275 | 275 | 275
| 0 | 680 | 680 | 680 | 680 | 680
| 0 | 693 | 693 | 693 | 693 | 693
| 0 | 289 | 289 | 289 | 289 | 289
| 0 | 0 | 280 | 280 | 280 | 280
| 0 | 20 | 20 | 20 | 20 | 20
| 0 | 0 | 0 | 1160 | 1160 | 1160
| 0 | 0 | 0 | 680 | 680 | 680
| 0 | 0 | 275 | 275 | 275 | 275
| 0 | 0 | 499 | 499 | 499 | 499
| 0 | 0 | 61 | 61 | 61 | 61
| 0 | 0 | 300 | 300 | 300 | 300
| 0 | 0 | 550 | 550 | 550 | 550
| 0 | 0 | 0 | 0 | 0 | 800
| 0 | 0 | 0 | 579 | 579 | 579
Potential Non-Public Non-Wind Resources | 624 | 3969 | 6484 | 9096 | 9096 | 9896
| 50 | 50 | 50 | 50 | 50 | 50
| 180 | 180 | 180 | 180 | 180 | 180
| 140 | 140 | 140 | 140 | 140 | 140
| 190 | 190 | 190 | 190 | 190 | 190
| 270 | 270 | 270 | 270 | 270 | 270
| 400 | 400 | 400 | 400 | 400 | 400
| 35 | 35 | 35 | 35 | 35 | 35
| 200 | 200 | 200 | 200 | 200 | 200
| 249 | 249 | 249 | 249 | 249 | 249
| 300 | 300 | 300 | 300 | 300 | 300
| 249 | 249 | 249 | 249 | 249 | 249
| 184 | 184 | 184 | 184 | 184 | 184
| 108 | 108 | 108 | 108 | 108 | 108
| 100 | 100 | 100 | 100 | 100 | 100
| 100 | 100 | 100 | 100 | 100 | 100
| 100 | 100 | 100 | 100 | 100 | 100
| 90 | 90 | 90 | 90 | 90 | 90
| 60 | 60 | 60 | 60 | 60 | 60
| 90 | 90 | 90 | 90 | 90 | 90
| 0 | 249 | 249 | 249 | 249 | 249
| 0 | 105 | 105 | 105 | 105 | 105
| 0 | 150 | 150 | 150 | 150 | 150
| 0 | 200 | 200 | 200 | 200 | 200
| 0 | 0 | 0 | 0 | 250 | 250
| 0 | 200 | 200 | 200 | 200 | 200
| 0 | 200 | 200 | 200 | 200 | 200
| 0 | 30 | 30 | 30 | 30 | 30
| 0 | 200 | 200 | 200 | 200 | 200
| 0 | 150 | 150 | 150 | 150 | 150
| 0 | 400 | 400 | 400 | 400 | 400
| 0 | 50 | 50 | 50 | 50 | 50
| 0 | 200 | 200 | 200 | 200 | 200
| 0 | 149 | 149 | 149 | 149 | 149
| 0 | 249 | 249 | 249 | 249 | 249
| 0 | 249 | 249 | 249 | 249 | 249
| 0 | 200 | 200 | 200 | 200 | 200
| 0 | 200 | 200 | 200 | 200 | 200
| 0 | 220 | 220 | 220 | 220 | 220
| 0 | 41 | 41 | 41 | 41 | 41
| 0 | 200 | 200 | 200 | 200 | 200
| 0 | 200 | 200 | 200 | 200 | 200
| 0 | 180 | 180 | 180 | 180 | 180
| 0 | 300 | 300 | 300 | 300 | 300
| 0 | 0 | 325 | 325 | 325 | 325
| 0 | 0 | 750 | 750 | 750 | 750
| 0 | 0 | 249 | 249 | 249 | 249
| 0 | 0 | 60 | 60 | 60 | 60
| 0 | 0 | 140 | 140 | 140 | 140
| 0 | 0 | 249 | 249 | 249 | 249
| 0 | 0 | 0 | 0 | 250 | 250
| 0 | 0 | 0 | 0 | 200 | 200
| 0 | 0 | 258 | 258 | 258 | 258
| 0 | 0 | 150 | 150 | 150 | 150
| 0 | 0 | 150 | 150 | 150 | 150
| 0 | 0 | 0 | 200 | 200 | 200
| 0 | 0 | 0 | 0 | 250 | 250
| 0 | 0 | 0 | 200 | 200 | 200
| 0 | 0 | 0 | 500 | 500 | 500
| 0 | 0 | 0 | 0 | 609 | 609
| 0 | 0 | 0 | 0 | 200 | 200
| 0 | 0 | 0 | 0 | 500 | 500
| 0 | 0 | 0 | 0 | 750 | 750
| 0 | 0 | 0 | 0 | 0 | 1100
Potential Non-Public Wind Resources | 3095 | 7417 | 9748 | 10648 | 13657 | 14757
Confidential Information
Confidential Information
Confidential Information
Confidential Information
Confidential Information
Confidential Information
Confidential Information
Confidential Information
Confidential Information
Confidential Information
Confidential Information
Confidential Information