Principles on Verifiable Cost Process and the existing issues for discussion

- Verifiable Start-up and Min Energy Costs are the most reasonable representations that can be verified by ERCOT for accuracy of a generator’s cost to cycle (start-up and shut down) and run the unit at minimum energy, using a Fuel Index.

  - Breaker Close vs. LSL

  - Inclusion of Shut-down in Start-up

  - Start-up costs recovered when RUC is cancelled

  - SPS considerations

  - Voluntary VC Process

  - Auxiliary Equipment

  - Start up for holding at LSL to Dispatch (definition of RUC Commitment)

  - Number of starts outside warranty

- Verifiable Incremental Heat Rate is the most reasonable representation that can be verified by ERCOT for accuracy of a generator’s incremental cost to operate from LSL/LEL to HSL/HEL, using a Fuel Index.

  - How will ERCOT validate monotonically non-decreasing Incremental Heat Rate Curve

  - Historical Data versus Test Data

- Verifiable O&M costs are Average Incremental O&M Costs

  - 10-year requirement for data/evidence

  - Escalation rate (review figure 14 in VC manual)

  - Types of acceptable documentation

- There is a level of risk that Resource owners take in the recovery of Start-up and Minimum Energy costs

- The Verifiable Cost Process intends to make Generators whole and minimize costs to load

- FIP and FOP are defined by Protocols

  - Additional Transportation Costs

  - Imbalance Fees

  - Swing Contracts

  - Spot Gas, Gas purchased at Close of Day Ahead (gas diverges from Index)

- Emissions Costs/Credits are an important part of verifiable O&M costs

  - SOX- Use Fuel Burn (mmbtu/start, mmbtu/MWh)

    - Start- (mmbtu/start)* (lbs/mmbtu)* ($/lb)

    - Min Energy- (mmbtu/MWh)* (lbs/mmbtu)* ($/lb)

  - NOX and other emissions that may have index can be handled as (a) above

- Resource Owners should have a process to address exceptional events that create significant harm

  - List of exceptional events i.e. Fuel Curtailments,

- Verifiable Costs Process is to be used prospectively.

- Other Items for discussion

- Inclusion of PPA information for VC Process

- Who provides VC information Resource Entity vs. QSE

- Combined Cycle Units

- Jointly Owned Units

- Documentation requirements