| NPRR Number | 091 | NPRR Title | Scarcity Pricing and Mitigated Offer Cap During the Period Commencing on the Nodal Market Implementation Date and Continuing for a Total of 45 Days |
| --- | --- | --- | --- |
| Date |  | 12/20/07 |  |
| Submitter’s Information |  |  |  |
| Name |  | Jim Reynolds |  |
| E-mail Address |  | jreynolds@powerandgasconsulting.com |  |
| Company |  | Power & Gas Consulting, LLC, on behalf of StarTex Power, Strategic Energy, Accent Energy, Cirro Energy, Green Mountain Energy, Integrys Energy Services, and Stream Energy (collectively the REP Nodal Group) |  |
| Phone Number |  | 281 635 1657 |  |
| Cell Number |  | 281 635 1657 |  |
| Market Segment |  | Independent Retail Electric Providers |  |

Comments

| Overall Market Benefit | Same as in draft NPRR091 |
| --- | --- |
| Overall Market Impact | Same as in draft NPRR091 |
| Consumer Impact | Same as in draft NPRR091 |

The REP Nodal Group proposes the following values for “$XXX” and “XX” heat rate multiplier in proposed Section 4.4.11.2, Scarcity Pricing and Mitigated Offer Cap During Nodal Startup:

- The REP Nodal Group believes that the System Wide Offer Cap (SWCAP) during the Nodal Transition Period be set at a value consistent with the request by Public Utility Commission (PUC) Chairman Paul Hudson of “cost plus 10%”

- Due at least in part to the difficulty for ERCOT systems to monitor a “cost plus 10%“ mechanism, the Independent Market Monitor (IMM) proposed, and the Transition Plan Task Force (TPTF) approved a motion on September 25,2007 that the Transition Period SWCAP be based on Mitigated Offer Caps by unit.

- As discussed during the November 27, 2007 TPTF meetings, the REP Nodal Group agrees that a Transition Period SWCAP of “X” times Fuel Index Price (FIP) would be a fair, equitable, and relatively easy to implement Cap mechanism.

- We believe that the value of “X” should be based upon the Mitigated Offer Cap calculation, and that it be a value of 16.

- Therefore, REP Nodal Group proposes that in NPRR091, the values of “X” be: the greater of 16 times FIP or $150/MWh.

  - The rationale is that Nodal Protocol Section 4.4.9.4, Mitigated Offer Cap and Mitigated Offer Floor, specify that the Mitigated Offer Caps (for all but units except placed in service after 2004) be 10.5 times FIP or Fuel Oil Price FOP, all times a multiplier of between 1.1 and 1.5, depending upon the capacity factor experienced by the unit during the previous 12 months - (1.1 for capacity factors 50% and greater, to 1.5 for those with a capacity factor less than 1%).

  - A multiplier of 10.5 times 1.5 yields 15.75.  We propose that the multiplier be “rounded up”, increased from 15.75 to 16.

Revised Proposed Protocol Language

None.