ERCOT Load Profiling Guide

Section 11: Validation of Load Profile ID

September 18, 2007

11	Validation of Load Profile ID	11-1

11.1	Initial Assignment of Load Profile IDs for Opt-In Entities	11-1

11.2	Annual Validation of Load Profile Type	11-2

11.3	Additional Validations	11-5

# Validation of Load Profile ID

A Load Profile ID is comprised of five (5) components:  Load Profile Type, Weather Zone, Meter Data Type, Weather Sensitivity, and Time-of-Use (TOU) Schedule.  ERCOT shall validate the first two components, the Load Profile Type and Weather Zone, at the following times:

- As part of the initial assignment of Load Profile IDs for Opt-In Entities;

- When Load Profile segment definitions change; and

- At least one time per year during the Annual Validation process.

At the start of the validation process, the TDSP shall be asked to provide information on contact persons, both primary and backup.  Reciprocally, ERCOT shall provide the TDSP information on an ERCOT contact person.

Regarding validation processes detailed in this section, electronic mail is the primary means of communication among ERCOT, Profiling Working Group (PWG), and Market Participants. Other methods of communication shall be accommodated if all affected parties mutually agree to alternative methods.

## Initial Assignment of Load Profile IDs for Opt-In Entities

When a Non-Opt In Entity (NOIE) chooses to participate in the retail market, its business unit responsible for Transmission and/or Distribution Service Provider (TDSP) functions shall be subject to all requirements detailed in this section for assigning Load Profile IDs to ESI IDs.

Once the NOIE has given notice to ERCOT of its intent to participate in the retail market, the NOIE’s business unit responsible for TDSP functions shall be responsible for submitting all assigned ESI IDs, their Load Profile Group, and their historical usage to ERCOT.  For ESI IDs assigned to the Non-Metered Group the Opt-In Entity shall also submit their Profile Type.  This information shall be submitted in a comma-delimited format at least 120 days prior to the effective start date of their entry into open market.  The Opt-In Entity shall provide monthly usage and demand values that are available to the Opt-In Entity in an electronic format for a period of time established in cooperation with ERCOT on a case-by-case basis.  Load Profile ID assignments shall be based on the criteria defined in the appropriate Profile Decision Tree. ERCOT will calculate the Load Profile Segment using the historical usage provided by the Opt-In Entity for the specified time period.  ERCOT and the Opt-In Entity shall work together to resolve any issues with the data provided by the Opt-In Entity.  ERCOT shall provide the Opt-In Entity a file containing all of the ESI IDs and their Load Profile Type.  The Opt-In Entity shall use the provided information to assign the Load Profile ID via the appropriate Texas SET transactions.  The schedule for submitting those transactions shall be coordinated with ERCOT.

### 11.1.1	Validation of Initial Opt-In Entity Assignments

The Opt-In Entity shall notify ERCOT Load Profiling via electronic mail when the transactions to create the Opt-In ESI IDs have been submitted and accepted in the ERCOT system.  After receiving notification, ERCOT shall perform three (3) additional reviews to ensure all ESI IDs are set up in accordance with the appropriate Profile Decision Tree.

- ERCOT will compare each ESI ID and Load Profile ID assignment in the ERCOT database with the previously approved initial Load Profile Type;

- ERCOT will validate that Weather Zone assignment is consistent with the appropriate Load Profile Decision Tree; and

- ERCOT shall validate Load Profile Group assignment for Residential and Business ESI IDs by using the Premise Type field in ERCOT’s registration database.  The Residential Load Profile Group must match the Residential Premise Type in the registration database.  The Business Load Profile Group must match either the Small Non-residential or Large Non-residential Premise Type in the registration database.

Any discrepancies will be reported to the Opt-In Entity via electronic mail.  The Opt-In Entity shall submit corrections to ERCOT via appropriate Texas SET transaction or provide details as to why the data elements have changed.

The initial Load Profile ID assignment validation is complete after all discrepancies are resolved.

## Annual Validation of Load Profile Type

For the purposes of Annual Validation, ERCOT is responsible for determining the Load Profile Type assignment for all Residential and Business Load Factor ESI IDs. Transmission and or Distribution Service Provider (TDSPs) and ERCOT shall work closely and expeditiously with each other during the Annual Validation process.

When a date is listed in this Section and a year is not specified, the date shall apply to the year in which the Annual Validation is performed.

### 11.2.1	Annual Validation of Load Profile Type Assignment for RES and BUS Load Factor ESI IDs

The following timeline shall be adhered to, unless otherwise approved by an appropriate TAC subcommittee.  ERCOT shall utilize the historical usage and demand data in its systems to derive usage time period values for each Active and De-Energized ESI ID for the time period specified in the current Profile Decision Tree.

Residential Timeline

- ERCOT shall determine the Load Profile Type for the Load Profile ID for each Active and De-energized ESI ID based on the current Profile Decision Tree.  ERCOT shall provide the TDSPs with a list of Residential ESI IDs containing the current Load Profile Type and the recommended Load Profile Type for those ESI IDs where ERCOT recommends a change in Profile Type assignment.  An electronic copy of each list shall be delivered to each TDSP no later than June 30.

- For each ESI ID contained in the lists, the TDSPs shall review the recommended Profile Type assignment and determine whether the recommended change is consistent with the TDSP tariffs, the applicable Retail Electric Provider (REP) billing requirements, and the ESI ID is Active or De-energized.  The TDSP shall then send finalized lists of ESI IDs back to ERCOT no later than July 10.  The finalized lists shall indicate all revisions determined to be necessary by the TDSP.

- ERCOT shall send notification to CRs and the PWG by July 15 announcing these lists are available to the CR of Record.  Upon request, ERCOT shall make available to the current CR of Record the list of those ESI IDs that are expected to have a Profile ID change as a result of Annual Validation.

- The TDSPs shall coordinate with ERCOT to submit the necessary Texas SET (TX SET) transactions to update Profile ID assignments for the population of the Residential Group to be effective on the most current meter read date on or after August 15.

- TDSPs are responsible for verifying that TX SET transactions related to Annual Validation have been successfully accepted into ERCOT’s systems by monitoring the appropriate response transactions.  The TDSPs and ERCOT shall work together to have TX SET transactions successfully completed for the Residential Group by September 30.

- Within the first two (2) Business Days of the TDSP successfully submitting all of its Residential transactions, ERCOT shall compare the finalized lists of recommended changes with the current Profile ID Type in the ERCOT system.  ERCOT and the TDSPs will work closely and expeditiously to resolve any discrepancies.  The TDSP and ERCOT shall be in contact until at least 99.0% of the finalized list of changes is resolved to their mutual satisfaction.

- ERCOT and the TDSPs shall provide regular updates on the progress of Annual Validation as needed, or at a minimum during the regularly scheduled Profiling Working Group (PWG) meetings.

Business Group Timeline

- ERCOT shall determine the Load Profile Type for the Load Profile ID for each Active and De-Energized ESI ID based on the current Profile Decision Tree.  ERCOT shall provide the TDSPs with a list of Business Load Factor ESI IDs containing the current Load Profile Type and the recommended Load Profile Type for those ESI IDs where ERCOT recommends a change in Profile Type assignment.  An electronic copy of each list shall be delivered to each TDSP no later than August 15.

- For each ESI ID contained in the lists, the TDSPs shall review the recommended Profile Type assignment and determine whether the recommended change is consistent with the TDSP tariffs, the applicable REP billing requirements, and the ESI ID is Active or De-energized.  The TDSP shall then send finalized lists of ESI IDs back to ERCOT no later than August 25.  The finalized lists shall indicate all revisions determined to be necessary by the TDSP.

- ERCOT shall send notification to CRs and the PWG by September 1 announcing these lists are available to the CR of Record.  Upon request, ERCOT shall make available to the current CR of Record the list of those ESI IDs that are expected to have a Profile ID change as a result of Annual Validation.

- The TDSPs shall coordinate with ERCOT to submit the necessary TX  SET transactions to update Profile ID assignments for the population of  Business Load Factor Group to be effective on the most current meter read date on or after October 1.

- TDSPs are responsible for verifying that TX SET transactions related to Annual Validation have been successfully accepted into ERCOT’s systems by monitoring the appropriate response transactions.  The TDSPs and ERCOT shall work together to have TX SET transactions successfully completed for the Business Load Factor Group by November 30.

- Within the first two (2) Business Days of the TDSP successfully submitting all of its Business Load Factor transactions, ERCOT shall compare the finalized lists of recommended changes with the current Profile ID Type in the ERCOT system.  ERCOT and the TDSPs will work closely and expeditiously to resolve any discrepancies.  The TDSP and ERCOT shall be in contact until at least 99.0% of the finalized list of changes is resolved to their mutual satisfaction.

- ERCOT and the TDSPs shall provide regular updates on the progress of Annual Validation as needed, or at a minimum during the regularly scheduled PWG meetings.

## Additional Validations

On a quarterly basis, at minimum, ERCOT shall perform additional validations to identify potentially incorrect Load Profile ID or Premise Type assignments.  For those ESI IDs flagged for review, the issue dispute resolution process will be utilized to notify the TDSP of all identified issues.  If a Load Profile ID or Premise Type change is necessary, the TDSP shall update the Load Profile ID in the ERCOT system using the appropriate Texas SET transaction.

### 11.3.1	Validation of BUSNODEM Profile Type

ERCOT shall review the most recent twelve months usage for all ESI IDs classified as Business No Demand (BUSNODEM) Profile Type and identify any data values that fall outside the expectations of the BUSNODEM Profile Type. ERCOT shall report any discrepancies to the respective TDSPs.

### 11.3.2	Validation of BUS Load Factor Profile Types

ERCOT shall review all ESI IDs and their usage which are classified with a Business (BUS) Load Factor Profile Type and identify those ESI IDs where no demand values have been submitted during the 12-month period being reviewed.

### 11.3.3	Validation of BUSOGFLT Profile Type

ERCOT shall verify that only eligible ESI IDs are assigned the BUSOGFLT Profile Type.  Should an ESI ID be found to have been assigned the BUSOGFLT Profile Type erroneously, ERCOT shall work with the TDSP to have the Profile Type assignment corrected, and ERCOT shall notify the CR of record.

### 11.3.4		Validation of NMFLAT and NMLIGHT Profile Types

ERCOT shall review all ESI IDs and their usage which are classified with either an NMFLAT or NMLIGHT Profile Type and calculate the Average Daily Use (ADU) for each ESI ID.  ESI IDs with excessive fluctuation over the 12-month period being reviewed shall be reported to the TDSP.

### 11.3.5		Comparison of ESI ID Profile Type to ESI ID Premise Type

ERCOT shall review and identify all ESI IDs with conflicting Profile and Premise Type combinations.  Any discrepancies shall be reported to the TDSP.

### 11.3.6		Validation of Service Address Zip Code

ERCOT shall validate that the service address zip code for each ESI ID is located within the ERCOT region, and shall perform consistency checks for congestion zone, TDSP service area, and substation.  ERCOT shall provide lists to the TDSP of any ESI IDs which have been identified as having a suspect zip code or substation assignment.

### 11.3.7		Validation of Weather Zone Code

ERCOT shall compare the current ESI ID Weather Zone component of the Load Profile ID to the Weather Zone assignment based on the current Profile Decision Tree utilizing the service address zip code in ERCOT’s system.  Any discrepancies shall be reported to the TDSP.

### 11.3.8		Comparison of Meter Data Type Code to Profile Type Code

ERCOT shall compare the Meter Data Type code component of the Profile ID to the Load Profile Group code for all ESI IDs.  Any discrepancies shall be reported to the TDSP.

### 11.3.9		Comparison of Weather Sensitivity Code to Meter Data Type Code

ERCOT shall verify that all ESI IDs with a Meter Data Type of Non-Interval Data Recorder (NIDR) are assigned a Weather Sensitivity code of NWS.  ERCOT shall also verify that only ESI IDs having a Meter Data Type of IDR which were identified by ERCOT during the most recent Weather Sensitivity analysis as being weather sensitive are assigned a Weather Sensitivity code of WS.  Any discrepancies shall be reported to the TDSP.  The annual procedures for reviewing of the Weather Sensitivity code are located in Protocols Section 11.4.3.1 “Weather Responsiveness Determination”.