Demand Response Task Force

Scope

The Demand Response Task Force (DRTF) will build a short term solution that allows for the limited deployment of retail Demand Response programs and their settlement by the summer of 2008.  The short term solution should inform the development of a long term solution for offering Demand Response programs to the market.

Questions

- Who is going to set the trigger for an event?

  - Triggered by 2 things

    - A price limit

    - Grid conditions

  - Will need to set parameters i.e. specific windows of time, set limitations on the number of calls that can made within a year, event duration limits,

  - 1 hour notice needed

  - Participating CRs would have the ability to initiate calls – would apply to all CRs participating in that DR program

  - Limit to 2 events per month, during May through September

  - Initiating CR must provide 90 minutes advance notice to ERCOT

  - ERCOT would provide

- Who sends the call? How is the call sent?

  - CRs to ERCOT

    - AI: ERCOT to determine who at ERCOT should receive the notices

  - ERCOT to the Market

    - Use a standard template for each notice

    - Send as secure notice over the TML or MIS

      - Develop a recipient list

    - AI: CRs to determine who at the CRs should receive the notice

- What is the allocation/lotto process?

  - AI: CRs to provide to Karen Farley (kfarley@ercot.com) the amount of capacity and the number of events they would like have per year.  Provide by Friday, January 4th.

  - No more than 10000 ESIs per CR (assuming that 10000 ESIs equates to 10000 kW)

  - All CRs will have the ability to volunteer to participate up to 10000 ESIs

- When does the CR provide the list of ESIs?

  - CRs to provide a number of ESIs at the start of an even

  - CRs to provide a list of ESIs at the conclusion of each event

    - DUNS, ESI, Program ID, Operating Day

    - ERCOT would settle the ESIs based on this program for the entire trade date

  - ERCOT will NOT be maintaining a database of participating ESIs

- How many programs?

  - 4 or 5 programs TOTAL

- What type of programs?

  - AI: CRs to bring back list of potential programs

    - Will need agreement from participating CRs

- How does ERCOT calculate and settle the profiles?

  - Create a formula that would generate a dollar amount that participating CRs would receive as a credit as part of their settlement process

    - AI: CRs and ERCOT to bring back proposals

- Do we limit to AMI areas?

  - Option 1: Limit to areas where TDSPs will be implementing AMI within the next two years

  - Option 2: Set no limit and allow CRs to determine

- When can the TDSPs provide the geographic areas for AMI?

  - Not until their AMI deployment plan is approved

    - No definite timeline yet

- How do we develop the deemed impact?

  - AI: CRs to bring back proposals

- Who develops the deemed impact?

    - DRTF would reach consensus

- What Protocol language needs to change?

  - AI: Jennifer & Kathy to bring to next meeting

- Can we avoid the 150 day notice?

  - Yes, if treated as settlement adjustment and no change to load profiles

- Do we standardize how we accomplish the load control?

  - No standards for specific vendor or technology but must be able to be configured to established DR programs

- Can we include any of the new reserve offerings from ERCOT?

- Is this tied to EILS?

  - No

- How long would the market use this solution?

  - Until a another solution is available

- Where does the incentive payment come from?

  - Not applicable

- Who does the inspections/validation of the equipment?

  - AI: MPs and ERCOT and bring back proposals

- Do we use any available IDR/AMI data to validate?

  - Yes, but only outside of the settlements process