ROS Meeting Notes

January 10, 2008

TAC

- Hurricane Drill scheduled for May 2008.

- Nodal Project still planned for Nov/Dec “go live” date.

- ERCOT staff doing some of Nodal programming.

2008 ROS Chair:  Paul Rocha	Vice-Chair:  Randy Jones

NOGRR002

Separated PSS and AVR section into two separate sections.  Changes entity responsible for providing Underfrequency Load Shed survey data from Transmission Owners to Distribution Service Providers.  ERCOT will still contact Transmission Owners to request data.  Passed on to TAC.

NPRR081

No vote.  Sent out for comments.  Vote in Feb.

OGRR 204 (Hotline)/OGRR 206 (Satellite Phones)

Passed.

PRR 750 Unannounced Generation Capacity Testing

Collect more comments.

ERCOT Wind Survey

Collected technical information on wind PF/other data.

TPTF

All but four readiness metrics passed.

OGRR 198  (Firm Load Shed Time Period)

Remanded back to OWG for discussion.  ROS wants it back in Feb. for vote.