Draft

OGRTF 11/12/07 Meeting Notes

Attendance:

Rick Keetch			Reliant			QSE		713-497-2526

Jack Thormalen		LCRA					512-473-3200x2635

John Brockhan 		Centerpoint Energy	TSP		713-207-2790

Jerry Ward			Luminant Energy	QSE		214-316-7036

Giriraj Sharma			ERCOT				512-248-6759

Thuy Huynh			ERCOT				512-248-3079

Mike Stewart			ERCOT				512-248-3159

Leo Villanueva		ERCOT				512-248-3135

(1)	10:10 started meeting with Anti-trust Admonition.

(2)	Reviewed OGRR 204: Hotline Technology update, Mike Stewart placed language to allow Market Participants the availability for their communication lines to go through their PBX system.  This is due to the historical reliability the PBX systems have become.  Jerry Ward mentions that that ERCOT cannot “recommend” a system in the guide because this cannot be enforced and thus strike the sentence from the OGRR.

(3)	Reviewed OGRR 205: Modify Responsive Reserve Service Obligation was postponed for discussion due to the EILS project.

(4)	Reviewed OGRR 203: Conforming Changes to Address Current NERC Terminology and the Texas Regional Entity (TRE) Terminology.  Andy Gallow was not available to discuss.

(5)	Reviewed OGRR 206: Black Start Satellite Phones.  Terminology changed from TSP to TO.  Removed requirement to have voice recording and expand the requirement to have a satellite phone to all TOs.

- The next meeting is scheduled for December 11th, 2007, at the Met Center, Room 211.