UI Outage Scheduler Prototypes v0.05

Site Map for MP View of Transmission Outages

1.0 Summary Screens

| Design Notes |
| --- |
| 12/4/2007 | Users must be able to select multiple items in the filter list (i.e. Planned and Forced outages) |
| 12/11/2007 | Would like to have Preferences feature that allows users to show/hide columns and the system will store those settings. If this is possible, then show all columns as the default setting. If not possible, business needs to decide which columns display. It is still possible to use the filter to show/hide columns, but it will revert to the default settings at each new session. |
| 12/11/2007 | Users must be able to filter by time range. (Custom Filter) |
| 12/11/2007 | Darker blue row indicates user has clicked on the row.? Bold type under Pl Start and Pl End indicate an Actual Date/Time has been entered. Arrow in column heading is for sorting. |

1.1 Transmission Outages

Design Notes

1.2 Resource Outages (TO View)

| Design Notes |
| --- |
| 1/3/2008 | Are these the correct default values? |

1.3 Transmission and Resource Outages (TO View)

Design Notes

1.4 Transmission Outages with Actual Start/End Dates (TO View)

| Design Notes |
| --- |
| 1/8/2008 | TOs can also see this view, but will only have date entry fields for outages they created. Also, they don’t see monitored outages or the flag column. |

2.0 Create Outage Request Screens

| Design Notes |
| --- |
| 1/2/2008 | When a line or transformer equipment type is selected, the checkbox “View Associated Equipment” will display next to the equipment select list. If the box is checked, all associated equipment will appear in the diagram. A button, Add Additional Equipment will also display. The line or transformer initially selected should also be checked in the diagram of associated equipment. |
| 1/2/2008 | The blue bars have expand and collapse arrows. Default settings are as follows: General Information, Outage Data and Notes are expanded. Grouped Outages and Recurring Outages are collapsed. |

| Differences in Displays Among Outage Types |
| --- |
|  | Planned | M1 | M2 | M3 | Forced | RSA | Opp | Simple |
| General Information | Same for all |
| Outage Data |  |
| Category | Same for all |
| Type | Planned | Maintenance Level 1 | Maintenance Level 2 | Maintenance Level 3 | Forced | Remedial Switching Action | Opportunity | Simple |
| Planned Start | y | n | n | n | n | y |  |  |
| Earliest Start | y | y | y | y | n | y |  |  |
| Planned End | y | n | n | n | y | y |  |  |
| Latest End | y | y | y | y | y | y |  |  |
| Emergency Restoration | y | y | y | y | n | y |  |  |
| Nature of Work | y | y | y | y | y | y | y | y |
| NOMCR | y | y | y | y | y | y | y | y |
| Operating Company | y | y | y | y | y | y | y | y |
| From Station | y | y | y | y | y | y | y | y |
| Equipment Type | y | y | y | y | y | y | y | y |
| Equipment | y | y | y | y | y | y | y | y |
| Assoc. Equip (grouped outages) | y | y | y | y | y | n | y | y |
| Notes |  |
| Requestor | y | y | y | y | y | y | y | y |
| Remedial | y | y | y | y | y | y | y | y |
| Supporting * | n | y | y | y | y | n | n | n |
| * Supporting information is required, but is not required at the time the outage is submitted. |

2.1 Select Transmission Outage Type

Note: The next four screens show various use cases for selecting equipment for a grouped outage. All use cases use screen 2.2.

2.2a. Create Planned Outage (Trans) – grouped outage

The user has selected a transformer and checked View Associated Equipment. The screen then displays a diagram of associated equipment. The user can select associated equipment and/or can click Add Additional Equipment to select equipment belonging to another operating company or equipment not associated with the first group.

2.2b. Create Planned Outage (Trans) – grouped outage

The user selects associated equipment and clicks Add Selected Equipment. The selected equipment displays in a table. From here, the user can select additional equipment or complete the outage.

| Design Notes |
| --- |
| 1/3/2008 | The initially selected equipment (XF_345) appears in a table, along with other selected equipment. To edit this table, the user may click the Remove icon or click on Add Additional Equipment and query that set of associated equipment. When the diagram displays, the selected items are checked in the diagram. |
| 1/7/2008 | An optional field, Group ID, displays after the user selects equipment. The maximum character count is 8. |

2.2c. Create Planned Outage (Trans) – grouped outage

User clicks View Additional Equipment. The screen refreshes to display a new set of queries to select more equipment.

| Design Notes |
| --- |
| 1/3/2008 | Clicking View Additional Equipment adds a new query section to the screen. Here, the user selects the Operating Company, From Station, Equipment Type. If the equipment chosen is a line or transformer, the checkbox to View Associated Equipment displays. |

2.2d. Create Planned Outage (Trans) – grouped outage

This shows what the screen displays when you add equipment from multiple groups, before the outage request is submitted.

| Design Notes |
| --- |
| 1/3/2008 | All selected equipment is displayed in the same table, regardless of how many queries are performed to select the equipment. |

2.3 – Create Planned Transmission Outage - Single Piece of Equipment

When Show Associated Equipment is not selected, the screen displays this information:

| Design Notes |
| --- |
| 1/3/2008 |  |

2.4 – Create Transmission Opportunity Outage – Part One

| Design Notes |
| --- |
| 1/9/2008 |  |

2.4 – Create Transmission Opportunity Outage – Part Two

| Design Notes |
| --- |
| 1/9/2008 |  |

3.0 View Detail – Planned Transmission Outage

| Design Notes |
| --- |
| 1/3/2008 | Date Displays When an outage is submitted and has a status of Received at ERCOT, the Planned Start/End and Earliest Start/End fields are editable, but may only be revised to shorten outage duration. When an outage has a status of Study, date fields are not editable. When an outage has a status of Approved, Planned Start/End are editable, but may only be revised to shorten outage duration. Earliest/Latest Start/End fields are not editable. Actual Start field displays and is editable. The default value for Actual Start is the same as Planned Start. When a value for Actual Start has been entered, it becomes uneditable. The Actual End field displays and is editable. After the Actual End is entered, it is editable for two hours. After that it is uneditable |
| 1/7/2008 | Other Editable Fields The other fields that the user may edit are the Outage Status – provided business rules allow the outage to be cancelled, Requestor Notes, Remedial Actions and Supporting Information. User may also remove a piece of equipment from a grouped outage. All other fields are read-only. |

3.1 View Detail – Planned Transmission Outage (Grouped)

| Design Notes |
| --- |
| 1/3/2008 | Equipment in a grouped outage may only be removed. When it is removed, it becomes a separate outage with a reference to the original grouped outage. Business: how does this happen? |
| 1/7/2008 | Related actions include: Copy Outage, Extend Outage |

3.2. View Detail – Planned Transmission Outage (Single)

| Design Notes |
| --- |
| 1/7/2008 | Related actions include: Copy Outage, Extend Outage |

4.0 Edit Outages

| Design Notes |
| --- |
| 1/8/2008 | In addition to modifying dates and status, users can also remove equipment from a grouped outage. And from the Related Actions list, they can extend or copy the outage. |

4.1 Create Unavoidable Extension

| Design Notes |
| --- |
| 1/8/2008 | Had this been a forced or maintenance outage, the system would display a request form for Forced Extension. |
| 1/8/2007 | Users are required to enter the new Planned End and Latest End and enter Supporting Information. |

4.2 Remove Equipment from Grouped Outage - Confirmation

| Design Notes |
| --- |
| 1/8/2008 | This refreshes the request screen and gives the user the options to cancel, create and return to the grouped outage, or create and view the new outage details. |

4.3 Create Copy of Existing Outage

| Design Notes |
| --- |
| 1/8/2008 | In this example, the user created a copy that overlapped with an existing outage and received this error message. The outage ID is a link to the outage detail screen for the conflicting outage. Had the submission been successful and the user clicked Submit and Done, the system would have displayed the outage detail screen with a confirmation. |

# Text boxes

3.0 View Details

2.0 Create Outage Screens

3.1 View Details – Planned Transmission Outage (grouped)

2.1 Select Outage Type

1.4 Transmission with Actual Start/End Dates

2.2 Create Planned Transmission Outage – (grouped outage)

4.1 Create Unavoidable Extension

1.3 Trans & Resource Outages

4.0 Edit Outages

2.4 Create Opportunity Outage – parts 1 & 2

2.5 Recurring Outage

4.3 Copy Existing Outage

2.3 Create Planned Transmission Outage – (single)

4.2 Remove equipment from grouped outage

1.5 Warnings

1.2 Resource Outages

1.1 Transmission Outages

1.0 Summary Screens

3.2 View Details – Planned Transmission Outage (single)

Outage Scheduler

Approved, in development

In review, to go to development

To be designed