## Slide 1
Mary Anne Brelinsky Eagle Energy Partners
Demand Side Working Group Update to WMS January 16, 2008

## Slide 2: Demand Side Working Group Agenda

## Slide 3
Need WMS to affirm Chair and Vice Chairs for 2008:
  Affirm Mary Anne Brelinsky as Chairman
    Represents Lehman Brothers (REP/QSE)
  Affirm Nelson Nease as Co-Vice Chair
    Represents Nucor Steel (Industrial User)
  Affirm Timothy Carter as Co-Vice Chair
    Represents Constellation New Energy (REP/QSE)
Chair and Vice Chairs for 2008

## Slide 4: 2008 DSWG Goals

## Slide 5: LaaR Event Summary
Sequence of Events and System Summary:
  ERCOT System loses about 1022 MW of Generation Resources at about 01:49
  Triggers a potential NERC Reportable DCS Event
  ERCOT Operator makes a hot line call to all QSEs and issues a VDI to deploy all LaaRs that are supplying RRS
  Ten QSEs have LaaR RRS obligations which total 1150 MW
  Official start time for the deployment is 01:56:22 which coincides with the end of the Operator’s Instruction
  System LaaR Response at 10 minute mark is 1051 MW
  LaaRs reach 95% of system requirement at 16 minutes 20 seconds

## Slide 6: LaaR Event December 12th: Deployment Timeline

## Slide 7: LaaR Load Shead

## Slide 8: Schedule Meetings for 2008
The next two DSWG meetings for 2008 are currently scheduled on:
  Friday March 7th
  Friday May 9th