## Slide 1: CFE – ERCOT DC-Ties Commercial Operations
January 16, 2008
Colleen Frosch
ERCOT System Operations

## Slide 2: ERCOT DC-Ties
January 16, 2008
CFE - ERCOT Operational DC-Ties
  Eagle Pass (DC_S) 36 MW
  Laredo Variable Frequency Transformer (DC_L) 100 MW
  Sharyland Railroad (DC_R) 150MW
ERCOT - SPP Operational DC-Ties
  North DC-Tie (DC_N) 220 MW
  East DC-Tie (DC_E) 600 MW
DC_N
220 MW
DC_E
600 MW
DC_S
36 MW
DC_L
100 MW
DC_R
150 MW

## Slide 3: Commercial Operations of the South Ties
January 16, 2008
ERCOT management of the scheduling process in the South DC-Ties will be similar to the North DC-Ties
AEP Corpus Christi will be the Tie Operator
Minimal modifications to the ERCOT systems will be necessary
CFE to establish a NERC E-Tag operation for transactions between Mexico and ERCOT (and vice versa)

## Slide 4: Day-Ahead Operations - Limit Calculations
January 16, 2008
CFE Day Ahead Limit Transfers
ERCOT Day Ahead Limit Transfers
DC-Tie Limitations
Limit set to the
lower of all values
Limits calculated daily
CFE to provide ERCOT limits by 16:00
Limits will be made public and posted
Limits will be recalculated in real-time based on system conditions

## Slide 5: Posting Daily Limits
January 16, 2008
Limits for South Ties will be on Daily Limits Sheet
Update Real-Time Data page to include DC-Tie Limits

## Slide 6: Curtailment Process
Limits will be recalculated in real-time based on system conditions
ERCOT/CFE will identify the amount that needs to be curtailed
The last approved E-tag will be the first to be curtailed.
January 16, 2008

## Slide 7: To Be Completed before Commercial Operations begins
January 16, 2008
Finalize Inadvertent agreement with CFE
Business Processes in place for ERCOT/CFE/AEP
CFE E-Tag System in place
AEP Tie Operator systems ready
CFE declare ready for Commercial Operations