| NPRR Number | 099 | NPRR Title | RMR Incentive Factor Payment |
| --- | --- | --- | --- |
| Date |  | January 16, 2008 |  |
| Submitter’s Information |  |  |  |
| Name |  | DeAnn Walker |  |
| E-mail Address |  | deann.walker@CenterPointEnergy.com |  |
| Company |  | CenterPoint Energy Houston Electric, LLC |  |
| Phone Number |  | 512-397-3032 |  |
| Cell Number |  | 512-784-0998 |  |
| Market Segment |  | Investor Owned Utility |  |

Comments

CenterPoint Energy believes that this Nodal Protocol Revision Request (NPRR) should be rejected.  This NPRR does not comply with the Transition Plan Task Force (TPTF) Charter.  This NPRR does not satisfy any of the circumstances upon which a NPRR can be proposed.  In particular, it changes the intent of the zonal Protocols and it does not accurately synchronize the zonal Protocol language with the proposed amended language.  The TPTF Charter states the following:

“In instances where action by the TPTF requires a revision to the Protocols, the chairman will designate an author for the Protocol Revision Request (PRR).  Revisions to the Protocols shall be limited to the following: 1) revisions resulting from Commission orders; 2) clarifications of Protocol language that do not change the intent or technical specifications of the Protocols; 3) correction of technical errors or processes that are found not to be technically feasible; 4) revisions to the Protocols necessary to implement the results of the value engineering analysis or to otherwise avoid severe cost impacts; and 5) revisions required to synchronize nodal Protocols with approved zonal Protocol revisions that apply in the nodal market.“  (Emphasis added.)

The corresponding current zonal Protocol to the proposed NPRR is Section 6.8.3.1(8), which states the following:

“The Incentive Factor payment shall be reduced if (i) the RMR Unit fails to perform to the contracted capacity during a Capacity Test as described in the RMR Agreement and (ii) if in ERCOT’s reasonable determination, such reduction in capacity materially affects reliability.  The reduction will be linear, with a two percent (2%) reduction in the Incentive Factor payment for every one percent (1%) of reduced capacity.”

The current zonal Protocol has a two step requirement including a determination by ERCOT that the reduction in capacity does not materially affect reliability.  The proposed NPRR removes the second step of this determination.  CenterPoint Energy asserts that this is a material change to the intent of the Protocol; therefore, the language should be reject as not synchronizing the zonal and nodal language as required by the TPTF Charter.

| Overall Market Benefit | Unknown |
| --- | --- |
| Overall Market Impact | Unknown |
| Consumer Impact | Unknown |

Revised Proposed Protocol Language