OWG Report to ROS

02/14/2008

The OWG met January 16th 2008.

OGRTF (Operating Guides Revision Task Force)

OGRTF met on January 15th, 2008.  The following OGRRS are pending at the OGRTF:

- OGRR165—Update Unit Telemetry Requirement:  This revision proposes to add a requirement for QSEs to submit real-time AGC status and Ramp Rate for all units in their portfolio.  ERCOT submits this OGRR to address Recommendation No. 14 of Potomac Economics’ recommendations to improve ERCOT’s wholesale market design.  This OGRR has been table per ROS directive.

- OGRR198—Provides guidance to ERCOT Compliance (Texas RE) in monitoring TSPs response to firm Load Shed requests from ERCOT System Operators during EECP Step 4.  This OGRR was remanded back to OGRTF by OWG for further language review.

- OGRR205—In this OGRR, QSE Managers Working Group (QMWG) is requesting to modify the ERCOT Operating Guides requirement mandating that the ERCOT Responsive Reserve Requirement Obligation is 2300 MW.  The request is to increase the Responsive Reserve Obligation to 2800 MW.  QMWG does not recommend modifying the MW thresholds for which Alerts or Emergency Electric Curtailment Plan (EECP) action is taken.  This OGRR will be reviewed for impact analysis by ERCOT before moving to ROS.

- John Jonte (CenterPoint Energy) was nominated for 2008 Chair and John Brockhan (CenterPoint Energy) was nominated for 2008 Vice-Chair.

Operations Task Force (OTF)

The Operations Task Force will meet on February 4th, 2008 to continue working on the 2008 (May) Hurricane Drill.  The scheduled date for the May drill is May 14th with a backup date of May 28th.  The drill script is being reviewed and revised.

Black Start Task Force (BSTF)

The BSTF did not meet in January.  Glenn Hemperley (CenterPoint Energy) and Kelly Blackmer (ERCOT) have volunteered to be Chair and Vice-Chair, respectively, of BSTF for 2008.   The annual Black Start Training program is now underway.

Nominations for 2008 Task Force Chairs and Vice-Chairs

Operations Working Group:

Chair—John Jonte (CenterPoint Energy)

Vice-Chair—David Smith (Suez Energy)

Black Start Task Force:

Chair—Glenn Hemperley (CenterPoint Energy)

Vice-Chair—Kelly Blackmer (ERCOT)

Note:  The BSTF has not met this year.  These are pending nominations and it is expected that BSTF will approve these nominations at the next BSTF meeting.  OWG is requesting ROS approval of these individuals and will report back to ROS if there are any changes to these nominations.

Operations Task Force:

Chair—Stan Morris (TNMP)

There is usually not a Vice-Chair.

Operating Guides Revision Task Force:

Chair—John Jonte (CenterPoint Energy)

Vice-Chair—John Brockhan (CenterPoint Energy)

Meeting Schedules for February:

Operations Task Force (OTF):   February 4th

Operating Guides Revision Task Force (OGRTF):  February 19th

Operations Working Group (OWG):  February 20th

Black Start Task Force (BSTF):  None scheduled.

John Jonte

OWG Chair (pending approval by ROS)

713-207-2252