ERCOT Load Profiling Guide

Section 7: Request for Changes to Load Profiling Methodology

January 1, 2008

7	 REQUEST FOR CHANGES TO LOAD PROFILING METHODOLOGY	1

7.1	Current Methodologies	1

7.2	Who May Submit a Request	1

7.3	Timeline for Processing a Load Profiling Methodology Change Request	1

7.4	Information Required with Request for Change	2

7.5	Evaluation of the Request	3

7.6	Approval of the Request	3

7.7	Costs for Load Profiling Methodology Changes	3

7.8	Procedure for Submitting a Request	4

# 7	REQUEST FOR CHANGES TO LOAD PROFILING METHODOLOGY

(1)	This section of the Load Profiling Guide (LPG) addresses changes and modifications to the methodology used to establish Load Profiles.  Any changes to the load profiling methodology shall be submitted as a Load Profiling Revision Request as described in Section 2.4, Load Profiling Guide Revision Procedure.

(2)	There shall be no retroactive application of any approved modifications to Load Profiling Methodology.

## 7.1	Current Methodologies

The following methodologies are used to establish Load Profiles:

| Type of Load | Load Profiling Methodology |
| --- | --- |
| Non- Price-Responsive |  |
| Non-interval metered | Adjusted Static Models |
| Non-interval metered with distributed renewable generation | Adjusted Static Models and Engineering Estimates |
| Non-metered | Engineering Estimates |
| Interval Data Recorder (Estimation) | proxy day |
| Price-Responsive |  |
| Time-Of-Use | chunking |
| Direct Load control | Lagged Dynamic |
| Other price-responsive | to be determined |

## 7.2	Who May Submit a Request

Any Market Participant (MP), the Profiling Working Group (PWG) or its designated successor, or ERCOT may submit a request for a change to the Load Profiling Methodology according to the procedures outlined in the LPG.

## 7.3	Timeline for Processing a Load Profiling Methodology Change Request

(1)	This section modifies the normal LPGRR change request timeline.  Within two Business Days of receiving the request, ERCOT shall reply to the submitter indicating that the request has been received and inform the submitter of the dates of the next PWG meetings.  The submitter shall then schedule a time to present the request, in person, to the PWG and ERCOT at a regularly scheduled PWG meeting.

(2)	After the request has been presented to the PWG, ERCOT shall post the methodology request to the Market Information System (MIS) and respond to the request within 60 days of the posted date of the request.  This period does not include the time to analyze and render the complete assessment of the request. The response shall indicate:

(a)	Whether the request is complete;

(b)	What additional data is required to evaluate the request, if applicable;

(c)	How the request shall be assessed;

(d)	An estimate of the time by which a decision on the request is expected to be ready; and

(e)	An estimate of the implementation date of the requested change, if approved.

(3)	During ERCOT’s evaluation of the request , ERCOT may request supplemental information determined to be important to fully evaluate the methodology change.

(4)	Due to the significance of a change to Load Profiling Methodologies, according to Protocol Section 18.2.9, Adjustments and Changes to Load Profile Development, a change shall only be implemented after the TAC approval and with at least 150 days notice to all MPs.  An exception may be made to the criteria defined in this section, if special circumstances indicate a need to implement a change more immediately to address critical market issues.

## 7.4	Information Required with Request for Change

(1)	The submitter shall describe the reason why a change to methodology is necessary, why the proposed methodology is superior to the current methodology, and how the benefits of the change outweigh the costs to implement the proposed methodology.

(2)	The submitter shall identify the following:

(a)	The Entity submitting the request;

(b)	Contact information;

(c)	The current methodology to be modified;

(d)	The proposed methodology or modification(s) proposed to the current methodology; and

(e)	The affected Load Profile segment(s) and Weather Zone(s).

(3)	The submitter shall include pertinent supporting data with the initial request to ERCOT.  Examples include the following:

(a)	Analysis of data available in ERCOT systems (e.g., Load research data, weather data from weather stations used by ERCOT Load Profiling, and monthly consumption data).  The submitter shall document data sources in detail and show analysis of any factors listed above to be considered in the evaluation.

(b)	Analysis of Load research data not available to ERCOT.  The submitter shall document data sources in detail, describe how the data was collected, document any data validation, editing, and estimation that has been performed, and describe the analysis.

(c)	Analysis of other data or other supporting evidence.  The submitter shall document data sources and present the associated analysis.

(4)	The submitter shall also provide evidence that:

(a)	The current profiles have substantial bias;

(b)	The proposed alternative mitigates the problem(s);

(c)	The change in methodology is warranted due to the severity of the problem(s) with the current profiles; and/or

(d)	The proposed alternative methodology corrects the problem(s) with the current profiles efficiently and cost-effectively.

## 7.5	Evaluation of the Request

ERCOT shall assess the request based on the data and analysis submitted with the request as well as possible additional analysis by ERCOT.  Factors considered in assessing any request shall include:

(a)	The quality of the supporting data provided;

(b)	The magnitude of differences indicated;

(c)	The size of the affected population; and

(d)	The effect on the rest of the market if the change is accepted.

## 7.6	Approval of the Request

The TAC approval is required to implement any change to a Load Profiling Methodology in accordance with Protocol Section 18.2, Methodology. The request shall follow the approval sequence described in Section 12, Request for Profile Segment Changes, Additions, or Removals.

## 7.7	Costs for Load Profiling Methodology Changes

(1)	The party requesting the methodology change shall pay all costs associated with developing the supporting data and documentation submitted to ERCOT for evaluation.

(2)	In the event the methodology change is approved, costs for implementing the changes in ERCOT data systems shall be the responsibility of ERCOT.  Responsibility for re-assigning Load Profiles remains with the Transmission and/or Distribution Service Provider (TDSP).

## 7.8	Procedure for Submitting a Request

The submitter or a designated representative shall present the methodology change request, in person, to the PWG at a scheduled PWG meeting.  During the submitter’s presentation, ERCOT and the PWG may ask for clarification of the request.  The PWG and ERCOT shall then determine what data and supporting documentation are needed from the submitter to evaluate the request.  All data, supporting files, and documentation shall be provided in electronic form.