January 30, 2008

Marguerite Wagner, Reliant

General Comments:

Most comments are not substantive—the document is in good shape with the exception of the appendix, which could use additional detail. For example, looking at the differences between the Nodal Data Services Master List (NDSML) from Fall (v3.1) and the latest 1/25 version, I can see the progression in some cases, but it isn’t always clear about how things that are different between the versions---got that way. (Were requirements absorbed into others, were requirements added?) If we could explain these differences it would be helpful.  Below are some examples of the changes.

- 5 minute reporting requirements from 2 versions of NDSML.    What happened to Index numbers 64 and 607 from the Fall version? Requirement 670 was absorbed into NP6-622

Requirement 607 from v3.1 is not NP6-606 in RT reporting CSD. (Green means consistency between the two versions of the NDSML)

|  | Version 3.1 from last Fall |
| --- | --- |
| Index # | Product name |
| 64 | Average of Loads |
| 93 | Breaker and Switch Status -- Network Security Analysis |
| 291 | Topology Consistency Analyzer Incorrect Breaker and Switch Status |
| 607 | Shadow Prices on Binding Transmission Constraints |
| 619 | State Estimator Transmission Flows and Voltages |
| 620 | State Estimator 15-minute Load Averages on Electrical Buses |
| 621 | State Estimator Electrical Bus Loads Summary by Bus and Zone |
| 622 | State Estimator Transformer Flows, Voltages and Tap Position |
| 650 | Permanent Removal of Electrical Bus within Hub Bus |
| 670 | Transformer Flows, Voltages and Tap Position |
| 676 | Transmission Flows and Voltages |
| 716 | Voltage Schedules |

Vs. version from 1/25/08

| Index # | Product Name |  |
| --- | --- | --- |
| NP3 - 650 - CD | Permanent Removal of Electrical Bus within Hub Bus |  |
| NP6 - 291 - CD | Topology Consistency Analyzer Incorrect Breaker and Switch Status |  |
| NP6 - 619 - CD | State Estimator Transmission Flows and Voltages |  |
| NP6 - 620 - CD | State Estimator 15-minute Load Averages on Electrical Buses |  |
| NP6 - 621 - CD | Individual transmission Load on Electrical Buses from the State Estimator |  |
| NP6 - 622 - CD | State Estimator Transformer Flows, Voltages and Tap Position |  |
| NP6 - 93 - CD | Breaker and Switch Status -- Network Security Analysis |  |

The 1/25/08 version of the NDSML contains NP6-483 for each SCED run (Filter NDSM on “Every”).  In contrast, v 3.1 of the NDSML has publication of SCED Shadow Prices for each SCED run (#483) (Filter NDSML on “Each”).  The CSD for RT reporting has 483, but the 1/25 version of 483 says “Each SCED Run (15 min)” and the v 3.1 has it as “Every SCED run (15 min).”  So is it Each or Every SCED run or is it a 15 minute value?

v3.1

| Index # | Product name |
| --- | --- |
| 483 | SCED Shadow Prices |

v.5.7 (1/25/08)

| Index # | Product Name |  |
| --- | --- | --- |
| NP6 - 787 - CD | LMPs by Resource Node |  |

CSD for RT has:

| NP6 - 483 - RT | SCED Shadow Prices |
| --- | --- |
| NP6 - 606 - RT | Shadow Prices on Binding Transmission Constraints |

Should LMPs by Resource node be published for every SCED run? (I think they should—and these are ‘on demand’ typically every five minutes, but they are not 15 minute aggregate values.)  Also, do we need LMPs for Hubs and Load Zones in the RT reporting document?  Do we want these at the ‘every SCED run’ or only the calculated Settlement values?

Does the CSD 483/606 requirement mean every SCED run?  If these Requirements map back to the NDSML the information from the NDSML in terms of data granularity should be included in the CSD. If this information will be expanded in the Detailed System design that is ok—as long as the Detailed System design doesn’t require a Non-Disclosure Agreement (NDA) to review. If an NDA is required to review the detailed design doc, that granularity should be in this document because everyone in the market needs to know the types of data that will be provided in the reports.