January 29, 2008

Naomi Richard, LCRA

RE: EDS 3 SCED Market Participant Handbook v3.01

General Comments

1.  p. 26  System Readiness - Some of the Weekly Reports are embedded in the list of spreadsheets.  Will this document be updated with every new status report added to the Readiness Site?  There are other reports not shown.  Not sure why some were included and others excluded.  Seems difficult to maintain rather than just referring to the URL.

2.  p. 30  "Planned data submittal changes beginning December 21....." - should this section be updated as well to reflect the new timeframe?  Also, are the system limitations under Output Schedules still system limitations?

3.  p. 35  EDS Environment - Will NMMS be there on 2/15 when we begin the Six Month LMP Posting as reflected in the shaded diagram?

4.  p. 36  "For each test day, QSE's with Generation Resources will submit selected SCED inputs by 4 p.m. for the next test operating day."  Is this the correct time or is it by 10 a.m.?

5.  p. 37  "Starting in Mid-April the EMS and MMS systems will be manned with ERCOT Grid Operations personnel 24x7."  Is this consistent with the recently published SLA (see excerpt below)?

- 4.	Support

|  | Service Parameter | Specification |
| --- | --- | --- |
| 1. | Support Hours | 02/01/08 – 12/01/08 8:00 AM – 5:00 PM CT Business Days After Hours: On call support Note: During peak demand, ERCOT team will coordinate with Market Participants to provide extended testing hours as needed. |

6.  p. 37  Can unscripted R5.4 testing begin on 2/15 with specified system limitations?