OWG Report to ROS

2/14/08

The OWG met January 16, 2007.  The following provides a summary of the meeting:

Operating Guides Task Force (OGRTF)

The following OGRRs are pending at the OGRTF:

- OGRR165 – Update Unit Telemetry Requirement:  This revision proposes to add a requirement for QSEs to submit real-time AGC status and Ramp Rate for all units in their portfolio. ERCOT submits this OGRR to address Recommendation No. 14 of Potomac Economics’ recommendations to improve ERCOT’s wholesale market design.  This OGRR has been tabled per ROS directive.

- OGRR198-Firm Load Shed Implementation Time Periods

Proposed language identifies the immediate need for firm load shed when requested by ERCOT and states that the responsible entity for firm load shed is the Transmission Service Provider (TSP), or the designated agent.  All SCADA initiated firm load will be shed without delay and in a period not to exceed 30 minutes for the load amount to be shed.  Manually shed firm load (crew dispatched to substation) will be shed in a period not to exceed 60 minutes.   OWG recommends this OGRR to ROS as a voting item in the February 2008 meeting.

- The OGRTF met on January 15, 2008.  The next meeting is scheduled for February 19th.

Operations Task Force (OTF)

The Operations Task Force will meet on Monday, February 4th to continue work on the 2008 Hurricane Drill that is scheduled for May 14th.  An alternate date is May 28th.

Black Start Task Force (BSTF)

Annual Black Start Training is in progress.  The next Black Start Task Force meeting will be in March 2008.

Other

- Colleen Frosch updated OWG on Power Operations Bulletins.

- Colleen Frosch mentioned that 27 CEHs training credit would be available at the ERCOT Operator Training Seminar (focus on Nodal this year).

- A question was brought up for Texas RE:  What is the TRE requirement for TOs and QSEs to submit their backup plan each year?  Due date?

2008 Chairs and Vice-Chairs

The following list of nominated Chairs and Vice-Chairs was sent to ROS for 2008:

OWG Chair—John Jonte, CenterPoint Energy

OWG Vice-Chair—David Smith, Suez Energy

OTF—Stan Morris, Texas New Mexico Power

OGRTF Chair—John Jonte, CenterPoint Energy

OGRTF Vice-Chair—John Brockhan, CenterPoint Energy

BSTF Chair—Glenn Hemperley, CenterPoint Energy

BSTF Vice-Chair—Kelly Blackmer, ERCOT

The next OWG meeting is scheduled for February 20th, 2008.

The OWG has the following list of volunteers for chair and vice chair openings:

- John Jonte of Centerpoint for OWG Chair

- David Smith of Suez for OWG Vice Chair

- Glenn Hemperley of Centerpoint for BSTF Chair

- No volunteers for BSTF vice chair

- No volunteers for OGRTF chair

- John Brockhan of Centerpoint for OGRTF vice chair

- Stan Morris of TNMP for OTF chair

The January meeting is scheduled for the 16th.

John Jonte

OWG Chair

713-207-2252

.