## Slide 1: Texas Regional Entity Report
Larry Grimm
February 7, 2008

## Slide 2: Performance Highlights
ERCOT’s Control Performance Standard (NERC CPS1) score for December – 120.71
Initial scores for December indicates 33 non-wind-only QSEs passed and 1 non-wind-only QSE failed the PRR 525 measure

## Slide 3: Texas RE Monthly Summary
For December……….
  Protocol & Operating Guides violations
    1 new alleged
  NERC Standards violations
    2 alleged – all resulting from Registered Entity spot checks
  Reportable events
    1 Compliance Review in final stage
    1 new event reported – Compliance Review initiated
NERC approved the Texas RE 2008 Compliance Enforcement Program Implementation Plan

## Slide 4
Texas Regional Entity
Report Details

## Slide 5: NERC CPS1 Performance
ERCOT’s CPS1 Performance
  December Performance
    Monthly comparison
      2007: 120.71
      2006: 129.47
    12 month rolling average comparison
      January 2007 December 2007: 127.59
      January 2006 December 2006: 142.02
PRR 525 Performance
  Scores for December indicate 33 non-wind-only QSEs passed and 1 non-wind-only QSE failed the measure
  Scores posted on the ERCOT Compliance Website
    SCE Performance Scores

## Slide 6: ERCOT CPS1 Performance Comparison

## Slide 7: ERCOT CPS1 Year-to-Year Comparison

## Slide 8: ERCOT’s CPS1 Monthly Performance

## Slide 9: ERCOT CPS1 by Interval

## Slide 10: QSE PRR 525 10-Minute Interval Scoring

## Slide 11: December 2007 – SCPS2 Scores

## Slide 12: December 2007 Resource Plan Performance Metrics

## Slide 13: Registration Activities
Entity Registration issues continue to be addressed
Purchasing-Selling Entity (PSE) registration
  New entity registration notices were sent to 33 entities
  Registration criteria used:
    Entity operates as a Qualified Scheduling Entity (QSE) in the ERCOT Market
    NERC Functional Model for PSE function
    Able to schedule transactions over the DC ties
ERCOT ISO PSE registration has been removed
Load-Serving Entity (LSE) registration is to be addressed – On hold until December 20th FERC Order Directives related to LSE registration issues are addressed
Joint Registration Organization (JRO) of some entities is likely

## Slide 14: NERC Functional Entity Types
DP – Distribution Provider
GO – Generator Owner
GOP – Generator Operator
TO – Transmission Owner
TP – Transmission Planner
PSE – Purchasing-Selling Entity
RC – Reliability Coordinator
BA – Balancing Authority
TOP – Transmission Operator
PA – Planning Authority
TSP – Transmission Service Provider
RP – Resource Planner

## Slide 15: Compliance Process Flowcharts
NERC Compliance Monitoring and Enforcement Program – Reliability Standards
  Link to NERC Reliability Flowcharts
ERCOT Compliance Process – ERCOT Protocols and Operating Guides
  Link to Protocols & Guides Flowcharts

## Slide 16: 2008 Audits by Registered Function

## Slide 17: 2008 Compliance Audits Scheduled by Entity

## Slide 18: 2008 Audit Schedule
The 2008 Texas RE Audit Schedule is available here.

## Slide 19: Compliance Reviews of Events by Month

## Slide 20: Violations of ERCOT Protocols

## Slide 21: Violations of NERC Standards Reported by Month

## Slide 22: NERC Standards Self-Certification
NERC Registered Entities NOT audited in 2007 required to self-certify to the actively monitored Reliability Standards applicable to their Registration(s)
  165 Total Registered Functions
  99.4% overall response
  1 outstanding response
    Following the NERC escalation process to obtain an acceptable response from the entity

## Slide 23: NERC Standards Self-Certification
To date, 25 alleged violations have been identified through December 2007
  9 FAC-008 – lack documented process
    3 GOs
  6 FAC-009 – lack documented process
    3 GOs
  4 CIP-001 – lack documented process
    1 GOP
  3 IRO-004 – lack documented process
    2 GOs; 1 GOP
  3 PRC-005 – relay maintenance delinquent
    1 TO; 2 GO

## Slide 24: NERC Standards Self-Certification Violation Details

## Slide 25: NERC Standards Self-Reported Violations Pre-June 18th

## Slide 26: Risk Factors for Self-Reported NERC Standards Violations Pre-June 18th

## Slide 27: NERC Standards Self-Reported Violation Categorization Pre-June 18th