## Slide 1
PWG Update Report
By
Brad Boles
of Cirro Energy
ERCOT PWG Vice-Chair
for
COPS Meeting
February 12, 2008

## Slide 2
Current Leadership was reelected
Ernie Podraza - Chair
Brad Boles – Vice Chair

## Slide 3
Updated PWG 2008 Goals
(not ranked by priority)

## Slide 4: Round 2 Sample Point Installation Tracking Percent New Installations as of Jan. 23, 2008

## Slide 5: Round 2 Sample Point Installation Tracking Percent New Installations Plus Retained Sample Pts

## Slide 6
Demand Response Update
Demand Response Task Force (DRTF) is writing market language for the Bridge (short) Solution of summer of 2008 implementation.
The PWG recommends the COPS withdraw PRR736.
The PWG has withdrawn LPGRR027.
The PWG requests guidance from the COPS as to whether and on what timeline to continue to develop a long term DR solution.
  Note the non-consensus impasse on how to implement new profiles id assignments still exists with no simple or inexpensive solution.

## Slide 7
New Solar Profile Update
Status after the PWG meeting Jan. 23
The PWG reviewed the DGTF recommendation 3
Two channel capable meters (inflow and outflow readings) assumed
The 867 “information only” field shall be used for the outflow energy
Three possible short term solutions pending ERCOT final review
Fourth possible PWG suggestion which ERCOT is investigating
  Designing several new residential profiles based on the size of the installed solar panel
  Designing a separate solar profile for the outflow energy
  Drafting needed PRR and LPGRR language
  TDSP shall submit to ERCOT the Interconnect Agreement to be used for ESIID identification, verification, and solar panel kW

## Slide 8
New Solar Profile Update – cont.
Status after the PWG conference call Feb. 4
Fourth proposal not viable by 1/1/2009
Fifth possible PWG suggestion which ERCOT is investigating
  Designing several new residential profiles based on the size of the installed solar panel
  Solar outflow energy would be a negative load deduction
  Drafting needed PRR and LPGRR language
  TDSP shall submit to ERCOT the ESIID identification, Distributive Generation (DG) Type and kW capacity
  Settlement solution to include solar, wind or other DG options

## Slide 9
New Solar Profile Update – cont.
The PWG conference call Feb. 18
Discuss the fifth option proposed on Feb. 4

## Slide 10
Questions?
PWG 2008 meeting dates;
Feb. 28
And the 4th Wednesday of the month for Mar. – Oct.