## Sheet1
Index # | Product Name | Data Source | Generating System | Generating Frequency | Archival System | Format | Intended Recipient | Product Definition | Protocol Reference | NPRR097 Impact | Luminant Comments
NP8 - 140 - ER | COP Report | MMS | CDW | Monthly, Annually | MIR | PDF | MIS Secure | Report on difference between day ahead cop and real-time status excluding RUCed units.Report a QSE's COP validation failures. | 8.1.2; 8.1 (3) (rt); 8.1.3 NPRR097 | No change to report, updated Protocol reference.Update Reporting Requirement to meet NPRR097 provisions. | With regard to document format Luminant proposes the following general rules:. 1. Never use PDFs 2. Text and graphic oriented documents/reports should use MSWord 3. Data oriented documents/reports should use CSV or XML (or both - depending on the intended use of the report) 4. When files have an application specific format - like the CIM files for NOM - use the specified format
NP8 - 143 - ER | CPS1, CPS2, DCS Reports | EMS | CDW |  |  |  |  | CPS1, CPS2, DCS Reports | 8.1 (3) (e); 8.1.1.3 | Ancillary Services Capacity Monitor; 10 second report to QSEs The 10 sec MIS update does not appear consistent with the performance metrics for the MIS. Suggest that ERCOT accumulate the 10 sec updates and post the accumulated results to the MIS every 5 mins.
NP8 - 146 - ER | TSP Critical Data Availability Statistics Report | EMS, Pi | CDW |  |  | Cognos Report | ERCOT - Operations Support | ERCOT will utilize ‘Critical Points Violating Quarterly Availability Standards’ reporting to verify that 95% of critically important real time measurements (telemetry important for monitoring 345kV lines, 345/138kV transformers or any other congested crit | 8.1 (3), 8.3 (1)(b) | No change to report, updated reference & specified that this is a TSP report.
NP8 - 212 - ER | Disturbance Performance Report | EMS | CDW | See NP8-501-ER |  |  | See NP8-501-ER | Report on the governor response evaluation.Generation Resource Energy Deployment Performance | 8.1.1 (a) 8.1.1.4.1(2); 8.1.1.4.1(3) | Updated Protocol reference. See NP8-501-ER
NP8 - 284 - ER | TSP ICCP Link Availability Statistics Report | EMS, Pi | CDW |  |  | Cognos Report | ERCOT - Operations Support | ERCOT will utilize ‘ICCP Link Availability Statistics’ reporting to verify that ICCP link availability is at 98% (excluding planned outages) on monthly basis. A link is considered to be available if at least 85% of data is transferred to ERCOT as “Valid” | 8.1 (3)(c)(ii), 8.3 (1)(b)(ii) | No change.
NP8 - 365 - ER | Monthly Market Participant Real Time Availability Statistics Report | EMS, Pi | CDW |  |  | Cognos Report | ERCOT - Operations Support | ERCOT will utilize ‘Monthly Market Participant Real Time Availability Statistics’ reporting to verify that 98% of all telemetry provided to ERCOT achieves a quarterly availability of 80%. This report will enable ERCOT to evaluate the availability and qua | 8.1 (3)(c) [QSE & Gen Resources]; 8.3 (1)(b)(i) [TSP] | No change. IF: updated reference.
NP8 - 37 - M | Ancillary Service Test - Load Resource | N/A | N/A | Upon update (Protocol/Guide) |  | Downloadable (e.g., a file) | All MPs | General Capacity Testing Requirements. Post standard test document for simulation of Load interruption required for Ancillary Services Test | 8.1.1.2(3)-(4) 8.1.2.2 (3) 8.1.2.2 (4) | Updated Protocol reference.
NP8 - 374 - SG | Net Dependable Capability Test Report | NDCRC | NDCRC | Ad Hoc, Monthly, Annually |  |  | QSEs | Unit name, QSE, Date, time, test capability, reported time. | 8.1 (3) (a) | No change.
NP8 - 383 - ER | Non-Spin Performance Report | EMS | CDW |  |  |  | QSEs | Non-spin performance report. | 8.1 (3)(m) (o) | Updated Protocol reference.
NP8 - 402 - M | Operations Performance Non-Compliance Report | Manual process | Manual process | Ad Hoc |  | View Only |  | Non-Compliance. Post Performance Non-Compliance reports | 8.4 | Requirement to report to TAC/BoD/PUCT & NERC has been deleted. Allows ERCOT to require MPs to submit corrective plans. No specific requirement to "post."
NP8 - 403 - M | Operations Performance Report | Manual process | Manual process | Ad Hoc | MIR | View Only |  | ERCOT Performance Monitoring and Compliance. Post reports that the WEMM delivers to TAC on ERCOT's operations and Performance (Operations Performance Report) by TAC or designated subcommittee. ERCOT responsibility is post only not generate report. | 8.2 | Removes WEMM requirement to report on ERCOT performance; delegates to TAC or subcommittee.
NP8 - 409 - ER | Outage Schedule Report | OS | OS |  |  |  |  | Outage schedule report. | 8.1 (3) (j), 8.1 (3)(q) (s) | Updated Protocol reference.
NP8 - 418 - ER | PDC unit trip report | EMS, Pi | PI ? |  |  |  |  | Report on the A, B, C points, Total MW loss, frequency deviation, recovery time, and other information required by PDC on unit trips which create a frequency deviation over a threshold set in EMS (currently 0.1 Hz deviation i.e. < 59.9 Hz) | 8.5.2(1)-(5)8.5.2 (2), 8.5.2 (5), 8.5.2.2 | Updated Protocol reference.
NP8 - 472 - ER | QSE ICCP Link Availability | EMS, Pi | CDW | Monthly |  | Cognos Report | ERCOT - Operations Support; QSEs | In order to act upon ICCP link availability issues, this report will notify Operation Support staff of Out of compliance QSE ICCP link availability each month | 8.1 (3)(c)(ii), 8.3 (1)(b)(ii) | No change. This is a QSE report.
NP8 - 475 - ER | QSE Quarterly Point Availability Statistics Report | EMS, Pi | CDW |  |  | Cognos Report | ERCOT - Operations Support; QSEs | ERCOT will utilize ‘Quarterly Point Availability Statistics’ reporting to verify that Each point achieves a quarterly availability of at least 80%. This report will enable ERCOT to evaluate the availability and quality of each telemetered measurement. | 8.1 (3)(c)(i), 8.3 (1)(b) | Updated Protocol reference.
NP8 - 477 - M | RARF Receipt Report | Manual | Collage |  |  |  | TheQSE | RARF receipt report & Dynamic data receipt report. | 8.1 (3) (i) | No change.
NP8 - 478 - SG | Reactive Capability Test | NDCRC | NDCRC | Ad Hoc, Monthly, Annually |  |  | The QSE | Unit name, QSE, Date, time, test capability, reported time | 8.1 (3) (b) | No change.
NP8 - 492 | Regulation Qualification Test Results | EMS | EMS? |  |  |  | The QSE | Regulation qualification test results. | 8.1.2.2.3 (8) | Qualification requirement; no "posting" specified. <delete?>
NP8 - 498 - UI | TSP Monitoring - Model Updates | NMMS | EIP WS |  |  |  |  | Report of compliance metrics for model update requirements. | 8.3 (1) (d) | No change.
NP8 - 499 | TSP Monitoring - NERC/Op Guide Compliance | EMS | this req. is deleted in the proposed rev to Section 8. |  |  |  |  | Report of NERC standards and Operating Guides requirements. | 8.3 (1) (j) | Deleted by NPRR.
NP8 - 500 - M | Actual Governor Response | Manual Process | Collage | Monthly, on demand | MIR |  |  | Generation Resource governor modeling information required in the ERCOT planning criteria must be determined from actual Generation Resource testing described in the Operating Guides. Within 30 days of ERCOT’s request, the results of the latest test perf | 8.5.1.2 (2) | This report is generated by Generation Resource not ERCOT. No requirement to post.
NP8 - 501 - ER | Provided Regulation | EMS, MMS | CDW | Daily & Monthly | MIR |  | QSEs | Text revised entirely. Report describing the one-minute and ten-minute calculated averages for each QSE of the “Provided Regulation” equal to the sum of (a) and (b) where: (a) for all of the QSE’s Resources in ONREG, ONOSREG or ONRGL status: (b) for all of the QSE’s Resources | 8.1.1.4.1(1)-(3) 8.1.2.4.1 (1) | (3) ERCOT shall post to the Certified Area of the MIS for each QSE a report for each of the QSE’s Generation Resources that includes: (i) the percent of the monthly SCED intervals during which the Generation Resource was online and released to SCED Base Point dispatch instructions; (ii) the percent of the monthly SCED intervals during which the Generation Resource was providing Regulation Service; (iii) the percent of the monthly SCED intervals during which the Resource was released to SCED that the GREDP was less than 2.5%; (iv) the percent of the monthly SCED intervals during which the Resource was released to SCED that the GREDP was equal to or greater than 2.5% and equal to or less than 5.0%; (v) the percent of the monthly SCED intervals during which the Resource was released to SCED that the GREDP was greater than 5.0%; (vi) the percent of the monthly SCED intervals during which the Generation Resource was providing Regulation Service that the GREDP was less than 2.5%; (vii) the percent of the monthly SCED intervals during which the Generation Resource was providing Regulation Service that the GREDP was equal to or greater than 2.5% and equal to or less than 5.0%; (viii) the percent of the monthly SCED intervals during which the Generation Resource was providing Regulation Service that the GREDP was greater than 5.0%.
NP8 - 502 - M | Hydro Responsive Testing | Manual Process | Collage | Ad Hoc | MIR |  |  | Record of when hydro responsive test was received at ERCOT and results. | 8.1 (3) (g) | No change.
NP8 - 503 - M | NERC Assessments | Manual Process | Collage | Ad Hoc | MIR |  |  | Report for NERC reliability-related assessments, for QSEs and Generation Resources | 8.1 (3) (v) | Report deleted by NPRR.
NP8 - 504 - ER | Historic Non-Spin Availability | EMS | CDW | Daily or Monthly | MIR |  |  | Report on Non-Spin reserve quantity available by hour by resource for a selected time period. | 8.1.2.3.3 (1) 8.1.1.3.3 | Updated Protocol reference.
NP8 - 505 - M | Transmission Element Rating Methodology | Manual Process | Collage | On Demand | MIR | Text file |  | Report of compliance metrics for transmission element rating calculations. | 8.3 (1) (a) | No change.
NP8 - 506 - ER | Outage Scheduler Metrics | OS | OS - ck w/Robt Matlock to see if defined same as Monitoring Prog |  |  |  |  | Report of compliance metrics for outage scheduling and coordination. | 8.3 (1) (c) | No change.
NP8 - 507 | TSP Charges for ESI IDs | [6 empty] | Report of compliance metrics for availability of TSP charges for each ESI ID. | 8.3 (1) (e) | No change; ERCOT does not have this information. | Remove from Protocol.
NP8 - 508 - M | Black Start Procedure | Manual Process | Collage | Annually | MIR | Text file |  | Report of Black Start procedures and system capacity and energy emergency procedures. | 8.3 (1) (f) | TSP monitor subsection; deleted by NPRR.
NP8 - 509 - M | TSP Backup Plan | Manual Process | Collage | Annually | MIR | Text file |  | Report of compliance metrics for Back-up Control Plan. | 8.3 (1)(f) (g) | Staffing requirement for back-up control center text added.
NP8 - 510 | Dispatch Instructions Compliance Metrics | Incident Reports | ODS ? | Monthly or Annually |  | Text file |  | Report of compliance metrics for Dispatch Instructions. | 8.3 (1)(g) (h) | Specified "valid" instruction.
NP8 - 511 - ER | Voltage & Reactive Control Performance metrics [4 Reports] | EMS | CDW | Ad Hoc, Monthly, Annually |  |  |  | Report of compliance metrics for Voltage and Reactive control performance. | 8.3 (1) (i) | Deleted by NPRR.
NP8 - 513 - M | Governor Test Results | Manual Process | Collage | Ad Hoc, Monthly, Annually | MIR |  |  | Report of generation resources governor speed tests received from generation entities. | 8.5.1.2 (1) | Report provided by Gen Resource to ERCOT; no requirement to post. ERCOT forwards to appropriate TSP.
NP8 - 514 - M ER | Blocked Governor Response Report | EMS | CDW | Ad Hoc, Monthly, Annually |  |  |  | When the governor of a Generation Resource is blocked while the Resource is operating, the QSE shall promptly inform ERCOT. The QSE shall also supply governor status logs to ERCOT upon request. | 8.5.1.2 (3) | Report provided by QSE to ERCOT; no requirement to post.
NP8 - 517-MER | Controllable Load Qualification Test | EMS | CDW | Ad Hoc, Monthly, Annually |  |  | MIS Public | Reported controllable load expected to provide AS. | 8.1.1.2 (2)-(5) 8.1.2.2 (2) | Standard Test document.
NP8 - 519 | Reported units expected to run over 168 hours | EMS | [5 empty] | Reported units expected to run over 168 hours. | 8.1.1.2(1) 8.1.2.2 (1) | Updated Protocol reference. QSE generates report.
NP8 - 541 - ER | Responsive Reserve Performance Report | EMS | CDW | Ad Hoc, Monthly, Annually |  |  |  | Responsive performance report. | 8.1 (3) (k) | No change.
NP8 - 542 - ER | Responsive reserve availability report | EMS | CDW | Daily or Monthly | MIR |  |  | Report on responsive reserve quantity available by hour by resource for a selected time period. | 8.1.1.3.2(1) 8.1.2.3.2 (1) | Updated Protocol reference.
NP8 - 544 - SG | Responsive Reserve Qualification Test Results | EMS | EMS, Pi | Ad Hoc |  |  |  | Responsive reserve qualification test results. | 8.1.1.2.1.2(8) 8.1.2.2.3 (8)(a), 8.1.2.2.3 (8)(d) | Updated Protocol reference. Qualification requirement; "posting" not specified.
NP8 - 568 - ER | RUC Report | MMS | CDW | Monthly, Annually | MIR | PDF |  | Report on the difference between RUC ordered start time and actual start time. | 8.1 (3)(s) (w) | Updated Protocol reference.
NP8 - 65 - M | AVR Test Results & PSS Test Results | Manual Process | Collage |  |  |  |  | AVR test results & PSS test results. | 8.1 (3)(o) (q) | Updated Protocol reference.
NP8 - 683 - ER | TSP ICCP Link Availability | EMS, Pi | CDW | Monthly |  | Cognos Report | ERCOT - Operations Support | In order to act upon ICCP link availability issues, this report will notify Operation Support staff of Out of compliance TSP ICCP link availability each month | 8.1 (3)(c)(ii), 8.3 (1)(b)(ii) | DUP - NP8-284-ER Delete
NP8 - 691 - ER | Unit Performance Report | EMS | CDW | Ad Hoc, Monthly, Annually |  |  | All MPs, IMM, TRE, ERCOT | Report on unit’s performance in following energy + regulation + Responsive; can select responsive reserve providers only. | 8.1.1.4.2(1)(a) 8.1 (2), 8.1(3)(f); 8.1.2.4.2(1), 8.1.2.4.4 | Updated Protocol reference. Requirements satisfied by reporting under NP8-501-ER.
NP8 - 70 - M | QSE Backup Plan | Manual process | Collage | Annually |  | Text file |  | Backup plan. | 8.1(3)(l) & (p) (r) | Updated Protocol reference.
NP8 - 87 - M | Black Start Procedure Submittal Report | Manual Process | Collage | Annually | MIR | Text file |  | Record of when black start procedure received at ERCOT and location. | 8.1(3)(d), 8.1(3)(h) | No change.
NP8 - 88 - M | Black Start Qualification Report | Manual Process | Collage | Annually | MIR | Text file |  | Black Start Qualification report. | 8.1.1.2.1.5(2)8.1.2.2.6 (2) (d) (ii), 8.1.2.2.6 (2) (d) (iv) | Updated Protocol reference.
NP8 - 900 | Dynamic Data Receipt Report | NMMS | [5 empty] | Dynamic data receipt report. | 8.1(3)(i) | No change.