| NPRR Number | 092 | NPRR Title | Remove Voltage Schedules Requirement |
| --- | --- | --- | --- |
| Date |  | February 15th, 2008 |  |
| Submitter’s Information |  |  |  |
| Name |  | Randy Jones (on behalf of the ROS) |  |
| E-mail Address |  | rajones@calpine.com |  |
| Company |  | Calpine |  |
| Phone Number |  | 713.830.8846 |  |
| Cell Number |  | 832.385.3322 |  |
| Market Segment |  | Independent Generators |  |

Comments

| Overall Market Benefit | Correction to data posting and transparency requirements. |
| --- | --- |
| Overall Market Impact | Correction to data posting and transparency requirements. |
| Consumer Impact | Removes confusing data from market information postings. |

Voltage Profile values (established by ERCOT Planning working with TSP local operating centers) are seasonal and used for planning and studies involving future time frames.  On the other hand,  Voltage Schedule values are for use in real time operations and recognize current conditions (as opposed to future assumed normal conditions with Profile values). Voltage Schedule values, of necessity, often change several times in an hour. ERCOT has delegated to TSP local operating centers the responsibility to monitor and adjust voltage schedule values as needed by dispatching injection point voltage set points for generators either through direct contact with the Resource or through the Resource’s QSE.

Currently ERCOT only gets involved in real time voltage dispatch functions if the TSP local operating center is unable to achieve acceptable voltage or if Voltage Support Service dispatch is needed from a generation source (OOM-E Down to allow increased MVar production or instructing a Resource to produce MVars above its URL/CURL value). Thus the hourly posting of Voltage Profile value serves no purpose and hourly posting of Voltage Schedule values is considered unnecessary, and of no real value to the market or its operating companies.

ROS supports and recommends passage of 092-NPRR-01, as submitted by ERCOT (John Adams) and does not support and recommends rejection of 092-NPRR-03 that was submitted on behalf of TPTF.  ROS also recommends that TPTF ensure that the seasonally developed Voltage Profiles are posted on a seasonal basis on the Nodal MIS.

Revised Proposed Protocol Language

None proposed.