## Slide 1: TPTF Verifiable Cost Sub-group Summary
Report to WMS
2/20/2008
Jim Galvin- TPTF VC Sub-group Chair

## Slide 2: Meeting Summary
VC Sub-group has met twice since the last update to WMS
The Sub-group will meet one additional time (TBD) and finalize the following:
  Seek resolution to outstanding issues
  Develop draft NPRR language where appropriate
  Formulate detailed report back to TPTF and to March WMS
  Identify and recommend additional discussion points and seek direction from TPTF and WMS for additional follow-up work

## Slide 3: Summary of Resolved Items
VC Sub-group has consensus on the following items
  Capturing Start-up Costs from Breaker Close to LSL*
  Including verifiable Shut-down Costs as a component of Start-up Cost
  Recovery of Costs when RUC is cancelled (by ERCOT) and Cost recovery during SPS
  Use of verifiable Auxiliary Equipment required for Start-up
  Emissions Costs for Start-up and Minimum Energy will be included in VC process*

## Slide 4: Summary of Resolved Items
(Continued)
  Average Incremental Heat Rate monotonically non-decreasing* based on historical or test data
  Fuel costs to be settled at Fuel Index
    (For extra-ordinary costs related to swing, imbalance fees, increased transportation costs or curtailments see Extra-ordinary Events)
  Utilization of Handy-Whitman Index as an appropriate escalation factor for historical cost information
  Increase the threshold for making Verifiable Costs mandatory
    Group recommends 5 RUC events over a rolling 12-months

## Slide 5: Combined Cycle Plants
CCP may submit Verifiable Costs by registered configuration
CCP must submit Verifiable Costs for any configuration that meets the Verifiable Cost threshold
  Configurations not meeting the threshold are not required to submit costs
VC Group agrees that components of the Combined Cycle whitepaper and VC Process must be synchronized

## Slide 6: Split Generation Resources (SGR)
SGR’s may submit Verifiable Costs individually or through a Management QSE (Master QSE)
O&M and fuel costs may be split by percentages as submitted by individual owners rather than solely based on percentage of ownership
  ERCOT has the discretion to approve individually submitted cost elements for SGR’s. ERCOT may require that all owners submit costs so all cost elements are allocated correctly

## Slide 7: Asterisk Items
Start Costs- Group will re-visit the concept of including ALL fuel from Start to LSL
  Some fuel is compensated when unit reaches breaker close, may be double counting some incremental fuel
Emissions costs- Settlement must be priced at either Index or verified historical costs
Incremental Heat Rate Curve- follow-up discussion on how to correct decreasing portions of the curve

## Slide 8: Non-consensus Items
Power Purchase Agreements
  Arguments both for and against including Power Purchase Agreement costs in the VC Process
  Concerns voiced in favor indicate that there are costs in current agreements that may not be recoverable in the Verifiable Cost Process
  Concerns of those opposed indicate that costs in PPA’s may not reflect actual cost to operate
Recommended that those wanting to pursue PPA’s as a form of verifiable costs to bring the subject to WMS

## Slide 9: Unresolved Items
Variable O&M-
  Comments from Sub-group members and TPTF members will be requested on current appendix information in the VC Manual
  Main discussion point for next meeting
Exceptional Events
  One-off type costs due to exceptional events that are significant and not recoverable in VC Process
  Need to define Exceptional parameters and a subsequent cost recovery process
Implementation Plan-
  ERCOT to review current VC Manual language for additional details or clarification

## Slide 10: Questions