## Slide 1: CSC Utilization Report 2007 January - December
WMS
20 February, 2007

## Slide 2: Outline
Zonal congestion – costs and quantity
Active and binding intervals
Actual CSC flows vs limits

## Slide 3: CSC Congestion Charges collected from QSEs
$Million | E_N | N_H | S_H | S_N | N_W | W_N | N_S | TOTAL
01/2008 | -- | -- | -- | -2.0 | .1 | 6.6 | 2.6 | 7.3
2007 total | -- | 39.8 | 12.5 | -1.5 | 5.1 | 4.4 | -- | 60.2
2006 total | 7.4 | 8.4 | 31.4 | 1.5 | 3.0 | 0.2 | -- | 52.0
Settlement quality data available through November 2007.

## Slide 4: Number of Intervals Constraints were Binding
 | E_N | N_H | S_H | S_N | N_W | W_N
2007 total | -- | 1476 | 452 | 105 | 254 | 424
2006 total | 198 | 504 | 2192 | 588 | 361 | 47

## Slide 5: Summary of Zonal Congestion Occurrences - Intervals
 | N_H |  | S_H |  | S_N |  | N_W |  | W_N | 
 | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding
Jan | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 0 | 0
Feb | 0 | 0 | 6 | 6 | 26 | 15 | 18 | 17 | 0 | 0
Mar | 0 | 0 | 58 | 52 | 14 | 12 | 5 | 4 | 3 | 0
Apr | 274 | 215 | 25 | 15 | 0 | 0 | 0 | 0 | 58 | 45
May | 440 | 321 | 112 | 87 | 1 | 1 | 21 | 18 | 25 | 15
Jun | 200 | 142 | 261 | 184 | 0 | 0 | 37 | 29 | 0 | 0
Jul | 74 | 46 | 52 | 30 | 28 | 24 | 30 | 27 | 0 | 0
Aug | 21 | 12 | 0 | 0 | 34 | 26 | 17 | 9 | 23 | 19
Sep | 81 | 56 | 0 | 0 | 0 | 0 | 12 | 8 | 12 | 8
Oct | 102 | 75 | 111 | 78 | 0 | 0 | 40 | 40 | 133 | 102
Nov | 745 | 609 | 0 | 0 | 39 | 27 | 2 | 2 | 190 | 133
Dec | 0 | 0 | 0 | 0 | 0 | 0 | 143 | 97 | 119 | 102
2007 total | 1937 | 1476 | 625 | 452 | 142 | 105 | 332 | 254 | 563 | 424
2006 total | 677 | 504 | 2864 | 2192 | 878 | 588 | 472 | 361 | 66 | 47

## Slide 6: Summary of Zonal Congestion Occurrences - Days
 | N_H |  | S_H |  | S_N |  | N_W |  | W_N | 
 | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding
Jan | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
Feb | 0 | 0 | 2 | 2 | 3 | 3 | 2 | 2 | 0 | 0
Mar | 0 | 0 | 4 | 4 | 1 | 1 | 2 | 1 | 1 | 0
Apr | 12 | 12 | 3 | 1 | 0 | 0 | 0 | 0 | 6 | 6
May | 14 | 13 | 11 | 10 | 1 | 1 | 5 | 5 | 2 | 2
Jun | 12 | 10 | 16 | 14 | 0 | 0 | 4 | 4 | 0 | 0
Jul | 12 | 11 | 6 | 5 | 2 | 2 | 4 | 4 | 0 | 0
Aug | 4 | 4 | 0 | 0 | 2 | 2 | 6 | 5 | 2 | 2
Sep | 6 | 6 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
Oct | 7 | 7 | 5 | 5 | 0 | 0 | 2 | 2 | 6 | 6
Nov | 14 | 14 | 0 | 0 | 1 | 1 | 1 | 1 | 10 | 10
Dec | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 11 | 7 | 7
2007 total | 81 | 77 | 47 | 41 | 10 | 10 | 41 | 37 | 35 | 34
2006 total | 52 | 48 | 144 | 135 | 69 | 55 | 49 | 44 | 17 | 14

## Slide 7: CSC Limits vs Actual Flows: N_H Jan – Dec 2007

## Slide 8: CSC Limits vs Actual Flows: S_H Jan – Dec 2007

## Slide 9: CSC Limits vs Actual Flows: S_N Jan – Dec 2007

## Slide 10: CSC Limits vs Actual Flows: N_W Jan – Dec 2007

## Slide 11: CSC Limits vs Actual Flows: W_N Jan – Dec 2007

## Slide 12: Available CSC capacity for every interval: N_H
Sorted from least unused capacity to most.
Intervals marked with X were binding.

## Slide 13: Available CSC capacity for every interval: S_N
Sorted from least unused capacity to most.
Intervals marked with X were binding.

## Slide 14: Available CSC capacity for every interval: S_H
Sorted from least unused capacity to most.
Intervals marked with X were binding.

## Slide 15: Available CSC capacity for every interval: N_W
Sorted from least unused capacity to most.
Intervals marked with X were binding.

## Slide 16: Available CSC capacity for every interval: W_N
Sorted from least unused capacity to most.
Intervals marked with X were binding.

## Slide 17: Shadow Prices for Unused CSC capacity: Jan – Dec 2007
Max SP = $2500 x22
Max SP = $2500 x12
Max SP = $2500 x7

## Slide 18: Shadow Prices for Unused CSC capacity: Jan – Dec 2007
Max SP = $2500 x24
Max SP = $2500 x26

## Slide 19: background
Following slides have additional detail.

## Slide 20: CSC Costs by Month
 | North_Houston | South_Houston | South_North | North_West | West_North | sub-total
Jan | 0.00 | 0.00 | 0.00 | 797,740.23 | 0.00 | $ 797,740.23
Feb | 0.00 | 130,586.19 | 98,686.69 | 271,963.79 | 0.00 | $ 1,298,976.90
Mar | 0.00 | 632,971.06 | -5,983.79 | 26,889.84 | 0.00 | $ 1,952,854.02
Apr | 6,757,326.33 | 641,128.24 | 0.00 | 0.00 | -71,425.81 | $ 9,279,882.78
May | 10,519,544.57 | 1,551,070.18 | -41,343.31 | 685,571.57 | 331,789.35 | $ 22,326,515.15
Jun | 2,253,103.61 | 1,330,048.46 | 0.00 | 245,401.95 | 0.00 | $ 26,155,069.16
Jul | 296,091.72 | 407,086.65 | -220,742.20 | 370,826.87 | 0.00 | $ 27,008,332.21
Aug | 3,505,533.82 | 0.00 | -177,729.65 | 2,128.60 | 919,482.70 | $ 31,257,747.69
Sep | 786,242.03 | 0.00 | 0.00 | 108,507.11 | 164,900.14 | $ 32,317,396.97
Oct | 3,754,567.87 | 7,763,409.34 | 0.00 | 1,062,923.96 | 1,741,414.35 | $ 46,639,712.50
Nov | 11,928,438.12 | 0.00 | -1,171,045.55 | -295,156.12 | 2,102,735.17 | $ 59,204,684.12
Dec | 0.00 | 0.00 | 0.00 | 1,800,421.93 | -824,484.64 | $ 60,180,621.41
By CSC | 39,800,848.07 | 12,456,300.13 | -1,518,157.81 | 5,077,219.75 | 4,364,411.28 |