| NPRR Number | XXX | NPRR Title | Implementation of PUC Subst. R. 25.505(f) Publication of Resource and Load Information |
| --- | --- | --- | --- |
| Date Posted |  |  |  |
| Nodal Protocol Section(s) Requiring Revision (Include Section No. and Title) |  | 1.3.1.2, Items Not Considered Protected Information 3.2.5, Publication of Resource and Load Information (New) |  |
| Revision Description |  | This NPRR incorporates disclosure the requirements pursuant to P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability of Texas Power Region, paragraph (f), adopted under P.U.C. Project No. 33490, Rulemaking Proceeding to Address Pricing Safeguards in the Markets Operated by the Electric Reliability Council of Texas. ERCOT Staff anticipates developing a separate NPRR to synchronize the Nodal Protocols to portions of PRR697, Posting Requirement Changes. |  |
| Reason for Revision |  | Synchronize Nodal Protocols with P.U.C. Substantive Rules. |  |
| Overall Market Benefit |  | Compliance of Nodal Protocols with P.U.C. Subst. R. 25.505(f). Disclosure of offers and bids and other information also encourages Market Participants to take advantage of practices such as hedging, long-term contracting between Market Participants that supply power and Market Participants that serve Load, and price responsiveness by end-use customers. |  |
| Overall Market Impact |  | None |  |
| Consumer Impact |  | None |  |
| Credit Implications (Yes or No, and summary of impact) |  | No credit impacts are anticipated. |  |
| Reason for Revision (from Transition Plan Task Force (TPTF) Charter Scope) |  | (1) Revisions resulting from Commission orders; (2) Clarifications of Protocol language that do not change the intent or technical specifications of the Protocols; (3) Correction of technical errors or processes that are found to not be technically feasible; (4) Revisions to the Protocols necessary to implement the results of the value engineering analysis or to otherwise avoid severe cost impacts; or (5) Other (describe) |  |
| TPTF Review (Yes or No, and summary of conclusion) |  |  |  |

Quantitative Impacts and Benefits

Instructions:  To allow for comprehensive NPRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the NPRR.

| Assumptions | 1 | n/a |  |  |
| --- | --- | --- | --- | --- |
|  | 2 |  |  |  |
|  | 3 |  |  |  |
|  | 4 |  |  |  |
| Market Cost |  | Impact Area |  | Monetary Impact |
|  | 1 | Unknown |  | Unknown |
|  | 2 |  |  |  |
|  | 3 |  |  |  |
|  | 4 |  |  |  |
| Market Benefit |  | Impact Area |  | Monetary Impact |
|  | 1 | Unknown |  | Unknown |
|  | 2 |  |  |  |
|  | 3 |  |  |  |
|  | 4 |  |  |  |
| Additional Qualitative Information | 1 | n/a |  |  |
|  | 2 |  |  |  |
|  | 3 |  |  |  |
|  | 4 |  |  |  |
| Other Comments | 1 |  |  |  |
|  | 2 |  |  |  |
|  | 3 |  |  |  |
|  | 4 |  |  |  |
| Sponsor |  |  |  |  |
| Name |  |  | Matt Mereness on behalf of TPTF sub-group |  |
| E-mail Address |  |  | mmereness@ercot.com |  |
| Company |  |  | ERCOT |  |
| Company Address |  |  |  |  |
| Phone Number |  |  | 512.248.3089 |  |
| Cell Number |  |  |  |  |
| Market Segment |  |  |  |  |

| Market Rules Staff Contact |  |
| --- | --- |
| Name |  |
| E-Mail Address |  |
| Phone Number |  |

Proposed Nodal Protocol Language Revision

1.3.1.2	Items Not Considered Protected Information

(1)	Notwithstanding the definition of “Protected Information” in Section 1.3.1.1, Items Considered Protected Information, the following items are not Protected Information even if so designated:

(a)	Data comprising Load flow cases, which may include estimated peak and off-peak demand of any Load;

(b)	RMR Agreements;

(c)	Studies, reports and data used in ERCOT’s assessment of whether an RMR Unit satisfies ERCOT’s criteria for operational necessity to support ERCOT System reliability but only if they have been redacted to exclude Protected Information under Section 1.3.1.1;

(d)	Status of RMR Units;

(e)	Information provided to ERCOT in support of an “Application for Reliability Must Run (RMR) Status” according to Section 3.14.1, Reliability Must Run;

(f)	Black Start Agreements;

(g)	Signed generation interconnection agreements, and

(h)	Any other information specifically designated in these Protocols or in P.U.C. Substantive Rules as information to be posted to the MIS Public Area or MIS Secure Area that is not specified as information that is subject to the requirements of Section 1.3, Confidentiality.

(2)	Protected Information that Receiving Party is permitted or required to disclose or use under the Protocols or under an agreement between Receiving Party and a Disclosing Party does not cease to be regarded as Protected Information in all other circumstances not encompassed by these Protocols or such agreement by virtue of the permitted or required Disclosure or use under these Protocols or such agreement.

3.2.5 		Publication of Resource and Load Information

(1)	Two calendar days after the applicable Operating Day, ERCOT shall post on the Market Information System (MIS) Public Area for the ERCOT System and, if applicable, for each Disclosure Area, the following information derived from the first complete execution of SCED in each 15-minute Settlement Interval.  A “Disclosure Area” is a geographical area of the ERCOT Region defined by TAC and approved by the ERCOT Board of Directors.  The initial Disclosure Areas as of the Market Implementation Date are the 2003 ERCOT Congestion Management Zones.  Posting requirements will be applicable to Generation Resources physically located in the defined Disclosure Area.  The information posted by ERCOT shall include:

(a)	An aggregate energy supply curve based on non-wind Resources with Energy Offer Curves that are available to be dispatched by SCED.  The energy supply curves will be calculated in ten MW increments, beginning at the sum of the Low Sustained Limits (LSLs) and ending at the sum of the High Sustained Limits (HSLs) for non-wind Resources with Energy Offer Curves, with the dispatch for each Resource constrained between the Resource’s LSL and HSL. The result will represent the ERCOT System energy supply curve economic dispatch of the non-wind Resources with Energy Offer Curves at various pricing points, not taking into consideration any physical limitations of the ERCOT System.

(b)	An aggregate energy supply curve based on Wind-powered Generation Resources (WGRs) with Energy Offer Curves that are available to be dispatched by SCED. The energy supply curves will be calculated in ten-MW increments, beginning at the sum of the LSLs and ending at the sum of the HSLs for WGRs with Energy Offer Curves, with the dispatch for each WGR constrained between the WGR’s LSL and HSL.  The result will represent the ERCOT System energy supply curve economic dispatch of the WGRs with Energy Offer Curves at various pricing points, not taking into consideration any physical limitations of the ERCOT System.

(c)	The sum of LSLs, sum of Output Schedules, and sum of HSLs for Generation Resources without Energy Offer Curves

(d)	The sum of the Base Points, High Ancillary Services Limit (HASL) and Low Ancillary Services Limit (LASL) of non-wind Resources with Energy Offer Curves, sum of the Base Points, HASL and LASL of WGRs with Energy Offer Curves, and the sum of the Base Points, HASL and LASL of all remaining Resources dispatched in SCED.

(e)	The sum of the telemetered Generation Resource net output used in SCED.

(2)	Two calendar days after the applicable Operating Day, ERCOT shall post on the MIS Public Area for the ERCOT System the following information derived from the first complete execution of SCED in each 15-minute Settlement Interval:

(a)	Each telemetered Dynamically Scheduled Resource (DSR) Load, and the telemetered Resource net output(s) associated with each DSR Load.

(b)	The actual ERCOT Load as determined by subtracting the DC Tie Resource actual telemetry from the sum of the telemetered Generation Resource net output as used in SCED.

(3)	Two calendar days after the applicable Operating Day, ERCOT shall post on the MIS Public Area the following information for the ERCOT System and, if applicable, for each Disclosure Area from the Day-Ahead Market (DAM) for each hourly Settlement Interval:

(a)	An aggregate energy supply curve based on all energy offers that are available to the DAM, not taking into consideration Resource Start-up or Minimum Energy or any physical limitations of the ERCOT System.  The energy supply curves will be calculated in ten-MW increments.  The result will represent the  energy supply curve at various pricing points for energy offers available in the DAM.

- Aggregate minimum energy supply curves based on all Minimum-Energy Offers that are available to the DAM.  The minimum energy supply curves will be calculated in 10 MW increments.

(b)	An aggregate energy demand curve based on the DAM Energy Bid curves available to the DAM, not taking into consideration any physical limitations of the ERCOT System.  The energy demand curve will be calculated in ten-MW increments.

(c)	The aggregate amount of cleared energy bids and offers including cleared Minimum-Energy Offer quantities.

(d)	The aggregate Ancillary Service offers (prices and quantities) in the DAM, for each type of Ancillary Service regardless of a Resource’s On-Line or Off-Line status.  For Responsive Reserve Service, ERCOT shall separately post aggregated offers from Generation Resources, Controllable Load Resources, and non-Controllable Load Resources.  Linked Ancillary Service offers will be included as non-linked Ancillary Service offers.

(e)	The aggregate Self-Arranged Ancillary Service quantity, for each type of service, by hour.

- The aggregate amount of cleared Ancillary Service Offers.

- The aggregate Point-to-Point Obligation Bids (Not-to-Exceed Price and quantities) for the ERCOT System and the aggregate Point-to-Point Obligation Bids that sink in the Disclosure Area for each Disclosure Area.

(4)	Beginning 61 days after the Texas Nodal Market Implementation Date, ERCOT shall post on the MIS Public Area, the following information for each Resource for each 15-minute Settlement Interval 60 calendar days prior to the current Operating Day:

(a)	The Resource name and the Resource’s Energy Offer Curve (prices and quantities) used in SCED.

(b)	The Resource name and the Resource’s Output Schedule.

(c)	The DSR Load and associated Resource name and Resource net output.

(d)	The Resource name and actual metered Resource net output.

(e)	The self-arranged Ancillary Service by service for each QSE.

(f)	The following Generation Resource data using a single snapshot during the first SCED execution in each Settlement Interval:

(i)	The Generation Resource name;

(ii)	The Generation Resource status;

(iii)	The Generation Resource HSL, HASL, LASL, High Dispatch Limit (HDL), Low Dispatch Limit (LDL), LSL, and any text reason entered for the HSL being greater than or less than the Resource’s Net Dependable Capability;

(iv)	The Generating Resource Base Point from SCED

- The telemetered Generation Resource net output used in SCED;

(vi)	The Ancillary Service Resource Responsibility for each Ancillary Service; and

(vii)	The Generation Resource Startup Cost and minimum energy cost used in RUC

(g)	The following Load Resource data using a single snapshot during the first SCED execution in each Settlement Interval:

(i)	The Load Resource name;

(ii)	The Load Resource status;

(iii) 	The Maximum Power Consumption (MPC for a Load Resource);

(iv)	The Low Power Consumption (LPC for a Load Resource);

- The telemetered Real Power consumption; and

(vi)	The Ancillary Service Resource Responsibility for each Ancillary Service.

- Beginning 61 calendar days after the Texas Nodal Market Implementation Date, if any Real-Time Locational Marginal Price (LMP) exceeds 50 times the Fuel Index Price (FIP) during any 15-minute Settlement Interval for the applicable Operating Day., ERCOT shall post the portion of any Resource’s Energy Offer Curve that is at or above 50 times the FIP for each 15-minute Settlement Interval seven calendar days after the applicable Operating Day on the MIS Public Area.

- Beginning 61 calendar days after the Texas Nodal Market Implementation Date, the offer price and the name of the Entity submitting the offer for the highest-priced offer selected or dispatched by SCED.  If multiple Entities submitted the highest-priced offers selected, all Entities shall be identified 48-hours after the applicable Operating Day on the MIS Public Area.

(7)	ERCOT shall post for each Operating Day on the MIS Public Area the following information for each Resource:

(a)	The Resource name,

(b)	The names of the Entities providing information to ERCOT,

- (c)	The names of the Entities controlling each Resource.  ERCOT shall determine whether the Entity is in control of each Resource in accordance with P.U.C. Subst. R. 25.502, Pricing Safeguards in Markets Operated by the Electric Reliability Council of Texas, subsection (e), and

(d)	Flag for Reliability Must Run (RMR) Resources.

(8)	Beginning 61 days after the Texas Nodal Market Implementation Date, ERCOT shall post on the MIS public area the following information from the DAM for each hourly Settlement Interval for the applicable Operating Day 60 calendar days prior to the current Operating Day:

- The Generating Resource name and the Resource’s Three-Part Supply Offer (prices and quantities), including Startup Offer and Minimum-Energy Offer, available for the DAM;

- For each Settlement Point individual DAM Energy-Only Offer Curves available for the DAM and the name of the QSE submitting the offer;

- The Resource name and the Resource’s AS Offers available for the DAM;

[These items are essential for analyzing the DAM]

- For each Settlement Point, individual DAM Energy Bids available for the DAM and the name of the QSE submitting the bid;

- For each Settlement Point, individual CRR Offers available to the DAM that sink at the Settlement Point and the QSE submitting the offer;

- For each Settlement Point, individual PTP Obligation Bids available to the DAM that sink at the Settlement Point and the QSE submitting the bid;

- The awards for each Ancillary Service from DAM for each Generation Resource;

- The awards for each Ancillary Service from DAM for each Load Resource

- The award of each Three-Part Supply Offer from the DAM and the name of the QSE receiving the award;

- For each Settlement Point, the award of each DAM Energy-Only Offer from the DAM and the name of the QSE receiving the award;

- For each Settlement Point, the award of each DAM Energy Bid from the DAM and the name of the QSE receiving the award;

- For each Settlement Point, the award of each CRR Offer from the DAM that sink at the Settlement Point and the QSE submitting the offer; and

- For each Settlement Point, the award of each PTP Obligation Bid from the DAM that sink at the Settlement Point and the QSE submitting the bid.