## All
ID | Submitting Company | Page | Comment | Response Type | Response
| NRG | 15 | HSL must be greater than or equal to the sum of (Reg Up Resource Responsibility + Responsive Reserve Resource Responsibility + Non-Spin Resource Responsibility + Reg Down Responsibility+LSL) | Rejected | current implementation does not look at reg down (and hence the testing document reflects as implemented). Need to look at requirements / designs
| NRG | 20 | Is the AVR status in the ICCP Handbook or Protocols? Note: in ICCP Handbook v2.0 | Accepted | deleted row in table
| NRG | 34 | All telemetered points required by SCED, and provided by MPs are verified to be correct | Accepted w/ revision | Replaced 'All' with Most
| Luminant | 36 | The following paragraph appears out of place. Discussion of requirements related to EDS 3 Release 6.3 need to be included under the discussion of that Release. If you need to include the information below, I suggest that you create a new section in the Document for the R6.3 testing and include the following there, perhaps with a little descriptive detail. | Accepted | deleted paragraph
| Luminant | 37 | The following 4 paragraphs are unclear with regard to QSE required response. We assume you are requesting a continuous ICCP feed to support ERCOT’s real Time Sequence testing. If this is correct, please make this clear. Also, ERCOT will need to request the QSE operator contact name and contact information. Only certain designated Luminant personnel can serve in this role. | Accepted | revised paraphs to include specific protocol sections
| LCRA | 26 | System Readiness - Some of the Weekly Reports are embedded in the list of spreadsheets. Will this document be updated with every new status report added to the Readiness Site? There are other reports not shown. Not sure why some were included and others excluded. Seems difficult to maintain rather than just referring to the URL. | clarification | The status reports published during that test phase were included. As Release 5.3 closes we will update the handbook with the applicable status reports
| LCRA | 30 | Planned data submittal changes beginning December 21..... - should this section be updated as well to reflect the new timeframe? Also, are the system limitations under Output Schedules still system limitations? | clarification | The EDS team has confirmed this limitation has been resolved and Output Schedules may be submitted per the protocol defined timeline. The bullet was deleted.
| LCRA | 35 | EDS Environment - Will NMMS be there on 2/15 when we begin the Six Month LMP Posting as reflected in the shaded diagram? | clarification | According to the latest Delivery Assuance group EDS Milestone Descriptions speradhseet the EMS delivery of the CIM importer for EMS is 'TBD'. We do expect the integration of EMS, NMMS, and MMS via the CIM during the Release 5.4 timeframe
| LCRA | 36 | "For each test day, QSE's with Generation Resources will submit selected SCED inputs by 4 p.m. for the next test operating day." Is this the correct time or is it by 10 a.m.? | clarification | Document was updated to reflect submits should be done by 4pm for current day plus 2
| LCRA | 37 | "Starting in Mid-April the EMS and MMS systems will be manned with ERCOT Grid Operations personnel 24x7." Is this consistent with the recently published SLA (see excerpt below)? | clarification | The operation of the system will be 24x7 however the section of the SLA referenced refers to answering MP question. The EDS team does not perceive a conflict between the two documents
| LCRA | 37 | Can unscripted R5.4 testing begin on 2/15 with specified system limitations? | clarification | The exit criteria for Release 5.3 clearly state we can not begin 5.4 until the system limitations are resolved
| Garland | 37 | Are all of the section 6.5.7.1 functions going to be exercised vigorously during R5.4? Will the ERCOT Grid Operations personnel also contact TSP operators to continuously manage the nodal test environment [see underlined sentence above]? Obviously, the quality of the State Estimator solution is a big part of the quality and stability of the LMPs. Do we need to just keep the TSP ICCP running or also make efforts to keep the data pristine? | clarification | Revised paraphs to include specific protocol sections that pertain to ERCOT System Operators contacting QSEs and TSP. Both TSP and QSE ICCP data should accurately reflect the conditions of the equipment and continously be provided to ERCOT according to section 3.10.7.5 Telemetry Criteria
| Garland | 37 | What are the normal business hours for the mid-February through mid-April testing [M-F, 8 to 5, 6 to 6, etc.]? During this phase of testing, assuming that support staff [at ERCOT and the TSP] will still be working on Release 4 issues, will ICCP quality issues be raised by ERCOT Release 4 staff or ERCOT operators? | clarification | Normal business hours are 8am to 5pm central time. Communication of ICCP wuality issues will be coordinated by ERCOT System Operators and EMMS Production Support staff.
| Garland | 37 | For the 7x24 testing that starts in mid-April, is ERCOT expecting that TSPs and QSEs will have separate operators for Zonal and Nodal operations? Does there need to be separate phone numbers for making routine calls? If an MP operator has a common EMS with Nodal and Zonal displays and they can handle the dual workload, is that sufficient for a good “Market Readiness Score?” | clarification | Market Participants should determin if additional staff are required to support the Nodal testing requirements described in the handbook with consideration of their software platform (e.g. a combined zonal/nodal system or separate zonal and nodal systems).