| NPRR Number | 101 | NPRR Title | Modify Time Requirements for Entry of Equipment in the Outage Scheduler |
| --- | --- | --- | --- |
| Date |  | 02/21/08 |  |
| Submitter’s Information |  |  |  |
| Name |  | David L. Teeter, P.E. |  |
| E-mail Address |  | dteeter@lcra.org |  |
| Company |  | LCRA TSC |  |
| Phone Number |  | 512-356-6082 |  |
| Market Segment |  | Transmission Service Providers |  |

Comments

| Overall Market Benefit | Significant reduction in workload for all Market Participants and ERCOT. Lower costs. Maintained and improved reliability. |
| --- | --- |
| Overall Market Impact | None. |
| Consumer Impact | None. |

The language change from 30 minutes to one hour proposed by these comments will result in cost savings to the market in several ways by permitting the Transmission Service Providers (TSPs) to work more cost-effectively while continuing to maintain a reliable transmission system.  If a formal Outage request process is required for Outages of 30 minutes or more, the costs to the TSPs will increase.  As an example, LCRA TSC performs monthly breaker and switch testing by the District Operators (DO).  These procedures require that the DO witness the opening of a breaker via Supervisory Control And Data Acquisition (SCADA) from the control center, thus proving the SCADA system.  While the breaker is open, the DO then opens and closes the associated bus-side and line-switches proving the operations of the switches and also “wiping” the switch contacts to ensure good electrical continuity through the switches.  The DO then requests that the breaker be closed by SCADA, again proving SCADA.  This whole procedure takes less than an hour, but longer than the present language of 30 minutes.

If the 30 minute language is allowed to remain in the Protocols, then there will need to be a formal Outage request submitted to the TSP, the proposed Outage has to be studied for any negative contingences, approved or denied, and then submitted to ERCOT via the Outage Scheduler.  Once ERCOT receives the Outage request, ERCOT must then study the Outage, determine if there are any negative contingences, either approve or deny the Outage, and send the results to the TSP.  Once the Outage request is returned to the TSP, the TSP must then prepare either a switching order or verbal dispatch instructions that will be given to the DO.  The DO must then receive the dispatching instructions, perform the switching, report back to the control center, and finally do the testing.  Once the testing is complete, the DO must return the equipment back to the normal state and return the switching instructions back to the control center.  The additional work of submitting and studying these Outages increases the costs at not only the TSP, but at ERCOT and the Market Participants.

The overall effect on congestion costs should be minimal since the Market Participants will not have to study these short-term Outages and make arrangements for congestion rights.  Maintaining the current one hour in the current Zonal procedure should help keep congestion costs lower by allowing the Transmission Owners to perform work in a shorter time frame to accomplish smaller maintenance work.  By maintaining the current one hour will ensure work can be done to continue to maintain the reliability of the transmission system and stay on track with periodic maintenance schedules rather than forcing the TSPs to go through the formal Outage request process.

LCRA TSC agrees with the proposal by other commentators to keep the current minimal Outage time to one hour before an Outage must be submitted through the formal Outage request process.

Revised Proposed Nodal Protocol Language

3.10.7.5.1	Continuous Telemetry of the Status of Breakers and Switches

(1)	Each TSP and QSE shall provide telemetry, as described in this subsection, to ERCOT on the status of all breakers and switches used to switch any Transmission Element or load modeled by ERCOT.  Each TSP and QSE is not required to install telemetry on individual breakers and switches, where the telemetered status shown to ERCOT is current and free from ambiguous changes in state caused by the TSP or QSE switching operations and TSP or QSE personnel.  Each TSP or QSE shall update the status of any breaker or switch through manual entries, if necessary, to communicate the actual current state of the device to ERCOT, except if the change in state is expected to return to the prior state within one minute.  If in the sole opinion of ERCOT, the manual updates of the TSP or QSE have been unsuccessful in maintaining the accuracy required to support State Estimator performance to a TAC-approved predefined standard as described in Section 3.10.9, State Estimator Performance Standard, ERCOT may request that the TSP or QSE install complete telemetry from the breaker or switch to the TSP or QSE, and then to ERCOT.  In making the determination to request installation of additional telemetry from a breaker or switch, ERCOT shall consider the economic implications of inaccurate representation of Model Loads in LMP results versus the cost to remedy.

(2)	ERCOT shall measure TSP or QSE performance in providing accurate data that do not include ambiguous changes in state and shall report the performance metrics on the MIS Secure Area on a monthly basis.

(3)	Unless there is an emergency condition, a TSP or QSE must obtain approval from ERCOT to purposely open a breaker or switch unless that breaker or switch is shown in a Planned Outage in the Outage Scheduler, or the device will return to its previous state within 60 minutes, or the device is a generator output circuit breaker.  Also, a TSP or QSE must obtain approval from ERCOT before closing any breaker or switch, except in response to a Forced Outage, or an emergency, or the device will return to its previous state within 60 minutes or the device is a generator output circuit breaker.

(4)	ERCOT shall monitor the data condition codes of all breakers and switches showing loss of communication or scan function in the Network Operations Model.  When the telemetry of breakers and switches is lost, ERCOT shall use the last known state of the device for Security Analysis as updated by the Outage Scheduler and through verbal communication with the TSP or QSE.  ERCOT’s systems must identify probable errors in switch or breaker status and ERCOT shall act to resolve or correct such errors in a timely manner as described in Section 6, Adjustment Period and Real-Time Operations.

(5)	ERCOT shall establish a system that provides alarms to ERCOT operators when there is a change in status of any monitored transmission breaker or switch, and an indication of whether the device change of status was planned in the Outage Scheduler.  ERCOT operators shall monitor any changes in status not only for reliability of operations, but also for accuracy and impact on the operation of the Security Constrained Economic Dispatch functions and subsequent potential for calculation of inaccurate LMPs.

(6)	Each QSE that represents a Split Generation Resource, with metering according to Section 3.8, Special Considerations for Split Generation Meters, shall provide ERCOT with telemetry of the actual generator breakers and switches continuously providing ERCOT with the status of the individual Split Generation Resource.