- Summary of Operating Guide Revisions

- Effective:  March 1, 2008

- Section 4:

- OGRR206 - Black Start Satellite Phones

This Operating Guide Revision Request (OGRR) requires Transmission Service Providers (TSPs) that have contracted Black Start Resources or designated Black Start transmission corridors located within their transmission system to have a satellite phone as a backup communication system that is compatible with ERCOT’s satellite phone.

Revised Subsection: 4.6.5

- Section 8:

- OGRR204 - Hotline Technology Update

This OGRR allows continued use of either older, 500 set, or any newer technology which operates independently from a Market Participant’s commercial market communications (settlement) phone system.

Revised Subsection: 8.3.3