## Version
Version:
Change History:
2008-02-25 | List to TPTF per 2/22/2008 request.

## Current Day Reports
Index # | Product name | Data Source | Generating Frequency | Format | Intended Recipient | Product Definition | Protocol (AUG 07) | EDS Release | CDR Project Release
NP3 - 560 - CD | Seven-Day Forecasts (ERCOT System, Weather Zone, and Load Zone Forecasts for next 7 days, by hour) | EMS, OS [MMS] | Hourly, Daily | View and Print |  | Posting Seven-Day Forecast (ERCOT System, Weather Zone, and Load Zone Load forecasts for the next seven days, by hour) | 3.12 (a) | 4.9.2 | 1A
NP3 - 762 - CD | Hourly Demand Forecast | EMS-LF | Hourly |  |  | Hourly Demand forecast by Forecast Zone and Weather Zone for the next 7 days | 3.2.2 (3) 3.12 (a) | 4.9.5 | 3
NP3 - 763 - CD | Short-Term System Adequacy Report | EMS, OS, MMS-COP | Hourly |  |  | Hourly report following the 7 day Load Forecast and detection of a change to Resource Status. | 3.2.3 (2) | 4.9.2 | 1A
NP4 - 159 - CD | Daily Electrical Bus Load Distribution Factors | EMS, MMS | Daily (next day's by hour) | View Only |  | Load forecast distribution factors from which Market Participants can calculate Load at the Electrical Bus level by hour for the next seven days; Posting daily Electrical Bus Load distribution factors - No later than 0600 in the Day-Ahead, information for | 4.2.3 (e) | 4.9.3 | 1B
NP4 - 179 - CD | Awarded Day Ahead Market Ancillary Service Offers | MMS | Daily, On-Demand | XML, Downloadable (e.g., a file) | MPs | Communicating DAM Results. Post the hourly DAM Results | 4.5.3 (2) (e) | 4.9.3 | 1B
NP4 - 183 - CD | Day Ahead Market Hourly LMPs | MMS | Daily | XML, Downloadable (e.g., a file) | MPs | Communicating DAM Results. Post the hourly DAM Results | 4.5.3 (2) (c) | 4.9.3 | 1B
NP4 - 188 - CD | Day Ahead MCPC | MMS | Daily | Downloadable (e.g., a file) | MPs | Communicating DAM Results. Post the hourly DAM Results | 4.5.3 (2) (a) | 4.9.3 | 1B
NP4 - 19 - CD | Aggregated Ancillary Service Offer Curve | MMS | On demand | XML | MPs | Communicating DAM Results. Post the hourly DAM Results | 4.5.3 (2) (h) | 4.9.3 | 1B
NP4 - 190 - CD | Day Ahead Market Settlement Point Prices | MMS | Daily | Downloadable (e.g., a file) | MPs | Communicating DAM Results. Post the hourly DAM Results | 4.5.3 (2) (b) | 4.9.3 | 1B
NP4 - 191 - CD | Day Ahead Market Shadow Prices | MMS | Daily | Downloadable (e.g., a file) | MPs | Communicating DAM Results. Post the hourly DAM Results | 4.5.3 (2) (d) | 4.9.3 | 1B
NP4 - 192 - CD | Day Ahead Market Total Energy Bought | MMS | Daily | Downloadable (e.g., a file) | MPs | Communicating DAM Results. Post the hourly DAM Results | 4.5.3 (2) (f) | 4.9.3 | 1B
NP4 - 193 - CD | Day Ahead Market Total Energy Sold | MMS | Daily | Downloadable (e.g., a file) | MPs | Communicating DAM Results. Post the hourly DAM Results | 4.5.3 (2) (g) | 4.9.3 | 1B
NP4 - 33 - CD | Ancillary Service Plan | EMS |  | View Only |  | Ancillary Service Plan. Post Ancillary Service Plans | 4.2.1.1 (1) | 4.9.3 | 1B
NP4 - 34 - CD | Ancillary Service Obligations & QSE Load Ratio Share | MMS | On demand | XML | QSEs | Ancillary Service Obligation Assignment and Notice. Post each QSEs Load Ratio Share used for the AS Obligation calculation | 4.2.1.2 (3) | 4.9.3 | 1B
NP4 - 722 - CD | Weather to Forecast ERCOT System Conditions & Dynamic Ratings Processor | EMS, MMS | Daily (next day's by hour) | View Only |  | Posting Forecasted ERCOT System ConditionsWeather assumptions used by ERCOT to forecast ERCOT System conditions and used in the Dynamic Rating Processor | 4.2.3 (b) | 4.9.3 | 1B
NP5 - 200 - CD | Deselected Contingencies | MMS |  | View Only |  | Post Deselected contingencies and reasons for removal. | 5.5.1 (11) | 4.9.4 | 2
NP5 - 649 - CD | Temporarily Removed Contingencies | MMS |  | View Only |  | Post any Temporarily removed contingencies and reason for removal. | 5.5.1 (6) | 4.9.4 | 2
NP5 - 755 - CD | Active and Binding Transmissions Constraints | MMS | Per RUC Run (at least every hour) | Downloadable (e.g., a file) | MPs | For each RUC process, ERCOT shall post all active and binding transmission constraints (contingency and overloaded element pair information where available) used as inputs to RUC. The posting may include the RUC time stamp, RUC type(DRUC or HRUC), bindin | 5.3 (3) (b) (i) | 4.9.3 | 1B
NP6 - 235 - CD | ERCOT System Demand from Real-Time Operations per Settlement Interval | EMS, OS [MMS] | Hourly | View Only |  | Activities for Real-Time OperationsTotal ERCOT System Demand, from Real-Time operations, integrated over each Settlement Interval | 6.3.2 (3) (d) | 4.9.4 | 2
NP6 - 291 - CD | Topology Consistency Analyzer Incorrect Breaker and Switch Status | EMS | 5 minutes | View Only |  | Topology Consistency Analyzer. Publish output from Topology Consistency Analyzer summaries of incorrect breaker and switch statuses | 6.5.7.1.5 | 4.9.5 | 3
NP6 - 483 - CD | SCED Shadow Prices | MMS | Each SCED Run (15 min) | Downloadable (e.g., a file) | MPs | Activities for Real-Time Operations. Post LMPs Activities for Real-Time Operations: Real-time prices, and the Settlement Point Price with time stamp, along with SCED shadow prices and active binding transmission constraints. Post the Settlement Point | 6.3.2 (2) | 4.9.5 | 3
NP6 - 484 - CD | Real-Time Prices Parameters | EMS |  | Downloadable (e.g., a file) | MPs | Activities for Real-Time Operations. Post Real-time prices Ancillary Service Capacity | 6.3.2 (2); 6.4.8 | 4.9.4 | 2
NP6 - 561 - CD | RMR Services Quantities | EMS, OS [MMS] | Hourly | View Only |  | Activities for Real-Time Operations. changes or potential changes in the status of Transmission Facilities for the remaining hours of the current Operating Day and all hours of the next Operating Day | 6.3.2 (3) (c) | 4.9.4 | 2
NP6 - 569 - CD | SASM MCPC | MMS | Per SASM Run | Downloadable (e.g., a file) | MPs | Communication of SASM Results. Publish Ancillary Service quantities | ci: 6.4.8.2.3(2)(a) 6.4.8.2.3 (3) | 4.9.4 | 2
NP6 - 606 - CD | Shadow Prices on Binding Transmission Constraints | EMS, MMS | Hourly | Downloadable (e.g., a file) | MPs | Data Inputs and Outputs for the Real-Time Sequence and SCED. All Shadow Prices on binding transmission constraints | 6.5.7.1.13 (4) (g) | 4.9.5 | 3
NP6 - 609 - CD | Shift Schedules | EMS |  | View Only |  | Activities for the Adjustment Period. Post Activities for the Adjustment Period: Shift Schedules | 6.3.1 | 4.9.4 | 2
NP6 - 619 - CD | State Estimator Transmission Flows and Voltages | EMS | 5 minutes | Downloadable (e.g., a file) | MPs | Data Inputs and Outputs for the Real-Time Sequence and SCEDTransmission flows and voltages from the State Estimator | 6.5.7.1.13 (4) (b) | 4.9.5 | 3
NP6 - 620 - CD | State Estimator 15-minute Load Averages on Electrical Buses | EMS | 5 minutes | Downloadable (e.g., a file) | MPs | Data Inputs and Outputs for the Real-Time Sequence and SCEDThe 15-minute average of Loads on the Electrical Buses from State Estimator results | 6.5.7.1.13 (4) (h) | 4.9.5 | 3
NP6 - 621 - CD | Individual transmission Load on Electrical Buses from the State Estimator | EMS | 5 minutes | Downloadable (e.g., a file) | MPs | Data Inputs and Outputs for the Real-Time Sequence and SCEDIndividual transmission Load on Electrical Buses, sum of the Load on each Electrical Bus in each Load Zone, and total Load on Electrical Buses in the ERCOT System, the sum of ERCOT generation, and | 6.5.7.1.13(4)(c)(i) | 4.9.5 | 3
NP6 - 622 - CD | State Estimator Transformer Flows, Voltages and Tap Position | EMS | 5 minutes | Downloadable (e.g., a file) | MPs | Data Inputs and Outputs for the Real-Time Sequence and SCEDTransformer flows, voltages and tap position from the State Estimator | 6.5.7.1.13(4)(d) | 4.9.5 | 3
NP6 - 635 - CD | System-Wide Load Forecasts | EMS, OS [MMS] | Hourly | View Only |  | Activities for Real-Time Operations. changes or potential changes in the status of Transmission Facilities for the remaining hours of the current Operating Day and all hours of the next Operating Day | 6.3.2 (3) (b) | 4.9.4 | 2
NP6 - 655 - CD | Total Ancillary Service Procured in SASM | MMS | Per SASM Run | Downloadable (e.g., a file) | MPs | Communication of SASM Results. Publish Ancillary Service quantities | ci: 6.4.8.2.3(2) & (3) 6.4.8.2.3 (3) | 4.9.4 | 2
NP6 - 661 - CD | Total ERCOT System Demand | EMS, OS [MMS] | Hourly | View Only |  | Activities for Real-Time Operations. changes or potential changes in the status of Transmission Facilities for the remaining hours of the current Operating Day and all hours of the next Operating Day | 6.3.2 (3) (a) (i) | 4.9.4 | 2
NP6 - 717 - CD | Voltage Schedules | EMS, MMS | Hourly | Downloadable (e.g., a file) | MPs | Data Inputs and Outputs for the Real-Time Sequence and SCEDAll voltage schedules | 6.5.7.1.13 (4) (e) | 4.9.4 | 2
NP6 - 787 - CD | LMPs by Resource Node | MMS | Each SCED run; every 5 minutes | csv, xml |  | Distribute by ICCP, and post to the MIS Public Area, the LMPs created by each SCED process for each Resource Node , and the Settlement Point Price at each Hub and Load Zone immediately on deployment of Base Points from SCED with the time stamp the prices | 6.3.2(2) | 4.9.5 | 3
NP6 - 804 - CD | Sum of the Load on each Electrical Bus in each Load Zone from the State Estimator | EMS | Hourly |  |  |  | 6.5.7.1.13(4)(c) | 4.9.5 | 3
NP6 - 805 - CD | Total Load on Electrical Buses in the ERCOT System from the State Estimator | EMS | Hourly |  |  |  | 6.5.7.1.13 (4)(c)(iii) | 4.9.5 | 3
NP6 - 806 - CD | The sum of ERCOT generation from the State Estimator | EMS | Hourly |  |  |  | 6.5.7.1.13 (4) (c) iv | 4.9.4 | 2
NP6 - 807 - CD | Flow on the DC Ties from the State Estimator | EMS | Hourly |  |  |  | 6.5.7.1.13 (4) (c) v | 4.9.4 | 2
NP6 - 86 - CD | Binding Transmission Constraints with Causal Contingency or Overloaded Element Pairs | EMS, MMS | Hourly | Downloadable (e.g., a file) | MPs | Data Inputs and Outputs for the Real-Time Sequence and SCEDAll binding transmission constraints and the contingency or overloaded element pairs that caused such constraint | 6.5.7.1.13 (4) (f) | 4.9.4 | 2
NP6 - 93 - CD | Breaker and Switch Status -- Network Security Analysis | EMS, MMS | 5 minutes | Downloadable (e.g., a file) | MPs | Data Inputs and Outputs for the Real-Time Sequence and SCED. Status of all breakers and switches used in the Network Security Analysis except breakers and switches connecting Resources to the ERCOT Transmission Grid | 6.5.7.1.13 (4) (a) | 4.9.4 | 2
NP4 - 139 - UI | Day-Ahead Market CRR Offer - Minimum Reservation Price | CRR |  | XML | CRR Account Holders | Minimum reservation price submission. | 4.4.5 (3) | 4.9.4 | 2
NP4 - 162 - UI | Customer Load Profile |  |  | XML |  |  |  | 4.9.4 | 2
NP4 - 199 - UI | Derated CRRs | MMS |  | XML |  |  | 4.5.1(8) | 4.9.4 | 2
NP4 - 344 - UI | Market MCPCs | MMS |  | XML |  |  | 4.5.2(2)(a) | 4.9.4 | 2
Coms - 314 - UI | Load Distribution Factors |  |  | XML |  |  |  | 4.9.4 | 2
NP3 - 129 - UI | Competitive Constraints | MMS |  | XML |  | Constraint Competitiveness Tests. Post Competitive Constraints as well as Competitive Constraints that have been suspended and the duration of the suspension | 3.19 (5) | 4.9.4 | 2
NP3 - 215 - UI | Dynamic rating deviation data | EMS |  | XML |  |  |  | 4.9.4 | 2
NP3 - 217 - UI | Dynamic Ratings | MMS |  | XML |  |  |  | 4.9.4 | 2
NP3 - 715 - UI | Voltage Profiles | Collage | Quarterly | XML | PGCs | Voltage Support. Post voltage profiles | 3.15 (1) | 4.9.4 | 2
NP4 - 659 - UI | Total ERCOT Generation Operating Reserve | EMS |  | XML |  |  |  | 4.9.4 | 2
NP4 - 665 - UI | Total Regulation | EMS |  | XML |  |  |  | 4.9.4 | 2
NP4 - 690 - UI | Unit Availability | EMS |  | XML |  |  |  | 4.9.4 | 2
NP6 - 6 - UI | Active SCED Contingencies | MMS | On demand | View Only |  | Transmission Constraint Management Post active SCED contingencies, or any determined to be inaccurate or inappropriate and excluded from SCED | 6.5.7.1.11 (1) | 4.9.4 | 2
NP6 - 84 - UI | Binding Constraints | MMS |  | XML |  |  | 6.5.7.3(5) | 4.9.4 | 2
SYS - 264 - UI | Forecasted Load | EMS |  | XML |  |  |  | 4.9.4 | 2
SYS - 270 - UI | Frequency | EMS |  | XML |  | The purpose of this interface is to provide a query for fetching real time frequency measurement. |  | 4.9.4 | 2
SYS - 349 - UI | Market Totals | MMS |  | XML |  |  |  | 4.9.4 | 2
SYS - 487 - UI | Real-Time System Load | EMS |  | XML |  |  |  | 4.9.4 | 2
SYS - 608 - UI | Shift Factors | EMS |  | XML |  |  |  | 4.9.4 | 2
SYS - 617 - UI | Startup and Shutdown Instructions | MMS |  | XML |  |  |  | 4.9.4 | 2
SYS - 63 - UI | Average monthly Dynamic deviation | MMS |  | XML |  |  |  | 4.9.4 | 2
SYS - 25 - UI | All real-time contingency violations | MMS |  | XML |  |  |  | 4.9.4 | 2
NP3 - 424 - CD | All Proposed Transmission Outages | OS |  | csv, xml | MPs |  | 3.1.5.13(a) | 4.9.3 | 1B
NP3 - 732 - CD | Withdrawn Approved Transmission Facility Outages and Rescheduling of Approved Outages | OS |  | csv, xml | MPs |  | 3.1.5.7(1) | 4.9.3 | 1B
NP3 - 754 - CD | All Approved, Accepted, or Rejected Transmission Outages | OS |  | csv, xml | MPs |  | 3.1.5.13(b) | 4.9.3 | 1B
NP6 - 904 - CD | System Parameters (A/S Capacity Monitor) | MMS | 10 sec | csv, xml | MPs |  | 6.5.7.5 | 4.9.3 | 1B