## EPS Meter Test Report
|  |  |  | EPS Meter Test Report | [7 empty] | Version X.X |  | Date
FACILITY | [8 empty] | TDSP
UNIT OR LOAD NAME | [8 empty] | TDSP PROJECT #
TO COMPANY | [8 empty] | FROM COMPANY
REASON FOR TEST REPORT |  | Annual / Periodic |  |  | Meter Reprogram |  |  | Meter Exchange |  | Phase Angle Verification |  | Other (Explain in Comments section below)
METER DATA | [6 empty] | PHASE ROTATION ABC or CBA | PHASE ANGLE INFORMATION ( VOLTAGE LEADING CURRENT) |  |  |  | OUT OF SERVICE TIME RECORD (Central Prevailing Time)
SER. NUMBER | [7 empty] | 4 wire 3 phase wye |  | 3 wire 3 phase delta |  | Device | From | To
FIRMWARE VERSION |  |  |  | KVA |  |  |  | V a-n Ia |  | V a-b Ia |  | Meter
METER MULT. |  |  |  | KW |  |  |  | V a-n Ib |  | V a-b Ic |  | Recorder
PHASE |  |  |  | KVAR |  |  |  | V a-n Ic |  | V c-b Ic |  | Customer
WIRE |  |  |  | SECONDARY VOLTS |  |  |  | V b-n Ib |  | V c-b Ia |  | TEST STANDARD INFORMATION
TEST AMP |  |  |  | V a-n |  | V a-b |  | V c-n Ic |  | NIST TRACEABILITY DATE | SERIAL NUMBER
CLASS |  |  |  | V b-n |  | V b-c |  | VTR
VOLTS |  |  |  | V c-n |  | V c-a |  | CTR |  | MFG. |  | TYPE
MFG |  |  |  | SECONDARY AMPS |  | PRIMARY AMPS |  | Applied Test Burden (in OHMs) | Pass / Fail | TDSP EPS METER INSPECTOR INFORMATION
TYPE |  |  |  | I A | [5 empty] | NAME
Primary / Backup Only |  |  |  | I B | [5 empty] | TEST DATE
TEST CONST. (Kt) |  |  |  | I C | [5 empty] | SIGNATURE
METER READING INFORMATION | [8 empty] | BY SIGNING THIS FORM, I CERTIFY THAT THE METER PROGRAMMING AND THE ACCURACY OF THE METER AND THE METERING FACILITY REPRESENTED BY THIS TEST REPORT, AND THE EQUIPMENT USED TO CERTIFY THIS FACILITY; ARE IN COMPLIANCE WITH THE REQUIREMENTS OF ERCOT PROTOCOLS AND THE SETTLEMENT METERING OPERATING GUIDES; EXCEPT AS SPECIFICALLY NOTED IN THE COMMENTS SECTION OF THIS TEST REPORT.
FUNCTION |  | AS FOUND |  |  |  | AS LEFT
KWH (flowing out of ERCOT)
KvarH (flowing out of ERCOT)
KvarH (flowing into ERCOT) | [8 empty] | COMMENTS
KWH (flowing into ERCOT)
ENERGY FLOWING OUT OF THE ERCOT GRID
TEST LOAD | STD Kt |  | METER PULSES | WH FUNCTION AS FOUND |  |  | WH FUNCTION AS LEFT
|  |  |  | STD Pulses | Meter % Reg |  | STD Pulses | Meter % Reg
FULL
PF
LIGHT
TEST LOAD | STD Kt |  | METER PULSES | VARH FUNCTION AS FOUND |  |  | VARH FUNCTION AS LEFT
|  |  |  | STD Pulses | Meter % Reg |  | STD Pulses | Meter % Reg
FULL
LIGHT
ENERGY FLOWING INTO THE ERCOT GRID | [8 empty] | LOSS COMPENSATION INFORMATION
TEST LOAD | STD Kt |  | METER PULSES | WH FUNCTION AS FOUND |  |  | WH FUNCTION AS LEFT |  | THE METER % REGISTRATION VALUES RECORDED ON THIS TEST REPORT REPRESENT THE METER ACCURACY WITH LOSS COMPENSATION PROGRAMMED INTO THE METER (NOTE: IF YES, DOCUMENTATION OF THE METER % REGISTRATION CALCULATIONS MUST BE INCLUDED WITH THIS TEST REPORT ONLY IF CALCULATIONS HAVE CHANGED SINCE LAST SUBMITTED TEST). |  |  |  |  | YES
|  |  |  | STD Pulses | Meter % Reg |  | STD Pulses | Meter % Reg | [5 empty] | NO
FULL
PF | [8 empty] | SEAL NUMBERS FOUND
LIGHT
TEST LOAD | STD Kt |  | METER PULSES | VARH FUNCTION AS FOUND |  |  | VARH FUNCTION AS LEFT
|  |  |  | STD Pulses | Meter % Reg |  | STD Pulses | Meter % Reg | SEAL NUMBERS LEFT
FULL
LIGHT